Chapter 13

Pulsed SILAC as a proteomic approach for miRNA targets identification in cell culture

Daniella E. Duque-Guimarães1,2*, Juliana de Almeida-Faria1,3*, Thomas Prates Ong1,4*, Susan E. Ozanne1+

1. University of Cambridge Metabolic Research Laboratories and MRC Metabolic Diseases Unit, Wellcome Trust-MRC Institute of Metabolic Science, Addenbrooke’s Hospital, Cambridge, United Kingdom

2. Department of Physiology and Biophysics, Institute of Biomedical Sciences, University of São Paulo, São Paulo, Brazil

3. Department of Pharmacology, Faculty of Medical Sciences, State University of Campinas, Alexander Fleming St, Campinas, Sao Paulo, Brazil

4. Food Research Center (FoRC) and Faculty of Pharmaceutical Sciences, University of São Paulo, São Paulo, Brazil

Running title MicroRNA profiling using pulsed SILAC

* These authors contributed equally

+ Corresponding author Susan E. Ozanne, University of Cambridge Metabolic Research Laboratories and MRC Metabolic Diseases Unit, Wellcome Trust-MRC Institute of Metabolic Science, Addenbrooke’s Hospital, Cambridge, United Kingdom. Telephone: +44 (0)1223-762636. E-mail: seo10@cam.ac.uk

Abstract

Pulsed stable isotope labelling by amino acids in cell culture (pSILAC) comprises a variation of the classical SILAC proteomic methodology that enables the identification of short-term proteomic responses such as those elicited by micro RNAs (miRNAs). Here we describe a detailed pSILAC protocol for global identification and quantification of protein translation alterations induced by a miRNA using 3T3-L1 pre-adipocytes as a modelsystem.

Key Words Pulsed stable isotope labelling by amino acids, cell culture, microRNAs, targets, proteomics

1 Introduction

MicroRNAs (miRNAs) have been shown to play a key role in the control of gene expression, modulating the expression of many proteins in a wide range of biological processes (1).These small non-coding RNA molecules can individually regulate multiple target genes by binding to target sites found within the 3' un-translated region of the targeted mRNA, resulting in post-transcriptional gene silencing of gene networks. The post-transcriptional effect results from degradation of the targeted mRNA or repression of its translation (2, 3). Most of the targets contain perfect complementary sites in their 3'-untranslated regions to the seed sequence of the miRNA. This conserved seed sequence of typically 6-8 nucleotides is oftenused as the main feature for miRNA target site prediction (4). Several computational algorithms such as TargetScan (5) and Diana-MicroT (6) have been developed to predict targets based on a combination of different parameters includingthese sequences. However, additional factors can impede these bioinformatic approaches, resulting in false positives and thus limiting their usefulness (7). Experimental methods are therefore required for robust target predication. Approaches used to date include in vitro luciferase reporter assays for individual miRNAs and targets or high-throughput experimental methods such next-generation sequencing following immunoprecipitation (8). However these have their limitations andthe methodology is still challenging and there is no clear consensus that a functional miRNA target will be always identified.

Stable Isotope Labelling by Amino acids in Cell culture (SILAC) is a proteomic approach which has been used to identify miRNA targets and investigate the consequences on protein levels (9, 10). SILAC is a quantitative method based on whole proteome metabolic labelling with stable isotope-labelled amino acids in cell culture (11). This method is based on the introduction of a mass difference between two proteomes, which creates two versions of every peptide (e.g.,12C versus13C) that can be distinguished in mass spectrometry (MS)-based analysis (11, 12). The classical version of SILAC is based on growing cells in media with natural “light” or “heavy” aminoacids for several daysor for approximately five cell doublings. This allows virtually complete incorporation of the heavy amino acids into cellular proteomes. SILAC-based approaches have also been used to identify miRNA targets in many cell systems including HeLacells (9), as well as in SW480colon cancer (13) and MiaPaCa-2 pancreatic cancer (14) cells.

In recent years, an increasing number of studies have adopted a variation of the classical SILAC method termed pulsed SILAC(pSILAC) to investigate miRNA proteomic effects (15, 16,10). The pSILAC method is based on growing two populations of cells (e.g.,miRNA-treated and control cells) that are pulse-labelled with two different heavy SILAC aminoacids (15). Both populations of cells are grown initially in standard media containing normal light amino acids (16). After miRNA transfection, the culture medium from miRNA-transfected and control cells is replaced with SILAC medium containing either medium-heavy or heavy amino acids, respectively. After the pulse labelling step, all newly synthesized proteins will incorporate medium-heavy or heavy aminoacids, while proteins that were synthesized before the labelling step will contain only light amino acids and are not considered for protein quantification (15, 16).

In this chapter, we describe a detailed pSILAC protocol for global identification and quantification of protein translational alterations induced by amiRNA using 3T3-L1 pre-adipocytes as a model-system (Figure 1). Cells are grown in two cell culture dishes for 24 hours and then transfected with either the miRNA mimic or a transfection control. After 8 hours, the normal growth media from both cell populations is replaced with media containing either heavy lysine (Lys8) or medium-heavy lysine (Lys4) for the miRNA mimic transfected and miRNAcontrol cells, respectively. After 24 hours, protein extracts from both cell populations are combined and subjected to sodium dodecyl sulphate polyacrylamide gel electrophoresis (SDS-PAGE) to separate the proteins. The protein bands are then excised from the gels, enzymatically digested with trypsin and submitted to high performance liquid chromatographytandem mass spectrometry (HPLC/MS/MS) analysis. The ratio of heavy and medium-heavy peptides reflects differences in the translation of the corresponding protein induced by the miRNA, while the light peptides are ignored.

2 Materials (see Note 1)

2.1 pSILAC reagents

- 21 mg/mL L-arginine (Arg0) in phosphate buffered saline (PBS) (see Note 2)

- 33 mg/mL 4, 4, 5, 5-D4 L-Lysine-2HCl (Lys4) in PBS (see Note 2)

- 33 mg/mL13C615N2 L-Lysine-2HCl (Lys8) in PBS (see Note 2)

- Dulbecco's Modified Eagle Medium (DMEM), containing 10% heat-inactivated calf serum, antibiotic-free (see Note 3)

- SILAC DMEM media, lacking lysine and arginine

- Dialyzed fetalbovine serum (FBS) (see Note 4)

- Medium-heavy Lys4 SILAC DMEM: 0.84 mg/mL L-arginine,1.0 mg/mL Lys4,and 10% FBS in 500 mL SILAC DMEM (0.22 µm filter-sterilized)

- Heavy Lys8 SILAC DMEM: 0.84 mg/mL L-arginine, 1.0 mg/mL Lys8, and 10% FBS in 500 mL SILAC DMEM (0.22 µm filter-sterilized)

2.2 Cell culture and miRNA mimic transfection

- Undifferentiated 3T3-L1 pre-adipocytes (see Note 5)

- Sterile10 cm diameter cell culture dishes, 15 mL-capacity Falcon tubes and 1.5 mL-capacity microcentrifuge tubes

- Tissue culture trypsin solution for dissociation of cells

- Opti-MEM® medium and Lipofectamine®RNAiMAX reagent (Invitrogen)

- 10 µM mirVana™miRNA126 mimic and 10 µM mirVana™ miRNA negative control #1 in nuclease-free water (ThermoFisher Scientific) stored at or below 20oC (see Note 6)

- BLOCK-iT™ Alexa Fluor® Red Fluorescent Oligo (Invitrogen) (seeNote 7).

- Epifluorescence inverted microscope

- RIPA buffer: 25mM Tris-HCl (pH 7.6), 150mM NaCl, 1% NP-40, 1% sodium deoxycholate, 0.1% SDS

- 100x Halt™ protease and phosphatase single-use inhibitor cocktail (ThermoFisher Scientific)

- Bradford reagent, 0.125–1.0 mg/mL bovine serum albumin protein standards

- TRI® reagent (Sigma-Aldrich)

- Direct-zol™ RNA MiniPrep (Zymo Research)

- TaqMan® microRNA reverse transcription kit (ThermoFischer Scientific)

2.3 SDS-PAGE

- 4x Novex Nu PAGE LDS sample buffer (Thermo Fisher Scientific)

- Proteomics grade SDS-PAGE gel solutions or pre-cast gels (seeNote 8)

- Stain solution: 1 mg/mL CoomassieBlue R250, 40% methanol, 10% acetic acid (filter sterilized)

- Destain solution: 20% methanol, 10% acetic acid (filter sterilized)

2.4 In-gel trypsin digestion

- 100 mM ammonium bicarbonate

- 100 mM ammonium bicarbonate, 50% acetonitrile

- 20 mM ammonium bicarbonate

- Reducing solution: 100 mM ammonium bicarbonate, 10 mM dithiothreitol (see Note 9)

- Alkylating solution: 100 mM ammonium bicarbonate, 20 mM iodoacetamide (see Note 9)

- Trypsin digestion solution: 12.5g/mL trypsin (mass spectrometry grade), 20 mM ammonium bicarbonate (see Note 10)

- 1% formic acid

2.5 HPLC,MS analysisand data processing

- MS solvent: 0.1% trifluoroacetic acid, 3% acetonitrile

- Solvent A: 0.1% formic acid

- Solvent B: 100% acetonitrile

- NanoAcquity uPLC with a 100Å, 5 μm, 180 μm × 20 mm C18 Symmetry trap and 130Å, 1.7 μm, 75 μm × 250 mm C18 BEH analytical columns (Waters Corporation)

- Accurate mass/high resolution MS instrument such as the LTQ-OrbiTrap XL (ThermoFisher Scientific)

- Maxquant software (version 1.5.3.30 or higher;www.maxquant.org)

2.6 Analysis of pSILAC data

- Several software options: Microsoft Office Excel (https://www.office.com/), R (https://www.r-project.org) in conjunction with Bioconductor (http://www.bioconductor.org), Spotfire (http://spotfire.tibco.com/), Matlab (http://uk.mathworks.com/products/matlab/) and Graphpad Prism (http://www.graphpad.com/scientific-software/prism/)

3 Methods

3.1 Cell culture and miRNAmimic transfection

- Seed 0.4 x 106 3T3-L1 cells in two dishes in 10 mL antibiotic-free DMEM and culture for 24 hours at 37oC under 5% CO2(see Note 11)

- Add 50 µL of miRNA mimic stock solution to 500 µL Opti-MEM medium in a sterile 1.5 mL tube

- Add 43 µL of Lipofectamine RNAiMAX to 500 µL Opti-MEM medium in a sterile 1.5 mL tube

- Add diluted miRNA mimic solution to diluted Lipofectamine RNAiMAX solution, gently mix and incubate for 5 minutes at room temperature

- Add the miRNA mimic-lipid complex to 60-80% confluent cells, gently mix and incubate for 8 hours at 37oC under 5% CO2

- Add 50 µL of miRNA control stock solution to 500 µL Opti-MEM medium in a sterile 1.5 mL tube

- Add 43 µL of Lipofectamine RNAiMAX to 500 µL Opti-MEM medium in a sterile 1.5 mL tube

- Add diluted miRNA control solution to diluted Lipofectamine RNAiMAX solution, gently mix and incubate for 5 minutes at room temperature

- Add the miRNA control-lipid complex to 60-80% confluent cells, gently mix and incubate for 8 hours at 37oC under 5% CO2

- Remove the regular mediumfrom the dish containing miRNA mimic-transfected cells, replace with 10 mL pre-warmed (37oC) heavy Lys8 SILAC medium and incubate for 24 hours at 37oC under 5% CO2

- Remove the regular mediumfrom the dish containing miRNA control-transfected cells, replace with 10 mL pre-warmed (37oC) medium-heavy Lys4 SILAC medium and incubate for 24 hours at 37oC under 5% CO2 (see Notes 12 and 13)

3.2 Protein and RNA extraction

- After 24 hours, add trypsin solution to remove cells from the plates and wash by centrifugation in ice-cold PBS at 750 x g, for 5 minutes at 4oC, in a 15 mL Falcon tube

- Suspend the pellets gently in PBS and repeat the centrifugation wash step

- Resuspend cells in 10 mL ice-cold PBS, transfer 5 mL homogeneous aliquots to two different Falcon tubes designated for protein or RNA extraction, and pellet the cells by centrifugation at 750 x g for 5 minutes at 4oC

- For protein extraction, add 250 µL cold RIPA buffer containing protease and phosphatase inhibitors to one aliquot of cells, swirl on ice for 5 minutes, centrifuge at 13,000 x g to remove the cell debris and transfer the supernatants to fresh tubes (see Note 14)

- Mix 50 µg proteins extracted from cells transfected with miRNA mimic with 50 µg of proteins extracted from cells transfected with control

- For total RNA extraction, add 500 µL TRI reagent to the cell aliquot and extract mRNAsand small RNAsusing the Direct-zol RNA kit according to the manufacturer’s instructions

- Prepare cDNA using the reverse transcription kit and carryout polymerase chain reactions following the manufacturer´s protocol (see Note 15)

3.3 SDS-PAGE and treatment of gel pieces

- Add the necessary volume of  4x sample buffer to the miRNA mimic/control mixture

- Electrophorese the samples

- Stain the gel for approximate 2 hours, incubate in destain solution overnight on a rocking table and take a photograph of the protein bands

- Slice the gel lanes into the desired number of horizontal pieces and then chop these further to produce 1 mm3(approximate) pieces using a new scalpel blade for each slice

- The gel pieces from each slice can now be used immediately for the next step or stored at -80oC

- Wash the gel pieces from each slice with 1 mL water for 15 minutes, centrifuge at 750 x g for 5 minutes and discard thesupernatant

- Add 300 L of acetonitrile to the gel pieces, wash for 15 minutes, centrifuge as above and discard the supernatant

- Wash the pieces with 300 L of 100 mM ammonium bicarbonate for 15 minutes, centrifuge as above and discard the supernatant

- Wash the pieces with 300 L of 100 mM ammonium bicarbonate, 50% acetonitrile for 15 minutes, centrifuge as above and discard the supernatant (see Note 16)

- If the gel pieces are still blue, repeat steps 8 and 9

- Wash the pieces as above with 100 L of acetonitrile for 5 minutes (which will cause them to shrink and turn white), centrifuge as above and discard the supernatant

- Dry the pieces in a sterilehood for 10-15 minutes

- Add 50 L of reducing solution and incubate for 1 hour at 56oC, centrifuge as above and discard the supernatant

- Add 50 L alkylation solution, incubate for 30 minutes at room temperature, centrifuge as above and discard the supernatant

- Wash the pieces twice with 300 L of 100 mM ammonium bicarbonate for 15 minutes, centrifuge as above and discard the supernatant

- Wash the pieces with 300 L of 100 mM ammonium bicarbonate, 50% acetonitrile for 15 minutes, centrifuge as above and discard the supernatant

- Add 100 L acetonitrile, incubate for 5 minutes, centrifuge as above and discard the supernatant

- Dry the gel pieces in a sterilehood for 10-15 minutes

3.4 In-geltrypsindigestion

- Add 30 L digestion solution to the gel pieces from each slice and let stand for 30 minutes at room temperature (see Note 17)

- Add a small volume of 20 mM ammonium bicarbonate (without trypsin) so that this solution just covers the gel pieces and incubate at 30oC overnight (at least 16 hours) (see Note 18)

- Add an equal volume of acetonitrile and incubate at 30oC for 30 minutes

- Centrifuge as above and transfer the supernatant containing peptide digests to a fresh tube

- Add 50 L 1% formic acid to the gel pieces and incubate at room temperature for 20 minutes

- Centrifuge as above and add the supernatant containing peptide digests to the same tube as above

- Repeat steps 3-6

- Add 50 L of acetonitrile to the gel pieces and incubate for 10 minutes (they should shrink and turn white again)

- Centrifuge as above and add the supernatant to the same tube as above giving a final volume of 200-400 L containing the peptide digest corresponding to each gel slice

- Dry samples in a vacuum centrifuge at 60oC (see Note 19)

- Suspend the peptide pellets in 25-50 L of 1% formic acid, agitate gently for 30 minutes at room temperature and store the samples at -80oC if required

3.5HPLC, MS analysisand data processing

- Thaw the samples and centrifuge at 13,000 x g for 10 minutes

- Take aliquots from the supernatant gently and transfer to an MS tube

- Dry the tryptic peptides almost to completion in a centrifugal vacuum concentrator and suspend in 10 μL MS solvent

- Analyse peptides using solvent A and B over the desired linear gradient using liquid chromatography tandem mass spectrometry

- Raw MS files can be processed in parallel using MaxQuant and data can be searched against the International Protein Index mouse database using MASCOT Daemon and/or Andromeda softwares (see Note 20)

4 Notes

- Make up all solutions and dilutions with ultra-pure water unless another reagent is required. It is important to work clean and sterile and all solutions must be made fresh before use.

- These are the stock solutions and can be stored at -20oC.Different companies (ThermoFisher, Cambridge Isotope Laboratories, Life Technologies, among others) provide SILAC kits, usually containing only one heavy amino acid (e.g., Lys6). Although they are suited for classical SILAC experiments, they normally lack a second heavy amino acid that is needed for pSILACexperiments. Thus, in our laboratory we acquire the Lys4 (medium-heavy) and Lys8 (heavy)reagents for the pSILAC experiments separately. This introduces a 4 Da mass shift in the heavy Lys-labelled peptide as compared to the medium-heavy Lys-labelled peptide, which allows identification and quantification of peptides in MS analysis.

- Because antibiotics can interfere with the miRNA mimic transfection based on the liposome reagent, these should not be added to the regular DMEM media in which cells are grown initially.

- Dialyzed fetal bovine serum should be used in pSILAC experiments in order to avoid incorporation of unlabeled Lys0 that is normally present in this medium. Importantly, some cell lines may display altered growth patterns in SILAC media because dialyzed serum lacks growth factors. Therefore, when optimising pSILAC experiments, it is recommended to verify if the cells under study are affected by the pSILAC media conditions.

- The cell line should be chosen according to their suitability for the miRNA(s) of interest. To over-express a specific miRNA, it is preferable to choose a cell line that has low endogenous expression of the same miRNA. In contrast, to inhibit a miRNA of interest, choose a cell line with high expression of that miRNA.

- It is important to optimise the correct dose and incubation time for the mimic and/or inhibitor chosen.

- BLOCK-iT™ Alexa Fluor® Red Fluorescent Oligo is a double stranded RNA oligonucleotide that can provide a good indication of transfection efficiency (as indicated by a strong fluorescence) (15).

- Precast gels are the best option but it is possible to use homemade gels if desired. In this case, prepare ‘clean’ stocks ofall gel solutionsandstore as recommended.

- Approximately 200 L will be needed per gel slice. Prepare this solution fresh on the day of use.

- Prepare 40 L of this solution for each gel slice fresh on the day of use.

- One dish is for miRNA mimic transfection and the other is for miRNA negative control transfection. Transfection should be performed when cells reach 60-80% confluence after a 24 hour growth period. Thus, the starting amount of cells should be defined for each cell line in use. For undifferentiated 3T3-L1 pre-adipocytes, we use 0.4 x 106 cells in a 10 mL dish and this yields approximately 70% confluence at the time of transfection.

- In our laboratory we run at least 4 independent biological replicates.

- For each biological replicate, a transfection efficiency control with BLOCK-iTAlexa Fluor Red Fluorescent Oligocan be run in parallel. Efficiency can be visually monitored using an epifluorescence microscope 8 hours after transfection and 24 hours after pulse labelling with SILAC media.

- For each biological sample, it is important to save at least 60 µg of protein for validation studies (e.g., by Western blot analysis). Based on the final pSILAC analysis, it is possible to select the proteins showing the most significant changes in abundance and validate these using commercially-available antibodies.

- Performing reverse transcription polymerase chain reaction analysis of the miRNA of the interest is a good way to check success of the transfection. It is also important to save RNA for further mRNA expression studies of dysregulated proteins since targets are usually regulated at both the mRNA and protein levels by miRNAs. In this case, use High-Capacity cDNA reverse transcription kit.

- The gel pieces should shrink during this stage.

- In this step, the gel pieces should be restored to their original sizes.

- Check after 30 minutes to determine if there is enough solution covering the gel pieces and, if not, add more. Make a note of how much buffer was added in total to each set of gel pieces.

- This could take 2-3 hours.

- Based on the final list of dysregulated proteins, it is possible to select potential direct targets. Check if the 3' un-translated region of the gene matches the miRNA seed sequence for the miRNA of interest. While Western blot analyses can be performed for general target validation, luciferase assays can be used to validate direct targets.

Acknowledgements

DEDG was the recipient of a FAPESP Post-Doctoral Fellowship (BEPE-PD 2014/20380-5) and is funded by the BHF (PG/14/20/30769. JdAF was the recipient of a FAPESP Doctoral Fellowship (BEPE-DR 2014/17012-4),TPO was a recipient of a Visiting Scientist CAPES Science Without Borders Fellowship (BEX 11766-13-1).SEO is funded by the UK Medical Research Council (MC_UU_12012/4).

References

- Bartel DP (2004) MicroRNAs: genomics, biogenesis, mechanism, and function. Cell 116:281-297

- Flynt AS, Lai EC (2008) Biological principles of microRNA-mediated regulation: shared themes amid diversity. Nat Rev Genet 9:831-842

- Pasquinelli AE (2012) MicroRNAs and their targets: recognition, regulation and an emerging reciprocal relationship. Nat Rev Genet 13:271-282

- Wang X (2014) Composition of seed sequence is a major determinant of microRNA targeting patterns. Bioinformatics 30:1377-1383

- http://www.targetscan.org

- http://www.microrna.gr/webServer

- Doran J, Strauss WM (2007) Bio-informatic trends for the determination of miRNA-target interactions in mammals. DNA Cell Biol 26:353-360

- Thomson DW, Bracken CP, Goodall GJ (2011) Experimental strategies for microRNA target identification. Nucleic Acids Res 39:6845-6853

- Vinther J, Hedegaard MM, Gardner PP, Andersen JS, Arctander P (2006) Identification of miRNA targets with stable isotope labeling by amino acids in cell culture. Nucleic Acids Res 34:e107

- Kaller M, Oeljeklaus S, Warscheid B, Hermeking H (2014) Identification of microRNA targets by pulsed SILAC. Methods Mol Biol 1188:327-349

- Ong SE, Mann M (2006) A practical recipe for stable isotope labeling by amino acids in cell culture (SILAC). Nat Protoc 1:2650-2660

- Ong SE, Mann M (2007) Stable isotope labeling by amino acids in cell culture for quantitative proteomics. Methods Mol Biol 359:37-52

- Bauer KM, Hummon AB (2012) Effects of the miR-143/-145 microRNA cluster on the colon cancer proteome and transcriptome. J Proteome Res 11:4744-4754

- Huang TC, Renuse S, Pinto S, Kumar P, Yang Y, Chaerkady R et al (2015) Identification of miR-145 targets through an integrated omics analysis. Mol Biosyst 11:197-207

- Selbach M, Schwanhäusser B, Thierfelder N, Fang Z, Khanin R, Rajewsky N (2008) Widespread changes in protein synthesis induced by microRNAs. Nature 455:58-63

- Schwanhäusser B, Gossen M, Dittmar G, Selbach M (2009). Global analysis of cellular protein translation by pulsed SILAC. Proteomics 9:205-2099

Figure 1. pSILAC experimental design. Cells are cultivated in regular DMEM media containing light lysine (Lys 0) in two cell culture dishes for 24 hours and then transfected with the miRNA mimic of interest or the negative control. After 8 hours, normal growth medium from both cell populations is replaced with SILAC media containing either heavy lysine [13C615N2 -L-lysine (Lys8); red font] or medium-heavy lysine [2H4-L-lysine (Lys4); blue font] for the miRNA mimic cells and miRNA negative control cells, respectively. After 24 hours, protein extracts from both cell populations are combined and subjected to SDS-PAGE separation, digested with trypsin and submitted to high performance liquid chromatography tandem mass spectrometry (HPLC/MS/MS). The ratio of heavy and medium-heavy peptides reflects differences in the translation of the corresponding protein induced by the miRNA mimic and the light peptides are ignored. A ratio of heavy (Lys8) /medium-heavy (lys4) peptides smaller than 1 indicates a potential miRNA target.