Title:

Current Concepts and Future Perspectives in Computer-Assisted Navigated Total Knee Replacement
Authors:

Tomoyuki Matsumoto, MD, PhD1, Naoki Nakano, MD, PhD1,2, John E Lawrence, MRCS2 & Vikas Khanduja, MA, MSc, FRCS (Orth)2
Institutions:

1. Department of Orthopaedic Surgery, Kobe University Graduate School of Medicine, Kobe, Japan
2. Department of Trauma & Orthopaedic Surgery, Addenbrooke’s Cambridge University Hospital, Cambridge, United Kingdom

Corresponding Author: 

Tomoyuki Matsumoto, MD, PhD
Department of Orthopaedic Surgery

Kobe University Graduate School of Medicine

7-5-1, Kusunoki-cho, Chuo-ku, 
Kobe, 650-0017 Japan

Tel: 81-78-382-5985 / Fax: 81-78-351-6944

E-mail: mastun@m4.dion.ne.jp
Abstract

Total knee replacements (TKR) aim to restore stability of the tibiofemoral and patella-femoral joints and provide relief of pain and improved quality of life for the patient. In recent years, computer-assisted navigation systems have been developed with the aim of reducing human error in joint alignment and improving patient outcomes. Whilst this technology helps surgeons to achieve improved component positioning, it is important to consider the clinical and functional implications, as well as the added costs and potential learning curve associated with adopting new technology. In this article, we examine the current body of evidence surrounding the use of navigation systems and discuss their current and future role in total knee replacement.
Introduction
Total Knee Replacement (TKR) is a highly successful procedure and the main aim in performing a TKR is to abolish pain and restore mobility with a high level of patient satisfaction


1-3
. This is in technical terms translates to a well-balanced and well-aligned tibiofemoral (TF) and patellofemoral (PF) articulation. Whilst success rates for this procedure are high, technical errors during surgery remain the major cause of implant failure4,5 and possibly patient dissatisfaction as well. This has driven the development of computer-assisted navigation systems that are aimed at optimising joint alignment by ensuring accuracy in bone resection, component implantation and soft tissue balancing. 

However, the utility of such systems remains highly controversial. Several large studies have shown an improvement in post-operative radiological alignment with their use, however, studies of patient satisfaction and other clinical outcomes have shown no significant improvements in the short or mid-term follow-up6-19. Long-term outcomes such as revision rates remain unclear and require careful investigation in the near future20. 
This objective of this article therefore is to review the evidence and present the arguments surrounding the use of computer-assisted navigation systems in total knee replacement, and also to highlight the key areas for future investigation.

Materials and Methods

We conducted a literature search of journal articles using the PubMed (MEDLINE) and EMBASE databases in June 2017. No date restrictions were placed. From the search results, articles with irrelevant titles were discounted, with remaining abstracts examined for relevance. Reference listings of the remaining articles were also searched and scrutinised for relevance. 

Component Orientation and Restoration of the Mechanical Axis
Since the introduction of computer-assisted navigation systems for TKR, much focus has been placed on the post-operative radiological alignment achieved with their use, when compared with conventional arthroplasty techniques6. In most studies, a significant improvement in the navigated compared with conventional TKR is reported with fewer outliers in several alignment parameters including mechanical alignment and coronal and sagittal orientation of the component
4

, 11, 13, 14, 19, 21, 22-30. However, some studies have reported no significant improvement in alignment with the use of a navigation system
5-9

. Several meta-analyses and systematic reviews have been conducted to investigate this controversy; these are summarised in Table 1.
A meta-analysis by Bauwens et al. in 2007 based on 33 studies including 11 randomised controlled trials (RCTs) found that a navigated TKR could not reach a significant benefit in terms of alignment over a conventional TKR10
. However, in the same year, Mason et al. conducted a meta-analysis including 29 studies (9 RCTs) and concluded that a navigated TKR resulted in a significant improvement in component orientation and restoration of mechanical axis compared with the conventional technique11
. They argued that an analytic error in Bauwens’s review might be at fault for the differing conclusions of the two studies. Indeed, several more recent meta-analyses have reached the same conclusion of superiority in restoring the mechanical axis of the lower limb with more precise component orientation when navigation systems are used

12-15

. Based on current evidence, therefore, use of computer-assisted navigation systems results in superior alignment of the limb and component orientation compared with conventional techniques.
This superiority in the restoration of the mechanical axis does, however, have potential drawbacks. Navigation systems differ to conventional surgical techniques in that they utilise the mechanical axis, rather than the anterior femoral cortex for sizing and orientation of the components. Although this results in superior mechanical alignment, we have previously reported the potential for errors in alignment especially in the sagittal plane13. We compared thirty patients who underwent a TKR utilising the Vector VisionR (Depuy–Brain LAB, Heimstetten, Germany) navigation system with thirty patients who underwent a conventional TKR using pre and post-operative anterior-posterior (AP) and lateral radiographs. Although the AP radiographs revealed improved alignment in the navigation group, the lateral radiographs showed a significant increase in the femoral AP dimension post-operatively in the navigation group. The consequences of this increase in the AP dimension were further examined by Minoda et al. in a simulation study which highlighted a higher risk of anterior femoral cortex notching when a navigation system is utilised.

16

 Further studies of AP alignment following the use of navigation systems have highlighted the importance of the determined knee centre utilised by the navigation system. Furthermore, we have also shown that navigation systems utilising the posterior knee centre as a reference eliminated the increased AP dimension that resulted from the use of the anterior knee centre. A radiological study by Chung et al revealed a 3° difference between the anterior and posterior knee centres, giving a likely explanation for the difference in component placement

17

. It is therefore recommended that the distal femoral cut is made in slight flexion in relation to the mechanical axis when using navigation systems that utilise the anterior knee centre as a reference point.
Appropriate axial rotational of the components in a TKR has been also recognised as an important issue for reducing patellar mal-tracking and anterior knee pain. Several studies have attempted to compare the accuracy with and without a navigation system, with no overall consensus on the effects on rotational alignment
 ADDIN EN.CITE 
5,18-27
. However, it should be noted that the rotational alignment is subject to variations during the procedure itself because of movement of the pins, component insertion, bone loss, and difficulty in locating and registering the epicondyles in a TKR performed with a navigation system28
.
Clinical Outcomes
Although improved component alignment with navigation systems is encouraging, like any new medical device a genuine clinical benefit must be demonstrated before its use can be fully justified. Consequently, there have been multiple studies comparing clinical outcomes in navigated versus non-navigated TKRs at various periods of follow-up. Encouragingly, some studies of early follow-up (less than five years) have shown improved functional outcome (as evaluated by the Oxford Knee Score and Knee Society Score (KSS)) when computer-assisted navigation has been utilised
 ADDIN EN.CITE 
29,30
. However, these results are contradicted equally by similar studies that show no clinical benefit with the use of navigation systems
 ADDIN EN.CITE 
24,31
. Furthermore, two meta-analyses comparing short term clinical outcomes in navigated and the conventional TKR have also produced differing results, leaving no current consensus on whether navigation systems offer a clinical benefit in the short-term (see Table 2). 
Several studies have investigated the mid-term clinical outcome of navigated TKR (see Table 3). Follow up in these studies has ranged from five to ten years, and although many studies have demonstrated improved biomechanics, most of them have demonstrated that this does not result in improved patient-reported outcome scores15-20. Quite recently, Baumbach et al. in a study of 217 TKRs reported that the 10-year survival rates of the conventional TKR group and the navigated TKR group were 87% and 98% respectively, and this difference was statistically significant (P< 0.05). However, there are no meta-analyses or systematic reviews published for mid or long-term follow up in this group of patients. Continued follow-up in this cohort will shed light on any long-term clinical benefits gained from navigation systems. 
Soft Tissue Balancing

Current registry data attributes between 16.2 and 20.3% of prosthesis failure to inadequate soft tissue balancing, which has historically relied on subjective intra-operative assessment by the surgeon

32-34

. In order to address this inadequacy, several assessment tools such as the tensor/balancer were introduced to enable a more precise assessment of the soft tissues

35-38

. In addition, navigation systems have been developed with the ability to accurately assess knee kinematics and range of motion intra operatively, with promising early results
 ADDIN EN.CITE 
30,39,40
. Matsumoto and Muratsu et al. investigated the use of navigation systems with an offset type tensor and reported the importance of reduction of the patella-femoral joint and femoral component placement in soft tissue balancing
 ADDIN EN.CITE 
36,41
. They reported the advantage of tibia first technique with a navigation system-assisted tensor in predicting final soft tissue balance before the femoral bone cut

42


. Following femoral component placement, the range of motion tracking by the navigation system, including assessment of tibial rotation and anterior translation, can confirm the final soft tissue balance (Fig. 1). This intra-operative assessment plays an important role in restoring normal kinematics to the knee, which is key in ensuring patient satisfaction
43,44
. 

Similar studies have also demonstrated the utility of navigation systems in ensuring soft tissue balancing regardless of procedure type. Matsumoto et al. assessed intra-operative soft tissue balancing using a navigation system in both cruciate-sparing and posterior-stabilised TKR and demonstrated a significant difference between the two

45

. The use of a navigation system allowed for fine intra-operative adjustments in balancing to be made, ensuring optimum post-operative kinematics.

Although these studies provide encouraging results, it is noteworthy that the use of navigation systems is limited to non-weight bearing conditions, and assessment of kinematics under weight-bearing conditions presently requires the use of fluoroscopy or point cluster

44

.
Future Technologies

Although navigation systems offer improved component orientation and intra-operative soft tissue assessment, the lack of demonstrable clinical benefit combined with significant additional cost, increased operative time and extra instrumentation means their use amongst orthopaedic surgeons remains infrequent

46-48

. Furthermore, the development of newer technology in joint replacement e.g. patient matched instrumentation and robotics may render navigation systems obsolete. 
Patient-specific jigs are created using pre-operative imaging and can provide optimal prosthetic alignment with promising results. Several studies have investigated component orientation, operative time and cost in conventional, patient-specific and navigation-assisted TKR. MacDessi et al. recently reported that patient-specific TKR achieved similar accuracy when compared to navigated and conventional TKR in mechanical alignment (91.3%, 90.7% and 80.4% respectively within 3° of neutral alignment). Additionally, patient-specific procedures were significantly shorter (80.2 min in patient-specific TKR, 110.2 min in navigated TKR, 86 min in conventional TKR)

49

. A further study by Watters et al. reported that patient-specific TKR reduced operative time by 67 minutes and was associated with lower total procedure-related cost compared with navigated TKR50
. In addition to this reduction in theatre time, the study attributed the reduction in cost to reductions in the hardware, software, and maintenance costs associated with computer-assisted navigation. 
Sensor technology is an emerging concept in joint replacement that allows intra-operative measurement and localisation of peak loads across the medial and lateral tibiofemoral interfaces following implantation of the prostheses, which in turn allows for fine surgical adjustments to be made in order to optimise balancing. Gustke et al. assessed intra-operative soft tissue tension with a sensor, which replaced the geometric tibial insert trials for patients undergoing TKRs


51
. This allowed outcomes to be compared in those patients who were found to have balanced (n=113) and unbalanced joints (n=15) intra-operatively. The study found that 96.7% of those with balanced joints reported being satisfied or very satisfied one year post-operatively, compared to 82.1% of those in the unbalanced group. Furthermore, they identified superior outcomes in the balanced group compared with the unbalanced group assessed by KSS, WOMAC, and activity level scores
 ADDIN EN.CITE 
52,53
. 
Although this sensor technology may represent a more readily accessible method of assessing soft tissue balancing, unlike navigation systems its use is limited to conditions after prosthetic implantation. To this end, navigation systems remain a reliable method for ensuring prosthetic alignment is optimal prior to implantation.

Conclusions

The current body of evidence shows that the use of computer navigation systems for TKR significantly reduces outliers in the mechanical axis and coronal prosthetic position. In addition, navigation systems offer an objective assessment of soft tissue balancing that had previously not been available. Although these benefits represent a technical superiority to conventional arthroplasty techniques, there is limited evidence to show long-term clinical benefit with the use of navigation systems, with only a small number of studies showing improvement in outcome scores at short-term follow-up. The increased costs and operative time associated with their use as well as the emergence of more affordable and patient-specific technologies make it unlikely that navigation systems will become more widely used in the near future. Large, high-quality studies with long-term follow up of patients receiving navigation-assisted TKR, along with the continued development of improved clinical outcome measures, will be essential if we are to fully evaluate the precise role of navigation systems in total knee replacement surgery.
Figure Legends

Figure 1 

Soft tissue balancing with tibia first technique

A. After the tibial bone cut and step-by-step release of soft tissue, surgeons can assess intraoperative basic soft tissue balance including joint gap and varus/valgus balance with an offset type tensor and navigation system. Then, based on the recorded soft tissue balance data, surgeons can plan the amount of bone cut, coronal alignment, prosthetic positioning, soft tissue balance, and rotational alignment (right navigation panel). 

B. Following femoral cut based on the planning on the navigation screen, surgeons can finally assess intraoperative soft tissue balance with femoral component placement and confirm the equivalence to the basic soft tissue balance. In addition, surgeons can assess kinematic parameters including tibial rotation and anterior translation throughout the range of motion (right navigation panel). 
References

1.
Insall JN, Binazzi R, Soudry M, Mestriner LA. Total knee arthroplasty. Clin Orthop Relat Res. Jan-Feb 1985(192):13-22.

2.
Insall J, Tria AJ, Scott WN. The total condylar knee prosthesis: the first 5 years. Clin Orthop Relat Res. Nov-Dec 1979(145):68-77.

3.
Dorr LD, Boiardo RA. Technical considerations in total knee arthroplasty. Clin Orthop Relat Res. Apr 1986(205):5-11.

4.
Miyasaka T, Kurosaka D, Saito M, Omori T, Ikeda R, Marumo K. Accuracy of Computed Tomography-Based Navigation-Assisted Total Knee Arthroplasty: Outlier Analysis. The Journal of arthroplasty. Jan 2017;32(1):47-52.

5.
Hiscox CM, Bohm ER, Turgeon TR, Hedden DR, Burnell CD. Randomized trial of computer-assisted knee arthroplasty: impact on clinical and radiographic outcomes. The Journal of arthroplasty. Dec 2011;26(8):1259-1264.

6.
Kim YH, Kim JS, Choi Y, Kwon OR. Computer-assisted surgical navigation does not improve the alignment and orientation of the components in total knee arthroplasty. J Bone Joint Surg Am. Jan 2009;91(1):14-19.

7.
Kim YH, Kim JS, Yoon SH. Alignment and orientation of the components in total knee replacement with and without navigation support: a prospective, randomised study. The Journal of bone and joint surgery. British volume. Apr 2007;89(4):471-476.

8.
Lutzner J, Krummenauer F, Wolf C, Gunther KP, Kirschner S. Computer-assisted and conventional total knee replacement: a comparative, prospective, randomised study with radiological and CT evaluation. The Journal of bone and joint surgery. British volume. Aug 2008;90(8):1039-1044.

9.
Stulberg SD, Yaffe MA, Koo SS. Computer-assisted surgery versus manual total knee arthroplasty: a case-controlled study. J Bone Joint Surg Am. Dec 2006;88 Suppl 4:47-54.

10.
Bauwens K, Matthes G, Wich M, et al. Navigated total knee replacement. A meta-analysis. J Bone Joint Surg Am. Feb 2007;89(2):261-269.

11.
Mason JB, Fehring TK, Estok R, Banel D, Fahrbach K. Meta-analysis of alignment outcomes in computer-assisted total knee arthroplasty surgery. J Arthroplasty. Dec 2007;22(8):1097-1106.

12.
Brin YS, Nikolaou VS, Joseph L, Zukor DJ, Antoniou J. Imageless computer assisted versus conventional total knee replacement. A Bayesian meta-analysis of 23 comparative studies. International orthopaedics. Mar 2011;35(3):331-339.

13.
Hetaimish BM, Khan MM, Simunovic N, Al-Harbi HH, Bhandari M, Zalzal PK. Meta-analysis of navigation vs conventional total knee arthroplasty. J Arthroplasty. Jun 2012;27(6):1177-1182.

14.
Cheng T, Zhao S, Peng X, Zhang X. Does computer-assisted surgery improve postoperative leg alignment and implant positioning following total knee arthroplasty? A meta-analysis of randomized controlled trials? Knee surgery, sports traumatology, arthroscopy : official journal of the ESSKA. Jul 2012;20(7):1307-1322.

15.
Fu Y, Wang M, Liu Y, Fu Q. Alignment outcomes in navigated total knee arthroplasty: a meta-analysis. Knee surgery, sports traumatology, arthroscopy : official journal of the ESSKA. Jun 2012;20(6):1075-1082.

16.
Minoda Y, Kobayashi A, Iwaki H, et al. The risk of notching the anterior femoral cortex with the use of navigation systems in total knee arthroplasty. Knee surgery, sports traumatology, arthroscopy : official journal of the ESSKA. Jun 2010;18(6):718-722.

17.
Chung BJ, Kang YG, Chang CB, Kim SJ, Kim TK. Differences between sagittal femoral mechanical and distal reference axes should be considered in navigated TKA. Clin Orthop Relat Res. Sep 2009;467(9):2403-2413.

18.
Chauhan SK, Scott RG, Breidahl W, Beaver RJ. Computer-assisted knee arthroplasty versus a conventional jig-based technique. A randomised, prospective trial. The Journal of bone and joint surgery. British volume. Apr 2004;86(3):372-377.

19.
Czurda T, Fennema P, Baumgartner M, Ritschl P. The association between component malalignment and post-operative pain following navigation-assisted total knee arthroplasty: results of a cohort/nested case-control study. Knee surgery, sports traumatology, arthroscopy : official journal of the ESSKA. Jul 2010;18(7):863-869.

20.
Ishida K, Matsumoto T, Tsumura N, et al. Mid-term outcomes of computer-assisted total knee arthroplasty. Knee surgery, sports traumatology, arthroscopy : official journal of the ESSKA. Jul 2011;19(7):1107-1112.

21.
Matziolis G, Krocker D, Weiss U, Tohtz S, Perka C. A prospective, randomized study of computer-assisted and conventional total knee arthroplasty. Three-dimensional evaluation of implant alignment and rotation. J Bone Joint Surg Am. Feb 2007;89(2):236-243.

22.
Oberst M, Bertsch C, Wurstlin S, Holz U. [CT analysis of leg alignment after conventional vs. navigated knee prosthesis implantation. Initial results of a controlled, prospective and randomized study]. Der Unfallchirurg. Nov 2003;106(11):941-948.

23.
Restrepo C, Hozack WJ, Orozco F, Parvizi J. Accuracy of femoral rotational alignment in total knee arthroplasty using computer assisted navigation. Computer aided surgery : official journal of the International Society for Computer Aided Surgery. May 2008;13(3):167-172.

24.
Schmitt J, Hauk C, Kienapfel H, et al. Navigation of total knee arthroplasty: rotation of components and clinical results in a prospectively randomized study. BMC musculoskeletal disorders. 2011;12:16.

25.
Stockl B, Nogler M, Rosiek R, Fischer M, Krismer M, Kessler O. Navigation improves accuracy of rotational alignment in total knee arthroplasty. Clin Orthop Relat Res. Sep 2004(426):180-186.

26.
van der Linden-van der Zwaag HM, Bos J, van der Heide HJ, Nelissen RG. A computed tomography based study on rotational alignment accuracy of the femoral component in total knee arthroplasty using computer-assisted orthopaedic surgery. International orthopaedics. Jun 2011;35(6):845-850.

27.
Zorman D, Etuin P, Jennart H, Scipioni D, Devos S. Computer-assisted total knee arthroplasty: comparative results in a preliminary series of 72 cases. Acta orthopaedica Belgica. Dec 2005;71(6):696-702.

28.
Burnett RS, Barrack RL. Computer-assisted total knee arthroplasty is currently of no proven clinical benefit: a systematic review. Clinical orthopaedics and related research. Jan 2013;471(1):264-276.

29.
Hoffart HE, Langenstein E, Vasak N. A prospective study comparing the functional outcome of computer-assisted and conventional total knee replacement. The Journal of bone and joint surgery. British volume. Feb 2012;94(2):194-199.

30.
Pang HN, Yeo SJ, Chong HC, Chin PL, Ong J, Lo NN. Computer-assisted gap balancing technique improves outcome in total knee arthroplasty, compared with conventional measured resection technique. Knee surgery, sports traumatology, arthroscopy : official journal of the ESSKA. Sep 2011;19(9):1496-1503.

31.
Johnson DR, Dennis DA, Kindsfater KA, Kim RH. Evaluation of total knee arthroplasty performed with and without computer navigation: a bilateral total knee arthroplasty study. J Arthroplasty. Mar 2013;28(3):455-458.

32.
Fehring TK, Odum S, Griffin WL, Mason JB, Nadaud M. Early failures in total knee arthroplasty. Clinical orthopaedics and related research. Nov 2001(392):315-318.

33.
Paxton EW, Furnes O, Namba RS, Inacio MC, Fenstad AM, Havelin LI. Comparison of the Norwegian knee arthroplasty register and a United States arthroplasty registry. The Journal of bone and joint surgery. American volume. Dec 21 2011;93 Suppl 3:20-30.

34.
Sharkey PF, Hozack WJ, Rothman RH, Shastri S, Jacoby SM. Insall Award paper. Why are total knee arthroplasties failing today? Clinical orthopaedics and related research. Nov 2002(404):7-13.

35.
Griffin FM, Insall JN, Scuderi GR. Accuracy of soft tissue balancing in total knee arthroplasty. The Journal of arthroplasty. Dec 2000;15(8):970-973.

36.
Matsumoto T, Muratsu H, Tsumura N, et al. Joint gap kinematics in posterior-stabilized total knee arthroplasty measured by a new tensor with the navigation system. Journal of biomechanical engineering. Dec 2006;128(6):867-871.

37.
Mihalko WM, Saleh KJ, Krackow KA, Whiteside LA. Soft-tissue balancing during total knee arthroplasty in the varus knee. The Journal of the American Academy of Orthopaedic Surgeons. Dec 2009;17(12):766-774.

38.
Winemaker MJ. Perfect balance in total knee arthroplasty: the elusive compromise. The Journal of arthroplasty. Jan 2002;17(1):2-10.

39.
Tigani D, Sabbioni G, Ben Ayad R, Filanti M, Rani N, Del Piccolo N. Comparison between two computer-assisted total knee arthroplasty: gap-balancing versus measured resection technique. Knee surgery, sports traumatology, arthroscopy : official journal of the ESSKA. Oct 2010;18(10):1304-1310.

40.
Matsumoto T, Muratsu H, Kubo S, et al. Soft tissue balance using the tibia first gap technique with navigation system in cruciate-retaining total knee arthroplasty. International orthopaedics. Oct 27 2011.

41.
Muratsu H, Matsumoto T, Kubo S, et al. Femoral component placement changes soft tissue balance in posterior-stabilized total knee arthroplasty. Clinical biomechanics (Bristol, Avon). Nov 2010;25(9):926-930.

42.
Matsumoto T, Muratsu H, Kubo S, et al. Soft tissue balance using the tibia first gap technique with navigation system in cruciate-retaining total knee arthroplasty. International orthopaedics. May 2012;36(5):975-980.

43.
Dennis DA, Komistek RD, Mahfouz MR, Walker SA, Tucker A. A multicenter analysis of axial femorotibial rotation after total knee arthroplasty. Clinical orthopaedics and related research. Nov 2004(428):180-189.

44.
Siston RA, Giori NJ, Goodman SB, Delp SL. Intraoperative passive kinematics of osteoarthritic knees before and after total knee arthroplasty. Journal of orthopaedic research : official publication of the Orthopaedic Research Society. Aug 2006;24(8):1607-1614.

45.
Matsumoto T, Kubo S, Muratsu H, et al. Different pattern in gap balancing between the cruciate-retaining and posterior-stabilized total knee arthroplasty. Knee surgery, sports traumatology, arthroscopy : official journal of the ESSKA. Oct 2013;21(10):2338-2345.

46.
Jenny JY, Miehlke RK, Giurea A. Learning curve in navigated total knee replacement. A multi-centre study comparing experienced and beginner centres. The Knee. Mar 2008;15(2):80-84.

47.
Li CH, Chen TH, Su YP, Shao PC, Lee KS, Chen WM. Periprosthetic femoral supracondylar fracture after total knee arthroplasty with navigation system. The Journal of arthroplasty. Feb 2008;23(2):304-307.

48.
Novak EJ, Silverstein MD, Bozic KJ. The cost-effectiveness of computer-assisted navigation in total knee arthroplasty. The Journal of bone and joint surgery. American volume. Nov 2007;89(11):2389-2397.

49.
MacDessi SJ, Jang B, Harris IA, Wheatley E, Bryant C, Chen DB. A comparison of alignment using patient specific guides, computer navigation and conventional instrumentation in total knee arthroplasty. Knee. Mar 2014;21(2):406-409.

50.
Watters TS, Mather RC, 3rd, Browne JA, Berend KR, Lombardi AV, Jr., Bolognesi MP. Analysis of procedure-related costs and proposed benefits of using patient-specific approach in total knee arthroplasty. Journal of surgical orthopaedic advances. Summer 2011;20(2):112-116.

51.
Gustke KA, Golladay GJ, Roche MW, Jerry GJ, Elson LC, Anderson CR. Increased satisfaction after total knee replacement using sensor-guided technology. The bone & joint journal. Oct 2014;96-B(10):1333-1338.

52.
Gustke KA, Golladay GJ, Roche MW, Elson LC, Anderson CR. A new method for defining balance: promising short-term clinical outcomes of sensor-guided TKA. The Journal of arthroplasty. May 2014;29(5):955-960.

53.
Gustke KA, Golladay GJ, Roche MW, Elson LC, Anderson CR. Primary TKA Patients with Quantifiably Balanced Soft-Tissue Achieve Significant Clinical Gains Sooner than Unbalanced Patients. Advances in orthopedics. 2014;2014:628695.


 [image: image1.emf] 

* 


1

