Chapter 24

SILAC mass spectrometry profiling: a psychiatric disorder perspective

Daniella Duque-Guimarães1,2*,Thomas Prates Ong1,3*,Juliana de Almeida-Faria1,4*, Paul C. Guest5, Susan E. Ozanne1+

- University of Cambridge Metabolic Research Laboratories and MRC Metabolic Diseases Unit, Wellcome Trust-MRC Institute of Metabolic Science, Addenbrooke’s Hospital, Cambridge, United Kingdom

- Department of Physiology and Biophysics, Institute of Biomedical Sciences, University of São Paulo, São Paulo, Brazil

- Food Research Center (FoRC) and Faculty of Pharmaceutical Sciences, University of São Paulo, São Paulo, Brazil

- Department of Pharmacology, Faculty of Medical Sciences, State University of Campinas, Alexander Fleming St, Campinas, Sao Paulo, Brazil

- Laboratory of Neuroproteomics, Department of Biochemistry and Tissue Biology, Institute of Biology, University of Campinas (UNICAMP), Rua Monteiro Lobato 255 F/01, Cidade Universitária ZeferinoVaz, 13083-862, Campinas, Brazil

Running title: SILAC methodology

* These authors contributed equally

+ Corresponding author Susan E. Ozanne, University of Cambridge Metabolic Research Laboratories and MRC Metabolic Diseases Unit, Wellcome Trust-MRC Institute of Metabolic Science, Addenbrooke’s Hospital, Cambridge, United Kingdom. Telephone: +44 (0)1223-762636. E-mail: seo10@cam.ac.uk

Abstract

Stable isotope labelling by amino acids in cell culture (SILAC) is a technique that allows proteomic profiling of cells. In this chapter we describe a protocol for the identification and quantification newly synthesised proteins. The methodology can be applied to any cultured cell system with relevance to schizophrenia, affective disorders and autism spectrum conditions including those addressing responses to pharmacological stimuli.

Key Words Stable isotope labelling by amino acids, cell culture, drug responses, proteomics, psychiatric disorders

1 Introduction

Despite decades of research, the disease mechanisms underlying mental illness are not completely understood. The main hypotheses have focussed on perturbations in neurotransmitter systems that regulate mood, behaviour and cognition, and currently prescribed psychiatric medications mostly target these systems (1). However, diseases such as schizophrenia (2, 3), major depressive disorder (4), bipolar disorder (5) and autism spectrum conditions (6, 7) have also been associated with peripheral deficits in metabolism including dyslipidaemia, hyperinsulinaemia and type 2 diabetes. For example, perturbations of the cholesterol system and lipid transport proteins have been described in most psychiatric disorders (8). Although such effects can result from currently available medications, they have also been observed in some patients at first onset before any medications have been administered (9, 10). Thus peripheral cells involved in regulation of metabolism as well those from central neuronal systems are now under intensive investigation as a means of identifying novel biomarkers and drug targets for improved diagnosis and treatment of individuals affected by these disorders (11). It is also important to know the proteomic responses of such cells to current or novel medications (12).

Stable isotope labelling by amino acids in cell culture (SILAC) is a mass spectrometry (MS)-based proteomic profiling method that has been used to identify proteomic changes in various experimental models (13). It is a quantitative method based onlabelling of cellular proteomes using two sets of amino acids that have been tagged with different molecular isotopes (e.g., 13C and 14C) (14). This generates a mass difference between two proteomes, creating light and heavy versions of each peptide that can be distinguished and quantitated by mass spectrometry (MS) analysis (14, 15). The classical version of SILAC involves growing cells in media with natural “light” or “heavy” amino acids for several days to allow virtually complete incorporation of the mass-tagged amino acids into the respective cellular proteomes. Pulsed SILAC (pSILAC) is a variation of this method that can be used to investigate biosynthetic regulation of proteins(16, 17). This approach is based on growing two distinct cell cultures in the presence of normal amino acids and prior to challenging the system with a specific compound, changing media of both cell cultures with media containing medium-heavy and heavy amino acids, respectively. Both cell cultures are then cultivated for a short period of time after the challengeto investigatethecompoundeffects on protein translation. Both methodologies, SILAC and pSILAC, allow monitoring the possible differences in de novo protein production after the respective treatment.

Here, we present a detailed protocol for identification and quantification of protein translational changes between two cultured cell populations. These could be, for example, cultured primary cells from animal models of a psychiatric disorder or cell lines cultured in the presence or absence of a specific pharmacological agent. Examples of cell lines that could be utilized include those modelling pituitary cells (e.g. AtT-20) (18), adipocytes (e.g. 3T3-L1) (19) or pancreatic beta cell lines (e.g. INS1) (20). In a typical experiment, cells are grown in two different culture dishes containing standard medium, which contains normal light amino acid (Lys0). After an appropriate incubation period and before treatment with the pharmacological agent, the Lys0 standard medium is replaced with one containing either an intermediate (Lys4) or heavy (Lys8) amino acid in the cultures. Following the treatment with the agent, protein extracts from both cell populations are combined and subjected to sodium dodecyl sulphate polyacrylamide gel electrophoresis (SDS-PAGE). After this, the protein bands are excised and enzymatically digested with an enzyme such as trypsin, and the resulting peptides are analysed by liquid chromatography tandem MS (LC-MS/MS). The ratio of heavy and medium-heavy peptides reflects differences in translation of the corresponding proteins as a consequence of the two different culture conditions (e.g. ± pharmacological agent) (Fig. 1).

2 Materials (see Note 1)

2.1 Reagents, buffers and media

- L-arginine (Arg0) in phosphate buffered saline, pH 7.4 (PBS)

- 4,4,5,5-D4 L-lysine-2 HCl (Lys4) in PBS (see Note 2)

- 13C615N2 L-lysine-2 HCl (Lys8) in PBS

- Dulbecco's Modified Eagle Medium (DMEM), 10% antibiotic-free calf serum (heat-inactivated)

- SILAC-DMEM minus Lys and Arg

- Dialysed fetal bovine serum (FBS) (see Note3)

- Lys4 SILAC-DMEM: 0.08 mg/mL L-Arg, 0.15 mg/mL Lys4, 10% FBS(10%) in 500 mL 0.22 µm filter-sterilized SILAC-DMEM (see Note 4)

- Lys8 SILAC-DMEM: L-Arg (0.08 mg/mL), 0.15 mg/mL Lys8, 10% FBS in 500 mL 0.22 µm filter-sterilized SILAC-DMEM

2.2 Cells and culture materials

- Cell line or cultured primary cells of choice (see Note 5)

- Sterile 10 cm cell culture dishes (see Note 6)

- 15 mL Falcon tubes (see Note 6)

- 1.5 mL micro-centrifuge tubes (see Note 6)

- Trypsin (cell culture quality for cell dissociation)

- Pharmacological agent and vehicle control as appropriate (see Note 7)

- RIPA buffer: 25 mM Tris-HCl (pH 7.6), 150 mM NaCl, 1% NP-40, 0.1% sodium 3α, 12α-dihydroxy-5β-cholan-24-oic acid (SDS)

- 100x stock Halt™ protease and phosphatase inhibitor (ThermoFisher Scientific; Waltham, MA, USA)

- BCA protein assay kit or similar

- 0.125–1.0 mg/mL bovine serum albumin (BSA) protein standards

2.3 SDS-PAGE reagents

- Sample loading buffer

- SDS-PAGE gel and solutions (see Note 8)

- Stain: 1 mg/mL filter-sterilised Coomassie Blue R250, 40% methanol (CH3OH) and 10% acetic acid (CH3CO2H)

- De-stain: filter sterilized 20% CH3OH and 10% CH3CO2H

2.4 In-gel digestion solutions

- 100 mM ammonium bicarbonate (NH4HCO3)

- 100 mM NH4HCO3, 50% acetonitrile (CH3CN)

- Reduction agent: 100 mM NH4HCO3, 10 mM dithiothreitol (DTT) (see Note 9)

- Alkylation agent: 100 mM NH4HCO3, 20 mM iodoacetamide (IAA) (see Note 9)

- Trypsin: 12.5g/mL MS grade porcine trypsin in 20 mM NH4HCO3 (see Note 10)

- 1% formic acid (HCO2H)

2.5 HPLC solvents,MS analysis equipment and data processing

- MS solvent: 0.1% trifluoroacetic acid (C2HF3O2), 3% CH3CN

- Buffer A: 0.1% HCO2H

- Buffer B:100% CH3CN

- 100Å, 5 μm, 180 μm × 20 mm C18 Symmetry trap and 130Å, 1.7 μm, 75 μm × 250 mm C18 BEH analytical columns (Waters Corporation; Milford, MA, USA)

- NanoAcquity uPLC (Waters Corporation)

- High resolution MS instrument (see Note 11)

- Maxquant (v1.5.3.30) (www.maxquant.org)

2.6 Data analysis

- Microsoft Office Excel (https://www.office.com/), R (https://www.r-project.org) and conjunction with Bioconductor (http://www.bioconductor.org)

3 Methods

3.1 Cell culture and amino acid incorporation

- Seed cells in two dishes in 10 mL DMEM medium (or other appropriate medium) and incubate overnight at 37oC under 5% CO2/95% air (see Note 12)

- Remove the medium from one dish and replace with 10 mL pre-warmed (37oC) Lys8 SILAC medium

- Add pharmacological agent to this dish and incubate for 24 hours at 37oC under 5% CO2/95% air

- Remove the medium from the other dish and replace this with 10 mL pre-warmed (37oC) Lys4 SILAC medium

- Add vehicle to this dish and incubate 24 h at 37oC under CO2/95% air (see Note 13)

3.2 Protein extraction

- Add trypsin solution to the dishes to remove the cells

- Wash the recovered cells by centrifugation in ice-cold PBS at 750 x g for 5 min at 4oC in a 15 mL tube

- Gently suspend pellets in PBS and repeat the centrifugation as above

- Re-suspend cells in 10 mL PBS (ice-cold) and transfer 5 mL aliquots to 15 mL tubes on ice

- Pellet cells by centrifugation as above

- Add 250 µL ice-cold RIPA buffer containing protease and phosphatase inhibitors to one cell aliquot

- Leave on ice 5 min and centrifuge at 13,000 x g to remove cell debris

- Transfer the supernatants to fresh tubes (see Note 14)

- Quantify the amount of protein using BCA assay kit

- Combine 50 µg protein from pharmacological agent-treated cells with 50 µg of protein from vehicle-treated cells

3.3 SDS-PAGE and preparation of gel pieces for trypsinization

- Add 4x sample buffer to the extracted protein mixture to make a 1x final concentration

- Subject the samples to electrophoresis

- Stain the gel in Coomassie Blue reagent for approximate 2 h

- De-stain the gel overnight on a rocking table and take a photo when bands are visualised

- Slice the gel lanes into horizontal pieces and cut these further to produce 1 mm3-sized pieces using a scalpel blade (see Note 15)

- Wash the gel pieces in 1 mL water for 15 min

- Centrifuge at 750 x g for 5 min and discard the supernatant

- Add 300 L of CH3CN and leave for 15 min

- Centrifuge as above and discard the supernatant

- Wash the pieces with 300 L 100 mM NH4HCO3 for 15 min

- Centrifuge as above and discard the supernatant

- Wash the pieces with 300 L 100 mM NH4HCO3 containing 50% CH3CN for 15 min

- Centrifuge as above and discard the supernatant (see Note 16)

- If the gel is still blue, repeat steps 10-13

- Once the gel pieces are clear, wash as above with 100 L CH3CN for 5 min (see Note 17)

- Centrifuge as above and discard the supernatant

- Dry the pieces in a sterile laminar flow hood for 15 min

- Add 50 L reducing solution and incubate 1 h at 56oC

- Centrifuge as above and discard the supernatant

- Add 50 L alkylation solution and incubate 30 min at room temperature

- Centrifuge as above and discard the supernatant

- Wash the pieces twice with 300 L 100 mM NH4HCO3 for 15 min

- Centrifuge as above and discard the supernatant

- Wash the pieces with 300 L 100 mM NH4HCO3 containing 50% CH3CN for 15 min

- Centrifuge as above and discard the supernatant

- Add 100 L CH3CN and incubate 5 min

- Centrifuge as above and discard the supernatant

- Dry the gel pieces as above for 15 min

3.4 Trypsin digestion

- Add 30 L digestion solution and leave for 30 min at room temperature (see Note 18)

- Add 20 mM NH4HCO3 so that it just covers the gel pieces

- Incubate at 30oC for at least 16 h (see Note 19)

- Add an equal volume of CH3CN and incubate at 30oC 30 min

- Centrifuge and transfer the supernatant containing the digests to a fresh tube

- Add 50 L 1% HCO2H and incubate 20 min at room temperature

- Centrifuge as above and add the supernatant to the same tube as above

- Repeat steps 4-7

- Add 50 L CH3CN and incubate 10 min (see Note 20)

- Centrifuge and add the supernatant to the same tube as above giving a final volume of 200-400 L

- Dry samples under vacuum at 60oC (see Note 21)

- Suspend the peptide pellets in 50 L 1% HCO2H

- Mix gently at room temperature for 30 min and store at -80oC

3.5 LC-MS/MS and data processing (see Note 22)

- Thaw samples and centrifuge 10 min at 13,000 x g

- Gently transfer aliquots of the supernatant to an MS tube

- Dry the tryptic peptides to virtual completion in a vacuum concentrator

- Suspend the semi-dry pellets in 10 μL MS solvent

- Analyse using buffer A and B over the desired linear gradient range by LC-MS/MS

- Process raw MS files in parallel using MaxQuant

- Search the data against the International Protein Index database for the relevant species using MASCOT Daemon and/or Andromeda software

4 Notes

- All solutions should be made using ultra-pure water. It is important to work under sterile conditions and all solutions should be made fresh.

- These stock solutions can be stored at -20oC. A number of companies such as Cambridge Isotope Laboratories, ThermoFisher and Life Technologies provide SILAC kits, which usually contain only one heavy amino acid. Therefore, most of these lack a second heavy amino acid, which is essential for pSILACexperiments. We therefore purchase the Lys4 and Lys8 reagents separately. There is a 4 Da mass difference between the resulting intermediate and heavy peptides, enabling identification and quantification via MS analysis.

- Dialysed fetal bovine serum should be used in pSILAC experiments. It should be noted that some cell lines show altered growth patterns in SILAC media because of the lack of growth factors in dialysed serum. Therefore, it is recommended to determine whether or not growth of the selected cells is affected by the medium during optimisation experiments.

- The amount of arginine and lysine added to SILAC medium was established based on their respective concentrations in the standard medium we use. These may need optimization for different media.

- Cell lines should be chosen according to experimental aim.

- Dish size should be chosen according to the cell line because it is important to extract at least 100 g protein from each sample (50 g for LC-MS and 50 g for validation assays).

- It is important to optimise the correct dose and incubation time for the pharmacological agent and to use the appropriate vehicle control.

- Pre-cast gels are the best option but it is possible to use home-made gels if necessary. When making homemade gels, prepare fresh stocks of all solutions.

- Prepare this solution fresh on the day of use. Approximately 200 L will be needed per gel slice.

- Prepare 40 L of this solution for each gel slice fresh on the day of use.

- We use the LTQ-OrbiTrap XL (ThermoFisher Scientific) but other similar models would be suitable

- Optimization of cell number for the cell type being used will be required. For the 3T3L1 adipocyte cell line, we seed 0.4 x 106 cells in a 10 mL dish. One dish should be designated for each condition being studied. Cells should reach approximately 60% confluence for the intermediate and heavy SILAC media incubation step. Thus, the starting amount of cells should be defined in order to attain this. The period of culture in the presence of the pharmacological agent should also be optimised.

- We run at least 4 independent biological replicates.

- For each sample, it is important to save at least 50 µg protein extract (prior to trypsin digestion) for validation studies (e.g., by Western blotor immunoassay analyses).

- Use a new scalpel blade for each original slice to avoid contamination.

- You should notice that the gel pieces shrink during this step.

- You should notice that the gel pieces shrink and turn white during this step.

- The gel pieces should be restored to their original sizes in this step.

- After 30 minutes, check to see if there is enough solution covering the gel pieces. If not, more should be added. It is important to make a note of how much buffer was added in total to each set of gel pieces.

- The gel pieces should shrink and turn white again.

- This could take 2-3 hours.

- There are many protocols for this which will vary depending on the experimental aims (21-24).

Acknowledgements

DDG was the recipient of a FAPESP Post-Doctoral Fellowship (BEPE-PD 2014/20380-5) and is funded by the BHF (PG/14/20/30769). JdAF was the recipient of a FAPESP Doctoral Fellowship (BEPE-DR 2014/17012-4),TPOwas a recipient of a Visiting Scientist CAPES Science Without Borders Fellowship (BEX 11766-13-1).SEO is funded by the Medical Research Council (MC_UU_12012/4).

References

- Biedermann F, Fleischhacker WW (2009) Antipsychotics in the early stage of development. Curr Opin Psychiatry 22:326-330

- Hasnain M, Fredrickson SK, Vieweg WV, Pandurangi AK (2010) Metabolic syndrome associated with schizophrenia and atypical antipsychotics. Curr Diab Rep 10:209-216

- Guest PC, Martins-de-Souza D, Vanattou-Saifoudine N, Harris LW, Bahn S (2011) Abnormalities in metabolism and hypothalamic-pituitary-adrenal axis function in schizophrenia. Int Rev Neurobiol 101:145-168

- Martinac M, Pehar D, Karlović D, Babić D, Marcinko D, Jakovljević M (2014) Metabolic syndrome, activity of the hypothalamic-pituitary-adrenal axis and inflammatory mediators in depressive disorder. Acta Clin Croat 53:55-71

- McElroy SL, Keck PE Jr (2014) Metabolic syndrome in bipolar disorder: a review with a focus on bipolar depression. J Clin Psychiatry 75:46-61

- Ramsey JM, Schwarz E, Guest PC, van Beveren NJ, Leweke FM, Rothermundt M et al (2012) Molecular sex differences in human serum. PLoS One 7:e51504. doi: 10.1371/journal.pone.0051504

- Steeb H, Ramsey JM, Guest PC, Stocki P, Cooper JD, Rahmoune H et al (2014) Serum proteomic analysis identifies sex-specific differences in lipid metabolism and inflammation profiles in adults diagnosed with Asperger syndrome. Mol Autism 5:4. doi: 10.1186/2040-2392-5-4

- Woods AG, Sokolowska I, Taurines R, Gerlach M, Dudley E, Thome J et al (2012) Potential biomarkers in psychiatry: focus on the cholesterol system. J Cell Mol Med 16:1184-1195

- Ryan MC, Collins P, Thakore JH (2003) Impaired fasting glucose tolerance in first-episode, drug-naive patients with schizophrenia. Am J Psychiatry 160:284-289

- Spelman LM, Walsh PI, Sharifi N, Collins P, Thakore JH (2007) Impaired glucose tolerance in first-episode drug-naive patients with schizophrenia. Diabet Med 24:481-485

- Guest FL, Guest PC, Martins-de-Souza D (2016) The emergence of point-of-care blood-based biomarker testing for psychiatric disorders: enabling personalized medicine. Biomark Med 10:431-443

- Wesseling H, Guest PC, Lago SG, Bahn S (2014) Technological advances for deciphering the complexity of psychiatric disorders: merging proteomics with cell biology. Int J Neuropsychopharmacol17:1327-1341

- Chen X, Wei S, Ji Y, Guo X, Yang F (2015) Quantitative proteomics using SILAC: Principles, applications, and developments. Proteomics 15:3175-3192

- Ong SE, Mann M (2006) A practical recipe for stable isotope labeling by amino acids in cell culture (SILAC). Nat Protoc 1:2650-2660

- Ong SE, Mann M (2007) Stable isotope labeling by amino acids in cell culture for quantitative proteomics. Methods Mol Biol 359:37-52

- Looso M, Borchardt T, Krüger M, Braun T (2010) Advanced identification of proteins in uncharacterized proteomes by pulsed in vivo stable isotope labeling-based mass spectrometry. Mol Cell Proteomics 9:1157-1166

- Schwanhäusser B, Gossen M, Dittmar G, Selbach M (2009). Global analysis of cellular protein translation by pulsed SILAC. Proteomics 9:205-2099

- Mzhavia N, Qian Y, Feng Y, Che FY, Devi LA, Fricker LD (2002) Processing of proSAAS in neuroendocrine cell lines. Biochem J 361:67-76

- Kratchmarova I, Kalume DE, Blagoev B, Scherer PE, Podtelejnikov AV, Molina H et al (2002) A proteomic approach for identification of secreted proteins during the differentiation of 3T3-L1 preadipocytes to adipocytes. Mol Cell Proteomics 1:213-222

- Fernandez C, Fransson U, Hallgard E, Spégel P, Holm C, Krogh M et al (2008) Metabolomic and proteomic analysis of a clonal insulin-producing beta-cell line (INS-1 832/13). J Proteome Res 7:400-411

- Filiou MD, Turck CW (2012) Psychiatric disorder biomarker discovery using quantitative proteomics. Methods Mol Biol 829:531-539

- Rüetschi U, Stenson M, Hasselblom S, Nilsson-Ehle H, Hansson U, Fagman H et al (2015) SILAC-Based Quantitative Proteomic Analysis of Diffuse Large B-Cell Lymphoma Patients. Int J Proteomics 2015:841769. doi: 10.1155/2015/841769

- Cassoli JS, Iwata K, Steiner J, Guest PC, Turck CW, Nascimento JM et al (2016) Effect of MK-801 and Clozapine on the Proteome of Cultured Human Oligodendrocytes. Front Cell Neurosci 10:52. doi: 10.3389/fncel.2016.00052

- Turck CW, Webhofer C, Nussbaumer M, Teplytska L, Chen A, Maccarrone G et al (2016) Stable isotope metabolic labeling suggests differential turnover of the DPYSL protein family. Proteomics Clin Appl Oct 20. doi: 10.1002/prca.201600078. [Epub ahead of print]

Figure 1. pSILAC experimental work flow. Cells are cultured in standard media containing lysine [Lys 0; green font] in two cell culture dishes. Next, the standard media from both cell populations are subsequently replaced with SILAC medium containing either intermediate lysine [4,4,5,5-D4-L-lysine (Lys4); blue font] or heavy lysine [13C615N2 -L-lysine (Lys8); red font] and treated with the vehicle and the pharmacological reagent respectively. After 24 hours incubation, proteins from both cell populations are extracted, combined and subjected to SDS-PAGE separation, trypsin digestion and the resulting peptides analysed by LC-MS/MS. The ratio of the heavy to the intermediate peptides reflects differences in the newly translated corresponding proteins as a result of the pharmacological agent. The light peptides are ignored as these arise from the total cellular protein population.