Home use of day-and-night hybrid closed-loop insulin delivery in very young children: a multicentre 3-week, randomised trial

Running title: Closed-loop in very young children with T1D

Martin Tauschmann,1,2,3 Janet M. Allen,1,2 Katrin Nagl,3 Maria Fritsch,3 James Yong,4 Emily Metcalfe,4 Dominique Schaeffer,5 Muriel Fichelle,5 Ulrike Schierloh,5 Alena G. Thiele,6 Daniela Abt,7 Harald Kojzar,8 Julia K. Mader,8 Sonja Slegtenhorst,9 Nicole Barber,1 Malgorzata E. Wilinska,1,2 Charlotte Boughton,1 Gianluca Musolino,1 Judy Sibayan,10 Nathan Cohen,10 Craig Kollman,10 Sabine E. Hofer,7 Elke Fröhlich-Reiterer,11 Thomas M. Kapellen,6 Carlo L. Acerini,2 Carine de Beaufort,5 Fiona Campbell,4 Birgit Rami-Merhar,3 Roman Hovorka,1,2 on behalf of KidsAP Consortium

- University of Cambridge, Wellcome Trust-MRC Institute of Metabolic Science, Cambridge, United Kingdom

- University of Cambridge, Department of Paediatrics, Cambridge, United Kingdom

- Medical University of Vienna, Department of Pediatrics and Adolescent Medicine, Vienna, Austria

- Leeds Children's Hospital, Department of Paediatric Diabetes, Leeds, United Kingdom

- DECCP, Clinique Pédiatrique /CH de Luxembourg, Luxembourg, Luxembourg

- University of Leipzig, Division for Paediatric Diabetology, Leipzig, Germany

- Medical University of Innsbruck, Department of Pediatrics I, Innsbruck, Austria

- Medical University of Graz, Department of Internal Medicine, Graz, Austria

- Cambridge University Hospitals NHS Foundation Trust, Department of Nutrition & Dietetics, Cambridge, United Kingdom

- Jaeb Center for Health Research, Tampa, FL, United States

- Medical University of Graz, Department of Pediatrics and Adolescent Medicine, Graz, Austria

Correspondence
Roman Hovorka, PhD

University of Cambridge Metabolic Research Laboratories and

NIHR Cambridge Biomedical Research Centre,

Wellcome Trust-MRC Institute of Metabolic Science, Box 289,

Addenbrooke’s Hospital, Hills Road, Cambridge CB2 0QQ, UK

tel: +44 1223 762 862, fax: +44 1223 330 598, e-mail: rh347@cam.ac.uk

Word count

Abstract 			250

Manuscript			2909

Visuals

Figures			1

Tables				3

References				24

Supplementary appendix		1

Trial registration 			NCT03101865

ABSTRACT

Objectives

We aimed to assess the feasibility and safety of hybrid closed-loop insulin delivery in children with type 1 diabetes aged 1 to 7 years as well as evaluating the role of diluted insulin on glucose control.

Research Design and Methods

In an open-label, multicentre, multinational, randomised crossover study, 24 children with type 1 diabetes on insulin pump therapy [age 5 (3 to 6) years, median (IQR); HbA1c 7.4±0.7% (57±8 mmol/mol), mean±SD; total insulin 13.2±4.8U/day] underwent two 21-day periods of unrestricted living comparing hybrid closed-loop with diluted insulin (U20) and hybrid closed-loop with standard strength insulin (U100) in random order. During both interventions Cambridge model predictive control algorithm was used.

Results

The proportion of time that sensor glucose was in the target range between 3.9 and 10mmol/l (primary endpoint) was not different between interventions (72±8% vs. 70±7%; closed-loop with diluted insulin vs. closed-loop with standard insulin; p=0.16). There was no difference in mean glucose levels (8.0±0.8mmol/l vs. 8.2±0.6mmol/l; p=0.14), glucose variability (standard deviation of sensor glucose 3.1±0.5mmol/l vs. 3.2±0.4mmol/l; p=0.16), the proportion of time spent with sensor glucose less than 3.9mmol/l (4.5±1.7% vs. 4.7±1.4%; p=0.47) or less than 2.8mmol/l (0.6±0.5% vs. 0.6±0.4%; p>0.99). Total daily insulin delivery did not differ (17.3±5.6U/day vs. 18.9±6.9U/day; p=0.07). No closed-loop related severe hypoglycaemia or ketoacidosis occurred.

Conclusions

Unrestricted home use of day-and-night closed-loop in very young children with type 1 diabetes is feasible and safe. The use of diluted insulin during closed-loop does not provide additional benefits compared to standard strength insulin.

248 words

Keywords:

type 1 diabetes, artificial pancreas, closed-loop insulin delivery, insulin pump therapy, continuous glucose monitoring, children

Despite advances in the management of type 1 diabetes and supporting technologies, the majority of children with type 1 diabetes are unable to achieve recommended treatment targets  (1; 2). Closed-loop systems (3) delivering insulin in glucose responsive fashion may provide benefits compared to existing treatment modalities including improved glycaemic control and reduced burden of hypoglycaemia (4; 5). Hybrid closed-loop systems are characterised by automated insulin delivery apart from when user manages insulin boluses at mealtime.

Rapid progress has been made in testing closed-loop delivery systems during unrestricted living in randomised clinical trials across a broad range of people with type 1 diabetes (6-10). However, investigations in pre-school children have been confined to short study durations, round-the-clock supervision, and inpatient or diabetes camp settings (11-13). Performance of closed-loop systems in young including pre-school children in unsupervised home settings is unknown.

In pre-school children, insulin infusion rates less than 0.1U/h may be required compared to higher rates of 1.0U/h and above in adolescents and young adults. Modern insulin pumps allow adjustments of basal rates but are limited by minimum increments of 0.01U/h to 0.05U/h (14), inherent inaccuracies at low infusion rates (15), and temporal silent occlusions (16). Diluting insulin is applied in paediatric diabetes centres to mitigate against these factors but compelling evidence to support the use of diluted insulin is missing. Anecdotal reports suggest that the use of diluted insulin in young children may be beneficial to decrease glycaemic variability, reduce occurrence of unexplained hyperglycaemia and reduce infusion set failures (17). Diluting insulin as a strategy for delivering low basal infusion rates is in line with the latest clinical practice consensus guidelines provided by the International Society of Pediatric and Adolescent Diabetes (ISPAD) in 2018 (18). Results from an overnight research facility closed-loop study suggested that the use of diluted insulin in very young children may lead to reduced hypoglycaemia, reduced glucose variability as well as less variable insulin absorption (11; 19).

The objective of the present multicentre randomised trial was to assess the feasibility and safety of closed-loop insulin delivery in home settings in children with type 1 diabetes aged 1 to 7 years. We hypothesised that the use of diluted insulin in a population with low insulin requirements will improve glucose control and reduce the risk of hypoglycaemia. In a crossover randomised study design, closed-loop was applied over two 21-day periods comparing hybrid closed-loop with diluted insulin (U20) and hybrid closed-loop with standard strength insulin (U100).

METHODS

Study participants

Inclusion criteria included type 1 diabetes as defined by WHO for at least six months, age between one and seven years (inclusive), insulin pump therapy for at least three months, and glycated haemoglobin ≤11% (≤97mmol/mol). Key exclusion criteria included total daily insulin dose ≥2.0 U/kg/day, and more than two incidents of severe hypoglycaemia within six months prior to enrolment.

We identified eligible children from paediatric diabetes clinics at Addenbrooke’s Hospital (Cambridge, UK), Medical University of Vienna (Vienna, Austria), Leeds Children’s Hospital (Leeds, UK), DECCP/Clinique Pédiatrique/CH de Luxembourg (Luxembourg, Luxembourg), University of Leipzig (Leipzig, Germany), Medical University of Innsbruck (Innsbruck, Austria), and Medical University of Graz (Graz, Austria).

Study design and procedures

The study adopted an open-label, multicentre, multinational, randomised, two-period crossover design contrasting hybrid closed-loop glucose control using diluted insulin (U20) and hybrid closed-loop using standard insulin strength (U100) during unrestricted living. Two intervention periods lasted three weeks each separated by one to four weeks of washout. The order of the two interventions was random. Training on study insulin pump and continuous glucose monitoring took place over a 2- to 4-week run-in period.

At enrolment, capillary blood samples were taken for analysis of glycated haemoglobin. At the start of the run-in phase, participants and their parents/guardians received training regarding the use of the study pump (a modified 640G insulin pump, investigational use only; Medtronic, Northridge, CA, USA) and the study real-time continuous glucose monitoring (Enlite 3 glucose sensor, Medtronic). Participants and their parents/guardians used the study pump’s standard bolus calculator for all meals throughout the study.

At the end of the run-in period, compliance in the use of study pump and continuous glucose monitoring was assessed. Participants with at least eight days’ worth of continuous glucose monitoring data during the last 14 days of the run-in period were randomly assigned to receive either three weeks of hybrid closed-loop insulin delivery with standard insulin aspart (U100; Novo Nordisk, Bagsvaerd, Denmark) followed by hybrid closed-loop insulin delivery with diluted insulin aspart (U20; Novo Nordisk), or vice versa. Permuted block randomization was applied, and assignment was unblinded due to the nature of the design. During the washout period participants could continue using the study insulin pump and real time continuous glucose monitoring system.

On the first day of the first closed-loop period, participants and their parents/guardians attended the clinical research facility. This 1- to 2-hour visit included training on initiation and discontinuation of the closed-loop system, switching between closed-loop and usual pump therapy, meal bolus procedure, and the use of study devices during periods of increased physical activity. Competency in using closed-loop system by the parents/guardians was assessed. Following discharge, participants continued the study intervention for the next 21 days under free-living settings in their home and nursery/kindergarten or school environment. Participants were not remotely monitored or supervised. The participants were free to consume meals of their choice and no restrictions were imposed on travelling or physical activity. We encouraged parents/guardians to continue closed-loop use during periods of increased physical activity and organised sports, and to announce these periods to the algorithm.

At the start of the closed-loop period using diluted insulin, closed-loop training covered the use of diluted insulin. Prior to starting closed-loop with diluted insulin, pump settings were adapted accordingly and reviewed by two members of the research team. Carers at nursery/kindergarten or school also receive closed-loop training by the study team as required.

Parents/guardians were advised to calibrate the continuous glucose monitoring device according to the manufacturer’s instructions; they were free to decide on alarm settings for the continuous glucose monitoring device. All parents/guardians were provided with a 24-hour telephone helpline to contact the local study team in the event of study-related issues.

Insulin dilution

Dilution of insulin aspart to U20 (20U/ml) was performed by qualified members of study teams using ‘Insulin diluting Medium for NovoRapid (insulin aspart) and Levemir (insulin detemir)’ (Novo Nordisk, Bagvaerd, Denmark). A 1:5 dilution ratio was used across all study participants.

Closed-loop system

The FlorenceM closed-loop system (Figure S1, appendix) utilised a model predictive control algorithm (version 0.3.46, University of Cambridge, Cambridge, UK) residing on a smartphone (Galaxy S4, Samsung, South Korea). Every 10 min, the control algorithm calculated an insulin infusion rate which was set on the study pump. The control algorithm was initialized using pre-programmed basal insulin delivery downloaded from the study pump. Information about participant's weight and total daily insulin dose were entered at setup. The treat-to-target control algorithm aimed to achieve glucose levels between 5.8mmol/l and 7.3mmol/l depending on the accuracy of model-based glucose predictions.

The threshold suspend feature on the modified 640G pump was turned on during closed-loop operation and allowed insulin delivery to be suspended when smartphone was not in range or not operational. Further safety mitigations during closed-loop are detailed in appendix.

Study oversight

Prior to study initialisation, approval was received from independent research ethics committees in the UK, Luxembourg, Germany and Austria, regulatory authorities in the UK (Medicines & Health Products Regulatory Agency), Luxembourg (Ministry of Health), Germany (Federal Institute for Drugs and Medical Devices) and Austria (Austrian Agency for Health and Food Safety).

Parents/guardians of participants signed informed consent before study related activities were initiated. Whenever possible and in line with recommendations by local ethics committees, assent of study participants was obtained in addition to the consent of the parents/guardians or legal representatives.

Assays

Glycated haemoglobin at recruitment for characterization of the study population was measured locally using an International Federation of Clinical Chemistry and Laboratory Medicine (IFCC) aligned method and following National Glycohaemoglobin Standardization Program (NGSP) standards.

Study endpoints

The primary endpoint was the proportion of time when glucose was in the target range between 3.9 and 10.0mmol/l during the 21-day study periods as recorded by continuous glucose monitoring. Secondary endpoints included mean sensor glucose concentrations, glucose variability measured by the standard deviation and the coefficient of variation, time spent at glucose levels <3.9mmol/l, <3.5mmol/l, <2.8mmol/l, >10.0mmol/l, and >16.7mmol/l, and insulin delivery (total, basal and bolus amounts). Hypoglycaemia burden was additionally assessed by calculating the glucose sensor area under the curve <3.5mmol/l. Secondary endpoints were calculated over the whole study periods, and a subset of secondary endpoints (time in the target range, time <3.5mmol/l, mean glucose, SD of glucose, and total insulin amount), to limit the number of comparisons, during daytime and night-time periods; daytime was classified between 6:00 a.m. and 9:59 p.m., and night-time between 10:00 p.m. and 5:59 a.m.

Sample size

Based on our overnight closed-loop study in young children (11) and an estimate of 10 percentage point improvement in time in target with diluted insulin using a standard deviation of 13 percentage points for the paired difference between study periods, 20 subjects were required to achieve the desired 90% power and an alpha level of 0.05 (two-tailed t-test); 24 participants were planned to be randomised to allow for dropouts.

Statistical analysis

The statistical analysis plan was agreed upon by investigators in advance. All analyses were carried out on an intention-to-treat basis. We analysed endpoints from participants with at least 24 hours of sensor glucose data in one study period.  Analysis of those with at least 24 hours of glucose sensor data in both study periods was also carried out (pre-specified analysis plan). The respective values obtained during the 21-day randomized interventions were compared using a linear mixed model adjusting for period as a fixed effect and site as a random effect. Rank normal transformation analyses were used for highly skewed endpoints. Endpoints were presented as mean±SD for normally distributed values or as median (interquartile range) for non-normally distributed values. Outcomes were calculated using GStat software version 2.2.4 (University of Cambridge, UK) and statistical analyses carried out using SAS software, version 9.4 (SAS Institute). A 5% significance level was used to declare statistical significance. All p-values are two-sided.

RESULTS

From August 2017 to February 2018, 24 subjects were enrolled and randomised (15 males; age 5 years [3 to 6], median [IQR]; diabetes duration 3.1±1.7 years, mean±SD; glycated haemoglobin 7.4±0.7% [57±8mmol/mol], total daily insulin 13.2 ± 4.8 U/day) (Table 1). The flow of participants through the trial is shown in Figure S2 (appendix). Of 24 randomised participants, 23 completed the trial. One participant withdrew from the study during wash-out due to recurrent technical issues wit the closed-loop system (i.e. sensor calibration and device communication issues).

Primary and secondary endpoints calculated using data from all randomised subjects are presented in Table 2. The primary endpoint, the proportion of time sensor glucose was in the target glucose range between 3.9 and 10.0mmol/l, was not different between interventions (72±8% vs. 70±7%; closed-loop with diluted insulin vs. closed-loop with standard insulin; p=0.16) with a mean adjusted difference of 2 percentage points in favour of diluted insulin (95% CI, -1 to +4 percentage points). Twenty-four-hour sensor glucose profiles are shown in Figure 1. Endpoints calculated using data from randomised subjects with a minimum of 24 hours of sensor data in both treatment periods (n=23 for both periods) were similar (Table S1, appendix).

There was no difference in mean glucose levels (8.0±0.8mmol/l vs. 8.2±0.6mmol/l; closed-loop with diluted insulin vs. closed-loop with standard insulin; p=0.14) and glucose variability (Table 2) between study interventions. The proportion of time when sensor glucose was below 3.9mmol/l did not differ (4.5±1.7% vs. 4.7±1.4%; p=0.47). The percentages of time spent with sensor readings below 3.5mmol/l and below 2.8mmol/l were low and not different between interventions (Table 2). The relative burden of hypoglycaemia as measured by the area under the curve when sensor glucose was less than 3.5mmol/l was not different (p=0.71).

Total daily insulin delivery did not differ between interventions (17.3±5.6U/day vs. 18.9±6.9U/day; p=0.07). There was no difference in basal insulin delivery (p=0.76). However, a modest but statistically significant reduction of bolus insulin delivery during closed-loop with diluted insulin was observed (10.4±3.5U/day vs. 11.8±4.2U/day; p=0.006), presumably due to slightly lower glucose levels during closed-loop with diluted insulin resulting in a reduced amount of insulin delivered as correction boluses. Basal to bolus insulin ratios were not different between interventions (p=0.10).

Glucose sensor use and closed-loop application was high. During closed-loop with diluted insulin, closed-loop was utilised for a median of 86% (IQR 84% to 91%) of the time, and participants wore glucose sensor for a median of 94% (91% to 95%) of the time. During closed-loop with standard strength insulin, these values were 88% (82% to 91%) and 95% (92% to 97%).

Secondary endpoints calculated for daytime and night-time are shown in Table 3. Tight glucose control was particularly prominent during the night-time (Figure 1, Table 3). There was no evidence that the effect of treatment depended on time of the day (Table 3).

Adverse events

No severe hypoglycaemia or diabetic ketoacidosis events were reported during the entire study. One participant was hospitalised during washout due to a lower respiratory tract infection. Six other adverse events were reported, three of which occurred during run-in, one during washout, and the other two during closed-loop with standard strength insulin (Table S1, appendix). None of the events were deemed related to study devices or study procedures. All participants recovered fully without clinical sequelae.

CONCLUSIONS

To our knowledge, this is the first and longest randomised controlled trial investigating day-and-night application of closed-loop insulin delivery in very young children with type 1 diabetes during unrestricted living. Our findings document that hybrid closed-loop insulin delivery in a relatively well controlled population is feasible and safe in managing glucose control. No benefits associated with the use of diluted insulin were observed.

Results of the present study are consistent with observations in older children,(6) adolescents (6; 7), adults (6; 9), and pregnant women (20) about safety and efficacy of closed-loop therapy using Cambridge model predictive control. This confirms the robustness of our model predictive algorithm and supports the application of our closed-loop systems across a broad range of people with type 1 diabetes including pre-school children.

Studies of outpatient closed-loop use in toddlers and pre-schoolers with type 1 diabetes are sparse. Hybrid insulin delivery using a modular model predictive control approach in children aged five to nine years was investigated in diabetes camp settings under close supervision documenting reduced nocturnal hypoglycaemia as compared to sensor-augmented insulin pump therapy (12). This was offset by increased mean glucose levels during closed-loop use. DeBoer et al. evaluated 68-hour use of a hybrid closed-loop system in 12 children aged five to eight years followed as an outpatient admission compared to home care (13). Closed-loop resulted in increased time with glucose levels in the target range and lower mean glucose levels without increasing the risk of hypoglycaemia. These two trials were short, participants were supervised, and toddlers and pre-schoolers were excluded.

The rationale for the use of diluted insulin in the present study was to enhance accuracy of insulin delivery. Our assumption was that these benefits may manifest markedly in those with lower total daily dose but we observed no relationship between the total daily insulin amount and the difference in time when glucose was in the target range when comparing diluted insulin with standard strength insulin closed-loop use (Figure S3, appendix). We enrolled participants with total daily insulin dose ranging from 4.3U to 26.6U but only two participants had a total insulin dose below 10.0U per day (Figure S3, appendix).

Overnight glucose control is a major concern for parents and caregivers of young children with type 1 diabetes. Over 50% of severe hypoglycaemic episodes occur during sleep in children and adolescents (21). Fear of hypoglycaemia is a major cause of stress and anxiety for families and caregivers (22) being also a major barrier to therapy intensification (21) and optimal glucose control (23). With over 80 percent of time with sensor readings in the target range overnight, mean overnight glucose levels close to 7.0mmol/l, and very low rates of hypoglycaemia, our closed-loop system performed particularly well overnight (Figure 1, Table 3). A similar trend as in the present study was observed in our previous trials in older populations (6; 9; 24). Because of this favourable nocturnal performance, hybrid closed-loop systems may be particularly appealing to families and caregivers of young children with type 1 diabetes.

We used a prototype modular closed-loop system with the size of devices as well as connectivity issues potentially limiting its utility. Nevertheless, sensor glucose wear was high at median 94% to 95% of the time and similarly closed-loop use was high at median 86% to 88% of the time demonstrating high compliance and interest among parents/guardians of young children and feasibility of closed-loop use in nurseries, kindergartens, and playgroups.

The strengths of our study include the multicentre, multinational, crossover, randomised design that had the benefit of each participant acting as his/her own control. The study was performed without remote monitoring or close supervision, thereby assessing real-world use and supporting generalizability of study findings. We did not restrict participants’ dietary intake, physical activity, or geographical movements. Limitations include a relatively short duration of the follow up, a relatively small number of participants particularly with total daily dose below 10U/day, non-standardised sensor alarm settings, and a lack of a control group to assess efficacy compared to standard clinical practice. We aim to address some of these issues in a follow-up study.

In conclusion, hybrid closed-loop insulin delivery using the model predictive control approach is feasible and safe in young children with type 1 diabetes during unrestricted living. Insulin dilution does not appear to be of additional benefit when using hybrid closed-loop insulin delivery.

Contributors

RH and NB coordinated the study. RH, SEH, EFR, TMK, CLA, CDB, FC, BR, JKM, MEW and MT designed the study. MT, JMA, KN, MF, JY, EM, DS, MF, US, AGT, DA, SS, SEH, EFR, TMK, CLA, CdB, FC, and BRM screened and enrolled participants and arranged informed consent from the participants. MT, JMA, KN, MF, JY, EM, DS, MF, US, AGT, DA, JKM, HK, SS, SEH, EFR, TMK, CLA, CdB, FC, and BRM provided patient care and took samples. JS managed randomisation. NC, CK, MT, MEW, CB, GM and RH did or supported data analyses, including the statistical analyses. RH designed and implemented the glucose controller. MT, SEH, EFR, TMK, CLA, CdB, FC, BRM, JKM, MEW and RH interpreted the results. MT and RH wrote the manuscript. All authors critically reviewed the report. No writing assistance was provided. MT, NC, CK, MEW and RH had full access to all of the data in the study and take responsibility for the integrity of the data and the accuracy of the data analyses.

Declarations of interest

MT reports having received speaker honoraria from Minimed Medtronic and Novo Nordisk. MF has received speaker honoraria from Minimed Medtronic and has served on advisory boards for Eli Lilly. JKM is a member in the advisory board of Becton-Dickinson, Boehringer Ingelheim, Eli Lilly, Medtronic and Sanofi, and has received speaker honoraria from Abbott Diabetes Care, Astra Zeneca, Eli Lilly, Nintamed, Novo Nordisk, Roche Diabetes Care, Sanofi, Servier and Takeda. MEW has received license fees from Becton Dickinson and has served as a consultant to Beckton Dickinson. SEH declares speaker honoraria from Eli Lilly and Sanofi. EFR reports having received speaker honoraria from Minimed Medtronic and Eli Lilly, serving on advisory boards for Eli Lilly. TMK has received speaker honoraria from Minimed Medtronic, Roche and Eli Lilly and is member of an advisory board for Abbott Diabetes Care. CdB has received speaker honoraria from Minimed Medtronic, and is member of their European Psychology Advisory Board. BRM reports having received speaker honoraria from Minimed Medtronic, Eli Lilly, Roche, Menarini and Novo Nordisk, serving on advisory boards for Eli Lilly. RH reports having received speaker honoraria from Minimed Medtronic, Eli Lilly, BBraun, and Novo Nordisk, serving on advisory panel for Eli Lilly, receiving license fees from BBraun and Medtronic; and having served as a consultant to BBraun, Sanofi-Aventis, and Profil. RH and MEW report patents and patent applications. JMA, KN, JY, EM, DS, MF, US, AGT, DA, HK, SS, NB,  CB, GM, JS, NC, CK, CLA and FC declare no competing financial interests exist.

Funding/support

This project has received funding from the European Union’s Horizon 2020 research and innovation programme under the grant agreement No 731560. This material reflects only the author’s views and the Commission is not liable for any use that may be made of the information contained therein. The Jaeb Center for Health Research is funded by JDRF under the grant 3-SRA-2016-297-M-N.

Acknowledgements

Additional support for the artificial pancreas work was from National Institute for Health Research Cambridge Biomedical Research Centre, and Wellcome Trust Strategic Award (100574/Z/12/Z). Medtronic supplied discounted CGM devices, sensors, and details of communication protocol to facilitate real-time connectivity. We thank study volunteers for their participation and acknowledge support by the staff at the Addenbrooke’s Wellcome Trust Clinical Research Facility. Jasdip Mangat (University Hospitals of Leicester, National Health Service Trust, Leicester, UK) supported development and validation of the closed-loop system. Josephine Hayes (University of Cambridge) provided administrative support.

Role of funding source

Medtronic read the manuscript before submission. No sponsor had any role in the study design, data collection, data analysis, data interpretation, or writing of the report.

Table 1. Characteristics of the study participants at screening.

|  | Overall | Diluted first | Standard strength first |
| --- | --- | --- | --- |
|  | (n=24) | (n=12) | (n=12) |
| Age (years) |  |  |  |
| median (IQR) | 5 (3, 6) | 5 (3, 6) | 5 (3, 6) |
| range | 1 to 7 | 1 to 7 | 2 to 7 |
| Sex – Male n (%) | 15 (63) | 6 (50) | 9 (75) |
| Race/ethnicity – n (%) |  |  |  |
| White | 21 (88) | 11 (92) | 10 (83) |
| Asian | 1 (4) | 1 (8) | 0 (0) |
| Mixed | 2 (8) | 0 (0) | 2 (17) |
| Diabetes duration (years) |  |  |  |
| mean ± SD | 3.1 ± 1.7 | 3.0 ± 1.6 | 3.3 ± 1.9 |
| Range | 0.5 to 6.4 | 0.5 to 5.5 | 0.5 to 6.4 |
| Total daily insulin - mean ± SD |  |  |  |
| U/day | 13.2 ± 4.8 | 13.2 ± 4.6 | 13.2 ± 5.2 |
| U/kg/day | 0.65 ± 0.14 | 0.67 ± 0.15 | 0.62 ± 0.14 |
| Total basal insulin - mean ± SD |  |  |  |
| U/day | 4.9 ± 2.3 | 4.7 ± 2.2 | 5.1 ± 2.5 |
| U/kg/day | 0.24 ± 0.08 | 0.24 ± 0.07 | 0.25 ± 0.09 |
| Total bolus insulin - mean ± SD |  |  |  |
| U/day | 8.2 ± 3.4 | 8.4 ± 3.4 | 8.1 ± 3.5 |
| U/kg/day | 0.41 ± 0.13 | 0.43 ± 0.15 | 0.38 ± 0.11 |
| Basal to bolus ratio - mean ± SD | 0.66 ± 0.28 | 0.62 ± 0.24 | 0.70 ± 0.32 |
| BMI* percentile - median (IQR)† | 73 (4 to 91) | 61 (49 to 75) | 83 (31 to 91) |
| HbA1c - mean ± SD |  |  |  |
| Percent | 7.4 ± 0.7 | 7.7 ± 0.7 | 7.1 ± 0.6 |
| Millimoles per mole of non-glycated haemoglobin | 57 ± 8 | 61 ± 8 | 54 ± 6 |

Data are mean ± SD, median (IQR), or n (%)

* The body-mass index (BMI) is the weight in kilograms divided by the square of the height in meters.

† BMI z score adjusted for age and gender based on 2000 CDC growth charts; excludes one subject under two years of age who received diluted insulin first. For this subject, BMI percentile could not be calculated.

Table 2. Comparison of glucose control and insulin delivery over 21 days during closed-loop with diluted insulin (U20) and closed-loop with standard strength insulin (U100).

|  | Diluted | Standard strength | P value |
| --- | --- | --- | --- |
|  | (n=23) | (n=24) |  |
| Percent of time with sensor glucose level in range |  |  |  |
| 3.9 to 10.0 mmol/l* | 72 ± 8 | 70 ± 7 | 0.16 |
| <3.9 mmol/l | 4.5 ± 1.7 | 4.7 ± 1.4 | 0.47 |
| <3.5 mmol/l | 2.4 ± 1.2 | 2.5 ± 1.0 | 0.32 |
| <2.8 mmol/l | 0.6 ± 0.5 | 0.6 ± 0.4 | >0.99 |
| >10.0 mmol/l | 23 ± 9 | 25 ± 7 | 0.23 |
| >16.7 mmol/l | 1.2 (0.6 to 3.2) | 1.5 (0.8 to 3.1) | 0.28 |
| Glucose AUC < 3.5 mmol/l† | 2.9 ± 1.9 | 3.0 ± 1.6 | 0.71 |
| Mean glucose (mmol/l) | 8.0 ± 0.8 | 8.2 ± 0.6 | 0.14 |
| Glucose SD (mmol/l) | 3.1 ± 0.5 | 3.2 ± 0.4 | 0.16 |
| Glucose CV (%) | 40 (39 to 41) | 39 (38 to 42) | 0.91 |
| Total daily insulin (U/day) | 17.3 ± 5.6 | 18.9 ± 6.9 | 0.07 |
| Total daily basal insulin (U/day) | 6.8 ± 2.5 | 7.2 ± 3.2 | 0.76 |
| Total daily bolus insulin (U/day) | 10.4 ± 3.5 | 11.8 ± 4.2 | 0.006 |
| Basal to bolus ratio | 0.67 ± 0.19 | 0.63 ± 0.20 | 0.10 |

Data are mean ± SD or median (IQR)

* Primary endpoint

† The area under the curve (AUC) is for a glucose level of less than 3.5 mmol per liter per 24-hour period

Table 3. Daytime and night-time glucose control and insulin delivery during closed-loop with diluted insulin (U20) and closed-loop with standard strength insulin (U100).

|  | Daytime. |  |  | Night-time |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 6:00 a.m. to 9:59 p.m |  |  | 10:00 p.m. to 5:59 a.m. |  |  |
|  | Diluted | Standard strength | Diluted |  | Standard strength | P value* |
|  | (n=23) | (n=24) | (n=23) |  | (n=24) |  |
| Percent of time with sensor glucose level in range |  |  |  |  |  |  |
| 3.9 to 10.0 mmol/l | 68 ± 10 | 67± 8 | 80 ± 10 |  | 77 ± 9 | 0.41 |
| <3.5 mmol/l | 2.9 ± 1.7 | 3.0 ± 1.3 | 1.3 ± 1.2 |  | 1.7 ± 1.1 | 0.66 |
| Mean glucose (mmol/l) | 8.2 ± 0.9 | 8.3 ± 0.8 | 7.6 ± 0.8 |  | 7.9 ± 0.6 | 0.09 |
| Glucose SD (mmol/l) | 3.3 ± 0.5 | 3.4 ± 0.5 | 2.6 ± 0.6 |  | 2.8 ± 0.5 | 0.17 |
| Total insulin (U/day) | 14.8 ± 4.9 | 16.2 ± 5.7 | 2.3 ± 0.9 |  | 2.4 ± 1.1 | 0.06 |

Data are mean ± SD

*P value for treatment by time of day interaction

FIGURE LEGENDS

Figure 1. Sensor glucose levels. Shown are the median sensor glucose levels and interquartile ranges during closed-loop with diluted insulin (n=23; solid red line and red shaded area) and closed-loop with standard strength insulin (n=24; dashed black line and grey shaded area). Dashed horizontal lines indicate the target glucose range between 3.9 and 10 mmol/l.

References

1. McKnight JA, Wild SH, Lamb MJ, Cooper MN, Jones TW, Davis EA, Hofer S, Fritsch M, Schober E, Svensson J, Almdal T, Young R, Warner JT, Delemer B, Souchon PF, Holl RW, Karges W, Kieninger DM, Tigas S, Bargiota A, Sampanis C, Cherubini V, Gesuita R, Strele I, Pildava S, Coppell KJ, Magee G, Cooper JG, Dinneen SF, Eeg-Olofsson K, Svensson AM, Gudbjornsdottir S, Veeze H, Aanstoot HJ, Khalangot M, Tamborlane WV, Miller KM: Glycaemic control of Type 1 diabetes in clinical practice early in the 21st century: an international comparison. Diabet Med 2015;32:1036-1050

2. Sherr JL, Hermann JM, Campbell F, Foster NC, Hofer SE, Allgrove J, Maahs DM, Kapellen TM, Holman N, Tamborlane WV, Holl RW, Beck RW, Warner JT, T1D Exchange Clinic Network tDPVI, the National Paediatric Diabetes A, the Royal College of P, Child Health r: Use of insulin pump therapy in children and adolescents with type 1 diabetes and its impact on metabolic control: comparison of results from three large, transatlantic paediatric registries. Diabetologia 2016;59:87-91

3. Thabit H, Hovorka R: Coming of age: the artificial pancreas for type 1 diabetes. Diabetologia 2016;59:1795-1805

4. Bekiari E, Kitsios K, Thabit H, Tauschmann M, Athanasiadou E, Karagiannis T, Haidich AB, Hovorka R, Tsapas A: Artificial pancreas treatment for outpatients with type 1 diabetes: systematic review and meta-analysis. BMJ 2018;361:k1310

5. Weisman A, Bai JW, Cardinez M, Kramer CK, Perkins BA: Effect of artificial pancreas systems on glycaemic control in patients with type 1 diabetes: a systematic review and meta-analysis of outpatient randomised controlled trials. Lancet Diabetes Endocrinol 2017;5:501-512

6. Thabit H, Tauschmann M, Allen JM, Leelarathna L, Hartnell S, Wilinska ME, Acerini CL, Dellweg S, Benesch C, Heinemann L, Mader JK, Holzer M, Kojzar H, Exall J, Yong J, Pichierri J, Barnard KD, Kollman C, Cheng P, Hindmarsh PC, Campbell FM, Arnolds S, Pieber TR, Evans ML, Dunger DB, Hovorka R, APCam&AP@home Consortium: Home use of an artificial beta cell in type 1 diabetes. N Engl J Med 2015;373:2129-2140

7. Tauschmann M, Allen JM, Wilinska ME, Thabit H, Acerini CL, Dunger DB, Hovorka R: Home use of day-and-night hybrid closed-loop insulin delivery in suboptimally controlled adolescents with type 1 diabetes: A 3-week, free-living, randomized crossover trial. Diabetes Care 2016;39:2019-2025

8. Stewart ZA, Wilinska ME, Hartnell S, Temple RC, Rayman G, Stanley KP, Simmons D, Law GR, Scott EM, Hovorka R, Murphy HR: Closed-loop insulin delivery during pregnancy in women with type 1 diabetes. N Engl J Med 2016;375:644-654

9. Bally L, Thabit H, Kojzar H, Mader JK, Qerimi-Hyseni J, Hartnell S, Tauschmann M, Allen JM, Wilinska ME, Pieber TR, Evans ML, Hovorka R: Day-and-night glycaemic control with closed-loop insulin delivery versus conventional insulin pump therapy in free-living adults with well controlled type 1 diabetes: an open-label, randomised, crossover study. Lancet Diabetes Endocrinol 2017;5:261-270

10. Kropff J, Del Favero S, Place J, Toffanin C, Visentin R, Monaro M, Messori M, Di Palma F, Lanzola G, Farret A, Boscari F, Galasso S, Magni P, Avogaro A, Keith-Hynes P, Kovatchev BP, Bruttomesso D, Cobelli C, DeVries JH, Renard E, Magni L, consortium APh: 2 month evening and night closed-loop glucose control in patients with type 1 diabetes under free-living conditions: a randomised crossover trial. Lancet Diabetes Endocrinol 2015;3:939-947

11. Elleri D, Allen JM, Tauschmann M, El-Khairi R, Benitez-Aguirre P, Acerini CL, Dunger DB, Hovorka R: Feasibility of overnight closed-loop therapy in young children with type 1 diabetes aged 3-6 years: comparison between diluted and standard insulin strength. BMJ Open Diabetes Res Care 2014;2:e000040

12. Del Favero S, Boscari F, Messori M, Rabbone I, Bonfanti R, Sabbion A, Iafusco D, Schiaffini R, Visentin R, Calore R, Leal Moncada Y, Galasso S, Galderisi A, Vallone V, Di Palma F, Losiouk E, Lanzola G, Tinti D, Rigamonti A, Marigliano M, Zanfardino A, Rapini N, Avogaro A, Chernavvsky D, Magni L, Cobelli C, Bruttomesso D: Randomized summer camp crossover trial in 5- to 9-year-old children: Outpatient wearable artificial pancreas Is feasible and safe. Diabetes Care 2016;

13. DeBoer MD, Breton MD, Wakeman C, Schertz EM, Emory EG, Robic JL, Kollar LL, Kovatchev BP, Cherñavvsky DR: Performance of an artificial pancreas system for young children with type 1 diabetes. Diabetes Technol Ther 2017;19:293-298

14. Adolfsson P, Ziegler R, Hanas R: Continuous subcutaneous insulin infusion: Special needs for children. Pediatr Diabetes 2017;18:255-261

15. Borot S, Franc S, Cristante J, Penfornis A, Benhamou PY, Guerci B, Hanaire H, Renard E, Reznik Y, Simon C, Charpentier G, Group DS: Accuracy of a new patch pump based on a microelectromechanical system (MEMS) compared to other commercially available insulin pumps: results of the first in vitro and in vivo studies. J Diabetes Sci Technol 2014;8:1133-1141

16. McVey E, Keith S, Herr JK, Sutter D, Pettis RJ: Evaluation of intradermal and subcutaneous infusion set performance under 24-hour basal and bolus conditions. J Diabetes Sci Technol 2015;9:1282-1291

17. Mianowska B, Fendler W, Tomasik B, Młynarski W, Szadkowska A: Effect of insulin dilution on lowering glycemic variability in pump-treated young children with inadequately controlled type 1 diabetes. Diabetes Technol Ther 2015;17:605-610

18. Sundberg F, Barnard K, Cato A, de Beaufort C, DiMeglio LA, Dooley G, Hershey T, Hitchcock J, Jain V, Weissberg-Benchell J, Rami-Merhar B, Smart CE, Hanas R: ISPAD Guidelines. Managing diabetes in preschool children. Pediatr Diabetes 2017;18:499-517

19. Ruan Y, Elleri D, Allen JM, Tauschmann M, Wilinska ME, Dunger DB, Hovorka R: Pharmacokinetics of diluted (U20) insulin aspart compared with standard (U100) in children aged 3-6 years with type 1 diabetes during closed-loop insulin delivery: a randomised clinical trial. Diabetologia 2015;58:687-690

20. Stewart ZA, Wilinska ME, Hartnell S, O'Neil LK, Rayman G, Scott EM, Barnard K, Farrington C, Hovorka R, Murphy HR: Day-and-night closed-loop insulin delivery in a broad population of pregnant women with type 1 diabetes: a randomized controlled crossover trial. Diabetes Care 2018;

21. Davis EA, Keating B, Byrne GC, Russell M, Jones TW: Hypoglycemia: Incidence and Clinical Predictors in a Large Population-Based Sample of Children and Adolescents with IDDM. Diabetes Care 1997;20:22-25

22. Monaghan MC, Hilliard ME, Cogen FR, Streisand R: Nighttime caregiving behaviors among parents of young children with Type 1 diabetes: associations with illness characteristics and parent functioning. Fam Syst Health 2009;27:28-38

23. Johnson SR, Cooper MN, Davis EA, Jones TW: Hypoglycaemia, fear of hypoglycaemia and quality of life in children with Type 1 diabetes and their parents. Diabet Med 2013;30:1126-1131

24. Tauschmann M, Allen JM, Wilinska ME, Thabit H, Stewart Z, Cheng P, Kollman C, Acerini CL, Dunger DB, Hovorka R: Day-and-night hybrid closed-loop insulin delivery in adolescents with type 1 diabetes: A free-living, randomized clinical trial. Diabetes Care 2016;39:1168-1174