Photo-modulated reflectivity measurement of free-carrier dynamics in InGaN/GaN quantum wells

M P Halsall1, I F Crowe1, J Mullins1, R A Oliver2, M J Kappers2, C J Humphreys2,3

1Photon Science Institute and School of Electrical and Electronic Engineering, The University of Manchester

2Department of Materials Science and Metallurgy, University of Cambridge

3School of Engineering and Materials Science, Queen Mary University of London, London E1 4NS

Keywords. Photomodulated reflectivity, Frequency resolved spectroscopy, Nitride semiconductors, LED materials, carrier dynamics.

Abstract

We describe a novel technique for measuring carrier dynamics in solid-state optical materials based on photo-modulated reflectivity (PMR), and, as an example, apply it to a study of an InGaN/GaN multi-quantum well structure grown on a c-plane sapphire substrate. The technique is a form of frequency modulation spectroscopy and relies on probing changes in refractive index induced by fluctuations in free carrier density during optical excitation. We show that it is possible to accurately determine both carrier density and lifetime, independent of any photoluminescence (PL) measurement, and with no knowledge of the incident, or fraction of absorbed, laser power, quantities that can give rise to considerable uncertainties in PL studies. We demonstrate that such uncertainties can lead to an order of magnitude underestimation of the total photo-generated carrier density and compromised accuracy in determining carrier lifetime. We determine, by a comparison of the two techniques, PMR and PL, the non-radiative Shockley-Reed-Hall (SRH), radiative (excitonic) and non-radiative Auger related coefficients (from the standard ABC model). We find marked differences in the carrier density dependent lifetime, determined from PMR, translate to significant differences in the SRH and excitonic coefficients, which we believe relate to the more accurate determination of carrier densities in PMR than in PL. We also find evidence from the PMR for a change in effective mass of the photo-excited carriers with excitation intensity, which points to a complex localisation/de-localisation mechanism, likely facilitated by random fluctuations in indium content and QW width, consistent with previous findings by independent methods.

Introduction

Optical-based modulation spectroscopy lies within a family of techniques that have been developed over many decades to study materials properties. Typically, the sample under test is illuminated by a laser (the “pump beam”) which is modulated in intensity (e.g. by a harmonic or square wave time-varying signal) and the sample dynamic response to this stimulus is monitored by lock-in techniques, using the laser modulation intensity as a reference. Within the very large range of modulation spectroscopies, a subset employ the change in intensity (or direction) of a second (“probe”) beam (with different wavelength(s) to that of the pump) as the signal response. For example, a change in the intensity of a reflected “probe” beam can be used to measure changes in the sample refractive index due to heating via the thermo-optic effect [1,2,3], whereas a change in the angle of reflection of the “probe” beam can be used to measure thermal expansion, through surface ‘bulging’ [4]. Historically, these techniques have been referred to by different names, often depending on what exactly is being probed and how. For example, when a change in the “probe” intensity is derived from a change in refractive index due to surface heating, it is commonly referred to as Photo-thermal reflectance. When a broadband “probe” is used, and the reflected signal is measured as a function of the “probe” wavelength, it is known as Photo-reflectance (PR). Most semiconductor materials exhibit changes in band structure with free carrier excitation (e.g. by the Franz-Keldysh effect) at or near the surface, which can be probed in this way. In recent decades PR spectroscopy was developed extensively (e.g. by Klar et al [5]) as a very useful tool for studying the electronic band structure, including the ability to derive detailed information, even in highly disordered materials such as the dilute nitride semiconductors, where other spectroscopies have proven to be ineffective. A special case of this optical “pump-probe” technique is where the “probe” energy is well below the bandgap of the semiconductor sample under test for which changes in the refractive index are dominated by the free carrier density, behaviour that is well described using a simple Drude model [6]. We employ this technique specifically in this work and refer to it as Photo-Modulated Reflectivity (PMR). One of the advantages of modulation spectroscopy, in general, is that, in addition to modulating the intensity, one can also vary the modulation frequency (so-called frequency resolved spectroscopy) to obtain further information about the carrier dynamics.

The equivalent, time resolved spectroscopy encompasses a similar family of techniques used to study the response of a system to a temporally short stimulus. In optical spectroscopy this is typically a very short pulse from a mode-locked laser or pulsed LED. The system response is then recorded as a function of time after excitation. For example, in time resolved photoluminescence (TRPL) a temporally short light pulse excites free carriers in the sample under test and a technique such as time correlated single photon counting (TCSPC) is used to measure the resulting photoluminescence intensity as a function of time after excitation. The equivalent transient reflection experiment, using a “probe” beam, measures the change in the reflected probe intensity as a function of time after excitation. This is known as Transient Reflectance spectroscopy and has been applied to study carrier and thermal effects in various semiconductor and other material systems [7,8,9].

It was pointed out more than 30 years ago by Dunstan and Stachowitz [10,11] that frequency and time resolved spectroscopy of a system’s response to a stimulus were actually the same experiment, one conducted in the frequency domain, the other in the time domain. The equivalence lies in the fact that the lock-in signal in the former case is the convolution of the system response with the harmonic reference signal. Following Stachowitz and using linear response theory [see supplementary information] it is relatively straightforward to show that if a system has a signal response ht to a delta function excitation (e.g. photoluminescence intensity after a short laser pulse) it will have a response g(t,ω) to the harmonic excitation intensity  st,ω=A0+aSin(ωt)  given by:

gt,ω=A0+a Sin ωt ReFut+a Cos ωt ImFut 		(1)

Where F{ut} is the Fourier transform of the delta function response. The measurement of this response with a lock-in amplifier will give the result in in-phase (X) and quadrature signals (Y) as a function of ω:

Xω=a2Re[Fut] 								(2)

Yω=a2Im[Fut]								(3)

From which the response function  ut can be obtained by the inverse transform. In the case that the transient decay is a pure single exponential, equations (2) and (3) will give the usual Lorentzian type responses:

Xω=a211+ω2τ2									(4)

Yω=-a2 ωτ1+ω2τ2									(5)

Alternatively, in a real experiment, if the phase varies with frequency (e.g. due to delay line effects etc), one can measure the amplitude of the signal R(ω) and fit this with the following function:

R(ω)=Xω2+Yω2								(6)

Note that, unlike equations (2) and (3), it is not trivial to back transform this expression to obtain the true decay, but it does allow the extraction of the dominant exponential decay rate.

It is important to note that the experiment measures the response function of the system (e.g. photoluminescence intensity). To convert this to something useful such as carrier concentration, the measured response has to be linear in the parameter of interest. In the case of photoluminescence this is true in some systems but not others. In this sense, frequency resolved spectroscopy is no different from time resolved spectroscopy. However, the ability to control the modulation depth with the former does allow one to control this linearity, as discussed later in the results section. It is also worth stating that of the two techniques, frequency resolved spectroscopy totally dominates commercial instrumentation, partly as a result of earlier developments in laser technology and photo-detection. Instrumentation to perform transient spectroscopy down to sub-ps timescales is now also available commercially, with such systems employed in mode-locked lasers and in streak camera based detectors, although these tend to be relatively expensive and are typically limited to very fast applications, with relatively low penetration in systems requiring measurement over wider time-scales. A better comparison would be commercial TCSPC systems which can measure TRPL decays below 50ps as well as longer timescales. To achieve this, an equivalent measurement range using frequency resolved spectroscopy would require modulation frequencies in the 3 - 5GHz range. Lock-in amplifiers with this band width are not currently available. However, commercial lock-ins are now available with band width of 600MHz and, when used with high bandwidth photodetectors, the measurement of decays as short as 300ps is possible in principle, even when combined with inexpensive of-the-shelf semiconductor lasers. There are certain situations where frequency resolved spectroscopy may be preferred; one obvious example being where there are several very different decay lifetime components with large time-scale differences [12]. Time resolved spectroscopy would need to measure these over many different repetition rates, perhaps also by different techniques, each employing different signal gain, to be able to extract them all. Frequency resolved spectroscopy, on the otherhand, scanned over a suitably wide frequency range is capable of measuring all of the components simultaneously with an excellent S/N ratio. In this sense there is an analogy between Fourier transform spectroscopy for light spectra and frequency resolved spectroscopy for decay spectra, both techniques measure the total signal continuously giving good low noise performance for weak broad (in wavelength/time) signals.

Steady state power dependent and TRPL measurements have become the established approach for studying the carrier dynamics in solid state light emitting materials for more than 40 years. In this period, extensive studies of the photoluminescence derived carrier dynamics in conventional III-V materials [13], III-Nitride Quantum wells [14,15] and more recently perovskites [16] have been reported. The measurement of PL transients to probe the physical original of fast, non-radiative processes and their limiting effect on the efficiency of e.g. solid state laser diode (LD), light emitting diode (LED) and photovoltaic materials. The use of a confocal microscope arrangement allows levels of photo-generated carriers, equivalent to those reached, for instance, by electrical injection in standard LED junctions and LD structures, even with low power continuous wave lasers [17, 18]. Measurement of fast PL transients after pulsed optical excitation yields characteristic decay times in the sub-ns to s regime, depending on the excitation intensity. Recently, there have been several reports of frequency resolved spectroscopy being used to measure a small signal carrier lifetime [19, 20]. In these experiments the carrier dynamics are determined for a fixed (and well known) excitation power, which is analogous to constant (optical or electrical) injection levels in real devices. These techniques therefore provide an accurate measure of carrier lifetime (for a fixed power) as a function of photo-generated carrier density, which is interpreted using theoretical approaches such as the well-known three-term ABC model [21, 22].

In this work, we report the development of an optical approach to determine the free carrier dynamics in LED (and other) material systems based on frequency resolved spectroscopy. This method does not rely on PL, nor does it require any knowledge of the absorption coefficient of the sample structure but, critically, it is sensitive to carriers that are either delocalised (e.g. those leaking out of the probe region) or localised in regions of relatively very low radiative efficiency. The technique is based on PMR, whereby the decay in time of the photo-generated carrier concentration is detected via a change in the sample refractive index due to illumination by a ‘probe’ laser. Optical reflection spectra from multi-layered structures with film thicknesses on the order of the wavelength of illuminating light yield Fabry-Perot interference fringes, which, for GaN epilayers grown on sapphire, fall within the visible region of the electromagnetic spectrum [23]. These changes in reflectivity can be modelled effectively using a transfer matrix approach incorporating changes in the refractive index via a simple Drude model, appropriate for probe energies far from the band-edge [24, 25]. We use such a model to demonstrate that this technique can be highly selective in probing changes in free carrier density in the spatial region of the QW structures (as opposed to the bulk), meaning it is sensitive to low carrier concentrations. Comparison is made with the more standard PL technique, conducted in the same confocal microscope system, and we show that limitations in the accuracy of lifetime and carrier density determined via PL can be mitigated with the PMR technique.

Experiment

The sample studied was grown by Metal Organic Vapour Phase Epitaxy (MOVPE) on c-plane sapphire and consists of ten In0.2Ga0.8N QWs each of thickness 2.4nm, separated by 7.4nm thick GaN barrier layers, grown on a 5m GaN buffer layer. The relatively high indium content and narrow well widths were designed to provide strong confinement (and good overlap) of the carrier wave-functions under conditions of high carrier injection. The relatively small Quantum Confined Stark shift, provided by such narrow well-widths means that any change in the wave-function overlap with carrier injection is minimised. We shall return to this point in the discussion of the results.

The room temperature micro-PL/PMR system developed for this study is illustrated in Figure 1.

Figure 1 Experimental set-up of our pump-probe technique for measurement of the carrier density and lifetime via PMR. The insets show (bottom left) an image of the pump (top) and probe (bottom) beams displaced for clarity and (bottom right) a 3D map of the pump spot intensity, the lateral scale is in m, the vertical axis is intensity in arbitrary units.

The pump source is a 100mW 405nm laser diode mounted in a temperature-controlled head. The laser can be modulated with a sinusoidal signal via a T-bar input in the frequency range 25 kHz to 200 MHz or by direct modulation of the current supply for frequencies in the range 0 to 50 kHz. The laser is passed through two neutral density (ND) filter wheels allowing control of the pump power over 5 decades, after which the beam profile is spatially filtered to improve its uniformity before being reflected into the column of an optical microscope via a dielectric mirror that also functions as a laser luminescence filter. A x40 long working distance objective lens is used to focus the light onto the sample and PL is collected confocally and either imaged by a CCD camera or detected using a 400 MHz bandwidth silicon avalanche photodiode (APD) at the top of the microscope column. In the same system, a 20mW 660nm probe laser is focussed, using a second objective lens at an angle of 45o, onto the same region of the sample. The reflected probe light is collected, filtered by a 660nm band-pass filter and analyzed by a 400 MHz bandwidth amplified silicon photodiode. As the principle noise source in this diode is shot noise, when monitoring the reflected signal, we maximise the signal to noise ratio by operating this diode close to saturation (4V into 50), corresponding to around 0.5mW of probe beam. Both the PL and PMR are measured by lock-in detection comparing the input from the appropriate detector with a reference from a 200 MHz bandwidth signal from a signal generator. Power dependence measurements are conducted using 25 kHz full depth modulation of the pump laser modulated via the current supply to ensure that the laser is modulated fully off/on combined with a sequence of ND filters. Small signal transient decay measurements are derived by signal generator controlled sinusoidal modulation of the laser intensity by 5%, which is scanned in frequency and the response measured by the lock-in. Reference scans of the pump laser are used to correct for phase and amplitude variation during scanning.

In order to make use of the PMR technique, a thorough understanding of the reflectivity of the sample is required. Thin nitride semiconductor layers grown on sapphire generally show strong fringing in their reflectivity spectrum due to interference between light reflected from the top of the sample and nitride/sapphire interface. We measured the reflectivity using the same confocal microscope system by white light illumination of the sample through the probe laser port and collection, at the silicon photodiode position, using a fibre-coupled spectrometer with integrated CCD. In our experimental arrangement, transmission measurements can also be made (in samples that have been back polished) using a photodiode placed beneath the sample as shown in Figure 1. The image inset in Figure 1 shows the pump and probe beams deliberately separated for ease of viewing, along with a 2D intensity profile of the pump beam. From these images we deduce a probe laser spot area of 50m2 (half-intensity points), which we shall refer to in the discussion of the measurements. The probe beam spot is intentionally slightly smaller than that of the pump such that it samples a region of near-uniform illumination within the pump beam area (see supplementary information). In collecting the PL, we use a lens that ensures a focussed spot (imaged from the sample) that matches the APD active area so as to restrict light from the spot spreading under high excitation powers. This can be an important source of error in determining carrier density and lifetime, as we shall discuss later.

As reviewed above, the PMR signal is due to pump laser induced changes in the refractive index of the material, caused either by thermal or free carrier effects and the technique has a long history of study mainly for the measurement of thermal conductivity in thin films. In this case, the deposition of thin metal layers was used to preferentially absorb the light and suppress complicated etalon effects in reflection, facilitating the study of, e.g. thermal wave propagation, see for example [9]. In the present study, we take advantage of these etalon effects to facilitate our PMR measurement, which, in the sample we have studied, is dominated by free carrier effects. The 405nm pump laser is only absorbed by the QWs in the sample studied, and so we expect only free carriers created in the QWs to change the refractive index locally. The photon energy of the 660nm probe laser is well below the band-gap of either GaN or the InGaN QWs and as such the change in refractive index should be well described by a simple Drude model [25], with the change in the real part of the refractive index given by:-

Δn=-e2λ28π2c2ε0nNeme*+Nhmh*        							(7)

And the extinction coefficient is given by:-

Δk=-e3λ316π3c3ε0nNeμe me*2+Nhμh mh*2  							(8)

Where Ne and Nh are the electron and hole volume density respectively, e andh are their mobilities, me* and mh* their effective masses, n is the intrinsic refractive index of the semiconductor and the other symbols have their usual meanings. The values used for these coefficients are the same as those used in [25] with the exception of the electron mass in In0.2Ga0.8N which is taken from [26]. Although our model includes both real and imaginary changes to the dielectric constant due to both electrons and holes in the structure, in practice, because of the relatively short wavelengths involved and the large difference between electron and hole effective masses, by far the dominant factor is the change in the real part of the refractive index due to the electron density. The change to refractive index due to the electrons is more than 5 times that due to the holes, and the changes due to the extinction coefficient are 2 orders of magnitude smaller still.  A transfer matrix routine using the formulism described in [27] was used to calculate the reflectivity (at 45o) for the exact quantum well structure we have studied, with the refractive index of GaN and its dispersion taken from [28]. The intrinsic refractive index of the wells provides a reflectivity, R, which is perturbed by R when the refractive index changes as a result of a change in carrier density, leading to a PMR signal, R/R. Figure 2 (a) shows the measured and calculated reflectivity in the region of interest and Figure 2 (b) shows R/R for a carrier concentration (electron-hole pair volume density) in the QW of 2.2x1018/cm3, which is typical for an InGaN QW LED).

Figure 2 (a) Measured (red line) reflectivity spectrum collected via the pump laser microscope objective and fit (blue line) from the transfer matrix calculation described in the text. (b) is the calculated fractional change in reflectivity for a photo-induced volume carrier density (electron-hole pairs) of 2.2×1018/cm3. The red arrow indicates the wavelength of the probe beam used in our experiments

This carrier density corresponds to a change in the real part of the refractive index, n = -10-3. As can be seen, the PMR is a strong function of wavelength owing to the Fabry-Perot fringing effect in the sample, which facilitates the measurement (at certain wavelengths) by greatly increasing the PMR response above that of a simple bulk semiconductor. For the probe wavelength (precisely 659.5nm), the PMR response R/R = 5 x 10-4 for this value of carrier density. In our set up, a signal to noise ratio of 1 (in a ½ Hz bandwidth) corresponds to R/R = 2.5 x 10-6 meaning that the technique is sensitive to carrier concentrations below 1017/cm3. The fit to the reflectivity spectrum in Figure 2 (a) is derived from the transfer matrix calculation. The model predicts that (at this probe wavelength) the PMR signal is essentially linear in carrier concentration in the range of interest (up to 1020 e-h pairs/cm3). We find that the response close to the maximum rate of change of R/R as a function of wavelength can become rather non-linear with carrier concentration in these regions, which are hence best avoided.

Before we discuss the analysis of the signal we will discuss the extension of the technique to other systems. Clearly for other materials, as long as some transient is observed and it is longer than 1ns then a free carrier lifetime can be extracted from the frequency resolved signal as detailed below. However, the reflectivity approach does rely on a reasonable degree of specular reflection for light collection. It is also important that the probe beam is below the band gap of the target semiconductor to avoid carrier generation by the probe. The current system can easily be modified to use a 980nm probe allowing, for example, studies on AlGaAs and perovskite PV materials. There is no reason that e.g. a 1500nm probe could not be used either, in conjunction with a telecoms receiver to detect the signal with imaging of the pump and probe beam overlap provided by an infrared camera, to study e.g. similar processes in silicon. For qualitative studies, a good knowledge of the carrier induced reflectivity change is required. Assuming a simple, infinite sample plane (with a flat surface) and photo-generated carriers concentrated in the top 100nm, then, for 980nm probing of AlGaAs, the system we describe here should be capable of detecting carrier concentrations down to a level of around 1x1016/cm3. For 1500nm probing of silicon, the longer wavelength probe would yield even higher providing measuremet of carrier concentrations below 5x1015 /cm3. In this sense, the relatively short wavelength probing and low mobilities in GaN mean that it is far from the ideal material system to study. It is also worth pointing out that thermal signals can overlap in frequency range with the free carrier signal in systems with long carrier lifetimes (e.g. low doped silicon), which may complicate analysis further.

To obtain small signal transients, we set the laser to maximum power but apply a small (5%) modulation and measure the PL or PMR response to this in the frequency range 1-200MHz. Experimentally, it is much easier to recordand analyse the data if the phase of the modulated laser relative to the reference is minimised during a frequency scan. This is achieved initially by placing the photodetector at the sample position plus the distance from sample to receiver in its normal position. The reference delay is then adjusted to minimize any phase variation across the scan range. A reference scan is taken which records the amplitude and phase of the laser signal. The T-bar input to the laser has a phase and amplitude response that is recorded in this way along with delays due to other components. The photoreceiver is then placed in position as shown in Figure 1, the sample replaced and automated scanning of the frequency on logarithmic scale with the amplitude, R and phase,  of the photodetector signal recorded at each frequency. These values are then converted to true R and Y values by dividing R by the (normalised) reference value and shifting the measured  by the reference phase. Finally, true values of X and Y are re-calculated. As mentioned above, it is not necessary to know the phase for data exhibiting a single exponential decay as equation (6) can be fitted to the measured (corrected) R() dependence. To be sure we obtained accurate values of X() and Y() in this experiment, the data shown here were obtained from least square fits of X() to equation (4). However, we noted that the alternative approach of fitting R() to equation (6) invariably produced values for  within a few % of these. It is outside the scope of this article, but it is further possible to show how this data can be Fourier sine transformed  to extract precise PMR decays over very wide time scales.

The time resolution of the system is limited by a number of factors, the most obvious being the maximum modulation frequency. Assuming equation (3) provides an accurate fit to half the maximum value of the measured X(), then this provides a lower limit of 1ns. In practice, we may be able to obtain accurate fits to even smaller changes in response. As a matter of fact, it is not the case that the reciprocal of the photodiode bandwidth is what determines the time resolution; providing the photodiode bandwidth is greater than that of the lock-in amplifier, the measurement is essentially that of a phase change in the signal, relative to the pump. Therefore, the ultimate limit will be determined by the phase noise in the lock-in, which in the case of the Stanford Research Systems SR844 model we use in this experiment, implies a fundamental limit of < 0.1ns. In practice, we found it possible to measure transients with characteristic decay times down to 1ns with high confidence.

Prior to performing the PMR (or PL) experiments, we combined measurements of the incident, reflected and transmitted light through the back of the (polished) sapphire substrate and used the transfer matrix routine to determine the fraction of absorbed pump signal across the full power range used here. The transmission measurement (not shown here) revealed the power absorbed by the sample under study to be a fixed fraction (7.6%) of the incident beam, irrespective of incident power. This low level of absorption implies that the excitation level is very similar (within 8% variation) across all 10 of the QWs, so that any variation can be neglected. From here on, we express the excitation intensity as the absorbed flux (photons/s/cm2).

Results

The first experiment we describe is straightforward pump power dependent PL and small signal PL decay. Figure 3 shows the relative External Quantum Efficiency (EQE) as a function of pump power.

Figure 3 Relative external quantum efficiency (EQE) determined as function of excitation power. The inset shows a typical PL spectrum from the sample.

The highest power measured corresponds to an (equivalent) electrical injection of 3.5kA/cm2. The response is typical for such InGaN/GaN quantum well materials exhibiting relatively low efficiency at the injection level extremes with a peak in the efficiency at approximately 100A/cm2 equivalent. The reduction of the efficiency at high powers has been the subject of intensive research (the so called “efficiency droop” problem [29]). Although there is no widely accepted origin for this effect, reports based on PL tend to point to Auger recombination and/or carrier delocalisation as the possible causes [30,31,32]. In the following frequency resolved experiments we observed no roll-off of the PL in the kHz-MHz regime, as would be expected if there was a thermal contribution to this efficiency reduction, so we believe the EQE quenching in our experiment to be the same process as that reported widely for this material system.

For the transient PL experiments, due to the small signal nature of the measurement, the complex PL dynamics typically observed in pulsed measurement are reduced to a single carrier lifetime,  for a fixed pump power. Experimentally, this is equivalent to taking the initial gradient of the multi-exponential decay curve in traditional pulsed PL measurements. The small signal carrier lifetime, , is then obtained for all carrier injection rates across the pump power range by fitting equation (3) to the measured in-phase lock-in signal as a function of frequency. In practice, even for the small signal measurements, the highest excitation powers always lead to a small multi-exponential character (where the response deviates slightly from equation (3)). In principle, this uncertainty could be minimised by further decreasing the modulation depth to levels beneath the 5% we have used here. Figure 4 (a) shows the variation in carrier lifetime we have determined as a function of pump power from both PL (blue) and our PMR technique (red).

(b)

(a)

Figure 4 (a) Carrier lifetime as a function of excitation (pump) power determined from PL (blue) and PMR (red). The insets show example frequency scans for (top) PMR and (bottom) PL along with fits to the data using equation (3), leading to nearly identical carrier lifetimes for excitation levels 1021 photons/s/cm2. (b) Volume carrier (e-h pair) density as a function of excitation (pump) power as measured by PL (blue) and PMR (red). The inset shows the ratio of calculated to measured carrier generation rate over the full range of excitation power

The measured carrier lifetimes decrease from 60ns to 1ns with increasing pump power in the range of our experiment and we note remarkable agreement between that determined via PL transient and that determined via PMR for pump powers in the range, 1020 to 1021 photons/s/cm2. However, we note the data diverge (beyond experimental error) for the two independent techniques at the extrema of excitation power. In order to address these discrepancies, we consider the different approaches used to analyse the two kinds of data. For PL, the standard approach of analysing such data, as described in detail elsewhere [see, for example references 4, 8], links the total carrier (e-h pair) density, N to measurement of the carrier lifetime,  through the simple expression:-

N=τ dGmeas   								 (9)

where Gmeas is the carrier generation rate, which is equal to the volume density of absorbed photons (i.e. photon flux/cm3). The equivalent data obtained via PMR, owing to the fact that it is a fundamentally different experiment, provides both carrier concentration and carrier lifetimes directly (independent of the PL). Here measurement of the (PMR) free carrier decay involves frequency scanning (from 1MHz to 200MHz) the signal from the Si photodiode, via lock-in amplifier with fits to each curve yielding the lifetime across the full range of pump power. The PMR derived carrier concentration is determined, using the theory described earlier, from the response as a function of pump power using 25kHz square-wave full depth modulation. Figure 4 (b) shows the volume carrier concentration determined for both techniques revealing good agreement at the highest pump power and increasing divergence for lower pump power.

Addressing the low pump power situation first; it is well known that random alloy and well width fluctuations in the InGaN QW system can lead to carrier localisation [32,33], which complicates the measured PL response because it leads to a distribution of lifetimes and quantum efficiencies on recombination. Several studies have predicted that the effect of Indium fluctuations and quantum well thickness variation is to localise electrons and holes in different region of the quantum wells, specifically well width fluctuations for the electrons and indium concentration fluctuations for the holes [32]. This leads to low radiative recombination efficiencies at low excitation powers consistent with what we observe here. In the PMR technique the signal that would dominate in this case would be due to spatially confined electrons because of their lower effective mass. Assuming most of the photo-generated carriers are localised at lower pump powers, and that these exhibit relatively long lifetimes and lower efficiency (as per the low power regime of Figure 3), then the PL decay, being dominated by the relatively small portion of fast recombining carriers with higher efficiency, will skew the overall picture, leading to an underestimate of the carrier concentration by the PL technique (as observed in Figure 4 (b)) and implying equation 4 is no longer valid in the low power limit. On the other hand, the PMR technique probes all the free carriers, regardless of their recombination route and, as a result, will yield a longer characteristic lifetime, as is the case in Figure 4 (a).

The divergence in the carrier lifetime at high powers is more complicated, but is almost certainly influenced by the way in which the PL is collected from a region of the sample with variation in excitation intensity across the pump laser spot, compared with the PMR technique, which samples the near-uniform central region of the spot. Any variation in excitation intensity across the laser spot will generate a variation in the number of e-h pairs with the result determined from PL being a mixture of the measured lifetime from different regions for a given total excitation intensity. At the very highest excitation power, as a result of the “droop” effect, emission efficiency at the centre of the pump spot will be diminished relative to that around the edge of the spot (where the actual excitation intensity is lower, the lifetime longer and the IQE higher), leading to a general overestimate of the measured lifetime. Despite our best efforts to minimise this effect through experimental design, if this is the case it implies that the PL derived EQE of Figure 3, as well as that more widely reported, could be underestimating the severity of the “droop” effect. The fact that the PMR only samples the near-uniform central region of the laser spot implies a more accurate measure of the carrier density dependent lifetime for a given excitation intensity.

Before attempting to model the carrier density dependent lifetime, there is one last piece of information we can extract from the PMR data; whereas equation 4 is used to extract a carrier concentration, N from a known generation rate, Gmeas and carrier lifetime,  for the PL case, for PMR we do not need to know G and can measure the carrier density dependent lifetime ( as a function of N) directly without prior knowledge of the amount of light absorbed or re-emitted or even the incident laser power. This direct measure of N and  means we can predict the carrier generation rate, Gcalc by re-arranging equation 4 to obtain:-

Gcalc=dNτ      								 (10)

In the case that all our assumptions for both techniques are correct then the ratio Gcalc/Gmeas should be equal to unity across the entire range of excitation flux, which is essentially a measure of how accurately we can predict the change in refractive index with laser power. This ratio is plotted in the inset of Figure 4 (b) and reveals two features of note; for the higher excitation powers, although the proportionality between carrier density, N and refractive index is approximately constant, we find that in fact Gcalc/Gmeas > 1, meaning the response is slightly larger than we expect in this range. This implies a systematic error between the measured absorbed power giving rise to the PL and the reflectivity giving rise to the PMR data. In practice, for the PL measurement it is much more difficult to be sure of Gmeas because it relies on an accurate determination of the laser spot size (for instance an error of 10% in the measured laser spot diameter would account for the discrepancy) as well as the fraction of the light absorbed. The advantage of the PMR technique is that it requires no such measurement of the laser power, spot diameter or absorption and so there are fewer sources of systematic error. We conclude therefore that the discrepancy between the two sets of data in Figure 4 (a) and (b) highlight the limitations of PL over PMR rather than the reverse. The second interesting feature in Figure 4 (b) inset reveals that, at the lowest excitation powers, Gcalc/Gmeas rises sharply before falling away more slowly towards a constant value as the excitation power is increased. Assuming the generated free carriers remain localised in the quantum wells, which should be the case in the limit of low excitation power, then the ratio Gcalc/Gmeas is essentially proportional to the reciprocal product of the effective mass of the electron and the normal refractive index of the material as can be seen from equation 1. The easiest trend to explain is the relatively shallow fall off of Gcalc/Gmeas towards unity at higher excitation powers; the effective mass of electrons in InGaN is known to increase with band filling [26] and, for the carrier concentrations considered here, the deduced increase in effective mass is consistent with that reported in [26] for In0.2Ga0.8N. The issue of the effect of non-parabolicity of the hole is more difficult due to a lack of experimental data, however as the hole concentration only contributes 14% to the change in reflectivity, unless there is a substantial decrease in the effective mass due to nonparabolicity (a highly unusual situation) it is unlikely to affect the measurement here. Interestingly, the deviation from a constant value of Gcalc/Gmeas at the very lowest powers suggests that the electrons are in a different environment at the lowest excitation powers. If the effect of localisation was purely to increase the apparent indium content experienced by the electron then we would expect a decrease in effective mass. We observed above that there is reason to believe, on theoretical grounds, that the electrons are much more strongly localised at well width fluctuations than at indium fluctuations in the alloy. In this case, if the environment is one of high carrier density, then we would expect an increase in effective mass similar to that seen at higher excitation powers. Though the evidence is far from conclusive, it does imply that the main effect of localisation at low powers might be, counterintuitively, an apparent increase in carrier density due to the trapping of many electrons in each localisation centre. Whatever the physical origin this change in Gcalc/Gmeas is consistent with carriers being localised at fluctuations in well width and/or indium content at low powers, in accordance with several studies based on PL and other techniques in recent years [32,33]. Practically, it is worth noting that, although this deviation from Gcalc/Gmeas = 1 with excitation power implies an underestimate in the derived value for the carrier density, N via PMR, this is actually extremely small in comparison with the limitations of the PL technique, which, as we have seen, underestimates the carrier concentration at low powers by a factor of more than 10, Figure 4 (b), so the PMR response should still be preferred.

We now examine the results derived from the two techniques by way of fitting to the well-known ABC model of carrier recombination in semiconductor materials. We wish to state that it is not our intention to justify or assess the validity of this model in analysis of the InGaN/GaN material system, which is outside the scope of this paper. (Indeed we note that the model does not fully describe the recombination of localised carriers, and that we provide evidence for such localisation with our data). However, without loss of generality, we simply use this model as a tool to draw a comparison between the coefficients derived independently from the PMR and PL data. Within the conventional framework the recombination rate in terms of the free carrier density N is given by [21]:-

dNdt=AN+BN2+CN3       							(11)

Where the coefficients are traditionally associated with A: Shockley-Reed-Hall (SRH) recombination - non-radiative recombination via electrically active defect centres (electron-hole traps); B: Excitonic (radiative) recombination – recombination leading to the emission of photons; and C: Auger recombination – non-radiative recombination mediated by carrier-carrier collisions, which dominates at high free carrier density, this process has been proposed as one of the more likely candidates for the reduction in LED efficiency at high injection currents. In addition, since the electrons and holes in InGaN are independently localised, the radiative recombination is not excitonic. The applicability and derived values of the coefficients for the InGaN/GaN material system have been the topic of intense debate in the academic community for many years with recent studies suggesting that the coefficients may even exhibit a dependence on carrier concentration in the materials or the need for higher terms [20, 34], which could explain the wide variation in reported values. Since the PMR data provides us with an independent (and directly determined) lifetime and carrier concentration, the need to calculate dN/dt separately is eliminated and thus we can re-write equation (11) as:-

τ=11NdNdt=1A+BN+CN2      							(12)

This model provides a relationship between the data in Figure 4 (a) and (b) and fitting this equation to the data for PL and PMR is shown in Figure 5.

Figure 5 Carrier lifetime as a function of carrier concentration measured by (a) PL and (b) PMR. Fits to the data are of the form of equation (7), yielding the coefficients in Table 1.

The blue and red (solid) curves in Figure 5 are fits to the PL and PMR data respectively using equation (7) from which we extract values for the coefficients, A, B and C given in Table 1.

| Coefficient | PL measurement | PMR measurement |
| --- | --- | --- |
| A (s-1) | 2.260.03 x107 | 1.530.05 x107 |
| B (cm3s-1) | 8.20.4x10-12 | 5.20.4 x10-12 |
| C (cm6s-1) | 2.10.4x10-31 | 1.90.4 x10-31 |

Table 1 ABC model coefficients and their standard error as determined from fits of equation (7) to the data in Figure 5 for the PL and PMR techniques

It is evident that the fits, though accurate in the low to medium power regimes, are rather poor at higher carrier concentration, with considerably faster decays in both the PL and PMR data than the model predicts. We note that this discrepancy is actually greater for the PMR case, which is unsurprising given the considerable discrepancy between the values determined for carrier density, N and decay lifetime,  for the two independent techniques. The fact that the fit is unable to accurately reproduce the higher power data derived from either technique implies the model is incomplete and, though we do not wish to speculate on its physical meaning, we simply note the very similar values for the Auger coefficient, C obtained here. Deeper assessment of this is beyond the scope of this work but, what is perhaps more interesting, and relevant here, is that the fits to the data in the low to medium power range yield considerably different values for coefficients A and B, being in excess of 50% higher for the PL measurement. Given the uncertainties we have outlined associated with determining accurate values of carrier density and lifetime from conventional PL measurements, it is our assertion that the differences in the A and B coefficients determined here reflect these inaccuracies.

Conclusions

We have demonstrated the use of photo-modulated reflectivity to study small signal carrier dynamics in solid state optical materials, exemplified here in a typical InGaN/GaN multi-quantum well structure. The technique uses an all-optical confocal microscope system to co-locate a sub-bandgap probe laser with a pump laser, allowing the direct measurement of free carrier dynamics and carrier density without any requirement for measuring the incident/absorbed fraction of light or carrier capture into the quantum well. The use of a relatively small probe spot allows the sampling of a uniformly excited region of the sample, which makes the technique less susceptible to systematic errors, compared with conventional photoluminescence measurements. Direct comparison of the two techniques using the same apparatus reveals that such systematic errors in the PL can lead to a significant underestimate of the free carrier concentration, which affects the fitting of standard theoretical models to explain processes such as efficiency droop in this system. We conclude that the PMR technique provides an alternative means to determine the dynamics and density of carriers across a wide range of excitation powers in solid state optical materials for a wide range of carrier lifetimes and as short as nano-seconds.

Acknowledgements

The Authors acknowledge the support of the Engineering and Physical Sciences Research Council (EPSRC) UK for supporting this work, Grant reference numbers EP/P015581/1 and EP/M010589/1.

References

1. Salnick, A,; Opsal, J.  Quantitative photothermal characterization of ion-implanted layers in Si, J. Appl. Phys. 2002, 91 (5), 2874-2882.

2. Hua, Z.; Ban, H.; Hurley, D. H.; The study of frequency-scan photothermal reflectance technique for thermal diffusivity measurement, Rev. Sci. Instrum. 2015, 86 (5), 054901.

3. Wright, O. B.; R. Voti, L.; Matsuda, O. Photothermal probing of inhomogeneously modulated transparent thin films, J. Appl. Phys. 2002, 91 (8), 5002-5009.

4. Ambacher, O.; Rieger, W.; Ansmann, P.; Angerer H.; Mousakas, T.D.; Stutzmann, M. Sub-bandgap absorption of Gallium Nitride determined by photothermal deflection spectroscopy, Solie State Commun. 1996, 97 (5), 365-370.

5. Klar, P. J.; Gruning, H.; Heimbrodt, H.; Weiser, G.; Koch, J.; Volz, K.; Stolz, W.; Tomic, S.; Choulis, S. A.; Hosea, T. J. C.; O’Reilly, E.P.; Hofmann, M.; Hader, J.; Moloney, J.V.; Interband transitions of quantum wells and device structures containing Ga(N, As) and (Ga, In)(N, As), Semicond. Sci. Technol. 2002, 17, 830-842.

6. Wagner, R. E.; Mandelis, A.; A generalized calculation of the temperature and drude photo-modulated optical reflectance coefficients in semiconductors, J. Phys. Chem. Solids, 1991, 52 (9), 1061-1070.

7. Gupta, S.; Frankel, M. Y.; Valdmanis, J. A.; Whitaker, J. F.; Mourou, G. A.; Smith, F. W.; Calawa, A. R.; Subpicosecond carrier lifetime in GaAs grown by molecule beam epitaxy at low temperatures, Appl. Phys. Lett. 1991, 59 (25), 3276-3278.

8. Smolin, S. Y.; Scafetta, M. D.; Guglietta, G.W.; Baxter, J. B.; May, S. J.; “Ultrafast transient reflectance of epitaxial perovskite thin films, App. Phys. Lett., 2014, 105, 022103.

9. Zhao, Y.;  Zhu, C.; Wang, S.; Tian, J. Z.; Yang, D. J.; Chen, C. K.; Cheng, H.; Hing, p.; Pulsed photothermal reflectance measurement of the thermal conductivity of sputtered

aluminum nitride thin films, J. Appl. Phys., 2004, 96 (8), 4563-4568.

10. Depinna, S. P.; Dunstan, D. J.; Frequency-resolved spectroscopy and its application to the analysis of recombination in semiconductors, Phil. Mag. B., 1984, 50 (5), 579-597

11. Stachowitz, R.; Schubert, M.; Fuhs, W.; Frequency Resolved Spectroscopy and its application to low-temperature geminate recombination in a-Si:H, Phil. Mag. B., 1994, 70 (6), 1219-1230.

12. Aoki, T.; Shimizu, T.; Saito, D.; Ikeda, K.; Mechanism of photoluminescence in hydrogenated amorphous silicon determined by wide-band quadrature frequency-resolved spectroscopy (QFRS), J. Opt. and Adv. Materials 2005, 7 (1), 137-144.

13. Feldman, J.; Peter, G.; Göbel, E. O.; Dawson, P.; Moore, K.; Foxon, C.; Elliott, R. J.;

Linewidth Dependence of Radiative Exciton Lifetimes  in Quantum Wells,

Phys. Rev. Lett., 1987, 59 (20), 2337-2340.

14. Shen, Y. C.; Mueller, G. O.; Watanabe, S.; Gardner, N. F.; Munkholm, A.; Krames, M. R.; Auger recombination in InGaN measured by photoluminescence, Appl. Phys. Lett. 91, 2007, 91, 141101.

15. Ivanov, R.; Marcinkevicius, S.; Zhao, Y.; Becerra, D. L.; Naamura, S.; DenBaars, P.; Speck, J. S.; “Impact of carrier localization od radiative recombination times in semipolar (2021), Appl. Phys. Lett. 2015, 107, 211109.

16. Stranks, S. D.; Burlakov, V. M.; Leijtens, T; Ball, J. M.; Goriely, A.; Snaith, H. J.; Recombination Kinetics in Organic-Inorganic Perovskites: Excitons, Free Charge,

and Subgap States, Phys. Rev. Appl.2014, 2, 034007.

17. Ramsteiner, M.; Hey, R.; Klann, R.; Jahn, U.; Gorbunova, I; Ploog, K. H.,

Influence of composition fluctuations in AlGaAs barriers on the exciton localization

in thin GaAs quantum wells, Phys. Rev. B 1997, 55 (8), 5239-5242.

18. Okamoto, K.; Kaneta, A.; Kawakami, Y.; Fujita, S.; Choi, J.; Terazima, M.; Mukai, T., Confocal microphotoluminescence of InGaN-based light-emitting diodes, J. Appl. Phys. 2005, 98 (6), 064503.

19. Reklaitis, I.; Nippert, F.; Kudzma, R.; Malinauskas, T.; Karpov, S.; Pietzonka, I.; Lugauer, H. J.; Strassburg, M.; Vitta, P.; Tomasiunas, R.; Hoffmann, A.; “Differential carrier lifetime in InGaN-based light-emitting diodes obtained by small signal frequency-domain measurements”, J. Appl. Phys. 2017, 121, 035701.

20. David, A.; Young, N. G.; Hurni,C. A.; Craven, M. D.; All-optical measurements of carrier dynamics in bulk-GaN LEDs: Beyond the ABC approximation, Appl. Phys. Lett. 2017, 110, 253504.

21. E. F. Schubert, in Light Emitting Diodes, 2nd ed. (Cambridge University Press, New York, 2006), pp. 48–58.

22 Karpov, S; “ABC-model for interpretstion of quantum efficiency and its droop in III-nitride LEDs: A review, Opt. Quant. Electron. 2015, 47,1293-1303.

23. Muth, J. F.; Lee, J. H., Shmagin I. K.; Kolbas, R. M.; Casey, H. C.; Keller, B. P.; Mishra, U. K.; DenBaars, S. P.; Absorption coefficient, energy gap, exciton binding energy and recombination lifetimes of GaN obtained from transmission measurements, Appl. Phys. Lett. 1997, 71 (18), 2572-2574.

24. Bennett, B. R.; Soref, R. A.; Del Alamo, J. A.; Carrier-Induced Change in Refractive Index of InP GaAs, and InGaAsP, IEEE J. Quantum Electron., 1990, 26 (1), 113-122.

25. Soltani, M.;  Soref, R.; Free-carrier electrorefraction and electroabsorption in wurtzite GaN, Opt. Express 2015, 23 (19), 24984–24990.

26. Armakavicius, N.; Stanishev, V.; Knight, S.; Kühne, P.; Schubert, M; Darakchieva, V.; Electron effective mass in In0.33Ga0.6 N determined by mid-infrared optical Hall effect. Appl. Phys. Lett. 2018, 112, 082103.

27. Troparevsky, M. C.; Sabau, A. S.; Lupini, A. R.; Zhang, Z.; Transfer-matrix formalism for the calculation of optical response in multilayer systems: from coherent to incoherent interference, Opt. Express 2010, 18 (24), 24715–24721.

28. Watanabe, N.; Kimoto, T.; Suda, J.; The temperature dependence of the refractive indices of GaN and AlN from room temperature up to 515 ° C  , J. Appl. Phys. 2008, 104, 106101.

29. Verzellesi, G.; Saguatti, D.; Meneghini, M.; Bertazzi, F.; Goano, M.; Meneghesso, G.; Zanoni, E.; Efficiency droop in InGaN/GaN blue light-emitting diodes: Physical mechanisms and remedies, J. Appl. Phys. 2013, 114, 071101.

30. Iveland, J.; Martinelli, L.; Peretti, J.; Speck, J. S.; Weisbuch, C.; Direct measurement of auger electrons emitted from a semiconductor light emitting diode under electrical injection: identification of the dominant mechanism for efficiency droop. Phys. Rev. Lett. 2013, 110, 117406.

31.  Delaney, K. T.; Rinke, P.; Van de Walle, C. G.; Auger recombination rates in nitrides from first principles, Appl Phys. Lett. 2009, 94, 191109.

32 Auf der Maur, M.; Pecchia, A.; Penazzi, G.; Rodrigues, W.; Di Carlo, A.; Efficiency droop in InGaN/GaN light emitting diodes: the role of Random Alloy Fluctuations. Phys. Rev. Lett. 2016, 116, 027401.

33. Dawson, P.; Schulz, S.; Oliver, R.A.;  Kappers, M. J.; Humphreys, C. J.; The nature of carrier localisation in polar and nonpolar InGaN/GaN quantum wells, J. Appl. Phys., 2016, 119, 181505).

34. Dai, Q.; Shan, Q.; Wang, J.; Chhajed, S.; Cho, J.; Schubert, E. F.; Crawford, M. H.; Koleske, D. D.; Kim, M.; Park, Y. Carrier dynamics and mechanisms and efficiency droop in GaInN/GaN light-emitting diodes, Appl. Phys. Lett. 2010, 97, 133507.

Tables of contents graphics