Day-and-night closed-loop in a broad population of pregnant women with type 1 diabetes: a randomised controlled crossover trial

Authors: Stewart ZA1,2, Wilinska ME1, Hartnell S2, O’Neil L3, Rayman G4, Scott EM5, Barnard K6, Farrington C7, Hovorka R1 and Murphy HR1,2,3,8

1Wellcome Trust–Medical Research Council Institute of Metabolic Science, University of Cambridge

2Wolfson Diabetes and Endocrine Clinic, Cambridge University Hospitals NHS Foundation Trust

3Elsie-Bertram Diabetes Centre, Norfolk & Norwich University Hospitals NHS Foundation Trust

4Ipswich Diabetes Centre, Ipswich Hospital NHS Trust

5Division of Epidemiology and Biostatistics, Leeds Institute of Cardiovascular and Metabolic Medicine, University of Leeds

6Faculty of Health and Social Science, Bournemouth University, UK

7Cambridge Centre for Health Services Research (CCHSR), University of Cambridge, Cambridge, UK

8Norwich Medical School, University of East Anglia

Corresponding author: Professor HR Murphy, Norwich Medical School, Floor 2, Bob Champion Research and Education Building, University of East Anglia, Norwich NR4 7UQ;  Tel: + 44 (0)1603 591657; Email: hm386@medschl.cam.ac.uk

Abstract: 250, Text: 3,889 (not including abstract, tables, figures, references, and online-only material)

Figures 2, Tables 4

The authors’ full names and academic degrees are as follows: Zoe A Stewart MBBS, Malgorzata E. Wilinska PhD, Sara Hartnell BsC, Leanne O’Neil MBBS, Gerry Rayman MD, Eleanor M Scott PhD, Katharine Barnard PhD, Conor Farrington PhD, Roman Hovorka PhD, and Helen R Murphy MD.

Abstract

Background: Despite advances in insulin pump and continuous glucose monitoring, optimal glucose control remains elusive during type 1 diabetes (T1D) pregnancy. Our aim was to examine the efficacy, safety and feasibility of day-and-night closed-loop in T1D pregnancy.

Methods: Between January-August 2016, we recruited 16 pregnant women (mean age 32.8 (5.0) years, T1D duration 19.4 (10.2) years, HbA1c 8.0 (1.1)%, BMI 26.6 (4.4) kg/m2) to an open-label, randomized, crossover trial. Participants completed four weeks of day-and-night closed-loop (intervention) and sensor-augmented pump (control) separated by a washout. Afterwards, participants could choose to continue using closed-loop up to 6-weeks post-partum. The primary endpoint was the proportion of time with glucose levels within target range (3.5-7.8mmol/L).

Findings: The proportion of time with glucose levels within target was comparable during closed-loop and control (62.3% vs 60.1%; absolute difference 2.1%, CI95% -4.1 to 8.3; p=0.47). Mean glucose and hyperglycaemia >7.8mmol/L also did not differ (7.3 vs 7.3mmol/L; p=0.85 and 36.6 vs 36.1%; p=0.86). During closed-loop, there were fewer hypoglycaemia episodes; median (range) 8 (1-17) vs 12.5 (1-53); p=0.04 and less time <3.5mmol/L (1.6 vs 2.7%; CI95% -0.2 to -2.1; p=0.02). The time <2.8mmol/L (0.24 vs 0.47%; CI95% -0.02 to -0.5; p=0.03) and low blood glucose index (1.0 vs 1.4; CI95% -0.7 to -0.1; p=0.01) were also lower. Total insulin dose and adverse event rates did not differ between study phases. There were no episodes of severe hypoglycemia requiring third-party assistance.

Interpretation: Closed-loop was associated with comparable glucose control and significantly less hypoglycaemia than sensor-augmented pump therapy.

Funding: (ISRCTN83316328, National Institute for Health Research).

Introduction

Type 1 diabetes (T1D) in pregnancy is associated with increased risk of maternal and neonatal complications (1-3). These complications occur more commonly in women with suboptimal glucose control attributed to greater fetal exposure to maternal hyperglycaemia (4). Thus, the primary focus of treatment in T1D pregnancy is to reduce fetal exposure to hyperglycaemia without increasing maternal hypoglycaemia. Recent evidence suggests that continuous glucose monitoring (CGM) improves day-to-day glucose control, with approximately 1-hour/day less hyperglycaemia in women using multiple daily injections (MDI) and continuous subcutaneous insulin infusion (CSII) (5).

However, even with targeted efforts to improve glycaemic control before and during pregnancy and with increasing use of CGM and CSII, pregnant women with T1D continue to spend an average of eight hours each day with glucose levels above 7.8mmol/L (5, 6). Furthermore, half of all infants born to women with T1D have complications related to maternal hyperglycaemia, such as preterm delivery and large for gestational age, which contribute to high rates of neonatal intensive care unit (NICU) admissions (4, 5).

Hybrid closed-loop insulin delivery (artificial pancreas) systems provide automated glucose-responsive insulin delivery between meals and overnight, with manually triggered pre-meal doses (7). Closed-loop has been evaluated in children, adolescent, and adult populations under inpatient, outpatient, and home conditions and is associated with reduced exposure to hyperglycaemia and hypoglycaemia (8, 9). Short-term studies including non-pregnant adults with near-optimal glucose control (HbA1c<7.5%) suggest potential for reduced hypoglycaemia compared to conventional therapy (10). A recent systematic review and meta-analyses including 585 participants across 27 outpatient studies found consistent improvements in glucose control across a wide variety of clinical settings and closed-loop systems (11).

Closed-loop may be particularly useful in pregnancy, when glucose control targets are tighter and hypoglycaemia burden is increased (12). The physiological changes in insulin sensitivity make controlling day-to-day glucose levels challenging throughout pregnancy (13). Pregnancy is typically associated with heightened emotional intensity owing to women’s awareness of the impact of hyperglycaemia on fetal growth and development (14, 15). Our trial of overnight closed-loop in well-controlled pregnant women, described a 15% increase in overnight (23.00-07.00hr) time-in-target compared with sensor-augmented pump therapy (16). However, achieving optimal glucose control is more challenging during the daytime when meals and exercise require precise insulin dose adjustments (17). It is demanding for the majority of T1D women, 85% of whom enter pregnancy with higher than recommended HbA1c levels (4). Our aim was to evaluate the efficacy, safety and feasibility of day-and-night closed-loop in a broad population of pregnant women with T1D.

Methods

Study design

The trial was an open-label, randomised, two-period cross-over study in pregnant women with T1D, assessing the efficacy, safety and feasibility of day-and-night closed-loop insulin delivery, as compared to the use of sensor-augmented pump therapy, during pregnancy.

After providing written informed consent, participants were trained on the use of the study CGM (FreeStyle Navigator 2, Abbott Diabetes Care, Alameda, CA, USA) and pump (DANA-R, Diabecare, Sooil, Seoul, South Korea) devices and practiced using them for 2-4 weeks before completing a device competency assessment. Participants were randomised to either 4-weeks of closed-loop insulin delivery (intervention) or 4-weeks of real-time CGM and CSII without closed-loop (sensor augmented pump therapy; control). At the end of the first study phase there was a 1-2 week washout period, before participants crossed to the alternate phase. After the randomised crossover trial, women could choose to resume their previous intensive insulin therapy or continue using the study devices (any combination of CGM, pump or closed-loop) throughout pregnancy and delivery for up to 6 weeks post-partum. This allowed for longer-term feasibility assessment and minimised ethical concerns about discontinuing a potentially beneficial treatment during pregnancy (16). Details of the flow of participants through the trial are shown (appendix pp2).

The randomisation schedule was created with an automated web-based programme, using permuted four-block schedule maintained in a secure database, ensuring that allocation was concealed from trial staff and participants. Participants and staff were not masked to treatment allocation.

Participants were recruited from three National Health Service (NHS) antenatal clinics (Cambridge, Norwich, Ipswich, England). Women participated from within the home and antenatal clinic setting, with 24-hour support provided by the research team throughout.

Capillary glucose testing was recommended at least seven times daily with standard glucose targets in both groups (pre-meal 3.5-5.5mmol/L, one-hour post meal <7.8mmol/L). There were no restrictions on exercise, meals or overseas travel and no remote monitoring. Participants had antenatal clinic visits every two weeks with fetal ultrasound assessments at 20, 28, 32 and 36 weeks gestation.

HbA1c measurements were taken at baseline, the end of each crossover period, 28, 32 and 36 weeks gestation, and six weeks after delivery. They were analysed at a central laboratory (Addenbrooke’s Hospital, Cambridge, England) using an International Federation of Clinical Chemistry and Laboratory Medicine (IFCC) aligned method (TOSOH Bioscience G7 HPLC analyser; inter-assay CV 3.71% at HbA1c 5.41%; 1.7% at HbA1c 10.6%). Quality, duration and fragmentation of sleep was assessed subjectively using the Pittsburgh Sleep Quality Index (PSQI) and a daily sleep diary and objectively by actigraphy (Actiwatch, Philips Respironics)(18). Participants completed questionnaires (the Diabetes Technology Questionnaire and the Hypoglycaemia Fear Survey) at baseline and at the end of each crossover period (19, 20). Adverse events were captured throughout the trial. Reportable adverse events included all serious adverse events other than pre-specified protocol exceptions.

Study participants

We recruited pregnant women who had T1D for at least one year before pregnancy. Women were aged between 18 -45 years and had a singleton pregnancy with an ultrasound-confirmed gestational age between 8-24 weeks. They had had intensive insulin treatment (either MDI or CSII), and a booking (first antenatal visit) HbA1c level of ≥6.5 and ≤10%. Participants were required to speak and understand English and have email access.

Exclusion criteria included a physical or psychological disease likely to interfere with the conduct of the study, medications known to interfere with glucose metabolism, and insulin dose of ≥1.5 units/kg. Details of the inclusion and exclusion criteria are provided (appendix pp3).

Study oversight

The clinical study protocol was approved by the Health Research Authority, East of England Regional Ethics Committee (15/EE/0278), with notification of no objection provided by the Medicines and Healthcare Products Regulatory Agency, UK (CI/2015/0042). All participants provided written informed consent. The trial was overseen by a Trial Steering Committee. Details are available on the International Standard Randomised Controlled Trial Number register (ISRCTN 83316328).

Closed-loop system

The closed-loop system (Florence D2A, University of Cambridge, Cambridge, UK) used CGM glucose measurements to automatically adjust insulin rates (appendix pp4). Real-time glucose readings were transmitted using Bluetooth via a purpose-built translator to an android mobile phone (Samsung Galaxy S4, Samsung, South Korea), which housed the algorithm. The control algorithm (University of Cambridge, version 0.3.41p) aimed for interstitial glucose levels of 5.8-7.3mmol/L, adjusting for fasting and post-meal conditions and for accuracy of glucose prediction. It incorporated learning about day-to-day insulin doses and adapted insulin delivery for particular times of day when individual participant requirements were higher or lower. Every 12 minutes, the insulin dose was communicated via Bluetooth to the DANA pump, which delivered insulin. The DANA pumps were modified in-house (replacement caps inserted) to allow participants to select their infusion set.

Pre-meal insulin boluses were given manually, 15-30 minutes before eating, using the pump’s bolus calculator. To initialize closed-loop, participant’s weight and total daily insulin dose were entered manually, with insulin pump settings automatically transferred using Bluetooth. Safety rules limited maximum insulin dose and suspended insulin delivery when glucose levels were falling rapidly and/or <4.3mmol/L. Capillary glucose calibration tests were advised twice daily (before breakfast and evening meal). Recalibration of CGM was recommended if sensor and capillary glucose levels differed by ≥3mmol/L.

At the start of closed-loop, participants had a device training session (30-60 minutes) at their antenatal clinic or at home. This included instructions for starting and stopping closed-loop and troubleshooting for technical issues. During the randomised crossover trial and subsequent follow-up periods, participants were advised to use closed-loop continuously. To maintain device connectivity, participants had to be within approximately 30 metres of the devices. There were no changes to announce for antenatal corticosteroids, labour, or delivery but the non-pregnant glucose targets (3.9-10.0mmol/L) were applied immediately post-partum. Participants had access to a 24-hour phone line staffed by the research team.

Study endpoints

The primary efficacy endpoint was the percentage of time spent within the T1D pregnancy target range (3.5-7.8mmol/L), as measured by CGM during the 4-week intervention periods. Pre-specified secondary glycaemic outcomes, derived from CGM measures, included mean glucose, time >7.8 and >10.0 mmol/L (hyperglycaemia), time < 3.5 mmol/l and <2.8mmol/L (hypoglycaemia), hypoglycaemia episodes (<3.5mmol/L for ≥20 minutes duration), low blood glucose index (LBGI) to quantify hypoglycaemia duration and extent (21), and standard deviation (SD) to quantify glucose variability. Additional outcomes included central laboratory HbA1c, time in non-pregnant target range (3.9-10.0mmol/L), CGM compliance, total insulin dose, patient reported outcomes and measures of sleep.

Safety endpoints included nocturnal (23:00-07:00hr) and/or severe hypoglycaemia episodes (defined as requiring third party assistance and/or capillary glucose < 2.8mmol/l associated with clinical symptoms) and other adverse events.

The feasibility of day-and-night closed-loop in the antenatal follow-up phase (from the end of the randomised crossover trial until delivery) was assessed by CGM measures during sequential 4-week intervals. The same glucose targets and endpoints were used during the randomised trial and follow-up feasibility phases, with the target range adjusted to 3.9-10.0mmol/L, and the assessment period extended to 6-weeks post-partum.

Statistical analysis

Previous study participants using sensor augmented pump therapy spent 61.7 (24.9)% time-in-target. To detect a 30% relative increase (from 62% to 80%), we estimated that a sample size of 16 participants was needed to achieve 80% power and an alpha level of 0.05 (two-tailed). The standard deviation of the primary outcome was assumed to be 25% (17, 22).

Statistical analyses were performed on an intention-to-treat basis. A 5% significance level was used for all comparisons without adjustment for multiplicity. Outcomes were calculated with GStat version 2.2 software (University of Cambridge, Cambridge UK) and statistical analyses performed using SPSS and R. Results during the randomised crossover study phases were compared using linear mixed effects models, with the response variable being time-in-target; the study arm as a fixed effect; and study participant and 4-week block as nested random effects. The model's fit was not improved by including terms for period or study arm interaction.

Role of the funding source

The funders had no role in the trial design, data collection, data analysis, data interpretation, or the decision to publish. Abbott Diabetes Care (Alameda, California, USA) provided discounted CGM devices and consumables. The National Institute for Health Research and Abbott Diabetes Care reviewed the manuscript prior to submission but did not play a role in manuscript preparation or revision. The corresponding author (HRM) oversaw the conduct of the trial, had full access to all the data and takes full responsibility for the decision to submit for publication.

Results

Study participants

Nineteen participants were recruited to the study. Of these, two withdrew prior to randomisation (one disliked study pump, one experienced mental health deterioration) and one withdrew post-randomisation due to pregnancy complications. This participant had preterm premature rupture of membranes with severe oligohydramnios during her first (sensor-augmented pump) study phase. She underwent an elective termination of pregnancy, and was withdrawn at 20 weeks gestation. Sixteen participants completed the randomised crossover trial and are included in the analyses. Their baseline characteristics are shown, with equal numbers of pump and MDI users and nine (56%) participants who entered pregnancy with HbA1c levels >7.5% (Table 1).

Randomised crossover trial outcomes

There was no difference in the primary outcome, percentage of time spent in the target glucose range (3.5-7.8mmol/L), during the closed-loop and sensor-augmented pump therapy (62.3% vs 60.1%; absolute difference 2.1%, CI95% -4.1 to 8.3; p=0.47, Table 2). Likewise, the mean CGM glucose and time above 7.8mmol/L did not differ between closed-loop and control (7.3 vs 7.3mmol/L; p=0.85 and 36.6 vs 36.1%; p=0.86). During the 4-week closed-loop phase, there were fewer episodes of maternal hypoglycaemia; median (range) 8 (1-17) vs 12.5 (1-53); p=0.04 and less time below 3.5mmol/L (1.6 vs 2.7%; CI95% -0.2 to -2.1; p=0.02). Time below 2.8mmol/L (0.24 vs 0.47%; CI95% -0.02 to -0.5; p=0.03) and low blood glucose index (1.0 vs 1.4; CI95% -0.7 to -0.1; p=0.01) were lower during closed-loop, as was overnight time (23.00-07.00h) below 3.5mmol/L (1.1 vs 2.7%; CI95%  -2.8 to -0.4; p=0.008). Overnight time-in-target was 7.2% higher during closed-loop but did not reach statistical significance (appendix pp5).

There were no episodes of severe hypoglycemia. The mean (SD) HbA1c was 48.5(7.5), 46.3(5.6) and 45.9(5.5) mmol/mol, at baseline, end of closed-loop and end of the sensor-augmented pump phases, respectively. There was no difference in maternal HbA1c levels between baseline and the end of each phase (p=0.15 and p= 0.14 respectively), and no between-group difference in HbA1c during each phase (p=0.67). There were no between-group differences in total insulin doses, although insulin delivery was, as expected, significantly more variable during closed-loop (appendix pp6).

The quality and quantity of sleep were comparable during closed-loop and control, with a sleep duration of 7.5 (0.8) and 7.1 (1.2) hours (appendix pp7). There were no differences in the patient-reported outcome measures. Most participants (>80% at the end of both phases) reported less fear of nocturnal hypoglycemia, although over a third experienced ongoing worry or fear about low blood sugars during sleep.

There were no reportable serious adverse events but there were frequent device deficiencies, most frequently involving the closed-loop mobile phone (47%) and CGM (30%) devices (appendix pp8).

Antenatal closed-loop feasibility

All participants chose to continue using closed-loop for at least some of the time, after the randomised crossover trial, with median time-in-target of 70.6, 71.5, and 72.3% at 28-32, 32-36, and >36 weeks gestation (Figure 2, Table 3a). One participant travelled to the Middle East (participant 8), for 8 weeks without contact or antenatal care. Another relocated to Australia, and continued closed-loop until delivery (participant 15). Details of each individual participant’s glucose control are shown (Appendix pp10-12).

Post-partum closed-loop feasibility

After delivery, 12 participants choose to continue using closed-loop. They maintained safe glucose control, with 77.1% time-in-target (3.9-10.0mmol/L) and minimal hypoglycaemia (2.3% < 3.9mmol/L) during the first 6-weeks post-partum (Table 3b). Sensor wear was particularly variable, with a median of 16.5 hours/day (range 1.3-21.9 hours; appendix pp9). Where post-partum sensor wear was low, it was generally the case that the participant used CGM for the lifespan of a sensor, with gaps between the expiry of one sensor and insertion of a new one.

Obstetric and neonatal outcomes

Participants delivered at a median (interquartile range) gestation of 36.9 (36.1, 37.8) weeks gestation. Thirteen were delivered by caesarean section, seven of which occurred prior to the onset of labour. Two participants developed pre-eclampsia. One participant had a placental abruption. Median (interquartile range) birthweight was 3550g (3055-3685). Seven neonates (44%) were born large-for-gestational age, with five having a birthweight ≥ 97th centile. One neonate was small-for-gestational age (birthweight 2880g), without complications. Eleven (69%) infants were admitted to neonatal intensive care units, with seven (44%) treated for hypoglycaemia (appendix pp13-14).

Two infants had congenital anomalies. One had a neural tube defect (lumbar/sacral lipomyelomeningocele) detected post-partum. This mother had an unplanned pregnancy (booking HbA1c 8.1%), switched from MDI to closed-loop with good effect and maintained excellent glucose control throughout pregnancy (participant 2). Another infant had severe unilateral hydronephrosis (10mm renal pelviceal dilatation detected at 20 weeks gestation). This participant (booking HbA1c 9.7%), conceived spontaneously after four unsuccessful cycles of IVF, also switched from MDI to closed-loop, with a striking fall in HbA1c (5.0%) despite modest time-in-target (56%) in late pregnancy (appendix pp11,13).

Inter-individual variability

The individual participant data highlights variability in women’s glycaemic responses to closed-loop (Figure 2, appendix pp10-11). This does not appear related to previous technology use as glycaemic control was comparable in participants who used insulin pumps or MDI at enrolment (Table 4a). Five participants, including two pump (participants 3, 5) and three MDI users (participants 4, 6, 13) had ≥10% lower time-in-target range during the randomised closed-loop crossover, although they all continued to use closed-loop, with higher time-in-target, in later pregnancy.

Post hoc analyses suggested that participants with lower booking HbA1c levels (≤7.5%) had higher time-in-target both during closed-loop and sensor-augmented pump study phases, compared to those with HbA1c>7.5%. This pattern persisted throughout pregnancy, including after 36 weeks, when participants with lower HbA1c maintained near-optimal glucose control (mean glucose 6.4 mmol/L, 77.7% time-in-target). Participants with booking HbA1c>7.5% had higher mean glucose and lower time-in-target, even after 36 weeks, (7.0mmol/L, 68.8% time-in-target; Table 4b).

Discussion

We found that day-and-night closed-loop was safe and feasible, and could effectively control glucose levels in a broad range of pregnant women with type 1 diabetes. Participants achieved comparable glycaemic control during the randomised sensor-augmented pump and closed-loop phases, with no difference in percentage time-in-target, sensor glucose, or HbA1c. However, there was a reduction in both frequency of hypoglycaemic events and exposure to hypoglycaemia during closed-loop. There were no episodes of severe hypoglycaemia during the crossover trial or throughout pregnancy.

Previous evaluations of closed-loop (8, 9), including our study of overnight closed-loop in pregnancy (16), found that closed-loop was associated with higher time-in-target compared to sensor-augmented pump therapy. There are several potential explanations for our current findings. Firstly, the level of glucose control achieved with sensor-augmented pump therapy (60% in 3.5-7.8mmol/L range, 82.5% in 3.9-10.0mmol/L non-pregnant range) was considerably higher than in previous studies (8, 9, 11). A recent systematic review found that closed-loop was associated with a 12.6% increased time-in-range where the comparator (sensor-augmented pump in 21/22 single hormone studies), spent 58% time-in-range (3.9-10.0mmol/L) (11). Therefore, the glucose control achieved with sensor-augmented pump in our study was comparable to that achieved with closed-loop in previous studies (8, 9), including in well-controlled adults (HbA1c <7.5%), perhaps reducing the potential for further improvement (10). The role of closed-loop, in well-controlled participants, may be to reduce the burden of hypoglycaemia without deterioration in glucose control, which appears consistent with our findings.

Secondly, we consciously enrolled a diverse population for this study, including participants of varied technology experience, diabetes education and glycaemic control. The majority were technology naïve with over 80% sensor naïve and 50% pump naïve at enrolment.  Over half had booking HbA1c levels above 7.5%. Among the five participants with lower time-in-target during closed-loop, one cycled 30-60mins twice daily and struggled to avoid post-exercise (participant 3), while another worked night shifts during closed-loop (participant 4). Three participants (4, 6, 13) were frequent non-attenders at antenatal clinics and had minimal contact with the study team. They used closed-loop variably, although all three used it to good effect in late gestation.

The influence of lifestyle and behavioural factors during closed-loop is not well understood. Recent data suggest that behavioural factors, including snacking, account for approximately one third of the intra-individual variability in glucose levels during closed-loop (23). The frequency of manual bolusing is also important, emphasising the need for ongoing diabetes education and support, in conjunction with closed-loop (24). Others have commented that closed-loop may have unintended impacts on dietary intake, proposing that education to optimise healthy eating patterns should be incorporated into closed-loop training programmes (25).

Previous qualitative research suggests that some participants may have unrealistic expectations, placing too much trust in closed-loop and becoming more passive in their self-management (26). This was echoed by pre-trial comments from current participants, e.g.: ‘The way I see it is literally this app on this phone is literally going to take my brain away basically, which is happy days’ (participant 4). She also reflected on her motivation to use closed-loop, which was in part, to avoid capillary glucose testing: ‘I’m not the best with blood tests but that’s because I kind of more or less listen to the symptoms of highs and lows rather than doing a test, which is naughty, but that’s the reason I wanted to go on the CLIP [Closed-loop in pregnancy]’. Other investigators have reported that current closed-loop/artificial pancreas terminology may imply a more "hands-off" approach (27).

While sensor use was generally high (approximately 20 of 24 hours), use of closed-loop during the randomised crossover trial was affected by technical problems that frequently required closed-loop to be reset. The algorithm is adaptive, meaning that its performance improves for an individual participant over time. System errors were often addressed quickly by phone. However, a problem requiring that the system be reset meant that the algorithm returned to participant-naïve parameters. Technical issues may have reduced participants trust, which may also have contributed to participants being tempted to override the closed-loop algorithm advice (28).

Throughout antenatal follow-up, participants achieved good overall glycaemic control (70.6-72.3% time-in-target). This is comparable to the glucose control in our overnight closed-loop trial, conducted in well-controlled participants (baseline HbA1c 6.6%)(16). It is 10% higher than the control group in CONCEPTT (61% time-in-target) and slightly higher than the CGM group who spent 68% time-in-target range (5). The CONCEPTT CGM group had substantially more hypoglycaemia with 4% time <3.5mmol/L and 3.5 hypoglycaemia episodes/week. Taken together these data suggest that closed-loop facilitates good day-to-day glucose control in a broad patient population, and is effective for minimising risk of hypoglycaemia. There were no episodes of severe hypoglycaemia during the current or previous closed-loop trials. We also found that despite frequent device hassles, 75% of women continued closed-loop after delivery, and for up to 6-weeks post-partum.

The obstetric and neonatal outcomes remain suboptimal, suggesting that while the burden of maternal hypoglycaemia can be minimised, excessive fetal exposure to maternal hyperglycaemia persists. More research is needed to address the potentially modifiable dietary and snacking behaviours that contribute to post-prandial hyperglycaemia and are still challenging during closed-loop.

Strengths of this study include the randomised crossover design, which allows each participant to function as their own control, eliminating inter-individual variability in insulin sensitivity, dietary intake, and exercise patterns. The analyses were performed as intention to treat regardless of closed-loop compliance, and the randomised order of study phases reduces the impact of gestation or the order of interventions. Participants were recruited from three NHS sites, including women without diabetes technology experience and with a wide range of glucose control. We did not use remote monitoring or restrict participants’ dietary habits, exercise or travel, rendering the study as “real-world” as possible.

However, we also acknowledge the limitations. The relatively short 4-week duration may have been insufficient for optimal training, particularly for device-naïve participants and those with less advanced diabetes self-management skills. The crossover study design may also have been less suitable for participants with variable lifestyles (e.g., night workers, overseas travel). While the prototype closed-loop system was portable and generally well-received, it had frequent errors, increasing the need for troubleshooting and support from the research team. This frustrated participants, and reduced the time that closed-loop was operational. The control group of sensor-augmented pump did not have the option of suspending insulin delivery during low or predicted low glucose level. Unfortunately we do not have data regarding dietary intake or accurate measures of closed-loop compliance.

In this cohort of pregnant women with type 1 diabetes, with a broad range of glucose control, closed-loop was as effective as sensor augmented pump therapy, but potentially safer, because closed-loop reduced the extent and duration of hypoglycaemia. More research is needed to improve glucose control in postprandial times and to develop closed-loop training programmes to support optimal self-management behaviours, particularly for women who enter pregnancy with higher HbA1c.

Research in Context

Evidence before this study

We searched PubMed for articles published before October 17, 2017, without restriction on language or start date.  We included the search terms (“Diabetes Mellitus” OR “Diabetes”), AND “pregnancy”, OR “pregnancy in diabetics”, AND “closed-loop or artificial pancreas”, AND (“trial or randomised controlled trial”). We identified only one trial that used overnight closed-loop in pregnant women with type 1 diabetes. That trial, also conducted by our group, included 16 women (mean age 34.1, duration of type 1 diabetes 23.6 years, BMI 29.7kg/m2, HbA1c 6.8%) who completed 4-weeks of sensor augmented pump therapy and 4 weeks of overnight closed-loop. We found a 15% increase in time-in-target with 75% time-in-target between 23.00-07.00hr during closed-loop compared to 60% during sensor-augmented pump therapy. This difference was most marked between 02.00-09.00hr. Although closed-loop was only used overnight there was a 9% increase in time-in-target over 24 hours (57 to 66%). There was no difference in hypoglycaemia with comparable numbers of hypoglycaemia episodes (11-12) and time below 3.5mmol/l (1.8-1.9%) and 2.8mmol/L (0.3 and 0.4%). 14 participants used closed-loop maintaining 69% time-in-target and a mean glucose of 7.0mmol/L throughout pregnancy.

Added value of this study

This is the first randomised controlled trial of day-and-night closed-loop insulin delivery in pregnant women with type 1 diabetes. We included a broad population of women with and without device experience and with higher and lower HbA1c levels. The 16 participants were aged 33.1 years, had type 1 diabetes for 19.4 years, BMI 26.6kg/m2, HbA1c 8.0%. Eight were pump naive and nine had booking HbA1c levels >7.5%. We found no difference in the primary outcome of percentage time-in-target (60.1 vs 62.3%) but a significant reduction in hypoglycaemia, with fewer hypoglycaemia events and less time spent below 3.5 and 2.8mmol/l.  The results were comparable for women using insulin pumps or multiple daily injections, and for women with high and low HbA1c at booking. These data suggest that closed-loop can maintain safe glucose control in a broad population of pregnant women with type 1 diabetes.

Implications of all the available evidence

Our study indicates that the use of day-and-night closed loop during pregnancy in women with type 1 diabetes is associated with reduced hypoglycaemia burden compared to sensor-augmented pump therapy. A large randomised controlled trial of longer duration is required to evaluate the impact of day-and-night closed-loop on glucose control throughout pregnancy and on obstetric and neonatal outcomes.

Acknowledgements

Contributors: ZAS, MEW, GR, EMS, KB, CF, RH, HRM designed the study protocol. ZAS, SH, LON, HRM screened, enrolled and consented participants, provided antenatal clinical care and telephone support throughout the trial. EMS analysed and interpretated sleep data. CF and KB performed the psychosocial assessments. RH designed the control algorithm. ZAS and HRM wrote the manuscript, which all authors critically reviewed. ZAS, RH and HRM had full access to all the data and take responsibility for the integrity of the data, and accuracy of the analyses.

The trial is funded by the National Institute for Health Research (HRM Career Development Fellowship, CDF-2013-06-035), Gates Cambridge Trust PhD fellowship (ZAS), Jean Hailes for Women’s Health (ZAS); and a grant from the NIHR Cambridge Biomedical Research Centre (RH). Abbott Diabetes Care supplied discounted CGM devices, sensors, and details of communication protocol to facilitate real-time connectivity. HRM conducts independent research supported by the National Institute for Health Research (CDF-2013-06-035). The views expressed in this publication are those of the authors and not necessarily those of the NHS, the National Institute for Health Research or the UK Department of Health.

The authors would like to thank all the pregnant women with type 1 diabetes who participated, along with their partners and families. We also acknowledge the invaluable support from the diabetes antenatal care teams in Cambridge, Norwich and Ipswich.

Competing Interests: HRM serves on the Medtronic European Scientific Advisory Board. RH is on advisory panels for Eli Lilly and NovoNordisk. MEW and RH report patents and patent applications.

References

1.	Evers IM, de Valk HW, Visser GH. Risk of complications of pregnancy in women with type 1 diabetes: nationwide prospective study in the Netherlands. Bmj. 2004;328(7445):915.

2.	Macintosh MC, Fleming KM, Bailey JA, Doyle P, Modder J, Acolet D, et al. Perinatal mortality and congenital anomalies in babies of women with type 1 or type 2 diabetes in England, Wales, and Northern Ireland: population based study. Bmj. 2006;333(7560):177.

3.	Persson M, Norman M, Hanson U. Obstetric and perinatal outcomes in type 1 diabetic pregnancies: A large, population-based study. Diabetes Care. 2009;32(11):2005-9.

4.	Murphy HR, Bell R, Cartwright C, Curnow P, Maresh M, Morgan M, et al. Improved pregnancy outcomes in women with type 1 and type 2 diabetes but substantial clinic-to-clinic variations: a prospective nationwide study. Diabetologia. 2017.

5.	Feig DS, Donovan LE, Corcoy R, Murphy KE, Amiel SA, Hunt KF, et al. Continuous glucose monitoring in pregnant women with type 1 diabetes (CONCEPTT): a multicentre international randomised controlled trial. Lancet. 2017.

6.	Murphy HR, Rayman G, Duffield K, Lewis KS, Kelly S, Johal B, et al. Changes in the glycemic profiles of women with type 1 and type 2 diabetes during pregnancy. Diabetes Care. 2007;30(11):2785-91.

7.	Bergenstal RM, Garg S, Weinzimer SA, Buckingham BA, Bode BW, Tamborlane WV, et al. Safety of a Hybrid Closed-Loop Insulin Delivery System in Patients With Type 1 Diabetes. JAMA. 2016;316(13):1407-8.

8.	Thabit H, Tauschmann M, Allen JM, Leelarathna L, Hartnell S, Wilinska ME, et al. Home Use of an Artificial Beta Cell in Type 1 Diabetes. N Engl J Med. 2015;373(22):2129-40.

9.	Russell SJ, El-Khatib FH, Sinha M, Magyar KL, McKeon K, Goergen LG, et al. Outpatient glycemic control with a bionic pancreas in type 1 diabetes. N Engl J Med. 2014;371(4):313-25.

10.	Bally L, Thabit H, Kojzar H, Mader JK, Qerimi-Hyseni J, Hartnell S, et al. Day-and-night glycaemic control with closed-loop insulin delivery versus conventional insulin pump therapy in free-living adults with well controlled type 1 diabetes: an open-label, randomised, crossover study. Lancet Diabetes Endocrinol. 2017;5(4):261-70.

11.	Weisman A, Bai JW, Cardinez M, Kramer CK, Perkins BA. Effect of artificial pancreas systems on glycaemic control in patients with type 1 diabetes: a systematic review and meta-analysis of outpatient randomised controlled trials. Lancet Diabetes Endocrinol. 2017;5(7):501-12.

12.	Ringholm L, Pedersen-Bjergaard U, Thorsteinsson B, Damm P, Mathiesen ER. Hypoglycaemia during pregnancy in women with Type 1 diabetes. Diabet Med. 2012;29(5):558-66.

13.	Garcia-Patterson A, Gich I, Amini SB, Catalano PM, de Leiva A, Corcoy R. Insulin requirements throughout pregnancy in women with type 1 diabetes mellitus: three changes of direction. Diabetologia. 2010;53(3):446-51.

14.	Murphy HR, Elleri D, Allen JM, Harris J, Simmons D, Rayman G, et al. Pathophysiology of postprandial hyperglycaemia in women with type 1 diabetes during pregnancy. Diabetologia. 2012;55(2):282-93.

15.	Goudie RJ, Lunn D, Hovorka R, Murphy HR. Pharmacokinetics of insulin aspart in pregnant women with type 1 diabetes: every day is different. Diabetes Care. 2014;37(6):e121-2.

16.	Stewart ZA, Wilinska ME, Hartnell S, Temple RC, Rayman G, Stanley KP, et al. Closed-Loop Insulin Delivery during Pregnancy in Women with Type 1 Diabetes. N Engl J Med. 2016;375(7):644-54.

17.	Murphy HR, Kumareswaran K, Elleri D, Allen JM, Caldwell K, Biagioni M, et al. Safety and Efficacy of 24-h Closed-Loop Insulin Delivery in Well-Controlled Pregnant Women With Type 1 Diabetes: A randomized crossover case series. Diabetes Care. 2011;34(12):2527-9.

18.	Buysse DJ, Reynolds CF, 3rd, Monk TH, Berman SR, Kupfer DJ. The Pittsburgh Sleep Quality Index: a new instrument for psychiatric practice and research. Psychiatry Res. 1989;28(2):193-213.

19.	Cox DJ, Irvine A, Gonder-Frederick L, Nowacek G, Butterfield J. Fear of hypoglycemia: quantification, validation, and utilization. Diabetes Care. 1987;10(5):617-21.

20.	Juvenile Diabetes Research Foundation Continuous Glucose Monitoring Study G. Validation of measures of satisfaction with and impact of continuous and conventional glucose monitoring. Diabetes Technol Ther. 2010;12(9):679-84.

21.	Kovatchev BP, Cox DJ, Gonder-Frederick LA, Young-Hyman D, Schlundt D, Clarke W. Assessment of risk for severe hypoglycemia among adults with IDDM: validation of the low blood glucose index. Diabetes Care. 1998;21(11):1870-5.

22.	Murphy HR, Elleri D, Allen JM, Harris J, Simmons D, Rayman G, et al. Closed-loop insulin delivery during pregnancy complicated by type 1 diabetes. Diabetes Care. 2011;34(2):406-11.

23.	Emami A, Willinska ME, Thabit H, Leelarathna L, Hartnell S, Dellweg S, et al. Behavioral Patterns and Associations with Glucose Control During 12-Week Randomized Free-Living Clinical Trial of Day and Night Hybrid Closed-Loop Insulin Delivery in Adults with Type 1 Diabetes. Diabetes Technol Ther. 2017;19(7):433-7.

24.	Bally L, Thabit H, Ruan Y, Mader JK, Kojzar H, Dellweg S, et al. Bolusing frequency and amount impacts glucose control during hybrid closed-loop. Diabet Med. 2017.

25.	Kahkoska AR, Mayer-Davis EJ, Hood KK, Maahs DM, Burger KS. Behavioural implications of traditional treatment and closed-loop automated insulin delivery systems in Type 1 diabetes: applying a cognitive restraint theory framework. Diabet Med. 2017;34(11):1500-7.

26.	Farrington C, Stewart ZA, Barnard K, Hovorka R, Murphy HR. Experiences of closed-loop insulin delivery among pregnant women with Type 1 diabetes. Diabet Med. 2017;34(10):1461-9.

27.	Iturralde E, Tanenbaum ML, Hanes SJ, Suttiratana SC, Ambrosino JM, Ly TT, et al. Expectations and Attitudes of Individuals With Type 1 Diabetes After Using a Hybrid Closed Loop System. Diabetes Educ. 2017;43(2):223-32.

28.	Tanenbaum ML, Iturralde E, Hanes SJ, Suttiratana SC, Ambrosino JM, Ly TT, et al. Trust in hybrid closed loop among people with diabetes: Perspectives of experienced system users. J Health Psychol. 2017:1359105317718615.

Table 1: Baseline characteristics of trial participants

| Baseline characteristics (N=16) | Number (%) | Mean (SD) |
| --- | --- | --- |
| Age (years) |  | 32.8 (5.0) |
| BMI (kg/m2) |  | 26.6 (4.4) |
| Booking HbA1c (%) |  | 8.0 (1.1) |
| Booking HbA1c (mmol/mol) |  | 63.7 (12.1) |
| Booking HbA1c >7.5% (58mmol/mol) Duration of diabetes (years) | 9 (56%) | 19.4 (10.2) |
| Insulin pump use prior to study | 8 (50) |  |
| CGM use prior to study± | 3 (19) |  |
| Total daily insulin dose (units/kg/day) |  | 0.51 (0.09) |
| Weeks gestation* |  | 16.4 (4.9) |
| Primiparous‡ | 6 (38) |  |
| Recruitment site Cambridge Norwich Ipswich | 6 (38) 8 (50) 2 (12) |  |

* Weeks gestation at randomisation. Randomisation was performed after recruitment and at least 2 to 4 weeks of device training when insulin regimens were optimised and participants were competent using the study pump and CGM devices.

± None of the 3 participants had used CGM in the 6 months prior to enrollment in the study or as part of their regular diabetes management. Two had used real-time CGM (C24_03_06, C24_01_12) and one Freestyle Libre (C24_02_15).

‡6 participants had experienced previous pregnancy losses (6 miscarriages and 1 stillbirth), 2 women had had termination of pregnancy for major malformation. 2 women had a history of hypertensive disorders of pregnancy.

Table 2: Glycaemic outcomes of trial participants

|  | Sensor-augmented pump | Closed-loop |  | Absolute difference (CI95%) | P value |
| --- | --- | --- | --- | --- | --- |
| Crossover phase |  |  |  |  |  |
| Time in target range (%)* (3.5-7.8mmol/L) Secondary glycaemic outcomes | 60.1 |  | 62.3 | 2.1 (-4.1 to 8.3) | 0.47 |
| Mean CGM glucose (mmol/L) | 7.3 |  | 7.3 | 0 (-0.3 to 0.4) | 0.85 |
| Time > 7.8mmol/L (%) | 36.6 |  | 36.1 | -0.6 (-7.4 to 6.3) | 0.86 |
| Time > 10mmol/L (%) | 14.8 |  | 14.6 | -0.1 (-4.2 to 4.0). | 0.94 |
| Time <3.5mmol/L (%) | 2.7 |  | 1.6 | -1.1 (-0.2 to -2.1) | 0.02 |
| Time < 2.8mmol/L (%) | 0.5 |  | 0.2 | -0.2 (-0.0 to -0.5) | 0.03 |
| Number of hypoglycemic events over 28 days | 12.5 (1-53) |  | 8 (1-17) |  | 0.04 |
| Low blood glucose index | 1.4 |  | 1.0 | -0.4 (-0.7 to -0.1) | 0.01 |
| Standard deviation of sensor glucose (mmol/L) | 2.1 |  | 2.0 | -0.7 (-0.2 to 0.1) | 0.29 |
| TDD insulin (units/day) | 41.5 |  | 43.7 | 2.2 (-6.4 to 0.7) | 0.56 |
| Sensor wear (hours/day) | 20.3 |  | 20.2 |  |  |

The values reported are derived from linear mixed effects models except for number of hypoglycemic events which are median (range) and defined as sensor glucose values <3.5mmol/L for ≥20 minutes.

* The primary efficacy endpoint was the percentage of time that glucose was in the target range of 3.5-7.8mmol/L, as recorded by CGM during each 4-week study phase.

±The low blood glucose index assessed the duration and extent of hypoglycemia.

Table 3a: Glycaemic control during the antenatal closed-loop feasibility phase; (end of the randomised crossover trial until delivery)

|  | Number of weeks gestation |  |  |
| --- | --- | --- | --- |
|  | 28-32 n=8 | 32-36 n=16 | >36 n=9 |
| % time in target (3.5-7.8mmol/L) | 70.6 (64.2, 75.4) | 71.5 (68.9,75.9) | 72.3 (67.3, 80.3) |
| % time >7.8mmol/L | 28.0 (23.0, 34.0) | 24.4 (22.8, 29.3) | 23.7 (17.7, 31.5) |
| % time <3.5mmol/L | 1.9 (1.7, 2.3) | 2.0 (1.1, 3.9) | 2.3 (1.0, 3.0) |
| Mean glucose (mmol/L) | 6.9 (6.6, 7.2) | 6.7 (6.4, 6.9) | 6.6 (6.4, 6.9) |
| Sensor wear (hours/day) | 22.4 (11.3, 23.2) | 19.9 (15.1, 23.0) |  |

Data are median (interquartile range)

Table 3b: Glycaemic control during the post-partum closed-loop feasibility phase; (delivery to 6 weeks post-partum)

|  | n=12 |
| --- | --- |
| % time in target (3.9-10mmol/L) * | 77.1 (75.1, 90.4) |
| % time >10.0mmol/L | 22.1 (9.5, 24.4) |
| % time <3.9mmol/L | 2.4 (0.8, 3.7) |
| Mean glucose (mmol/L) | 7.7 (7.1, 8.2) |
| Sensor wear (hours/day) | 16.5 (11.6, 19.2) |

* The glucose target range was adjusted to 3.9-10.0mmol/L, immediately after delivery.

Table 4a: Glycaemic control during the randomised crossover trial and antenatal closed-loop feasibility phase in participants using multiple daily injection (MDI) and insulin pump therapy at enrolment.

|  | Previous MDI users (n=8) |  |  |  |  |  | Previous Pump users (n=8) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sensor-augmented pump | Closed-loop | Difference (CL-SAP) | 28-32 weeks | 32-36 weeks | >36 weeks | Sensor-augmented pump | Closed-loop | Difference (CL-SAP) | 28-32 weeks | 32-36 weeks | >36 weeks |
| % Time in target (3.5-7.8mmol/L) | 57.3 | 58.4 | 1.1 | 71.7 | 70.5 | 71.7 | 62.4 | 66.4 | 4.0 | 71.7 | 73.3 | 78.2 |
| % Time below 3.5mmol/L | 0 | 0.25 | 0.25 | 3.7 | 3.0 | 1 | 0.6 | 0.1 | -0.5 | 1.7 | 1.4 | 2.8 |
| Mean glucose (mmol/L) | 7.5 | 7.7 | 0.2 | 7.1 | 6.8 | 7.1 | 7.3 | 7.1 | -0.2 | 6.9 | 6.7 | 6.6 |

There were no significant differences between previous MDI and pump users in either phase of the randomised crossover trial or during antenatal follow up (p >0.05 at all time points).

Table 4b: Glycaemic control during the randomised crossover trial and antenatal closed-loop feasibility phase in participants with HbA1c levels≤7.5% or >7.5% (58mmol/mol) at enrolment.

|  | Booking HbA1c ≤7.5% (n=7) |  |  |  |  |  | Booking HbA1c >7.5% (n=9) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sensor-augmented pump | Closed-loop | Difference (CL-SAP) | 28-32 weeks | 32-36 weeks | >36 weeks | Sensor-augmented pump | Closed-loop | Difference (CL-SAP) | 28-32 weeks | 32-36 weeks | >36 weeks |
| % Time in target (3.5-7.8mmol/L) | 69.1* | 72.1* | 3 | 72.0 | 74.0 | 77.7* | 57.0* | 57.3* | 0.3 | 64.6 | 69.0 | 68.8* |
| % Time below 3.5mmol/L | 1.0 | 0 | -1.0 | 1.6 | 2.7 | 4.1* | 0 | 0.2 | 0.2 | 3.0 | 2.6 | 1.5* |
| Mean glucose (mmol/L) | 6.8* | 6.7* | -0.1 | 6.8 | 6.5 | 6.4* | 7.6* | 7.9* | 0.3 | 7.1 | 6.9 | 7.0* |

*Indicates significant difference between participants with HbA1c ≤7.5% compared with booking HbA1c >7.5% (p<0.05)

Figure 1: Consort Flow Diagram

34 assessed for eligibility

1 withdrawal‡

9 assigned to sensor-augmented pump (SAP)

16 continued 24/7 closed-loop and were included in follow-up assessments until delivery, and 12 for up to 6 weeks post-partum

‡ Withdrawal due to preterm premature rupture of membranes, severe oligohydramnios and termination of pregnancy due to poor fetal prognosis

2 dropped out during training phase. 1 mental health deterioration, 1 disliked study pump

15 excluded

- 13 did not meet inclusion/exclusion criteria

- 2 declined participation

16 completed and analysed as per intention to treat

8 assigned to day-and night closed-loop (CL)

8 assigned to sensor-augmented pump (SAP)

8 assigned to day-and night closed-loop

17 randomized

19 consented and trained on study pump and CGM

Figure 2: Glucose control of individual participants during the closed-loop and sensor augmented pump phases of the randomised crossover trial, and during antenatal follow-up until delivery