Economic dispatch savings in the coal-fired power sector：An empirical study of China
Yi-Ming Weia,b,c,d*, Hao Chena,b,c,d,e, Chi Kong Chyonge , Jia-Ning Kanga,b,c,d, Hua Liaoa,b,c,d, Bao-Jun Tanga,b,c,d 
a Center for Energy and Environmental Policy Research, Beijing Institute of Technology, Beijing 100081, China

b School of Management and Economics, Beijing Institute of Technology, Beijing 100081, China

c Collaborative Innovation Center of Electric Vehicles in Beijing, Beijing 100081, China

d Beijing Key Lab of Energy Economics and Environmental Management, Beijing 100081
e Energy Policy Research Group (EPRG), Cambridge Judge Business School, University of Cambridge, Cambridge CB2 1AG, UK

Email addresses: wei@bit.edu.cn (Y.M. Wei), chenhao9133@126.com (H. Chen), k.chyong@jbs.cam.ac.uk(C. K. Chyong),jennykang1118@gmail.com, liaohua55@163.com(H. Liao), tbj@bit.edu.cn(B.J. Tang)         

*Corresponding author

Yi-Ming Wei ( Prof. Y.M. Wei), 

Email (wei@bit.edu.cn ), 

Tel.(86-10-68918009) / Fax.(86-10-68918651).

Abstract：

The current equal share dispatch approach has often been criticized for its negative influence on the electricity system operation in China, which worsens the energy security, environmental sustainability and affordability problems. To provide references for the on-going electricity market reform, this study employs an optimization model to quantify the economic dispatch savings in the coal-fired power sector. Major findings show that (1) The heat rates of 2803 coal generators in China range from 273.91gce/KWh to 348.38gce/KWh units in 2014, and the great differences among these generators at different geographical scopes exhibit the necessity for economic dispatch. (2) 5.67% of the coal used for power generation could be saved from economic dispatch in a provincial level, the value of which equals to 0.05% of Chinese GDP in 2014. (3) Three major political and economic challenges hinder the transition from the current dispatch mode to economic dispatch, namely the insufficient running hours for cost recovery, limited cross-border trading due to electricity over-supply and local protectionism, and the political economy problems from generators of different ownership types.

Keywords: Economic dispatch; energy saving; China; optimization
1 Introduction

Half of the world’s coal was consumed by China in 2015, and 47.3% of them went to the power generation sector BP, 2016(; NBS, 2016)
. However, the Chinese coal reserve-production ratio is only 31 years in 2015, which is much smaller than that of Unites States (292 years), Japan (296 years) and world average (114 years). Thus, the previous popular description of Chinese energy resource endowments as ‘rich in coal’ faces big challenges nowadays. Moreover, the coal-dominated power generation mix is also the major source of carbon emissions and air pollutants. 43% of the national carbon emissions came from the power sector in 2014, while the proportion of SO2, NOx and PM was 31.4%, 29.8% and 5.6% respectively Hu and Nan, 2016()
. In addition, the high industrial electricity prices in China reduce its manufacturing competitiveness against competitors. For example, Chinese industrial electricity prices in 2014 are about 50% higher than that of the United States, while the fuel price gaps can only explain 63% of the differences Pollitt et al., 2017()
. Therefore, conserving the energy in the power sector is a good choice to address challenges of energy security, environmental sustainability and affordability 
 ADDIN EN.CITE 

(Chang et al., 2017; Chen et al., 2017; Chen et al., 2016; Meng et al., 2017; Wei et al., 2008; Yu et al., 2016)
.
The amount of coal consumed in the power generation is not only influenced by the advanced levels of equipment and wires, but also affected by how the generation units are operated. Most countries in the world dispatch generators basing on their cost merit order, which is also called economic dispatch. Under this dispatch rule, the lower-cost generation units have the priority to be dispatched first if the grid security is not affected 
 ADDIN EN.CITE 

(Bistline, 2015; Gao and Yang, 2010; Lynch et al., 2013; Steinberg and Smith, 1943)
. However, coal-fired generation units in China are dispatched in a unique way called ‘equal share’, and all the generators of similar type and capacity will have approximately the same allotment of running hours in a year Kahrl et al., 2013()
. This will definitely waste energy because the higher efficiency units have the same running hours with the lower ones. Moreover, this dispatch rule is a black box, and the details of how to allocate the annual operation time is not open to the general public. The equal share dispatch rule originated from a period when China suffered serious electricity shortages. To solve this problem, the government promised to provide enough operation time for the generators to recover their investment cost Kahrl et al., 2011()
, and fair opportunities were valued most in the allocation during that time. Luckily, this strategy worked and many new generation units had been built in a short time. The equal share strategy has been retained so far due to multiple political and economic reasons 
 ADDIN EN.CITE 

(Gao and Yang, 2010; Kahrl et al., 2013; Ma and Zhao, 2015; Robinson and Li, 2017)
, however, this dispatch mode is often criticized for its low efficiency and cause for more environmental pollution Pollitt et al., 2017()
. 
There are several other motivations for the Chinese government to push forward economic dispatch in the power sector now. The No.9 document, issued by the Chinese State Council in March 2015, signaled a new round of electricity market reform. One of the important tasks of this on-going reform is to change the electricity dispatch rule to a more market-based one Hu and Cheng, 2017()
. Moreover, China is now experiencing a serious over-supply problems in the coal-fired power capacity 
 ADDIN EN.CITE 

(CarbonTracker, 2016; Kahrl, 2016; Lin et al., 2016)
, which is partly due to the false signals sent to the investors by the current equal share dispatch. The lifetimes of coal generators in China are generally about 40 years, and there are great efficiency differences among these generators built in different periods Chen et al., 2016(; Ma and Zhao, 2015)
. In addition, the implementation of economic dispatch in the electricity sector will not only conserve fossil fuel use, it can also reduce the air pollution and its related health problems. To provide references for the possible benefits from this on-going electricity market reform, this study estimates the economic dispatch savings in the Chinese coal-fired power sector
, which is aimed at answering the following three questions:
(1) What are the heat rate differences among the coal generators in China? Are they big enough to demonstrate the necessity for economic dispatch?
(2) How much energy can be saved if the economic dispatch is implemented in China? What about the energy conservation potentials at different geographical areas? 
(3) What are the political and economic challenges in China to transit the current dispatch rule to economic dispatch?
The remainder of this paper is organized as follows：Section 2 presents the literature review. Section 3 describes the methodology and data. Section 4 provides the empirical results. Section 5 summarizes the conclusions and proposes some policy implications.

2 Literature Review
  Power system operation is a complex physical and engineering issue, which has to economically and continuously balance the supply and demand to maintain a variety of physical criteria, such as frequency, voltage, and capacity Wang et al., 2008(; Wood and Wollenberg, 2012)
. Many previous studies have been done to analyze the impacts of operational strategies on the power system 
 ADDIN EN.CITE 

(Bhattacharyya, 2007; Kirschen and Strbac, 2004; Moarefdoost et al., 2016; Oggioni et al., 2014; Wang and Shahidehpour, 1993; Wood and Wollenberg, 2012; Zimmerman et al., 2011)
, but the current studies mainly focus on the following three topics.
The first category analyzes how to model the power system operation when more renewables are integrated into the system. This is a big challenge for the traditional power system operation because the electricity generated from renewables depends greatly on the weather conditions, which are both variable and uncertain. Thus, more sophisticated methods should be employed to model this new power system. Reddy and Bijwe (2015)

 proposed a new real-time dispatch model with consideration of the renewable electricity generation, and estimated that it could reduce 3% to 5.4% of the total cost in the traditional dispatch models.Chattopadhyay (2014)

 evaluated the integration of renewable generation in India, and concluded that it will increase the power operation cost by 5.3%. Qadrdan et al. (2014)

 estimated the impacts of wind power generation on the power system operation in Great Britain, and found that about 1% of the total operational cost can be reduced in stochastic models when compared with that of the deterministic models. Tuohy et al. (2009)

 employed both deterministic models and stochastic models to analyze the operation costs in the high wind share scenario of Ireland, and found the total cost of stochastic models are 0.25% to 0.9% lesser than that of the deterministic ones. Garcia-Gonzalez et al. (2008)

 investigated the benefits of pumped-storage units to balance the intermittency of wind power in Spain, and concluded that the total income can be increased by 2.53%. 
The second category focuses on environmental economic dispatch, which integrates the environmental cost of different generation technologies into the power system operation. This is particularly important due to the serious air pollution and climate change issues facing by many countries today. Zhao et al. (2013)
 implemented the environmental economic dispatch in Liaoning’s power sector for the year of 2010, and estimated that the air pollutants and carbon emissions can be reduced by 2.09% to 9.42%. Khan et al. (2015)

 optimized the power system operation in Pakistan with consideration of both fuel cost and carbon emissions cost, and found that the highest daily share of solar generation could range from 25.73% to 27.13%.
The third category estimates the energy saving or cost reduction potentials from economic dispatch, and these researches pay more attention to countries where economic dispatch has not been implemented yet. Nikolakakis et al. (2017)Zhong et al. (2015)

 explored the energy efficient dispatch in Guangdong’s power sector in 2012, which also considered the impacts of different loads on the generators’ coal consumption. They found that 4% of the coal can be reduced from energy efficient dispatch. Kahrl et al. (2013)

 estimated the energy saving potential from energy efficient dispatch in Guangxi province in China,
 and found that 2-4% of the coal could be saved from the coal generators. Gao and Yang (2010)

 investigated the economic dispatch potential among 54 coal generators in Jiangsu province in China, and found that 6.38% of the coal can be conserved from economic dispatch in 2008. 
 evaluated the cost reduction potentials of economic dispatch in Bangladesh power sector, and found that the operational cost can be reduced by a very large share (76%). 

These existing studies have provided good references for our research, based on which we could estimate the economic dispatch saving potentials in China’s coal-fired power sector. Compared with those researches, we contribute to the existing literature from two aspects. (1) Most previous studies take only one province in China as a case study for economic dispatch. While we economically dispatch all the coal generators in China, which is of great significance for the on-going electricity market reform in the whole country. (2) We have quantified and compared the energy saving potential if economic dispatch is implemented at different geographical scopes, and identified the political and economic challenges for economic dispatch. Therefore, relevant compensation and transition mechanisms could be better established to achieve these benefits.
3 Methodology and data

3.1 Research Framework

The research framework of this study is shown in Fig. 1. We firstly get the installed capacity and cost of all the coal generators in China. The electricity generated under the equal share rule is proportional to their capacity sizes. The electricity generated under the economic dispatch rule is obtained from an optimization model, which minimize the total cost while meeting the electricity demand.

Then, we estimate the energy saving potentials when economic dispatch is implemented in provincial, regional and national levels. Lastly, we analyze the political and economic challenges during the transition from to transit the current dispatch rule to economic dispatch in China. 
[image: image1.png]Equal share dispatch

4

Total
Coal
- .
3 consumption
Generation capacity and cost ©
3| .../ N
t / 1 z Challenges for reforming
> the dispatch rule

Electricity generaton e

e m—
4 \\
Costrecovery Y

challenges ’:'

N

Cost
Z

olitical economy
challenges

Economic dispatch -

1ol 2] ~

| :
1 1
1 1
- > Vo ;
Capacity E i i ]
j Vo N : Total
o N- +1E o i - Coal ) Coal )
] 1 1
1 2 | NK| O ' Consumption Consumption
Pl
HE ; .

Electricity generation

Provincial Regional National
Energy saving potentials from geographical scopes




Fig. 1. Research framework
3.2 Data
This study analyzes the economic dispatch savings from all the coal generators in 2014 (2803 generation units, 832.31 GW) 
, which are located in 30 provinces and six regional grid areas in China (Table 1). The savings from economic dispatch are mainly influenced by the heat rate differences and total coal-fired power generation
. However, the heat rates of coal generators are not publicly available and the amount of coal generation is mixed in the thermal generation (coal and gas), so we have to calculate these indicators on our own. The details of how we estimate them are provided in the appendix.
Table 1 Six regional power grids in China 
	Regional grid
	Provinces

	North China
	Beijing(BJ),Tianjing(TJ),Hebei(HB),Shandong(SD),Shanxi(SX), West Inner Mongolia(IMG-W)

	Northeast China
	Liaoning(LN),Jilin(JL),Heilongjiang(HLJ),East Inner Mongolia(IMG-E)

	Westnorth China
	Gansu(GS),Qinghai(QH),Ningxia(NX),Shaanxi(SHX),Xinjiang(XJ)

	East China
	Zhejiang(ZJ),Shanghai(SH),Jiangsu(JS),Fujian(FJ),Anhui(AH)

	Central China
	Hubei(HUB),Hunan(HUN),Jiangxi(JX),Chongqing(CQ),Henan(HEN),Sichuan(SC)

	South China
	Guangdong(GD),Guangxi(GX),Yunnan(YN),Guizhou(GZ),Hainan(HAN)


Notes: The division rule of the six regional grids is according to information from State Grid Corporation of China and China Southern Power Grid. Hong Kong, Taiwan, Macro and Tibet are not included in the six regions due to the data unavailability. The East Inner Mongolia grid includes Hulunbeier, Xing'an, Tongliao and Chifeng, while the West Inner Mongolia grid contains the rest area in Inner Mongolia except the East Inner Mongolia. 
3.3 Economic dispatch optimization model for the coal-fired power sector
To analyze the economic dispatch conservation potentials in the Chinese coal-fired power sector, an optimization model which minimizes the total operational cost is established as below.
                      
[image: image2.wmf]ii

PHRC

ii

i

minh

×××

å

                                (1)

                      
[image: image3.wmf]iiK

C(1SE)D

i

iK

h

Î

××-=

å

                              (2)

                       
[image: image4.wmf]i

HMT

i

h

£×

                                       (3)


[image: image5.wmf]0

i

h

³

                                            (4)

Where 
[image: image6.wmf]i

h

 is the annual running hours of unit 
[image: image7.wmf]i

, which is the decision variable of the optimization model; 
[image: image8.wmf]i

P

 is the coal price charged with unit 
[image: image9.wmf]i

，which is the annual average coal price in the province where unit
[image: image10.wmf]i

 locates
; 
[image: image11.wmf]i

HR

is the heat rate of unit 
[image: image12.wmf]i

；
[image: image13.wmf]C

i

 is the installed capacity of unit 
[image: image14.wmf]i

; 
[image: image15.wmf]i

SE

 is the share of self-used electricity in unit 
[image: image16.wmf]i

, which is drawn from 
NBS (2015a)

; is the total coal electricity generated in area 
[image: image18.wmf]K

；
[image: image19.wmf]H

 is the total number of hours in one year；
[image: image20.wmf]i

MT

 is the maximum availability coefficient of annual running time of unit 
[image: image21.wmf]i

, which is drawn from [image: image22.wmf]K

NBS (2015a)

. The constraint (2) ensures that the total electricity consumption demand is met within area ; The constraint (3) limits the running hours of unit 
[image: image23.wmf]i

within its maximum available hours.

The coal conservation potential (
[image: image24.wmf]CC

D

) is the coal consumption difference between equal share dispatch and economic dispatch.


[image: image25.wmf]12

CCCCCC

D=-

                                 (5)


[image: image26.wmf]*

2i

CC=HRC

ii

h

××

                                      (6)

Where
[image: image27.wmf]1

CC

 is the coal consumption under the equal share dispatch rule, which is the actual coal consumption in China and can be drawn from NBS (2015b); 
[image: image28.wmf]2

CC

is the coal consumption under the economic dispatch rule, which is calculated based on the optimal annual running hours of every coal generator (
[image: image29.wmf]*

i

h

).
4 Result analysis and discussion
4.1 Heat rate differences exhibits the necessity for economic dispatch
The calculated generation heat rates of the 2803 units in 2014 are shown in Fig. 2. As seen from this figure, the heat rates of Chinese coal generators range from 273.91 gce/KWh (Waigaoqiao-3 Generation Unit 2 in Shanghai) to 348.38 gce/KWh (Xilinhot-2 Generation Unit 1 in Inner Mongolia). IEA, 2015(CEC (2012)

  mentions the maximum one is about 344.65 gce/KWh in 2012. Therefore, this proves that our estimation result is reliable to some extent. The capacity-weighted average heat rate of all the generators is 309.11gce/KWh, which is much higher than that of the Japanese average value (292 gce/KWh) Sun et al. (2015)

 states that the minimum generation heat rate of Chinese coal-fired power plant is about 276.02 gce/KWh, while ; NBS, 2015b)
. Moreover, the generation unit with a larger size tends to have a lower heat rate, which can be evidenced from the fact that bigger bubbles are usually located in the lower places.
The differences in generation heat rates within a balancing area are important for the conservation potentials from economic dispatch, when compared with the equal share dispatch. If all else thing are kept equal, the bigger distribution differences of heat rate are, the larger share of coal can be saved from economic dispatch. As shown in Fig. 2, at the national level, the gap between the maximum and the minimum heat rate is 74.47gce/KWh, which is about 24% of the capacity-weighted average heat rate in China. At the regional level, the weighted average heat rate of units in Northwest grid is the highest (317.06 gce/KWh), while the weighted average heat rate of units in EastChina grid is the lowest (302.22 gce/KWh). This is because the economically developed regions can afford more advanced generation equipment Ma and Zhao, 2015()
. In addition，they have retired or retrofitted most of the older or lower efficiency units during the previous reform process Yu et al., 2017()
. At the provincial level, Qinghai has the highest capacity-weighted average heat rate（324.93 gce/KWh）, but the shortest band length with a confidence level of 95% (12.89 gce/KWh).
 Although Shanghai has the lowest average heat rate（296.57gce/KWh）, it also has the longest band length with a confidence level of 95% (52.54 gce/KWh). Consequently, there are distinct differences among the heat rates of generation units at different geographical levels, which indicate the necessity for economic dispatch.
[image: image30.png]Northeast Grid

350 -

T
o
@
®
¢

T T
o [=]
-~ [«2]
N

™
MDI/228) @18y 1eaH

270

HU LN JL

IMG-E



[image: image31.png]350 NorthChina Grid

i

95 Per.

w
w
o

N
©
o

Heat Rate (gce/KWh)
K
5}

5 Per.

270

IMG-W SX HEB BJ SD T




[image: image32.png]Northwest Grid

95 Per.

iEsPe

350 -

T T T

o o
oy (2]
(3 N

( :;v_\ﬂum ) °3jeyiesH

o
(323
(32

270

NX XJ GS SHX

QH



[image: image33.png]EastChina Grid

)
o
10
£

5 Per.

350

1
o
@
©
¢!

1 1
o o
-~ [«2]
™ 3]
M)I/228) 81ey 1esH

270

FJ Js Z) SH

AH




[image: image34.png]350 -

CentralChina Grid
8 95 Per.

2 330
H
Z
8
B 310
[
©
o
® 290 5 Per.
2@ <

270

CQ SC HEN JX HUN HuB



[image: image35.png]Heat Rate (gce/KWh)

350

330

w
-
o

N
©
o

270

o - |
!e

95 Per.

5 Per.

YN GZ GX HAN GD




                        [image: image36.png]Capacity MW O O o

1000 500 100




Notes: The bubble size denotes the capacity of the generation unit. The light blue band denotes the 95% confidence interval, and the dark blue line denotes the capacity-weighted average heat rate of the corresponding province.
Fig.2. Heat rates of Chinese coal-fired generation units in 2014 
Another way to prove the necessity for reforming the present ‘equal share’ is to check whether the current dispatch mode is efficient in the running time allocation. To answer this question, we have analyzed the correlation coefficients between the efficiency and the allocated annual running time for some provinces. In these provinces, the operation time data are drawn from sampled plants whose installed capacity is over 1GW(NBS, 2015a),
 and their efficiency is calculated based on the heat rates.
 The estimated correlation coefficients for the sampled provinces are shown in Fig. 3. 
[image: image37.png]Zhejiang

Gansu

o
El
5

=
El
=

=

@n

Liaoning

Inner Mongolia

Tianjing

Heilongjiang

Xinjiang
Guangdong
Ningxia Hui

Guizhou

0.00 0.50 1.00
Correlation coefficient

-0.50

-1.00




Fig.3 the relationship between the efficiency and the annual running hours
As seen from Fig. 3, 12 of the sampled provinces have negative correlations between the generation efficiencies and the allocated operation hours. The correlation coefficients range from -0.67（Guizhou）to -0.10 (Inner Mongolia). Moreover, these provinces do not only have the economically underdeveloped provinces, but also have some economically developed provinces like Guangdong and Tianjing. Therefore, this fact further demonstrates the significance of economic dispatch in the coal-fired power generation units.
4.2 Energy saving potentials from economic dispatch
This section evaluates the energy saving potentials when economic dispatch is implemented in the provincial, regional and national levels respectively.
The total coal savings from economic dispatch in the provincial level is 71.78 Mtce in 2014, accounting for 5.67% of the national coal used for power generation. If we convert the coal savings to monetary value, that will reduce the average electricity price by 0.0058 yuan/KWh. equal to 0.05% of Chinese GDP in 2014. Moreover, the reduced carbon emissions from these coal savings represents 2.86% of Chinese total carbon emissions, and 0.79% of the world total carbon emissions BP, 2016()
. Shandong has the largest amount of coal conservation (6.82 Mtce), while Beijing has the smallest energy savings (0.07 Mtce). Since every province has different amount of coal consumption used for power generation, it is more meaningful to compare the share of saving potentials among different provinces. As seen from Fig. 4, Liaoning province has the largest share (8.85%) of coal savings from economic dispatch, while Beijing has the smallest share (2.06%) of coal conservation. Moreover, the provinces with bigger saving shares are mostly concentrated in Northeast China region and Northwest China region. This can provide references for the selection of provinces to pilot the economic dispatch reform, because the provinces with higher saving shares will show more enthusiasm for supporting the dispatch reform. In addition, we have compared our results with that from previous studies in Table 2, which can prove the robustness of our results.

[image: image38.jpg]Data Unavailable
[ Northeast China Power Grid
[ North China Power Grid
[ Northwest China Power Grid
[0 East China Power Grid
[ Central China Power Grid
| South China Power Grid

0

150 300

600

=

900 1,200

Miles





      Fig. 4 Share of coal conservation from economic dispatch (%)
	Table 2 Coal saving potential comparison with previous results
　
	Previous study
	　
	This study 

	Province
	Saving potential
	Source
	Year
	　
	Saving potential
	Year

	Jiangsu
	6.38%
	Gao and Yang (2010)
	2008 
	
	5.13%
	2014

	Guangxi
	2%~4% 
	Kahrl et al. (2013)
	2012 
	
	3.02%
	2014

	Guangdong
	4%
	Zhong et al.(2015)
	2012 
	　
	4.95%
	2014


If the economic dispatch scope is enlarged from provincial level to regional grid level, the coal savings and their shares are shown in Fig. 5. As shown in this figure, the total coal savings from regional economic dispatch will be reduced to 45.89 Mtce. This is because the great coal price differences among different provinces will influencedistort the economic dispatch (see Fig. 6). For example, the average annual coal price in Jiangxi is 3.30 times than that of Xinjiang. Therefore, some less efficient generation units may obtain more running time because their coal prices are much lower.
 From the perspective of absolute coal savings, NorthChina grid region has the largest conservation potential (13.82 Mtce), while the SouthChina grid region has the smallest conservation potential (4.76 Mtce). This result can be served as a justification for building more transmission lines in a certain regional grid to achieve the energy saving potential. From the perspective of the share of coal savings, Northwest grid region has the biggest share of coal savings (5.90%), while the South China region has the smallest share of coal savings (3.35%). This can also provide references for the selection of places to conduct the pilot regional economic dispatch.
[image: image39.png]Data Unavailable
|| Northeast China Power Grid
|| North China Power Grid

- Northwest China Power Grid
[ East China Power Grid '
- Central China Power Grid

|| South China Power Grid

0 150 300 600 900 1,200
- ee— w—— Miles





Fig.5. Energy conservation from economic dispatch in regional level
[image: image40.png]700 4

600 -

500

o o <

S S &

F @ a
oY/ AR

Suefurx
H-DNI
M-DINIT
RIXSUIN
Ixueys
nsuen

Hiiy
Suelf3uojoy
19gH
Sufuer],
IXueeys
Suifiog
Sutuoery
reysuId)
noyzing
uRUUNK
ueUdH
nsSuerr
uBUNE.
SuopSuenn
ueilng
reysueys
uenypIs
nyuy
PnH
Sueifoyz,
uRURE
Suopueys
SuibSuoyp
1x§uenp
Ixsuelr




Fig.6. Coal prices in different provinces
At last, if the economic dispatch is further expanded to the national level, the total coal conservation can be 43.40 Mtce. It is interesting to find out that less energy conservation potentials will be earned if the dispatch scope becomes bigger，so the coal price is an important factor that affects the energy saving potentials
In addition, we have also calculated the energy efficient dispatch savings at different geographical levels, which are shown in Fig. 7. These results can be good comparison for that from economic dispatch. The energy efficient dispatch was implemented in five pilot provinces（Guangdong, Guizhou, Henan, Jiangsu, Sichuan）from 2007, and this rule dispatches generation units only in ascending order of their heat rates. In contrast to the economic dispatch, the amount of energy savings from energy efficient dispatch increases when the dispatch scope enlarges. Compared with the provincial efficient dispatch, the regional energy efficient dispatch will get further 2.01 Mtce coal savings, among which the Northwest China grid region obtains the largest additions (0.55 Mtce). The total amount of energy savings from energy efficient dispatch in a national level is 78.27 Mtce, which equals to 6.19% of the national coal used for generation in 2014.
[image: image41.png]Coal savings (Mtce)

Provincial

045 0.55
017 022 _025 _ 0.37 e - —
R-SC R-CC R-NC R-NE R-EC R-NW National

Energy efficient dispatch level




Fig. 7. Coal savings from energy efficient dispatch
Notes：R-SC indicates SouthChina grid region，R-CC indicates CentralChina grid region，R-NC indicates NorthChina grid region，R-NE indicates Northeast China grid region，R-EC indicates EastChina grid region，R-NW indicates Northwest China grid region 
4.3 Political and economic challenges of electricity dispatch reform
Reforming the dispatch rule of Chinese power sector has been under debate for a long time, and some provinces have piloted in implementing energy efficient dispatch since 2007. However, the original ‘equal share’ dispatch mode is still active for most places in China now. There are some political and economic challenges to transit the current dispatch to economic dispatch, which are identified as below.
The first major challenge is that the dispatch reform will induce the benefits re-allocation among generators of different ownership types, thus affecting the provincial economic dispatch. The coal generation units are owned by three types of companies in China, namely the state-owned companies, the local government or investors owned companies, and the foreign investor owned companies. Under the current regulation regime, the generation income of state owned companies will be directly in charge of the one department of the central government (SASAC),
 which contributes little to the local fiscal income. However, the generation incomes of the remaining two types are closely related to the fiscal income of the local government. Therefore, such companies will persuade their directly related government to fight for more allocated running time for them during the dispatch reform, because this is a win-win game for them. At last, it will increase the tensions between the central government and local government.
Fig. 8 has been drawn to illustrate this political economy challenge, the X axis exhibits the share of total installed capacity related to the local government within one province. The smaller the share is, the weaker their persuasive ability is. The Y axis shows the heat rate differences between the local government related generators and central government related generators, which indicates the tension intensity between them. The bubble size illustrates the amount of total installed capacity within one province.
[image: image42.png]gov. - HR_central gov.(gce/KWh)

HR_local

40

-20
-10%

0% 10% 20% 30% 40% 50% 60%
Share of the power capacity related to local government

70%




Fig. 8 The political economy between central and local government in dispatch 
Notes: the bubble labels are the provincial names, and can be seen from Table 1. 
In most provinces, the heat rates of central government related generators are lower than that of the local government related ones, the five exceptions are Inner Mongolia, Shanghai, Beijing, Guizhou, Xinjiang and Gansu, which are highlighted in blue in Fig. 8. This means that the implementation of economic dispatch will reduce the fiscal income of the local government, while increase the fiscal income of the central government. Additionally, the promotion opportunities of the top leaders and the salary of the people who work in the local generation companies will be affected. Note as well that many provinces with large sizes of installed capacity have a local government involved share over 20%. For example, the share of local government related capacity in Guangdong is more than 50%, which indicates that it has enough motivations to bargain with the central government in the setting operation time quotas. Therefore, the political economy impacts resulting from economic dispatch should not be easily ignored Kahrl et al., 2013(; Robinson and Li, 2017)
.

The second major challenge is the over-supply of provincial coal-fired power will hinder cross-border trading among different provinces, thus affecting the implementation of economic dispatch in a regional level. The payment per kWh received by the coal generators are set the NDRC in China, which is calculated based on the long run system costs and the lifetime of the benchmark generators. Therefore, the main incentive for the coal generator investment is the annual operation time, which is allocated under the equal share dispatch rule. The allocated running time is quite profitable for coal generators when the supply-demand is very tight previously, so coal generators were invested heavily during the past decade, leading an overinvestment status presently. Fig. 9 illustrates the current supply surplus problem in the Chinese coal-fired power sector. As seen in Fig. 9, all the 30 provinces have different extents of coal-fired power over-supply, and the average surplus ratio is 41%. Yunnan has the highest surplus ratio (69%), while Beijing has the lowest surplus ratio (16%). Basing on these surplus generation, the surplus coal capacity in different provinces can be calculated and is shown in Fig. 10, Henan has the largest overcapacity of coal generators (31.4 GW), while Beijing has the smallest overcapacity of coal generators (0.4 GW). In addition, the total national overcapacity of coal generators is 342.9GW, representing 41% of total coal capacity in China. 
[image: image43.jpg]°.

Actual_gen

T rcess_oen

&

0 475950 1,900 2850

3,800
Miles





Fig.9. Actual and surplus power generation in 2014 (TWh)
Notes: The excess generation is calculated as a result of theoretical generation minus by the actual generation in 2014, and the theoretical generation is the result of installed capacity multiplied by the maximum available running hours (8059.2 hours).
[image: image44.png]ueusH
Buopbuens
nsbueip
ONI

18geH
Xueys
Bueifeyz
Inyuy
Buuoer
1agqnH
Buopueys
IXUEBYS
noyzing
Bueifuix
Bueilbuojioy
uBUUNA
nsues

ulie

xBueip
ueuny
uenuyols
xBuens
ueling
feybueys

INH exBuIN
ueuleH
reyburo

v © 1w o v o
a4 N - =

(AMO) fioedeo sniding

[}
@

30




Fig.10 Surplus coal capacity in different provinces

Moreover, the income from power generation within one province is directly related to its fiscal income, which is not only important for its economic development, but also an important indicator for measuring the top leaders’ political performance. No province wants his piece of cake to be eaten by others Kahrl et al., 2013()
, the amount of generation changes brought by regional (national) economic dispatch can be seen from Fig. 11 (Fig. 12). Some provinces’ benefits from generation will be largely reduced if economic dispatch is implemented in a regional grid level, such as Shandong and Anhui. Accordingly，even though there may be some energy saving potentials from economic dispatch in wider areas, there is still some political and economic obstacles to move this step forward. This can also be proved by the current limited share of interprovincial electricity trading in China，which is 16% in 2014 and the State Grid Corporation of China (SGCC) holds a share of 13% Kahrl et al., 2011(; Zeng et al., 2016)
.

[image: image45.png]Buopbueno

ueule

xBueng
noyzing

Buibbuoyp

Bueifeyz
leybueys
nsbueip

Inyuy
INH exBUIN
IXUeBYS

teybuin
Buopueyg

Buifuer|
1som-OpI

Bueilbuo|iey

1se3-oll

ueuun A
xBuelp
ueuny
leqnH
ueusH

uenyolg
ueyfng

Buelfu

nsues

19qeH
Bullleg
Xueys

Buiuoer

ulre

Northwest EastChina CentralChina SouthChina

NorthChina

Northeast





         Fig. 11 Generation changes brought by regional economic dispatch
[image: image46.png]Buopbueng

ueue

xBueng
noyzing

ueuun A
xBuelp
ueuny

1egnH

ueusH

Buibbuoyp

uenyolg
ueyfng

Buefeyz
~eybueys
nsbueir
Cnquy

InH exBuIN
teybuin
Buopueys
Bullleg

Buifuer|
som-ONI

Bueifbuojie

1se3-oll

Bueilury

nsues

IXueeys

19GaH

IXUeys

Buiuoer

ulre

Northwest EastChina CentralChina SouthChina

NorthChina

Northeast

200

100

-100

UML

-200

-300

-400




Fig. 12 Generation changes brought by national economic dispatch
The third major challenge is the current insufficient running hours for most generation units to recover their huge sunk investment cost, thus influencing the implementation of economic dispatch in a national level. Investing into the coal-fired power plants is a capital intensive business, once the construction is finished, the generation units need certain amount of running hours to recover their cost Gao and Yang, 2010(; Ma and He, 2008)
. The break-even running time of the coal-fired power plants in China is about 5500 hours per year,
 which is above the average running time in 2014 of all the generators (see Fig. 13). Moreover, the coal generators will only be paid if not constrained off according to the current feed in tariffs rule.
[image: image47.png]Average running hours

6000

5500 | e e e e e e

5000

4000 -

3000 -+

2000 -

1000 -

T
100-199 200-299 300-399 500 600-699 700
Capacity levels (MW)




Fig. 13. The average annual running hours of coal-fired power generation units
Notes: data are drawn from NBS (2015a)


Therefore, there is a great tendency of protest for the dispatch reform since many generators already have difficulties in recovering their investment cost. No generation unit would like to reduce their running time without any corresponding compensation mechanism established for them. Moreover, this situation is faced by almost all the generation units in China, so a dispatch reform that affects the benefits of most players will in general have difficulty in its implementation.
5 Conclusion and policy implications
5.1 Conclusion

The current equal share dispatch approach has been criticized for its negative influences on the security, environmental sustainability and affordability of Chinese electricity sector. Reforming the dispatch rule may be a good choice to address these challenges. To provide references for the cost-benefit analysis of the on-going electricity market reform, this study pioneers in quantifying the economic dispatch savings in Chinese coal-fired power sector. The heat rates of all the coal generators in China have been estimated, based on which we prove the necessity for economic dispatch. Then, an optimization model is employed to calculate the energy saving potentials from economic dispatch in provincial, regional and national levels, and the results are also compared with that from energy efficient dispatch approach. At last, three main political and economic challenges to transit the current dispatch mode to economic dispatch have been identified. During this process, some major conclusions are drawn as follows:

  (1) The heat rates of 2803 coal generators in China range from 273.91gce/KWh to 348.38gce/KWh in 2014, and great differences exist among these generators at different geographical levels. This indicates that energy could be saved from economic dispatch, when compared with that from the current equal share dispatch. Moreover, the fact that negative correlations between the generator efficiencies and their allocated running time do exist in some provinces, which further proves the necessity for economic dispatch.
(2) 5.67% of the coal used for power generation could be saved from provincial economic dispatch in 2014. The provinces with bigger saving shares are mostly concentrated in Northeast China region and Northwest China region. Moreover, the benefits saved from coal could bring down the industrial electricity price by about 1-2% according to Pollitt et al. (2017). Due to the great coal price differences among provinces, the saved 71.78 Mtce coal from provincial economic dispatch will reduce to 45.89 Mtce (regional) and 43.40 Mtce (national) when the dispatch scope enlarges. However, the energy saved from energy efficient dispatch increases as the dispatch area expands, and 78.27 Mtce of coal in total can be conserved from the national energy efficient dispatch.

(3) The transition from current dispatch mode to the economic dispatch faces several major political and economic challenges. The differences in generator heat rates among different ownership types hinder the implementation of economic dispatch in a provincial level, this is because benefits of re-allocation among different ownership types will induce the tensions between central government and local government. The over-supply status of coal-fired power in all provinces impedes the implementation of economic dispatch in a regional level, since provinces are reluctant to import electricity from their neighbors via regional dispatch, which will reduce their own fiscal income and development opportunities. Furthermore,the current insufficient running hours for cost recovery hinders the implementation of economic dispatch in a national level, and no generation unit wants his piece of cake to be eaten by others without any further compensation. Consequently, further transition and compensation mechanisms should be established to facilitate the economic dispatch implementation.
5.2 Policy implications
Based on the conclusions obtained above, some policy implications are proposed as follows:
(1) To achieve the coal saving potential and drive down the operational costs in China’s electricity sector, it is necessary to establish a well-function wholesale market to implement the economic dispatch rule (Pollitt et al., 2017). Since the new wave of electricity market reform started in 2015, several provinces have been piloting in establishing wholesale forward markets, such as Zhejiang and Guangdong. Considering importance and complexity of electricity markets, Chinese pilot projects should on the one hand drawn successful experiences from countries like UK and US, they should on the other hand consider the unique characteristic of Chinese politics and economy.
 (2) The dispatch reform will no doubt inducing the revenue re-allocation among different generators, and the most important challenge is how to reconcile the revenue realignment among generators so that some of them will operate more and others will operate less. A possible approach is to establish a two-part pricing scheme, which contains 1) a capacity price paid in RMB/(kW*year), based on the generator availability 2) an energy price paid in RMB/kWh, based on the generator output. This pricing scheme can facilitate the economic dispatch implementation when the 

compensate for the generators whose running time is reduced after the implementation of economic dispatch. Moreover, this capacity market approach has already been successfully demonstrated in US and UK Newbery, 2016a(; Newbery and Grubb, 2015)
.
(2) More economic benefits can be earned from wider dispatch areas, even though the total energy saving potentials may be reduced due to the coal price differences. To achieve these economic returns from wider dispatch areas, we should firstly optimize the dispatch of the existing generators and power lines first, and then rationalise the investment of new generators and lines. Apart from this, it is also important to develop a proper mechanism to allocate the extra revenues come from cross-border power exchange in a regional or national economic dispatch. Taken the experience in US as an example, the cost savings or extra revenues are typically split by 50/50 between different involved entities Hurlbut et al., 2017()
.
(3) Under the current power operation regime in China, the power grid companies are in charge of the actual generator dispatch, and the consumers are the rate-payers who bear the power generation cost. Without any change in the pricing mechanism, the energy economic dispatch reform is simply an income transfer among these generation companies, which is the major reason why the pilot energy efficient dispatch started in 2007 has failed. Therefore, it will be better to establish a cost reflective mechanism of the final retail prices, then the benefits of the lower overall system cost will be received by both the grid companies and rate-payers. Moreover, this will ensure the support from all players in the power system when the dispatch reform processes. UK has accumulated good electricity market reform experience and its electricity pricing mechanism are cost reflective and encourages innovation among all the related stakeholders Newbery, 2016b(; Strbac et al., 2014)
. 

 (4) The government should make the dispatch rule more transparent and improve the power operation data availability, thus more valuable researches could be done to support the current electricity market reform. Moreover, the disclosure of dispatch information can provide good investment signals for the stakeholders and help them  making wiser decisions, such as avoiding the over investment of current generation capacity (Pollitt et al., 2017 ). Many countries have made the information of their electricity dispatch system available to the public, such as the UK, US and Australia etc.

Although we have answered several important questions related to the economic dispatch in Chinese coal-fired power sector, some issues are still needed for further improvement. The economic dispatch model could be improved to be closer to the real system operation. For example, the constraints of transmission capacity between different regions, ramp up and down rates and the line losses could be added to the model when the new data is available. In addition, an economic dispatch model for the whole electricity sector could be developed to provide more references for the dispatch reform.
Acknowledgements

This work was supported by China’s National Key R&D Program (2016YFA0602603), National Natural Science Foundation of China [grant numbers 71521002, 71273031 and 71573013] and China Scholarship Council (CSC). The authors would like to thank the data support and suggestions from Energy Policy Research Group in University of Cambridge. The authors would like to extend special thanks to the editor and the anonymous reviewers for their constructive comments and suggestions for improving the quality of this article.
Appendix
Since the dispatch savings are mainly influenced by the heat rate differences and total coal-fired power generation, we will describe the source of these two data as below.
1) Coal-fired power generation
The amount of provincial coal-fired power generation could not be obtained directly from public source, this is because they are mixed together with other generations as thermal power in the Chinese official statistics documents.
Therefore, we have tried our best to separate the coal-fired power from the aggregated thermal power, that is, the coal-fired power equals to the amount of thermal power minus the gas-fired power, oil-fired power, residual temperature, gas and pressure generation, waste burning power generation and biomass generation (straw, bagasse and woody burning generation). The provincial gas-fired power is calculated as a result of multiplying the provincial share of natural-gas used for generation by the national gas-fired power generation NBS, 2015b()
; The provincial residual temperature, gas and pressure generation is obtained through multiplying the provincial share of blast furnace used for power generation by the national residual temperature, gas and pressure generation NBS, 2015b()
; The provincial waste burning power generation is calculated via multiplying the provincial share of burning power generation capacity by the national burning power generation CNREC, 2015()
; The provincial biomass power generation is calculated as a result of multiplying the provincial share of biomass generation capacity by the national biomass power generation CNREC, 2015()
. The amount of oil-fired power is too small to neglect in this study.
In addition, since the East Inner Mongolia power grid and West Inner Mongolia power grid belong to the same province, we split their coal-fired power generation according to their GDP share of Inner Mongolia. 
2) Heat rate estimation
The heat rates of coal generators are also not available from public source, and we have to estimate them by ourselves. Our estimation approach can be described as two steps, the first one is to set a reference coal generation unit, whose heat rate and technical parameters are already known. The second one is to add the heat rate differences resulting from the different technical parameters, when compared with that of the reference unit. The influence factors of heat rates are based on the 16 items summarized by IEA (2010)

, and the technical parameters of all the generators are drawn from World Electric Power Plants Data Base (WEPP).
 One thing needs to be specified is that we have to focus on the most important rather than all the factors due to the data unavailability. Moreover, we have compared the estimated results with some of the publicly known generators to verify the credibility of our estimation.
The benchmark generation unit for our heat rate estimation is a sub-critical generation unit (16.7MPa/538℃/538℃), cooled by water and without any installation of SO2, NOx and PM2.5 emission reduction equipment,
 whose generation heat rate is 304.3455 gce/kWh with an efficiency about 38%.
Firstly, we analyze the improvements of steam condition (temperature and pressure) on the heat rates based on Figure 3.12 in Staudt and Macedonia, 2014(IEA (2010)

, this is because the steam condition is one of the most important factors for heat rates )
.The regression results are shown in Table A1. Therefore, we can get the changes of heat rates caused by improvements of steam conditions.
Table A1 The impacts of steam conditions on heat rates 
	
	C
	Pressure
	Steam 
temperature
	Reheat
temperature
	R2

	Coefficients
	397.4927***
(1.9343)
	-0.0673***
(0.0018)
	-0.0737***
(0.0064)
	-0.0814***
(0.0054)
	0.9839


Notes: ***, ** and * denote significance at 1%, 5% and 10% levels, respectively. The numbers in the brackets are stand errors.
However, about one third of the steam condition data of the 2803 units are missing in the WEPP database. Therefore, we firstly calculate the heat rates for generators that have full data set of these steam conditions, and then analyze the relationship between their heat rates and their online years, capacity sizes based on the results from Ma and Zhao (2015)

. Moreover, we have classified them into three groups, and the results are shown in Table A2. Then, we use these regression results to fill up the heat rates for the remaining generators. At last, we can get the improvements of heat rates of all the generators when only the steam conditions are considered.
Table A2 the relationship between heat rates and online year and capacity size
	　
	Subcritical
	Supcritical
	Utrcritical

	C
	1660.1944***
(332.0389)
	1835.6483***
(305.9414)
	2798.3257***
(399.7608)

	Year
	-0.6742**
(0.3210)
	-0.7684*
(0.4520)
	-1.2483**
(0.4545)

	Capacity
	-0.0043*
(0.0025)
	-0.0045*
(0.0026)
	-0.0046*
(0.0027)

	R2
	0.2335
	0.3647
	0.2689


Notes: ***, ** and * denote significance at 1%, 5% and 10% levels, respectively. The numbers in the brackets are stand errors.
Then, we add the heat rate influences from other factors. According to the Action plan for the coal-fired power plants retrofit 2014-2020 published by the National Development and Reform Commission (NDRC), the heat rate of generator cooled by air will be about 16.95 gce/KWh higher than that of same unit cooled by water. The heat rate of coal generator equipped with SO2 emission control will be 3.01 gce/KWh higher than the one without installation, while the heat rate of generator with NOx emission control will be 1.47 gce/KWh higher than the one without installation IEA, 2010()
.
At last, a generator’s ultimate estimated heat rate is the result of summing all these heat rate numbers obtained from the above two steps, and they are further used to evaluate the economic dispatch savings in the Chinese coal-fired power sector.
Reference

Bhattacharyya, S.C., 2007. Sustainability of power sector reform in India: what does recent experience suggest? Journal of Cleaner Production 15, 235-246.

Bistline, J.E., 2015. Electric sector capacity planning under uncertainty: Climate policy and natural gas in the US. Energy Economics 51, 236-251.

BP, 2016. BP statistical review of world energy 2016. London. Available at：http://www.bp.com/statisticalreview.

CarbonTracker, 2016. Chasing the Dragon? China’s coal overcapacity crisis and what it means for investors. Available at :https://www.carbontracker.org.

CEC, 2012. Measures for evaluating the performance of national thermal power coal - fired units. Available at :http://www.cec.org.cn/.

Chang, Z., Wu, H., Pan, K., Zhu, H., Chen, J., 2017. Clean production pathways for regional power-generation system under emission constraints: A case study of Shanghai, China. Journal of Cleaner Production 143, 989-1000.

Chattopadhyay, D., 2014. Modelling renewable energy impact on the electricity market in India. Renewable and Sustainable Energy Reviews 31, 9-22.

Chen, H., Kang, J.-N., Liao, H., Tang, B.-J., Wei, Y.-M., 2017. Costs and potentials of energy conservation in China's coal-fired power industry: A bottom-up approach considering price uncertainties. Energy Policy 104, 23-32.

Chen, H., Tang, B.-J., Liao, H., Wei, Y.-M., 2016. A multi-period power generation planning model incorporating the non-carbon external costs: A case study of China. Applied Energy 183, 1333-1345.

CNREC, 2015. Handbook of Chinese renewable energy data 2015. Beijing.

Gao, C., Yang, L., 2010. Evolution of China’s power dispatch principle and the new energy saving power dispatch policy. Energy Policy 38, 7346-7357.

Garcia-Gonzalez, J., de la Muela, R.M.R., Santos, L.M., Gonzalez, A.M., 2008. Stochastic joint optimization of wind generation and pumped-storage units in an electricity market. IEEE Transactions on Power Systems 23, 460-468.

Hu, J.-F., Nan, K., 2016. Research on the electricity pricing mechanism reform. The Regulatory Assistance Project (RAP). Available at: http://www.raponline.org [in Chinese].

Hu, Y., Cheng, H., 2017. Displacement efficiency of alternative energy and trans-provincial imported electricity in China. Nature Communications 8, 1-10.

Hurlbut, D., Zhou, E., Bird, L., Wang, Q., 2017. Transmission Challenges and Best Practices for Cost-Effective Renewable Energy Delivery across State and Provincial Boundaries. National Renewable Energy Laboratory (NREL), Golden, United States.

IEA, 2010. Power generation from coal: measuring and reporting efficiency performance and CO2 emissions. CIAB International Energy Agency, Paris, Report: OECD/IEA2010, 1-114.

IEA, 2015. Statistics search for coal in Japan. Paris. Available at: https://www.iea.org.

Kahrl, F., 2016. Coal-Fired Generation Overcapacity in China. RAP. Available at: http://www.raponline.org.

Kahrl, F., Williams, J., Jianhua, D., Junfeng, H., 2011. Challenges to China's transition to a low carbon electricity system. Energy Policy 39, 4032-4041.

Kahrl, F., Williams, J.H., Hu, J., 2013. The political economy of electricity dispatch reform in China. Energy Policy 53, 361-369.

Khan, N.A., Awan, A.B., Mahmood, A., Member, I., Razzaq, S., Zafar, A., Sidhu, G.A.S., 2015. Combined emission economic dispatch of power system including solar photo voltaic generation. Energy Conversion and management 92, 82-91.

Kirschen, D.S., Strbac, G., 2004. Fundamentals of power system economics. John Wiley & Sons, NJ 07030, USA.

Lin, J., Liu, X., Karl, F., 2016. Excess Capacity in China’s Power Systems: A Regional Analysis. Lawrence Berkeley National Laboratory (LBNL), Berkeley, United States.

Lynch, M.Á., Shortt, A., Tol, R.S., O'Malley, M.J., 2013. Risk–return incentives in liberalised electricity markets. Energy Economics 40, 598-608.

Ma, C., He, L., 2008. From state monopoly to renewable portfolio: restructuring China's electric utility. Energy Policy 36, 1697-1711.

Ma, C., Zhao, X., 2015. China's electricity market restructuring and technology mandates: Plant-level evidence for changing operational efficiency. Energy Economics 47, 227-237.

Meng, M., Jing, K., Mander, S., 2017. Scenario analysis of CO 2 emissions from China's electric power industry. Journal of Cleaner Production 142, 3101-3108.

Moarefdoost, M.M., Lamadrid, A.J., Zuluaga, L.F., 2016. A robust model for the ramp-constrained economic dispatch problem with uncertain renewable energy. Energy Economics 56, 310-325.

NBS, 2015a. China Electricity Statistical Yearbook 2016. China Statistics Press, Beijing [in Chinese].

NBS, 2015b. China Energy Statistical Yearbook 2015. China Statistics Press, Beijing [in Chinese].

NBS, 2016. China energy statistical yearbook 2016. China Statistics Press, Beijing [in Chinese].

Newbery, D., 2016a. Missing money and missing markets: Reliability, capacity auctions and interconnectors. Energy Policy 94, 401-410.

Newbery, D., Grubb, M., 2015. Security of supply, the role of interconnectors and option values: insights from the GB capacity auction. Economics of Energy & Environmental Policy 4, 65-81.

Newbery, D.M., 2016b. Towards a green energy economy? The EU Energy Union’s transition to a low-carbon zero subsidy electricity system–Lessons from the UK’s Electricity Market Reform. Applied Energy 179, 1321-1330.

Nikolakakis, T., Chattopadhyay, D., Bazilian, M., 2017. A review of renewable investment and power system operational issues in Bangladesh. Renewable and Sustainable Energy Reviews 68, 650-658.

Oggioni, G., Murphy, F.H., Smeers, Y., 2014. Evaluating the impacts of priority dispatch in the European electricity market. Energy Economics 42, 183-200.

Pollitt, M., Yang, C.-H., Chen, H., 2017. Reforming the Chinese Electricity Supply Sector :Lessons from International Experience. EPRG working paper. Cambridge. Available at : http://www.eprg.group.cam.ac.uk/.

Qadrdan, M., Wu, J., Jenkins, N., Ekanayake, J., 2014. Operating strategies for a GB integrated gas and electricity network considering the uncertainty in wind power forecasts. IEEE Transactions on Sustainable Energy 5, 128-138.

Reddy, S.S., Bijwe, P., 2015. Real time economic dispatch considering renewable energy resources. Renewable Energy 83, 1215-1226.

Robinson, D., Li, X., 2017. Closing Coal in China: International experiences to inform power sector reform. Oxford University Working Paper. Available at: http://www.smithschool.ox.ac.uk/research-programmes/stranded-assets/Closing-Coal-in-China-SFP-Working-Paper-English.pdf.

Staudt, J.E., Macedonia, J., 2014. Evaluation of Heat Rates of Coal Fired Electric Power Boilers. Presented at the Power Plant Pollutant Control MEGA Symposium. August 19-21, 2014. Baltimore, MD.

Steinberg, M.J., Smith, T.H., 1943. Economy loading of power plants and electric systems. John Wiley & Sons, United States.

Strbac, G., Pollitt, M., Konstantinidis, C.V., Konstantelos, I., Moreno, R., Newbery, D., Green, R., 2014. Electricity transmission arrangements in Great Britain: Time for change? Energy Policy 73, 298-311.

Sun, R., Long, H., Cui, Z., Zhang, J., 2015. Review of power generation technologies. Power and Electrical Engineers 7, 21-28.

Tuohy, A., Meibom, P., Denny, E., O'Malley, M., 2009. Unit commitment for systems with significant wind penetration. IEEE Transactions on Power Systems 24, 592-601.

Wang, C., Shahidehpour, S., 1993. Effects of ramp-rate limits on unit commitment and economic dispatch. IEEE Transactions on Power Systems 8, 1341-1350.

Wang, J., Shahidehpour, M., Li, Z., 2008. Security-constrained unit commitment with volatile wind power generation. IEEE Transactions on Power Systems 23, 1319-1327.

Wei, Y.-M., Liu, L., Fan, Y., Wu, G., 2008. China energy report (2008): CO2 emissions research. China: Science Press [In Chinese].

Wood, A.J., Wollenberg, B.F., 2012. Power generation, operation, and control. John Wiley & Sons, NJ 07030, USA.

Yu, S., Zhang, J., Cheng, J., 2016. Carbon reduction cost estimating of Chinese coal-fired power generation units: A perspective from national energy consumption standard. Journal of Cleaner Production 139, 612-621.

Yu, Y., Qian, T., Du, L., 2017. Carbon productivity growth, technological innovation, and technology gap change of coal-fired power plants in China. Energy Policy 109, 479-487.

Zeng, M., Peng, L., Fan, Q., Zhang, Y., 2016. Trans-regional electricity transmission in China: Status, issues and strategies. Renewable and Sustainable Energy Reviews 66, 572-583.

Zhao, X., Wu, L., Zhang, S., 2013. Joint environmental and economic power dispatch considering wind power integration: Empirical analysis from Liaoning Province of China. Renewable energy 52, 260-265.

Zhong, H., Xia, Q., Chen, Y., Kang, C., 2015. Energy-saving generation dispatch toward a sustainable electric power industry in China. Energy Policy 83, 14-25.

Zimmerman, R.D., Murillo-Sánchez, C.E., Thomas, R.J., 2011. MATPOWER: Steady-state operations, planning, and analysis tools for power systems research and education. IEEE Transactions on power systems 26, 12-19.



� the results of energy saving potentials from coal sector can serve as a lower bound of the potentials from the whole electricity sector.


� The energy efficient dispatch here equals to the economic dispatch, this is because the coal prices within one province are the same in China.


� The data of all the coal plants are drawn from Platts database. Moreover, the total coal generation capacity from 2015 Chinese electricity statistical book is 832.33 GW, which verifies the quality of the Platts database.  


� To simplify the modelling work, this paper does not consider the energy consumption from the generators’ starting-up, cycling, and spinning reserve requirements.


� The price data is drawn from � HYPERLINK "http://www.imcec.cn/" �http://www.imcec.cn/�, and it is the price in the coal trading market. The coal transportation cost of coal is neglected due to the data unavailability. 


� The reason why we use the 95% confidence band is that we want to analyze the distribution scope of the most generation units, and eliminate the influences of some ‘outliers’.


� There are 320 power plants and 1005 generators in this sampled data set, which accounts for 56.7% of the total national installed capacity of coal generators.


�� The generation efficiency is the result of electricity output divided by the thermal energy input. The theoretical heat value of the electricity output is drawn from Sun et al. (2015). In addition, the share of national average self-use electricity in a power plant is set as 5.84% according to NBS (2015a).


� The monthly coal price in every province can be drawn from � HYPERLINK "http://www.imcec.cn" �http://www.imcec.cn�. 


� State-owned Assets Supervision and Administration Commission of the State Council (SASAC)


� The total electricity consumption is 5520 TWh in 2014, while the interprovincial electricity trading is 872.7 TWh. These data are drawn from http://www.stats.gov.cn/.


� This data source is from � HYPERLINK "http://www.thepaper.cn/newsDetail_forward_1682429" �http://www.thepaper.cn/newsDetail_forward_1682429�.


� The US hourly dispatch information of the electricity system can be drawn from � HYPERLINK "https://www.eia.gov/todayinenergy/detail.php?id=27212" �https://www.eia.gov/todayinenergy/detail.php?id=27212�. The UK hourly dispatch information of the electricity system can be drawn fromhttps://www.nationalgrid.com/uk/electricity/market-operations-and-data. The Australian hourly dispatch information of the electricity system can be drawn from https://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Data/Market-Management-System-MMS/Dispatch.





� According to NBS (2015a), the total national thermal power in 2014 includes coal-fired power (3951 TWh), gas-fired power (133.3 TWh), oil-fired power (4.4 TWh), residual temperature, gas and pressure generation (89.2 TWh), waste burning power generation(24.5 TWh) and Straw, bagasse and woody burning generation (21.6 TWh).


� http://www.platts.cn/products/world-electric-power-plants-database


� The data source of the parameters of this generator is drawn from Sun et al. (2015), and � HYPERLINK "http://baike.baidu.com/view/3121388.htm" �http://baike.baidu.com/view/3121388.htm�.





21

_1581410826.unknown

_1581411397.unknown

_1581411746.unknown

_1581414259.unknown

_1581414280.unknown

_1581411838.unknown

_1581411867.unknown

_1581411756.unknown

_1581411597.unknown

_1581411683.unknown

_1581411571.unknown

_1581411196.unknown

_1581411246.unknown

_1581411303.unknown

_1581411224.unknown

_1581411004.unknown

_1570549549.unknown

_1570549552.unknown

_1570549557.unknown

_1570549559.unknown

_1579971363.unknown

_1570549558.unknown

_1570549554.unknown

_1570549550.unknown

_1570549544.unknown

_1570549546.unknown

_1570549548.unknown

_1570549543.unknown

