Transcranial Doppler non-invasive assessment of intracranial pressure, autoregulation of cerebral blood flow and critical closing pressure during orthotopic liver transplant

Danilo Cardim1,2, Chiara Robba1,3, Eric Schmidt4, Bernhard Schmidt5, Joseph Donnelly1,6, John Klinck7 and Marek Czosnyka1,8

1Brain Physics Laboratory, Division of Neurosurgery, Department of Clinical Neurosciences, University of Cambridge, Cambridge, United Kingdom.

2Department of Anesthesiology, Pharmacology and Therapeutics, Vancouver General Hospital, University of British Columbia, Vancouver, BC, Canada.

3Policlinico San Martino IRCCS, Genoa, Italy.

4Service de Neurochirurgie, Hôpital Universitaire Toulouse–Purpan, Toulouse, France.

5Department of Neurology, University Hospital Chemnitz, Chemnitz, Germany.

6Department of Anaesthesiology, University of Auckland, Auckland, New Zealand.

7Department of Anaesthesia, Addenbrooke’s Hospital, Cambridge University Hospitals NHS Foundation Trust, Cambridge, Unite Kingdom.

8Institute of Electronic Systems, Warsaw University of Technology, Warsaw, Poland.

Corresponding author

Chiara Robba

Anaesthesia and Intensive Care, Genoa, Italy

Ospedale Policlinico San Martino, Largo Rosanna Benzi 8, 16131 Genoa, Italy

Telephone number: +39 3473912338

Email: kiarobba@gmail.com

Abstract

Transcranial Doppler (TCD) ultrasonography allows continuous non-invasive monitoring of cerebral blood flow velocity (FV) in a variety of clinical conditions. Recently, signal processing of TCD signals has provided several comprehensive parameters for the assessment of cerebral haemodynamics. In this work, we applied a TCD multimodal approach in patients with acute liver failure undergoing orthotopic liver transplant (OLT) to assess the clinical feasibility of TCD for cerebral haemodynamics assessment in this setting. We retrospectively studied 6 patients undergoing OLT with continuous monitoring of arterial blood pressure and FV in the middle cerebral artery. Main cerebral haemodynamics parameters assessed were non-invasive intracranial pressure and cerebral perfusion pressure, cerebral autoregulation, pulsatility index, critical closing pressure and diastolic closing margin. TCD monitoring revealed marked alterations of cerebral haemodynamics in the OLT setting and could provide relevant clinical information when there is imminent risk of neurological impairment.

Keywords: liver failure; neuromonitoring; transcranial Doppler; cerebral oedema; cerebral perfusion pressure

Introduction

The pathophysiology of hepatic encephalopathy is not completely understood, but the development of cerebral oedema resulting in intracranial hypertension (ICH) and neurologic deterioration is a well-known phenomenon of acute liver failure (ALF) (Blei 2007) (Blei 2005).

ICH development may be linked to both the systemic inflammatory state and effects of neurotoxins in ALF. Cerebral hyperammonaemia due to compromised detoxification in the failing liver results in its enzymatic conversion to osmotically active glutamine, with subsequent astrocyte swelling and brain oedema (Ott and Vilstrup 2014). Although the prevalence and mortality caused by these complications have decreased in the past years due to advancements in treatment, the onset of oedema and ICH in ALF patients represent a leading cause of death (mortality >50%) (Bernal et al. 2013) and permanent neurological damage (Chan et al. 2009; Tan et al. 2012).

Patients with ALF are vulnerable to sudden relevant changes of ABP, causing changes in CBF in conditions of functional loss of cerebral blood flow autoregulation. For the same reason, they may be considered less suitable for major surgery with large blood losses and fluid shifts, such as orthotopic liver transplantation (OLT). Arterial hypertensive or hypotensive episodes during OLT may provoke cerebral hypoperfusion or hyperperfusion leading to either ischemia or aggravation of cerebral oedema and even cerebral haemorrhage. Failure to regain consciousness despite satisfactory graft function has also been reported after OLT (Bismuth et al. 1987; Emond et al. 1989; Iwatsuki et al. 1989; Vickers et al. 1988), which may originate from episodes of ICH during transplantation.

In patients with ALF, the benefits of ICP monitoring include: the precise and early detection of ICH; a correct evaluation of response to therapies; the knowledge of cerebral perfusion pressure, which guides vasopressors administration in the setting of loss of cerebral autoregulation characteristic of ALF (Larsen et al. 1995); the procurement of prognostic information, especially for deciding candidacy for transplant; the lengthening of survival time, increasing the chances for organ allocation (Keays et al. 1993), and the improvement of anaesthetic management during OLT, in which ICH is common (Lidofsky et al. 1992).

On the other hand, in patients with hepatic failure, due to the risk of coagulopathy, the standard invasive ICP monitoring may cause some complications, like haemorrhage (approximately 49% (Karvellas et al. 2014)).

In this scenario, to avoid such complications and broaden the knowledge of ICP and cerebral haemodynamics monitoring of patients with ALF during OLT, non-invasive procedures would be useful.

Transcranial Doppler (TCD) ultrasonography allows continuous non-invasive monitoring of cerebral blood flow velocity. From TCD signal processing, several parameters describing cerebral haemodynamics have been developed and applied in neurocritical care, including non-invasive estimations of intracranial pressure (nICP) and cerebral perfusion pressure (nCPP) (Cardim et al. 2016a), cerebral autoregulation indices (CA) (Czosnyka et al. 2009), determination of critical closing pressure (CrCP) of the cerebral circulation (Varsos et al. 2013), etc. Considering these implications, this study aims to test the feasibility of nICP monitoring in association with a TCD multiparameter approach for cerebral haemodynamics assessment in patients with ALF undergoing OLT. We applied a multimodal approach in patients with ALF undergoing OLT to assess the clinical feasibility of TCD for cerebral haemodynamics assessment in this setting.

Materials & Methods

Patient population

We retrospectively studied 6 patients undergoing orthotopic liver transplant surgery (OLT) admitted to the Transplant Unit at Addenbrooke’s Hospital, Cambridge, UK between December 2002 to March 2003. The median age was 56 years (range 51-65 years; 67% males). Inclusion criteria for this study were the presence of chronic hepatic failure requiring OLT and acute liver failure requiring OLT. Exclusion criterion was the contraindication for OLT. Long-time delay between monitoring and retrospective data analysis was due to the fact that many improved analytical procedures were introduced only recently to the software we use for brain signal processing (ICM+®, Cambridge Enterprise, Cambridge, United Kingdom), including non-invasive nICP (Schmidt et al. 1997), modelled CrCP (Varsos et al. 2013), refined methods for cerebral autoregulation assessment (Czosnyka et al. 2009).

General anaesthesia was maintained with intravenous infusions of remifentanil and atracurium combined with a mixture air/oxygen/isoflurane at sub-minimum alveolar concentrations.

Monitoring and data analysis

During surgery, as a routine clinical procedure, arterial blood pressure (ABP) was invasively monitored (Baxter Healthcare Corp. Cardio Vascular Group, Irvine, California, United States). Cerebral blood flow velocity (FV) was assessed using transcranial Doppler (TCD Intraview, Rimed™, Ra’anana, Israel) in the middle cerebral artery bilaterally. The probes were held in place during the entire recording using a head band or frame provided by the TCD device manufacturer. The experimental protocol and informed consent were approved by the Institutional Review Board (REC 02/308, 2002). Informed consent was obtained from all individual participants included in the study.

During every surgery, we defined three time periods: the dissection phase (T0), i.e., from surgical start till portal vein has been clamped; the anhepatic phase (T1), when the portal vein is clamped; and at last the reperfusion phase (T2), when the portal vein is released until the completion of the surgery. All haemodynamic indices were calculated for each time period and averaged. The mean recording time was 6 hours.

Raw signals were digitized using an analog–digital converter (DT 2814, Data Translation®, Marlborough, California, United States) sampled at a frequency of 50 Hz, recorded using an in-house built software and post-processed with ICM+®. The recorded signals were subjected to manual artefacts removal and analysed with ICM+®. All the calculations were performed over a 10 s long-sliding window. nICP estimation was performed using a plugin developed for ICM+ software.

Analysis considered the calculations of the left–right sides mean value of each TCD-derived parameter evaluated.

TCD-derived multimodal assessment

Non-invasive estimation of ICP and CPP

The nICP assessment was performed using a ‘black-box’ mathematical model (Schmidt et al. 1997). In this model, the intracranial compartment is considered a black-box system, described in terms of a transfer function between ABP and ICP. The transfer function is controlled by TCD and ABP derived parameters, including ICP-related parameters and an ABP to TCD transfer function obtained from datasets of reference patients with traumatic brain injury (TBI) (Schmidt et al. 1997).

Cerebral autoregulation

Cerebral autoregulation describes the intrinsic ability of the cerebral vasculature to maintain a stable cerebral blood flow over a wide range of arterial blood pressures (Czosnyka et al. 1996). Continuous indices of cerebral autoregulation can be calculated from spontaneous fluctuations of ABP and FV. In this work, the correlation coefficient between ABP and FV, termed Mxa (mean flow index), was calculated (Czosnyka et al. 2009). Mxa close to +1 denotes that slow fluctuations in ABP produce synchronized slow changes in FV indicating dysfunctional cerebral autoregulation. Based on previous studies considering TBI patients, negative values or values less than 0.3 indicate intact cerebral autoregulation, while positive values above 0.3 indicate failure of cerebral autoregulation (Czosnyka et al. 1996; Czosnyka et al. 2001).

Pulsatility index

Pulsatility index describes quantitative and qualitative changes in the morphology of the TCD waveform resulting from cerebral perfusion pressure changes. It represents a relationship between the difference of FVs (systolic flow velocity) and FVd (diastolic flow velocity) divided by FVm (mean flow velocity).

Critical Closing Pressure

The concept of critical closing pressure (CrCP) was first introduced by Burton’s model, described as the sum of ICP and vascular wall tension (WT) (Nichol et al. 1951). WT represents the active cerebral vasomotor tone that combined with ICP determines the CrCP. Clinically, CrCP represents the lower threshold of ABP below which blood pressure in the brain microvasculature is inadequate to prevent the collapse and cessation of blood flow (Nichol et al. 1951). CrCP can be assessed non-invasively using TCD, by utilising the pulsatile waveforms of FV and ABP. The critical closing pressure of the cerebral circulation was calculated according to Varsos et al. (Varsos et al. 2013).

Derived from CrCP and diastolic ABP (ABPd), the diastolic closing margin (DCM = ABPd - CrCP) of the brain microvasculature was also calculated (Varsos et al. 2014). In this context, DCM represents an indication of the pressure reserve available to avoid the cessation of cerebral blood flow.

Optimal ABP

A method for individualization of CPP-oriented management based on determination of cerebrovascular reactivity (using the pressure reactivity index (PRx)) have been proposed previously (Aries et al. 2012; Steiner et al. 2002). PRx is the correlation coefficient between ABP and invasive measurements of ICP and describes how cerebrovascular bed reacts is in face of changes in systemic arterial blood pressure (Czosnyka et al. 1997). Studies in TBI populations have indicated that PRx >0.25 is associated with impaired cerebral autoregulation in patients with poor outcome, indicating that changes in ABP are being directly transmitted to the cerebrovascular bed, therefore altering cerebral perfusion (Sorrentino et al. 2012). In the present work, an automated curve fitting method (OptimalValue function on ICM+ software) was applied to determine ABP at the minimum value for pressure reactivity index (optimal ABP). Since only nICP was available, we calculated the non-invasive PRx (nPRx). For determination of optimal ABP in individual patients, a 5-min median ABP time trend was calculated alongside PRx. These PRx values were divided and averaged into ABP bins spanning 5 mmHg. An automatic curve fitting method was applied to the binned data to determine the ABP value with the lowest associated PRx value. A time trend of optimal ABP calculated in this way was recorded from a moving 30-min time window updated every minute.

Statistical analysis

Statistical analysis was conducted with R Studio software (R version 3.3.1). Data were tested for normal distribution using the Shapiro-Wilk test and are presented as median (interquartile range [IQR]). Statistical measurements were performed with the Kruskal-Wallis rank sum test followed by pairwise comparisons using Wilcoxon rank sum test across the different phases of OLT. The statistical significance level was set at p<0.05.

Results

Patient demographics and clinical information are summarized in Table 1. Table 2 shows the median (IQR) for different variables assessed at each phase during OLT averaged by patient.

The variables presenting statistically significant changes between surgery phases were nCPP (T1-T2, mean decrease of 7 mmHg (p=0.03)) and DCM (T0-T1, mean decrease of 6.8 mmHg (p=0.03); T0-T2, mean decrease of 9.4 mmHg (p=0.03)). ABP presented a reduction trend throughout OLT, as well as FV from T0 to T1. CrCP and PI presented an increasing trend, whereas nICP remained constant.

Considering reference values for TCD parameters in a healthy population (Tegeler et al. 2013), patients presented low FV in all phases during OLT (FV <60 cm/s). In an individualised analysis, patients 2, 3 and 6 presented low flow velocity patterns in all phases; patient 4 presented low flow only during T1; patient 5 during T1 and T2. PI values deviated from normal ranges in all patients throughout OLT (PI >0.8 (Tegeler et al. 2013)).

Overall, nCPP presented low values in all phases (<60 mmHg (Bratton et al. 2007)). Individually, patients 2, 3 and 6 presented low nCPP in all phases; patient 1 only from T1-T2; patient 4 only during T2; and patient 5 only during T0. nICP was below the clinical threshold of 20 mmHg for intracranial hypertension throughout OLT in all patients.

Mxa index showed impaired cerebral autoregulation throughout OLT (Mxa >0.3). Mxa shows a gradual worsening of autoregulation from T0-T2.

CrCP was never close to ABP in any phases, consequently DCM did not reach critical values (≤0 mmHg) throughout OLT, remaining above a mean of 23 mmHg.

Figure 1 shows an example of monitored ABP, FV, nICP, nCPP, CrCP and Mxa throughout OLT phases for a single patient. Figure 2 depicts individual and mean changes for ABP, nICP and nCPP; figure 3 for FV and PI; figure 4 for the autoregulation index Mxa; and figure 5 for CrCP and DCM. Figures 6 and 7 show examples of optimal curves for ABP obtained from individual patients, in which pressure reactivity (nPRx) below levels associated with impairment of cerebral autoregulation (>0.25) revealed optimal values for ABP in certain cases (U-shaped curves).

Discussion

In our study, we detected trends suggesting that:

- Estimated ICP remains constant during OLT;

- Estimated CPP gradually decreased (due to general trend of decreasing ABP);

- Cerebral autoregulation was generally disturbed, and worsened further during surgery;

- Critical closing pressure was moderate, not disturbing diastolic blood flow (the diastolic closing margin remained above a mean of 23 mmHg).

TCD has proven a valuable method in studies of cerebral haemodynamics due to its high temporal resolution, non-invasiveness, portability, ability to monitor FV in real time and low cost compared with other imaging techniques. In a variety of clinical settings, multi-modal applications of TCD may provide an early detection of the onset of cerebrovascular derangements and facilitate their clinical management. In previous studies on patients with acute liver failure, TCD provided a repeatable and reliable non-invasive, bedside assessment of CBF changes, allowing the evaluation of the OLT feasibility (Bindi et al. 2008) and the identification of predominant haemodynamic patterns (Abdo et al. 2015).  In the present study, different patterns of cerebral haemodynamics could be identified non-invasively during OLT using a TCD-derived multimodal approach englobing nICP, nCPP, cerebral autoregulation, CrCP and DCM.

The assessment of cerebral autoregulation with TCD during OLT has been investigated previously. In a study of Ardizzone et. al (Ardizzone et al. 2004b), CA was evaluated by investigating parallel changes in both ABP and FV during a slow phenylephrine infusion at the beginning and end of OLT for 1 hour at each period compared with a baseline. Prior to OLT, CA was impaired in all patients (n=6). However, it markedly improved at the end of surgery. In another study from the same author using a larger patient cohort (n=23) (Ardizzone et al. 2004a), CA and cerebrovascular resistance were increased between the anhepatic versus postreperfusion phases (within the first hour) and versus recovery in the neohepatic phase (end of surgery). Such results agree with ours, as throughout OLT cerebral autoregulation (Mxa, Figure 4) demonstrated values indicative of a non-reactive cerebrovascular bed.

The absence of optimal cerebral autoregulation may explain the overall low flow velocity pattern presented by patients. In addition, the overall estimated cerebral perfusion pressure below 60 mmHg may indicate that patients were on the verge of the lower limit of autoregulation, where FV decreases passively with decreasing CPP (Czosnyka et al. 2001). PI, as an index describing changes in TCD waveform resulting from changes in CPP, deviated from normal range under these conditions. However, PI in our study did not show increased values as demonstrated by Abdo et al. in previous works assessing cerebral haemodynamics in patients with ALF (PI=2.4 (Abdo et al. 2003) or PI=1.71 (Abdo et al. 2015)). The driving force for such patterns could be related to decreasing arterial blood pressures observed throughout the surgery. If left unmanaged, significant reductions in cerebral blood flow in the absence of functional cerebral autoregulation may result in brain ischaemia, cerebral oedema with postoperative neurologic damage associated with secondary hypoxic ischaemic brain injury. These findings are potentially aggravating in patients with history of cerebrovascular disease, in whom the intrinsic disfunction in cerebral autoregulation may lead to unsalvageable brain ischaemia.

Although ICP monitoring is not an uncommon practice in patients with ALF developing severe hepatic encephalopathy (Maloney et al. 2016; Raschke et al. 2008), ICP behaviour during OLT has been reported only in few studies. In a study of six cases from Keays et al. (Keays et al. 1991), the mean ICP level was higher during the “preclamp phase” and the “graft reperfusion” phase than the “anhepatic phase”. Lidofsky et al. (Lidofsky et al. 1992) have shown that ICP tends to vary significantly intraoperatively during the surgery. It initially increases during the dissection phase, then decreases in the anhepatic phase, and again increases during the reperfusion phase. Detry et al.’s study (Detry et al. 1999) suggested that in ALF patients, but particularly in those who developed intracranial hypertension before OLT, the dissection and reperfusion phases were associated with a risk of brain injury secondary to elevated ICP and low CPP. The anhepatic phase, similarly to the previous studies, seemed to be associated with an ICP decrease. Lastly, a recent study (Rajajee et al. 2018) comparing different TCD-derived methods and the measurement of the optic nerve sheath diameter compared with invasive ICP demonstrated that ICP calculated from TCD flow velocities using a method for estimating cerebral perfusion pressure could detect intracranial hypertension with strong accuracy, showing as area under the receiver operating curve (AUC) of 0.90 (0.72–0.98, p < 0.0001).

In our cohort, overall nICP behaviour was kept relatively constant throughout OLT. An exception was patient 5 (figure 1), who presented a similar pattern of ICP decrease during anhepatic phase and increase during reperfusion as previously described (Detry et al. 1999; Keays et al. 1991; Lidofsky et al. 1992); however, changes between phases were not significantly different and nICP mean values were not associated with intracranial hypertension.

Overall, nCPP presented a stronger tendency of decrease, particularly from anhepatic to reperfusion phases, in which all patients presented nCPP decrease. As nICP remained relatively constant during this period, the observed changes can be attributed to decreases in ABP (Figure 1).

Considering that cerebral autoregulation is subject to haemodynamic changes such as in ABP, ICP and CPP in pathological conditions, the determination of optimal thresholds for these parameters according to an optimal state of cerebral autoregulation could provide more reasonable, individualised management of cerebral haemodynamics in critical situations, such as ICP surges. Based on these assumptions, a previous study could identify a narrow CPP target (optimal CPP - CPPopt) by defining the level of best cerebrovascular reactivity, using PRx. In such study, the deviation from CPPopt was associated with worse outcome in TBI patients (Aries et al. 2012). In our study, we could obtain optimal ABP in certain patients, demonstrating the feasibility of identifying these targets during OLT by means of non-invasive monitoring using TCD (Figures 6 and 7).

Critical closing pressure is another useful TCD-derived parameter associated with the determination of a critical threshold for ABP. By monitoring CrCP, the DCM can also be trended and may represent an important clinical threshold in patients with arterial hypotension, intracranial hypertension or with pathologically increased vascular wall tension (Varsos et al. 2014). In this scenario, critical closing pressure would provide information on which blood pressure target the clinician should avoid in order to prevent a circulatory arrest. Diastolic closing margin, on the other hand, would indicate quantitatively a safety margin to avoid such event from happening. In a scenario where neuromonitoring is essential to the management of patients, these modelled parameters could provide precision to certain interventions and individualise the treatment.  In our six cases, we could not identify any cases in which DCM decreased to 0 mmHg, although it decreased significantly throughout OLT (Figure 4).

Limitations

This is a retrospective, observational study with a limited sample size (n=6). Another potential limitation is the absence of the gold standard invasive technique for ICP monitoring, which would have allowed to determine the degree of accuracy of TCD for estimating ICP and CPP. In TBI patients, the nICP estimation method used in this work showed a 95% confidence interval for ICP prediction of ±9.94 mmHg (Cardim et al. 2016b). Although the accuracy of the method is not ideal at the current stage of development, it has shown good prediction ability for detection of ICP increases associated with changes in cerebral blood volume (receiver operating area under the curve of 0.82), as well as good correlation with standard invasive methods to track changes of ICP in time non-invasively (R=0.80) (Cardim et al. 2017).

Conclusion

Our results indicated an alteration of cerebral autoregulation, normal ICP and decreasing CPP during OLT. Moreover, an attempt to obtain optimal values for ABP throughout OLF seemed feasible.

TCD appears to be a versatile tool for assessment of cerebral haemodynamics in the OLT setting and could provide clinically relevant information for patient management in such conditions, where there is a high risk of neurological impairment.

References

Abdo A, López O, Fernández A, Santos J, Castillo J, Castellanos R, González L, Gómez F, Limonta D. Transcranial Doppler sonography in fulminant hepatic failure. Transplant Proc 2003;35:1859–1860.

Abdo A, Pérez-Bernal J, Hinojosa R, Porras F, Castellanos R, Gómez F, Gutiérrez J, Castellanos A, Leal G, Espinosa N, Gómez-Bravo M. Cerebral Hemodynamics Patterns by Transcranial Doppler in Patients With Acute Liver Failure. Transplant Proc 2015;47:2647–2649.

Ardizzone G, Arrigo A, Panaro F, Centanaro M, Demartini M, Pellizzari A, Cifelli A, Jarzembowsky TM, Valente U, Siani C. Modifications of cerebral vascular resistance and autoregulation after graft reperfusion during human orthotopic liver transplantation. Transplant Proc 2004a;36:1473–1478.

Ardizzone G, Arrigo A, Panaro F, Ornis S, Colombi R, Distefano S, Jarzembowski TM, Cerruti E. Cerebral hemodynamic and metabolic changes in patients with fulminant hepatic failure during liver transplantation. Transplant Proc 2004b;36:3060–3064.

Aries MJH, Czosnyka M, Budohoski KP, Steiner LA, Lavinio A, Kolias AG, Hutchinson PJ, Brady KM, Menon DK, Pickard JD, Smielewski P. Continuous determination of optimal cerebral perfusion pressure in traumatic brain injury. Crit Care Med 2012;40:2456–63.

Bernal W, Hyyrylainen A, Gera A, Audimoolam VK, McPhail MJW, Auzinger G, Rela M, Heaton N, O’Grady JG, Wendon J, Williams R. Lessons from look-back in acute liver failure? A single centre experience of 3300 patients. J Hepatol 2013;59:74–80.

Bindi ML, Biancofiore G, Esposito M, Meacci L, Bisà M, Mozzo R, Urbani L, Catalano G, Montin U, Filipponi F. Transcranial Doppler Sonography is Useful for the Decision-Making at the Point of Care in Patients with Acute Hepatic Failure: A Single Centre’s Experience. J Clin Monit Comput 2008;22:449–452.

Bismuth H, Samuel D, Gugenheim J, Castaing D, Bernuau J, Rueff B, Benhamou JP. Emergency liver transplantation for fulminant hepatitis. Ann Intern Med 1987;107:337–41.

Blei AT. The pathophysiology of brain edema in acute liver failure. Neurochem Int 2005;47:71–77.

Blei AT. Brain edema in acute liver failure: Can it be prevented? Can it be treated? J Hepatol 2007;46:564–569.

Bratton SL, Chestnut RM, Ghajar J, McConnell Hammond FF, Harris OA, Hartl R, Manley GT, Nemecek A, Newell DW, Rosenthal G, Schouten J, Shutter L, Timmons SD, Ullman JS, Videtta W, Wilberger JE, Wright DW. Guidelines for the management of severe traumatic brain injury. IX. Cerebral perfusion thresholds. J Neurotrauma 2007;24 Suppl 1:S59-64.

Cardim D, Robba C, Bohdanowicz M, Donnelly J, Cabella B, Liu X, Cabeleira M, Smielewski P, Schmidt B, Czosnyka M. Non-invasive Monitoring of Intracranial Pressure Using Transcranial Doppler Ultrasonography: Is It Possible? Neurocrit Care 2016a;25(3):473-491.

Cardim D, Robba C, Donnelly J, Bohdanowicz M, Schmidt B, Damian M, Varsos G V., Liu X, Cabeleira M, Frigieri G, Cabella B, Smielewski P, Mascarenhas S, Czosnyka M. Prospective Study on Noninvasive Assessment of Intracranial Pressure in Traumatic Brain-Injured Patients: Comparison of Four Methods. J Neurotrauma 2016b;33:792–802.

Cardim D, Schmidt B, Robba C, Donnelly J, Puppo C, Czosnyka M, Smielewski P. Transcranial Doppler Monitoring of Intracranial Pressure Plateau Waves. Neurocrit Care Springer US, 2017;26:330–338.

Chan G, Taqi A, Marotta P, Levstik M, McAlister V, Wall W, Quan D. Long-term outcomes of emergency liver transplantation for acute liver failure. Liver Transplant 2009;15:1696–1702.

Czosnyka M, Brady K, Reinhard M, Smielewski P, Steiner LA. Monitoring of cerebrovascular autoregulation: Facts, myths, and missing links. Neurocrit. Care. 2009. pp. 373–386.

Czosnyka M, Smielewski P, Kirkpatrick P, Laing RJ, Menon D, Pickard JD. Continuous assessment of the cerebral vasomotor reactivity in head injury. Neurosurgery 1997;41:11-7; discussion 17-9.

Czosnyka M, Smielewski P, Kirkpatrick P, Menon DK, Pickard JD. Monitoring of cerebral autoregulation in head-injured patients. Stroke 1996;27:1829–1834.

Czosnyka M, Smielewski P, Piechnik S, Steiner L a, Pickard JD. Cerebral autoregulation following head injury. J Neurosurg 2001;95:756–763.

Detry O, Arkadopoulos N, Ting P, Kahaku E, Margulies J, Arnaout W, Colquhoun SD, Rozga J, Demetriou AA. Intracranial pressure during liver transplantation for fulminant hepatic failure. Transplantation 1999;67:767–70.

Emond JC, Aran PP, Whitington PF, Broelsch CE, Baker AL. Liver transplantation in the management of fulminant hepatic failure. Gastroenterology 1989;96:1583–1588.

Iwatsuki S, Stieber AC, Marsh JW, Tzakis AG, Todo S, Koneru B, Makowka L, Gordon RD, Starzl TE. Liver transplantation for fulminant hepatic failure. Transplant Proc NIH Public Access, 1989;21:2431–4.

Karvellas CJ, Fix OK, Battenhouse H, Durkalski V, Sanders C, Lee WM, U S Acute Liver Failure Study Group. Outcomes and complications of intracranial pressure monitoring in acute liver failure: a retrospective cohort study. Crit Care Med 2014;42:1157–67.

Keays R, Potter D, O’Grady J, Peachey T, Alexander G, Williams R. Intracranial and cerebral perfusion pressure changes before, during and immediately after orthotopic liver transplantation for fulminant hepatic failure. Q J Med 1991;79:425–433.

Keays RT, Alexander GJ, Williams R. The safety and value of extradural intracranial pressure monitors in fulminant hepatic failure. J Hepatol 1993;18:205–9.

Larsen FS, Ejlersen E, Hansen BA, Knudsen GM, Tygstrup N, Secher NH. Functional loss of cerebral blood flow autoregulation in patients with fulminant hepatic failure. J Hepatol 1995;23:212–217.

Lidofsky SD, Bass NM, Prager MC, Washington DE, Read AE, Wright TL, Ascher NL, Roberts JP, Scharschmidt BF, Lake JR. Intracranial pressure monitoring and liver transplantation for fulminant hepatic failure. Hepatology 1992;16:1–7.

Maloney PR, Mallory GW, Atkinson JLD, Wijdicks EF, Rabinstein AA, Van Gompel JJ. Intracranial Pressure Monitoring in Acute Liver Failure: Institutional Case Series. Neurocrit Care 2016;25:86–93.

Nichol J, Girling F, Jerrard W, Claxton EB, Burton AC. Fundamental instability of the small blood vessels and critical closing pressures in vascular beds. Am J Physiol 1951;164:330–44.

Ott P, Vilstrup H. Cerebral effects of ammonia in liver disease: current hypotheses. Metab Brain Dis 2014;29:901–911.

Rajajee V, Williamson CA, Fontana RJ, Courey AJ, Patil PG. Noninvasive Intracranial Pressure Assessment in Acute Liver Failure. Neurocrit Care 2018;1–11.

Raschke RA, Curry SC, Rempe S, Gerkin R, Little E, Manch R, Wong M, Ramos A, Leibowitz AI. Results of a protocol for the management of patients with fulminant liver failure. Crit Care Med 2008;36:2244–2248.

Schmidt B, Klingelhöfer J, Schwarze JJ, Sander D, Wittich I. Noninvasive Prediction of Intracranial Pressure Curves Using Transcranial Doppler Ultrasonography and Blood Pressure Curves. Stroke 1997;28:2465–2472.

Sorrentino E, Diedler J, Kasprowicz M, Budohoski KP, Haubrich C, Smielewski P, Outtrim JG, Manktelow A, Hutchinson PJ, Pickard JD, Menon DK, Czosnyka M. Critical thresholds for cerebrovascular reactivity after traumatic brain injury. Neurocrit Care 2012;16:258–266.

Steiner L, Czosnyka M, Piechnik S. Continuous monitoring of cerebrovascular pressure reactivity allows determination of optimal cerebral perfusion pressure in patients with traumatic brain injury. Crit Care 2002;30(4):733-8.

Tan W-F, Steadman RH, Farmer DG, Hong JC, Busuttil RW, Apinyachon W, Xia VW. Pretransplant neurological presentation and severe posttransplant brain injury in patients with acute liver failure. Transplantation 2012;94:768–74.

Tegeler CH, Crutchfield K, Katsnelson M, Kim J, Tang R, Passmore Griffin L, Rundek T, Evans G. Transcranial doppler velocities in a large, healthy population. J Neuroimaging 2013;23:466–472.

Varsos G V., Richards H, Kasprowicz M, Budohoski KP, Brady KM, Reinhard M, Avolio A, Smielewski P, Pickard JD, Czosnyka M. Critical closing pressure determined with a model of cerebrovascular impedance. J Cereb Blood Flow Metab 2013;33:235–43.

Varsos G V., Richards HK, Kasprowicz M, Reinhard M, Smielewski P, Brady KM, Pickard JD, Czosnyka M. Cessation of diastolic cerebral blood flow velocity: The role of critical closing pressure. Neurocrit Care 2014;20:40–48.

Vickers C, Neuberger J, Buckels J, McMaster P, Elias E. Transplantation of the liver in adults and children with fulminant hepatic failure. J Hepatol 1988;7:143–50.

Tables

Table 1. Patients demographics and acute liver failure aetiology.

| Patient | Age | Sex | ALF aetiology |
| --- | --- | --- | --- |
| 1 | 51 | M | ArLD/HCV |
| 2 | 60 | M | ArLD |
| 3 | 51 | M | Cryptogenic cirrhosis (likely NASH) |
| 4 | 65 | F | HCV/HCC |
| 5 | 53 | F | PSC |
| 6 | 57 | M | PSC |

Abbreviations: ArLD, alcohol-related liver disease; HCV, hepatitis C virus; NASH, non-alcoholic steatohepatitis; HCC, Hepatocellular carcinoma; PSC, Primary sclerosing cholangitis; M, male; F, female.

Table 2. Variables assessed at each phase during OLT averaged by patient (median [IQR]).

|  | T0 | T1 | T2 |
| --- | --- | --- | --- |
| ABP | 72.16 (69.55-77.91) | 69.91 (66.32-74.18) | 63.34 (59.19-66.62) |
| FV | 53.94 (33.66-58.74) | 44.06 (38.59-51.30) | 52.89 (40.05-65.76) |
| PI | 1.16 (1.08-1.45) | 1.19 (1.16-1.26) | 1.29 (1.20-1.43) |
| nICP | 12.58 (10.84-14.31) | 12.32 (11.67-13.07) | 12.32 (8.81-13.43) |
| nCPP | 58.12 (57.78-63.31) | 57.52 (55.61-60.78)* | 50.93 (50.37-51.41)* |
| Mxa | 0.56 (0.51-0.62) | 0.67 (0.56-0.70) | 0.72 (0.55-0.81) |
| CrCP | 18.17 (15.29-21.34) | 24.63 (22.85-28.15) | 22.50 (20.43-22.80) |
| DCM | 34.56 (28.61-36.10)*,ᶧ | 24.53 (21.52-30.13)* | 22.10 (20.31-26.54)ᶧ |

Abbreviations: ABP, arterial blood pressure (mmHg); FV, cerebral blood flow velocity (cm/s); PI, pulsatility index (a.u.); nICP, non-invasive intracranial pressure (mmHg); nCPP, non-invasive cerebral perfusion pressure (mmHg); Mxa, cerebral autoregulation index (a.u.); CrCP, critical closing pressure (mmHg); DCM, diastolic closing margin (mmHg); OLT, orthotopic liver transplant; IQR, interquartile range; T0, dissection phase; T1, anhepatic phase; T2, reperfusion phase.

*,ᶧ pairwise comparisons are statistically significant (p <0.05).

Figures

Figure 1. Representation of multimodal monitoring performed with transcranial Doppler during orthotopic liver transplant. This figure depicts “patient 5”, in which is possible to observe the overall changes in cerebral haemodynamics among different surgical phases. ABP, arterial blood pressure; FV, cerebral blood flow velocity; nICP, non-invasive intracranial pressure; nCPP, non-invasive cerebral perfusion pressure; CrCP, critical closing pressure; Mxa, autoregulation index; T0, dissection phase; T1, anhepatic phase; T2, reperfusion phase.

Figure 2. Longitudinal plots for (A) arterial blood pressure (ABP), (B) non-invasive intracranial pressure (nICP) and (C) non-invasive cerebral perfusion pressure (nCPP) throughout OLT. Triangles on the plots represent the mean values for each variable at a specific surgical phase. Thick black lines represent the linear fit of the data; grey shadowed areas represent the 95% confidence interval of the linear model representative of the data. * pairwise comparison is statistically significant (p <0.05).

Figure 3. Longitudinal plots for (A) cerebral blood flow velocity (FV) and (B) pulsatility index (PI) throughout OLT. Triangles on the plots represent the mean values for each variable at a specific surgical phase. Thick black lines represent the linear fit of the data; grey shadowed areas represent the 95% confidence interval of the linear model representative of the data.

Figure 4. Longitudinal plot for autoregulation index (Mxa). Triangles on the plots represent the mean values for each variable at a specific surgical phase. Thick black line represents the linear fit of the data; grey shadowed areas represent the 95% confidence interval of the linear model representative of the data.

Figure 5. Longitudinal plots for (A) critical closing pressure (CrCP) and (B) diastolic closing margin (DCM). Triangles on the plots represent the mean values for each variable at a specific surgical phase. Thick black lines represent the linear fit of the data; grey shadowed areas represent the 95% confidence interval of the linear model representative of the data. * pairwise comparisons are statistically significant (p <0.05).

Figure 6. Example of optimal curve for arterial blood pressure and (ABP) throughout liver transplant. The lowest point on the “U-shaped” curve represents the optimal values for ABP, which in this case was close to 70 mmHg. nPRx is presented in arbitrary unit (a.u.).

Figure 7. Optimal curves for arterial blood pressure (ABP) obtained from different patients. nPRx is presented in arbitrary unit (a.u.).