Continuous subcutaneous infusion in palliative care: a review of current practice.

Introduction

Ambulatory syringe drivers are widely used in palliative care and have revolutionised our ability to care for patients at home and in non acute settings. The use of a syringe driver has many advantages for symptom control. It ensures a steady infusion of drugs, with reliable absorption, and allows combinations of drugs to be administered parenterally in a manner that is more convenient, portable and less invasive than the intravenous route, whilst avoiding the need for repeated and painful intramuscular or subcutaneous injections. This article reviews the safety of continuous subcutaneous infusions in clinical practice, and considers the persistent gaps in knowledge, both among healthcare professionals and the public, around their use in end of life care.

The use and misuse of syringe drivers

Ambulatory syringe drivers are generally indicated when administration of medicine via the oral route is not possible; because of vomiting, poor swallow, or poor enteral absorption. Their use may be temporary, for example to control nausea and vomiting; they are also commonly used at the end of life when the ability to take oral medication deteriorates or patients become unconscious. This association of syringe drivers with terminal care has led to misperceptions among some healthcare professionals that the use of a syringe driver, containing opioid and / or sedative drugs, is inevitable or expected in the last few days of life: a clinical “last-rite”.

Concerns around the routine use of sedation and lack of hydration at the end of life were recently highlighted in the UK national press.  The Liverpool Care Pathway (LCP) was blamed and misinterpreted as a tool that promoted the use of sedative drugs and syringe drivers to hasten death. Reports such as “Commonly, a syringe driver would pump them with sedatives, while tubes giving food and water were detached: death would follow, typically within 36 hours” were prevalent, and indicated that there was an erroneous perception among lay people that syringe drivers hasten death and are at times used to deliberately hasten death.

Despite this manifestly not being the intention of the LCP, the independent review  found that in too many instances syringe drivers with opioids and sedatives were regarded (erroneously) as the “next step” on the LCP, regardless of whether or not a dying patient required such continuous medication. The review panel found that “Many patients in the hospital setting were put on morphine in a syringe driver, even if morphine was not the right drug”: “Relatives reported leaving their loved one calm and peaceful, only to return later following a medical review to find a syringe driver had been set up and their relative was never able to communicate again”. Clearly these were worrying instances where either continuous subcutaneous infusions were being misused, or there was poor communication with relatives as to why they were being used. Whilst the LCP document was not the issue, there appeared to be a lack of education and training around good end of life care.

Continuous subcutaneous infusions of opioids at the end of life are most commonly appropriate when a patient has been taking regular oral opioid analgesia, but is now unable to swallow: opioids need to be given by an alternative route to avoid a return of previously controlled pain and to avoid the development of the distressing symptoms of opioid withdrawal . Dying is not an inherently a painful process: unless there has previously been a requirement for opioid analgesia, opioids may not be required. If a dying patient is deemed to need to start an opioid for the control of pain or breathlessness, this will be only in low doses. If a dying patient becomes agitated, judicious use of sedatives at the minimum dose to relieve distress may be necessary. The intention needs to be clearly communicated as one of symptom control, not to reduce the patient’s ability to eat and drink, or to hasten death.

The diagnosis of dying requires skill and experience. If the patient’s dying trajectory is clear and they are assessed by a senior clinician to have no chance of reversibility or recovery, sedation via a continuous infusion may be appropriate and necessary to reduce the distress from an irreversible agitated delirium. Studies have shown that within a hospice setting, starting opioids, or appropriate titration of opioid dose against the patient’s pain (increases of 33% - 50% / day), does not shorten life. The same is true of titration of sedative drugs against the patient’s distress or agitation. The majority of patients in these studies had advanced cancer.  Perhaps because many of the problems reported to the LCP review panel were found to be on general wards in hospitals, it was recommended that there should be more research into the use of opioid and sedative drugs in non-cancer end of life care. However, in a detailed response from the alliance of leading organisations and statutory bodies involved in end of life care (the Leadership Alliance), it was felt that the inherent problem was inappropriate prescribing and it should be reinforced that ‘medications must be targeted at specific symptoms, have a clinical rationale for the starting dose, be regularly reviewed and adjusted as needed for effect’8.

Thus the use of a syringe driver containing opioids for pain or breathlessness, or drugs for sedation, requires open and sensitive communication and explanation with patients and their families by the clinical team: nurses have a particularly important role. When the indications are clear, with preparation and discussion, patients and relatives often find the use of a syringe driver reassuring and associate it with an improvement in symptom control . Indeed a further recommendation from the Leadership Alliance was that every effort must be made to discuss the use of a syringe driver with patients and carers prior to implementation, and that the rationale for its use is documented.

Knowledge and training

General Practitioners (GPs) , Community Nurses (CNs) and nursing home staff , report having had little formal education in the use of syringe drivers: they appear to learn about their use largely from clinical practice. The majority of both GPs and CNs have good levels of awareness of the drugs that can be used subcutaneously in syringe drivers, and to be able to accurately convert oral to subcutaneous opioid doses 10. GPs use syringe drivers less frequently than CNs: one study found that in the previous year 84% of GPs reported managing five or fewer patients with a SD, whereas 76% of CNs had managed six or more patients10. There are ongoing issues with competency and syringe driver management in care homes. The level of training amongst care home staff and the frequency of syringe driver use is very variable12. One study found that although 73% of care home RGNs stated they were fairly to very confident in setting up a syringe driver, only 38% were able to correctly calculate the delivery rate12.

Infusion devices and safety

Syringe drivers are often used to infuse opioid medication, which if given in overdose can be lethal. There is therefore the potential for serious harm if not used correctly or if the device malfunctions. The potential for errors with calibration and rate setting have been reduced by the phasing out of older devices such as the Graseby MS16A and MS26, where the need to calculate infusion rates in mm/hour or mm/24 hours was inherently confusing and led to serious incidents . More modern pumps such as the CME Medical T34 ambulatory syringe pump (previously known as the T34 McKinley in the UK and the NIKKI T34 in Australia and New Zealand) are now routinely used, with safety features that include:

- rate settings in millilitres per hour, in line with other infusion pumps

- lock-box covers with key pad locks

- an alarm if the syringe is removed or not fitted properly

- the ability to detect the size of syringe and calibrate the rate automatically

- an internal memory log to record infusion device events.

These safety features address most of the causes of the serious incidents identified by the UK National Patient Safety Agency (NPSA): incorrect rate settings, confusion between mm/hour and mm/24hours, syringes incorrectly inserted or dislodged, confusion between mm and mls, incorrect setup and tampering by patients.

The consequence of a wholesale switch to new pumps should also be considered: the additional training, the cost of purchasing new pumps and unforeseen consequences such as increased frequency of occlusion alarms related to kinking of plastic cannulae which was reported by one service. There are options for configuration which should be consistent across acute and community settings, for example using the ‘lock on’ mode to ensure a fixed delivery rate. This requires coordination between services, and does not necessarily cover organisations such as private nursing homes. Whether the switch to these more modern pumps has led to a national reduction in serious incidents in the UK is as yet unknown.

Efficacy of drug combinations in subcutaneous infusions

It is standard practice, and one of the advantages of syringe drivers, that two or more drugs (occasionally up to 4 drugs) can be mixed together and infused. Our knowledge of the compatibility of different drug combinations is increasing, with online tools such as the Syringe Driver Survey Database  supplying prescribers with up-to-date information. However, most information is based on observational data of physical compatibility, looking for precipitation, discolouration or cloudiness of the infusion mixture: far less is known about the chemical compatibility of drug combinations . A drug combination solution may appear physically clear in the presence of chemical incompatibility (a chemical change or degradation of one or more of the drugs). In UK law, the combining of two or more licensed drugs for a syringe driver officially results in a new product that requires a license. This caused problems for independent prescribers wishing to prescribe drug combinations in a syringe driver, as they were not permitted to prescribe unlicensed medication. Partly because of the issues this raised in palliative care, the Commission on Human Medicines recommended and achieved a change in legislation in 2010. In practice, the wealth of experience with common drug combinations would suggest that most drugs do not lose their efficacy when combined. It is important to be vigilant, as compatibility is dependent on many different factors such as pH, concentrations used, diluent and brand of drug.

The nature of the materials used in a giving set can also affect the stability and concentration of drugs. The use of PVC tubing in a giving set reduces the amount of clonazepam in the solution by 50%: non-PVC tubing does not have this effect .

Diluent selection

Diluent selection guidance is based on pragmatism rather than evidence, as definitive data regarding osmolality and pH do not exist for the endless possibilities of drugs combinations and concentrations . It is generally recommended that water for injection first line,, given the potential for incompatibility with cyclizine and higher concentrations of haloperidol and diamorphine when diluted with 0.9% sodium chloride and the considerable body of evidence of physical compatibility with water for injection combinations. It is reasonable to use 0.9% sodium chloride in countries where cyclizine is not used, or for drugs such as ketorolac, ondansetron and octreotide where there are more compatibility data for combinations diluted with 0.9% sodium chloride.

Site reactions

A further problem encountered with continuous subcutaneous infusions relates to site reactions. Drugs such as cyclizine and levomepromazine are known irritants and may require sites to be changed regularly. Teflon cannulae are associated with reduced site reactions when compared to metal butterfly needles. Following a recent European Council Directive, which recommends that organisations use ‘needle safe’ cannulae, this is now common practice. Other potential solutions for problematic site reactions include; diluting the mixture as much as possible, using 0.9% saline as diluent, adding 1mg of dexamethasone to the solution if compatibility data permits  or injecting a small volume of dexamethasone into the infusion site prior to recommencing the continuous subcutaneous infusion24.

The future

Ambulatory syringe drivers for subcutaneous infusions are likely to remain the mainstay of parenteral drug administration in palliative care for the foreseeable future. However increasing numbers of oncology patients have long term intravenous access in the form of PICC lines and Portacaths, and it is therefore likely that healthcare professionals in hospices and the community will need to become more familiar with, and competent in using, the intravenous route for symptom control.

Summary

Whilst syringe drivers are vital for those patients  requiring symptom control at the end of life, there remains a considerable need for ongoing education and training for hospital, nursing home and primary care staff, where continuous subcutaneous infusions are less frequently used. There is also much work to be done to reassure and inform patients and relatives about the indications for and effects of the use of syringe drivers in end of life care.

O’Neill W. Subcutaneous infusions: a medical last rite? Palliative Medicine 1994;8:91-93

Melanie Philips. Care? No, this is a pathway to killing people that doctors deem worthless. Daily Mail. 14th October 2012

Steve Doughty. Families must get a say on dying patients’ care: victory for the Mail in the aftermath of the Liverpool Care Pathway scandal. Daily Mail, 26th June 2014

Neuberger. More Care Less Pathway: a review of the Liverpool Care Pathway.15th July 2013

Hanks G et al. Oxford Textbook of Palliative Medicine, 2011, 4th edition

Sykes N, Thorns A. The use of opioids and sedatives at the end of life. Lancet Oncology (2003); 4: 312 - 318

Maltoni M et al. Palliative sedation therapy does not hasten death: results from a prospective multicentre study. Annals of Oncology 2009;20:1163-1169

https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/323188/One_chance_to_get_it_right.pdfLeadership alliance for the care of dying people. June 2014

Cruikshank et al. Using syringe drivers in palliative care within a rural community setting: capturing the whole experience. International journal of palliative nursing 2010;16(3):126-132

Momen N, Hadfield P, Harrison K, Barclay S. (2013) Managing pain in advanced cancer: a survey of United Kingdom General Practitioners and Community Nurses. Journal of Pain and Symptom Management: 46 (3);345 – 354.

Seymour et al. Do nursing homes for older people have the support they need to provide end of life care? A mixed methods enquiry in England. Palliative Medicine 2010;25(2):125-138

Kinley J, Hockley J A baseline review of medication provided to older people in nursing care homes in the last month of life.International  Journal of Palliative nursing 2010;16(5):216-223

UK National Patient Safety Agency (NPSA) Rapid Response Report. Safer Ambulatory Syringe Drivers. NPSA/2010/RRR 019 16th December 2010

Freemantle A. Safer ambulatory syringe drivers: experiences of one acute hospital trust. International journal of palliatve medicine 2011;17(2):86-91

Griffith S. Improving practice with action research:resolving the problem of kinking with non metal cannulae. International journal of palliative nursing 2011;17(11):531-536

www.palliativedrugs.com/syringe-driver-database-introduction.html

Wilcox et al. Drugs given by a syringe driver: a prospective multicenter survey of palliative care services in the UK. Palliative Medicine 2006;20(7):661-664

legislation.gov.uk: medicines act 1968

Mixing of medicines prior to administration in clinical practice: medical and non medical prescribing at www.gov.uk/government/uploads/system/uploads/attachment_data/file/213885/dh_116360.pdf

Schneider et al. Effect of tubing on loss of clonazepam administered by subcutaneous infusion. Journal of Pain and Symptom Management 2006;31(6):563-567

McCleod et al. A practical guide for nurses in diluent selection for a subcutaneous infusion using a syringe driver. International Journal of Palliative Nursing 2006;12(12):558-565

Twycross R and Wilcock A (Eds). Palliative Care Formulary Fourth Edition. Publishers: Palliativedrugs.com 2011

Dickman A, Schneider J The syringe driver : continous subcutaneous infusions in palliative care. 3rd Edition 2011, Oxford University Press

Mitchell et al Incidence and causes for syringe driver site reactions in palliative care: A prospective hospice-based study. Palliative Medicine 2012;26(8):979-985

Ross et al. A prospective, within patient comparison between metal butterfly needles and Teflon cannulae in subcutaneous infusions of drugs to terminally ill hospice patients. Palliative Medicine 2002 ;16(1):13-16

European agency for health and safety at work. Directive 2010/32/EU Prevention from sharp injuries in the hospital and healthcare sector. https://osha.europa.eu/en/legislation/directives/sector-specific-and-worker-related-provisions/osh-directives/council-directive-2010-32-eu-prevention-from-sharp-injuries-in-the-hospital-and-healthcare-sector

Raymond et al. The effect of dexamethasone on the longevity of subcutaneous syringe driver sites in palliative care patients. Medical Journal of Australia 2003;178(10):486-489