Integrated cardiovascular assessment of atherosclerosis using PET/MRI

Nicholas R Evans, PhD1,2,Jason M Tarkin, PhD3, Elizabeth PV Le, BA (Hons)3, Rouchelle S Sriranjan, MPhil3, Andrej Corovic, MB BChir3, Elizabeth A Warburton, DM2, James HF Rudd, PhD3

1 Department of Medicine, University of Cambridge, Cambridge. UK

2 Department of Clinical Neurosciences, University of Cambridge, Cambridge. UK

3 Division of Cardiovascular Medicine, University of Cambridge, Cambridge. UK

Short title: Integrated cardiovascular assessment of atherosclerosis using PET/MRI

Type of manuscript: Review

Corresponding author:

Dr Nicholas Evans

R3 Clinical Neurosciences (Box 83),

Addenbrooke’s Hospital,

Cambridge Biomedical Campus,

Hills Road,

Cambridge.

CB2 0QQ

United Kingdom

E-mail: ne214@cam.ac.uk

Tel: +44 (0) 1223 216082

Acknowledgements: Nil

Declaration of funding:

NRE is supported by the National Institute for Health Research (NIHR). JMT is supported by the Wellcome Trust (211100/Z/18/Z, 104492/Z/14/7) and the NIHR. EAW is supported by the NIHR Cambridge Biomedical Centre. JHFR is supported by the NIHR Cambridge Biomedical Centre, BHF, Wellcome Trust, and Higher Education Funding Council for England.

Abstract

Atherosclerosis is a systemic inflammatory disease typified by the development of lipid-rich atheroma (plaques), the rupture of which are a major cause of myocardial infarction and stroke. Anatomical evaluation of the plaque considering only the degree of luminal stenosis overlooks features associated with vulnerable plaques, such as high-risk morphological features or pathophysiology, and hence risks missing vulnerable or ruptured non-stenotic plaques. Consequently, there has been interest in identifying these markers of vulnerability using either magnetic resonance imaging (MRI) for morphology, or positron-emission tomography (PET) for physiological processes involved in atherogenesis. The advent of hybrid PET/MRI scanners offers the potential to combine the strengths of PET and MRI to allow comprehensive assessment of the atherosclerotic plaque. This review will discuss the principles and technical aspects of hybrid PET/MRI assessment of atherosclerosis, and consider how combining the complementary modalities of PET and MRI has already furthered our understanding of atherogenesis, advanced drug development, and how it may hold potential for clinical application.

Introduction

Atherosclerosis, a major cause of myocardial infarction and ischaemic stroke, is a systemic inflammatory process typified by the development of lipid-rich atheroma (“plaques”) in response to cardiovascular risk factors.1 Rather than simply limiting blood flow, atherosclerotic plaques may rupture and trigger thromboembolic events. This rupture of the plaque fibrous cap occurs secondary to a combination of enzymatic (primarily matrix metalloproteinase) degradation and mechanical disruption from microcalcification (deposits of calcium less than 50μm).2-4 Given the consequences, identification and treatment of at-risk vulnerable plaques is a pressing clinical concern.

Conventional clinical imaging, such as Doppler or computed tomography (CT), typically involves anatomical assessment of the plaque, primarily the degree of arterial stenosis. However, the presence of symptomatic but non-stenotic atheroma has been seen in coronary artery disease, complicating the relationship between the degree of stenosis and thromboembolic events.5,6 In symptomatic carotid artery disease, only a moderate association between the degree of luminal stenosis and plaque volume has been observed.7 Furthermore, although the degree of stenosis is implicated in recurrent neurovascular events, plaque morphological characteristics are also independently associated with recurrent symptoms.8 These findings pose a challenge for differentiating vulnerable or culprit plaques from stable plaques amongst those that cause stenosis, or identifying vulnerable/culprit plaques with sub-clinical stenosis.

These limitations of a solely anatomical-based assessment of atherosclerosis have necessitated alternative imaging approaches to evaluate plaque vulnerability. Advanced coronary CT angiography (CTA) techniques can identify high-risk plaque features: positive remodeling, low attenuation plaque, spotty calcification, and the “napkin ring” sign associated with future coronary events.9-12 Furthermore, CT imaging of perivascular fat attenuation (representing inhibited adipogenesis associated with inflamed atheroma in adjacent arteries) provides a surrogate marker of coronary atheroma inflammation and is predictive of both cardiac and all-cause mortality.13 Such techniques may be more accessible for routine clinical practice, though there remains interest in imaging other morphological features of the vulnerable plaque in greater detail and measuring the physiological processes within the plaque directly rather than through surrogate radiological markers.

Two main imaging modalities have developed in this respect: magnetic resonance imaging (MRI) for identification of high-risk plaque morphology, and positron emission tomography (PET) for assessment of plaque pathophysiology in vivo. The advent of hybrid PET/MRI scanners has enabled these two complementary processes to be combined in a single scanner in order to facilitate comprehensive plaque assessment. This review will consider the technical considerations inherent to hybrid PET/MRI and how it has already been employed in pre-clinical and clinical studies to advance imaging techniques and further our understanding of plaque pathophysiology. However, before considering these advances, it is first advantageous to consider briefly how the techniques individually and non-contemporaneous imaging with each modality have advanced our understanding of the mechanisms of plaque vulnerability and provided the foundation upon which hybrid PET/MRI has developed.

Imaging plaque morphology with MRI

MRI can generate excellent soft tissue contrast through high spatial resolution (micrometres). MRI has been shown to identify high-risk morphological plaque features – such as intraplaque haemorrhage (IPH), thin fibrous caps, and large lipid-rich/necrotic core (LR/NC) – with validation against histology.14,15

(i) Intra-plaque haemorrhage

T1-weighted sequences have been shown to have a strong agreement in detecting IPH when compared to histology.16-18 Albuquerque et al. demonstrate a strong association between T1-weighted hyperintensities and IPH on histology, as well as significantly higher high-sensitivity C-reactive protein levels in those with T1-weighted hyperintensities.19

(ii) Fibrous cap thickness

1.5-T MRI demonstrates good accuracy for in vivo measurement of maximum wall thickness when compared to excised samples.20 Thin or ruptured caps seen on MRI are more likely to be associated with symptoms compared to thick fibrous caps.21 Similar results were seen in a two-year longitudinal study that showed there was a higher risk of subsequent cerebrovascular events seen in plaques with fibrous cap rupture, plaque haemorrhage, or higher structural stress.22 Advances in field strength has shown 3.0-T MRI to be superior to 1.5-T MRI in imaging the vessel wall, with significantly increased wall signal-to-noise and contrast-to-noise ratios, whilst having good agreement of luminal size and mean wall thickness between the field strengths.23,24

(iii) Neovascularisation

Increased neovascularisation, typically with microvessels that are larger and irregular, is a hallmark of vulnerable plaque.25,26 Neovascularisation may be imaged using dynamic contrast enhanced (DCE)-MRI, a T1-weighted technique using repeated measurement of contrast agent (frequently gadolinium-chelates) signal intensity. The post-contrast concentration of contrast within the tissue of interest reflects the degree of tissue vascularisation and characteristics of the neovasculature.27 DCE-MRI measures of neovascularity strongly correlate with microvessel area in endarterectomy specimens.28

Imaging plaque pathophysiology with PET

PET has a number of strengths for atherosclerosis imaging. It is a highly sensitive technique, allowing identification of biomarkers at nanomolar to picomolar concentrations, facilitating detection of pathophysiology that may not be detected by morphological MRI assessment. The sensitivity of PET means that it is possible to detect subtle changes in tracer uptake, and by extension the changes in different pathophysiological processes, in response to therapy.

(i) Inflammation

The majority of vascular PET studies have used PET/CT, typically using 18F-fluorodeoxyglucose (FDG). FDG uptake is higher in culprit than non-culprit carotid atherosclerotic plaques,29  and correlates with macrophage density, but not with either the area or thickness of the plaque, in excised carotid plaque histology.30 FDG uptake, as quantified by either standardised uptake value (SUV) or tissue-to-background ratio (TBR) (uptake in target tissue adjusted by tracer concentration in the venous pool), is increased in the presence of cardiovascular risk factors31 and high-risk morphological plaque features.32,33 Increased FDG uptake is also associated with microemboli on transcranial Doppler,34 and recurrent cerebrovascular events independent of the degree of luminal stenosis.35,36 FDG signal is reduced in response to statin therapy, demonstrating the pleiotropic effects on plaque inflammation of this medication.37,38 FDG-PET/CT studies have also supported the systemic nature of inflammation within atherosclerosis.39-41

Although FDG uptake is highly sensitive, it is non-specific. As well as uptake in metabolically active tissues, FDG uptake is influenced by hypoxia within the plaque.42,43 As an analogue of glucose, FDG will compete with circulating glucose and consequently its uptake in tissues will be reduced in hyperglycaemia. This necessitates a period of fasting prior to scanning. The technique is also subject to artefact from “spill over” of tracer signal from neighbouring structures with high metabolic activity and consequent FDG uptake, particularly the myocardium, that results in considerable partial volume effects and consequent difficulty in imaging coronary atherosclerosis.

(ii) Microcalcification

Inflammation-driven microcalcification may also disrupt the plaque fibrous cap. In thin fibrous caps concentrated microcalcification may increase tissue stress up to fivefold, whilst tissue stress in regions with no microcalcification generally falls below the threshold believed to be necessary for rupture.44,45 The small size of the microcalcific deposits (<50μm) falls below the spatial resolution of most MRI scanners.44,46 In the absence of a morphological approach to detect microcalcium deposits, physiological imaging using PET provides a highly sensitive method to detect the microcalcification process even given the lower resolution of PET. The main radiotracer used in this regard is 18F-sodium fluoride (NaF). NaF identifies sites of active microcalcification, where radiolabelled fluoride is exchanged for the hydroxyl group in hydroxyapatite to form fluoroapatite.47 NaF exhibits strong, specific binding to areas of vascular microcalcification in excised carotid plaques,48 and in vivo studies have shown increased NaF uptake in high-risk and culprit coronary and carotid lesions.49-52

Non-contemporaneous PET/CT and MRI plaque imaging

Complementary approaches of morphological and physiological plaque imaging have helped elucidate the complex pathophysiology underlying atherogenesis. Although the CT component of PET/CT allows measurement of tracer uptake in some high-risk plaque morphological features detectable by CTA, this approach is limited to positive remodeling, luminal irregularity, and low attenuation.32 In order to improve the range of morphological characteristics against which tracer uptake may be measured, PET imaging data has been compared with non-contemporaneous MRI, i.e. separate imaging sessions for each modality. This approach proved to be a forerunner of vascular imaging using hybrid PET/MRI and illustrated important pathophysiology and imaging principles, but has important limitations as discussed below.

In individuals undergoing both FDG-PET/CT and DCE-MRI there was a weak, but significant, inverse relationship between plaque inflammation and neovascularisation.53 Similar findings have been observed between FDG TBR and Ktrans (reflecting microvessel density and permeability), where there was a moderate correlation between the two variables in symptomatic plaques but not in asymptomatic plaques.54 Further dual imaging with MRI and FDG-PET/CT has supported the complementary roles for assessing plaque morphology (neovascularisation, intraplaque haemorrhage) and physiology (inflammation).55 Non-contemporaneous MRI and PET have also elucidated the mechanisms of hypoxia within atherosclerotic plaques, where uptake of the highly-selective hypoxia marker 18F-2-(4-((2-nitro-1H-imidazol-1-yl)methyl)-1H-1,2,3-triazol-1-yl)propan-1-ol (HX4) was specific to plaque regions, where it correlated strongly with carotid wall dimensions on 3.0-T MRI and FDG uptake.43 FDG uptake has been shown to identify symptomatic carotid plaques that were non-stenotic when co-registered with high-resolution MRI, supporting the concept that the severity of stenosis is not the sole determinant for symptomatic plaque rupture.56 (Figure 1).

However, this approach of comparing non-contemporaneous plaque imaging using separate PET/CT and MRI scans has several methodological limitations, in particular the difficulty in anatomical alignment when the neck may be angled differently between different scanners. One solution to this problem is imaging with hybrid PET/MRI systems.

Advantages and challenges of hybrid systems: the era of PET/MRI

The advent of combined PET/MRI has presented both advantages and challenges for imaging atherosclerosis. As indicated by the non-contemporaneous MRI and PET studies, replacement of CT with MRI enables fusion of the morphological and physiological approaches to plaque assessment by improving soft tissue contrast and tissue characterisation involved in the co-registration process (Figure 2). The ability to perform both MRI and PET on the same gantry improves co-registration by avoiding the changes in position that occur during transfer between separate PET and MRI scanners. Consequently, this improves identification of tracer uptake in the arterial wall or plaque specifically and delineates plaque from adjacent soft tissue structures. In essence, hybrid PET/MRI systems result in the complementary pairing of the best aspects from PET (high sensitivity to target processes) and MRI (high spatial resolution).

Furthermore, the change has reduced the radiation exposure for the subject, though arguably the radiation exposure from the CT component is small relative to the radiation exposure from the tracer when applied to a single arterial territory (in carotid imaging, the CT for attenuation correction is approximately one-tenth of the radiation exposure from 250 MBq FDG, at 0.45 mSv and 5 mSv respectively). However, this radiation exposure will accumulate if whole body imaging of systemic atherosclerosis is required, a problem that is avoided by PET/MRI.

These advantages need to be considered alongside the negative aspects of PET/MRI. Practical issues include the increased cost compared with PET/CT, limited availability, longer image acquisition times, and reduced subject tolerability associated with the PET/MRI systems relative to PET/CT. MRI may also be contraindicated in individuals with indwelling non-compatible metalwork.

A move to hybrid PET/MRI systems involved technical challenges, in particular the compatibility of the magnetic field with components of the PET scanner. Detection equipment in the PET scanner (initially photomultiplier tubes, superseded by photon detectors) required adaptation in order to withstand magnetic fields whilst avoiding electromagnetic disruption to the magnetic field.57,58 Furthermore, the magnetic field of the MRI may affect the trajectory of positrons to cause artifacts: the spatial distribution of positrons narrows along the plane perpendicular to the magnetic field, improving transaxial resolution, but elongates along the magnetic field, thereby degrading the axial resolution and producing artifacts.59,60 It is possible to correct for the latter by through generating positron beams by placing a positron emitter outside of the field of view and using the resulting axial readings to generate phantoms.60 Refinement of these techniques is ongoing.

Another technical consideration is that attenuation correction differs between PET/CT and PET/MRI (Figure 3). In the former, tissue density can be measured directly and accurately in order to generate attenuation maps. In contrast, the nature of MRI means that tissue density cannot be measured directly. Instead, the image is generated by measurement of proton spin within the magnetic field and subsequently segmented into categories. Typically bone has been ignored in MR-based attenuation correction due to the difficulties in imaging and segmenting this tissue in MRI. This has resulted in concern that tracer uptake in structures neighbouring bone may be underestimated, as there will be no correction for the high attenuation caused by bone, with one study reporting tracer uptake may be underestimated by up to 17%.61 However, attenuation correction using the Dixon MRI sequence segmenting tissues into four classes (air, lungs, fat, water) has been shown to produce PET information of similar quality to attenuation correction using low-dose CT scans in PET/CT.62 Attenuation correction may be improved by the use of specific coils, such as carotid coils, that increase signal reception and include attenuation maps. Increasingly, novel techniques and approaches are being employed for attenuation and reconstruction, particularly in the imaging of coronary arteries.63

Coronary artery PET imaging has proven challenging due to the combination of poor signal-to-noise ratio for FDG due to myocardial uptake and the complex cardiac motion due to the heartbeat and respiratory displacement. Whilst relatively straightforward rigid registration is sufficient for co-registering static vessels with little movement (such as carotid arteries) with PET, coronary artery deformation from cardiac motion requires a more complex non-rigid approach. One approach is gating PET data to the phase of the cardiac or respiratory cycle, though such an approach reduces the signal-to-noise ratio due to the reduced number of detected counts used in individual reconstructions, though this may be compensated for by increasing acquisition time.64 Alternatively, well-established dynamic MR motion model techniques may be employed either prior to/early in the PET acquisition, or simultaneously throughout the PET acquisition process, and subsequently applied to PET data in either postreconstruction registration (where PET images are ‘warped’ to a common reference position on a frame-by-frame basis) or incorporated directly into an iterative PET reconstruction algorithm.64

Comparison of carotid imaging using both FDG-PET/MRI and FDG-PET/CT showed a moderate-to-strong correlation between SUVs acquired using each modality (r=0.6 and r=0.8 for slice-by-slice and vessel-by-vessel comparisons respectively). Furthermore, it was noted that there was a small but statistically significant bias towards SUVs acquired from PET/MRI being lower than those acquired from PET/CT (with a mean difference of -0.18 for mean SUV and -0.14 for maximum SUV).65 Further studies have also found FDG maximum SUV to be significantly lower when measured in PET/MRI versus PET/CT systems (though they retain a moderate correlation), but corresponding maximum TBR readings did not differ.66 Similar lower SUV has been seen with the use of MR-attenuation correction versus CT-attenuation correction within the same hybrid PET/MRI system, though again there was a high correlation between SUVs acquired using each approach.67 This trend of lower vascular SUVs in PET/MRI compared to PET/CT is consistent with similar findings in a range of solid organs and tissues.62,68

PET/MRI assessment of atherosclerosis

Having addressed these technical challenges, there are an increasing number of studies using hybrid PET/MRI to understand atherogenesis and evaluate novel radiotracers in pre-clinical and clinical models. In a Göttingen minipig model of atherosclerosis, PET/MRI showed increased FDG uptake in those with an atherogenic diet, and that plaque FDG uptake correlated with plaque gene expression of inflammatory markers (CD68, matrix metalloproteinase-9, cathepsin K, and secreted phosphoprotein-1).69

Hybrid PET/MRI systems have also been used in pilot studies of novel PET tracers targeting aspects of atherogenesis. 68Ga-Pentixafor, which targets chemokine receptor type 4 (CXCR4) that co-localises with macrophage infiltration and facilitates recruitment of leukocytes to the developing plaque, has been shown to identify the intensity of CXCR4 in atherosclerotic plaques in both rabbit and human subjects.70-72 64Cu-DOTATATE has also been investigated using hybrid PET/MRI systems, where uptake was increased in symptomatic plaques (compared to the contralateral carotid artery) and correlated with CD163 expression by macrophages, but did not correlate with MRI assessment of plaque burden.73

The superior soft tissue contrast afforded by MRI has facilitated the development of radiotracers targeting hypoxia within atherosclerotic plaques. In a rabbit model undergoing 3.0-T PET/MRI, 64Cu-ATSM uptake was significantly higher in vulnerable plaques and there was a strong association between increasing vessel wall cross-sectional areas on T1-weighted imaging and 64Cu-ATSM uptake.74

18F-macroflor, a modified polyglucose nanoparticle with high avidity for macrophages, has been shown to accumulate in atherosclerotic plaques in rabbit models imaged using PET/MRI. Furthermore, this study combined quantification of macrophages alongside MRI detection of myeloperoxidase (MPO) expressed by inflammatory macrophages. Between day two and six following permanent coronary ligation in a mouse model, there was an increase in 18F-macroflor signal but a decrease in MPO signal within the infarct, suggesting that as the macrophage population expanded, the cells produced less MPO. As such, there was a phenotypic switch in macrophages with a change from infarct inflammation to resolution.75 This dual-target approach illustrates the advantages of the hybrid PET/MRI system and the potential to use similar approaches in human subjects to identify at-risk individuals who do not undergo phenotypic switching in the post-infarct period.

PET imaging of pathophysiology in atherogenesis has been used to assess response to therapeutic intervention and as an endpoint in drug development trials.76,77 Hybrid PET/MRI systems can offer a similar approach, but with the advantage of allowing both physiological and morphological measurements of treatment response to be combined using the same scanner in the same sitting. Furthermore, the sensitivity of the technique requires smaller sample sizes than clinical studies using clinical events. In a rabbit model of atherosclerosis, FDG-PET/DCE-MRI was used to assess the response to leukotriene A4 hydrolase inhibition. FDG SUV reduction was noted in response to low-dose inhibition, though neovascularisation, permeability, and plaque burden remained unchanged.78 Such results illustrate the importance of considering both physiology and morphology in longitudinal drug discovery trials.

Integrative multimodal imaging using hybrid PET/MRI systems has also utilised nanobody radiotracers alongside conventional PET radiotracers. In a rabbit model of atherosclerosis, 68Ga-labelled nanobodies against macrophage mannose receptor were used alongside DCE-MRI and both FDG- and NaF-PET; the combination of which identified different hallmarks of atherosclerosis, in particular an association between lesion size and neovascularisation, as well as higher uptake of 68Ga-MMR, FDG, and NaF in advanced plaques indicating higher macrophage burden, vessel wall inflammatory activity, and microcalcification respectively.79 Other nanobodies targeting vascular cell adhesion molecule-1 and lectin-like oxidised low-density lipoprotein receptor-1 also co-localised with their respective targets in atherosclerotic plaques in the aortas of mice.79

As well as this role in diagnostic imaging, nanoparticles have been used to target therapy. Activated plaque macrophages express hyaluronan-binding receptor that may be targeted using nanoparticle-formulated hyaluronan in atherosclerotic rabbit models, as demonstrated by increased uptake in atherosclerotic lesions on PET/MRI. Furthermore, hyaluronan nanoparticles appeared to exert an anti-inflammatory effect and decrease atherosclerotic plaque area in mouse models, though this latter finding was found on histological analysis rather than PET/MRI.80 Similar approaches using dextran nanoparticle-facilitated hybrid PET/MRI have shown promise for detecting atherosclerotic plaques in mouse models, confirmed by ex vivo samples, and monitoring the efficacy of therapeutic interventions using lipidoid nanoparticle-enabled silencing of CCR2 expression, the monocytic chemokine receptor responsible for migration of the inflammatory monocyte subset to sites of inflammation.81 Future studies using PET/MRI may allow both physiology and plaque morphology to be assessed in response to intervention with therapeutic nanoparticles.

PET/MRI is being used increasingly in human studies. In a large study of 755 individuals with subclinical atherosclerosis who underwent sequential whole-body FDG-PET/MRI as part of the Progression of Early Subclinical Atherosclerosis (PESA) study, both plaque number and the number of plaques demonstrating FDG uptake increased with cardiovascular risk factors, and individuals with arterial FDG uptake had increased plaque burden (both number and volume) than individuals without arterial inflammation. Furthermore, plaques with inflammation were located more frequently in the femoral territory and bifurcations, demonstrated more positive remodeling, were larger, and more frequently had a lipid-rich composition. However, inflammation was present in only 11% of plaques, with most FDG uptake detected in plaque-free arterial walls.82 Here, the use of MRI to differentiate between plaque and plaque-free arterial wall helps indicate the distinct processes taking place within each. Furthermore, it is notable that of the 946 individuals scanned, 97 (10.3%) had technical issues with attenuation correction using MR-attenuation correction using a three-class tissue (soft tissue, lung, and air) method.82

In a study of individuals presenting with embolic stroke of undetermined source – so-called ‘cryptogenic strokes’ – there was a higher prevalence of complicated atherosclerotic plaques (American Heart Association lesion type VI) in the ipsilateral carotid compared to the contralateral carotid, and these complicated plaques had higher FDG mean TBR than uncomplicated plaques. Moreover, the study considered the effect of individual high-risk morphological plaque features on FDG uptake:  TBR was higher in plaques with thin versus thick fibrous caps, and in plaques with IPH or LR/NC versus those without. Additionally, FDG uptake in both carotids was higher in individuals with a complicated lesion compared to those without, illustrating the systemic nature of vascular inflammation.83

The relative ease of imaging larger arteries has meant that the majority of studies have been performed in the carotid arteries or aorta. Although these studies have identified important pathophysiology that is common to atherosclerosis regardless of location, the clinical importance of coronary artery disease has necessitated PET/MRI studies specific to coronary arteries and the development of techniques to overcome the particular difficulties of using PET/MRI in these vessels.

The feasibility of PET/MRI to identify vulnerable coronary atheroma using both FDG and NaF was demonstrated by Robson et al.63 This study demonstrated that a novel MR-based attenuation approach using a free-breathing radial GRE MR sequence, as well as increasing from three to six iterations in the PET reconstruction, improved image quality.63 However, as with FDG-PET/CT, FDG-PET/MRI interpretation of coronary arteries was affected by physiological tracer uptake in the myocardium in 75% of cases, indicating the need for more specific tracers or techniques to improve signal-to-noise ratios.

PET/MRI facilitates evaluation of the downstream effects of coronary artery disease, such as the size and inflammatory response within the infarct and its association with heart failure. In a study of ten individuals undergoing NaF-PET/MRI, NaF uptake was increased in myocardial scar tissue versus healthy myocardium after acute coronary syndrome, though coronary plaque NaF uptake was measured using PET/CT.84 Post-ischaemic inflammation was associated with increased systemic inflammation (represented by increased FDG signal in spleen and bone marrow)85 and poorer left ventricular function at six months.86

Finally, proof-of-principle FDG-PET/MRI studies have shown the feasibility of hybrid imaging for assessing atherosclerosis in individuals with psoriasis,87 obstructive sleep apnoea,88 and cocaine use,89 thereby helping elucidate the mechanisms of cardiovascular disease in these high-risk groups.

Future directions

The MRI component of hybrid PET/MRI allows more than structural imaging, with the assessment of physiology possible through imaging myocardial perfusion and viability. Furthermore, inflammation in both atherosclerosis and post-infarction pathology, whether it be heart or brain, may represent a potential therapeutic target where PET/MRI provides an effective means of evaluating the interface between atherosclerosis and downstream tissue damage. The reduction in radiation dose with PET/MRI compared to PET/MRI would also facilitate longitudinal imaging in response to therapeutic intervention.

New techniques may improve signal-to-noise ratios for coronary imaging, including the use of a high-fat low-carb diet prior to the scan or the injection of heparin prior to the administration of FDG, that reduce glucose in healthy myocardium.58 Alternatively, more specific macrophage radiotracers may improve signal-to-noise ratios. One such radiotracer is 68Ga-DOTATATE, which targets somatostatin receptor subtype-2 that is up-regulated on the surface of activated macrophages and has superior detection to FDG in the coronary arteries.90,91 As discussed above, further tracers have been studied at pre-clinical and clinical levels, with many now being evaluated using hybrid PET/MRI systems.

In the neurovascular realm, hybrid PET/MRI with high-resolution vessel wall MRI may also further our understanding of intracranial atherosclerosis and elucidate the links between atherosclerosis and neurological disease.

Conclusion

Hybrid PET/MRI allows the simultaneous assessment of atheromatous plaque morphology and pathophysiology. The comprehensive plaque assessment afforded by these complementary imaging techniques holds promise to develop further our understanding of the mechanisms of plaque rupture, evaluation of responses in drug development trials, and potential for clinical application.

References

1.	Ross R. Atherosclerosis--an inflammatory disease. N Engl J Med. 1999; 340: 115-26.

2.	Herman MP, Sukhova GK, Libby P, et al. Expression of neutrophil collagenase (matrix metalloproteinase-8) in human atheroma: a novel collagenolytic pathway suggested by transcriptional profiling. Circulation. 2001; 104: 1899-904.

3.	Galis ZS, Muszynski M, Sukhova GK, et al. Cytokine-stimulated human vascular smooth muscle cells synthesize a complement of enzymes required for extracellular matrix digestion. Circ Res. 1994; 75: 181-9.

4.	Kelly-Arnold A, Maldonado N, Laudier D, Aikawa E, Cardoso L and Weinbaum S. Revised microcalcification hypothesis for fibrous cap rupture in human coronary arteries. Proc Natl Acad Sci U S A. 2013; 110: 10741-6.

5.	Mann JM and Davies MJ. Vulnerable plaque. Relation of characteristics to degree of stenosis in human coronary arteries. Circulation. 1996; 94: 928-31.

6.	Mintz GS, Painter JA, Pichard AD, et al. Atherosclerosis in angiographically "normal" coronary artery reference segments: an intravascular ultrasound study with clinical correlations. J Am Coll Cardiol. 1995; 25: 1479-85.

7.	Rozie S, de Weert TT, de Monye C, et al. Atherosclerotic plaque volume and composition in symptomatic carotid arteries assessed with multidetector CT angiography; relationship with severity of stenosis and cardiovascular risk factors. Eur Radiol. 2009; 19: 2294-301.

8.	Rothwell PM and Warlow CP. Prediction of benefit from carotid endarterectomy in individual patients: a risk-modelling study. European Carotid Surgery Trialists' Collaborative Group. Lancet. 1999; 353: 2105-10.

9.	Motoyama S, Ito H, Sarai M, et al. Plaque Characterization by Coronary Computed Tomography Angiography and the Likelihood of Acute Coronary Events in Mid-Term Follow-Up. J Am Coll Cardiol. 2015; 66: 337-46.

10.	Conte E, Annoni A, Pontone G, et al. Evaluation of coronary plaque characteristics with coronary computed tomography angiography in patients with non-obstructive coronary artery disease: A long-term follow-up study. European Heart Journal Cardiovascular Imaging. 2017; 18: 1170-8.

11.	Thomsen C and Abdulla J. Characteristics of high-risk coronary plaques identified by computed tomographic angiography and associated prognosis: a systematic review and meta-analysis. European Heart Journal - Cardiovascular Imaging. 2015; 17: 120-9.

12.	Williams MC, Moss AJ, Dweck M, et al. Coronary Artery Plaque Characteristics Associated With Adverse Outcomes in the SCOT-HEART Study. J Am Coll Cardiol. 2019; 73: 291-301.

13.	Oikonomou EK, Marwan M, Desai MY, et al. Non-invasive detection of coronary inflammation using computed tomography and prediction of residual cardiovascular risk (the CRISP CT study): a post-hoc analysis of prospective outcome data. Lancet. 2018; 392: 929-39.

14.	Yuan C, Mitsumori LM, Beach KW and Maravilla KR. Carotid atherosclerotic plaque: noninvasive MR characterization and identification of vulnerable lesions. Radiology. 2001; 221: 285-99.

15.	Yuan C, Mitsumori LM, Ferguson MS, et al. In vivo accuracy of multispectral magnetic resonance imaging for identifying lipid-rich necrotic cores and intraplaque hemorrhage in advanced human carotid plaques. Circulation. 2001; 104: 2051-6.

16.	Bitar R, Moody AR, Leung G, et al. In vivo 3D high-spatial-resolution MR imaging of intraplaque hemorrhage. Radiology. 2008; 249: 259-67.

17.	Ota H, Yarnykh VL, Ferguson MS, et al. Carotid intraplaque hemorrhage imaging at 3.0-T MR imaging: comparison of the diagnostic performance of three T1-weighted sequences. Radiology. 2010; 254: 551-63.

18.	Narumi S, Sasaki M, Ohba H, et al. Predicting carotid plaque characteristics using quantitative color-coded T1-weighted MR plaque imaging: correlation with carotid endarterectomy specimens. AJNR Am J Neuroradiol. 2014; 35: 766-71.

19.	Albuquerque LC, Narvaes LB, Maciel AA, et al. Intraplaque hemorrhage assessed by high-resolution magnetic resonance imaging and C-reactive protein in carotid atherosclerosis. J Vasc Surg. 2007; 46: 1130-7.

20.	Yuan C, Beach KW, Smith LH, Jr. and Hatsukami TS. Measurement of atherosclerotic carotid plaque size in vivo using high resolution magnetic resonance imaging. Circulation. 1998; 98: 2666-71.

21.	Yuan C, Zhang S-x, Polissar NL, et al. Identification of Fibrous Cap Rupture With Magnetic Resonance Imaging Is Highly Associated With Recent Transient Ischemic Attack or Stroke. Circulation. 2002; 105: 181-5.

22.	Sadat U, Teng Z, Young VE, et al. Association between Biomechanical Structural Stresses of Atherosclerotic Carotid Plaques and Subsequent Ischaemic Cerebrovascular Events – A Longitudinal in Vivo Magnetic Resonance Imaging-based Finite element Study. European Journal of Vascular and Endovascular Surgery. 2010; 40: 485-91.

23.	Yarnykh VL, Terashima M, Hayes CE, et al. Multicontrast black-blood MRI of carotid arteries: Comparison between 1.5 and 3 tesla magnetic field strengths. Journal of Magnetic Resonance Imaging. 2006; 23: 691-8.

24.	Young VE, Patterson AJ, Tunnicliffe EM, et al. Signal-to-noise ratio increase in carotid atheroma MRI: a comparison of 1.5 and 3 T. Br J Radiol. 2012; 85: 937-44.

25.	Mofidi R, Crotty TB, McCarthy P, Sheehan SJ, Mehigan D and Keaveny TV. Association between plaque instability, angiogenesis and symptomatic carotid occlusive disease. Br J Surg. 2001; 88: 945-50.

26.	McCarthy MJ, Loftus IM, Thompson MM, et al. Angiogenesis and the atherosclerotic carotid plaque: an association between symptomatology and plaque morphology. J Vasc Surg. 1999; 30: 261-8.

27.	Calcagno C, Mani V, Ramachandran S and Fayad ZA. Dynamic contrast enhanced (DCE) magnetic resonance imaging (MRI) of atherosclerotic plaque angiogenesis. Angiogenesis. 2010; 13: 87-99.

28.	Kerwin W, Hooker A, Spilker M, et al. Quantitative magnetic resonance imaging analysis of neovasculature volume in carotid atherosclerotic plaque. Circulation. 2003; 107: 851-6.

29.	Rudd JHF, Warburton EA, Fryer TD, et al. Imaging Atherosclerotic Plaque Inflammation With [18F]-Fluorodeoxyglucose Positron Emission Tomography. Circulation. 2002; 105: 2708-11.

30.	Tawakol A, Migrino RQ, Bashian GG, et al. In vivo 18F-fluorodeoxyglucose positron emission tomography imaging provides a noninvasive measure of carotid plaque inflammation in patients. J Am Coll Cardiol. 2006; 48: 1818-24.

31.	Tahara N, Kai H, Yamagishi S-i, et al. Vascular Inflammation Evaluated by [18F]-Fluorodeoxyglucose Positron Emission Tomography Is Associated With the Metabolic Syndrome. Journal of the American College of Cardiology. 2007; 49: 1533-9.

32.	Figueroa AL, Subramanian SS, Cury RC, et al. Distribution of inflammation within carotid atherosclerotic plaques with high-risk morphological features: a comparison between positron emission tomography activity, plaque morphology, and histopathology. Circ Cardiovasc Imaging. 2012; 5: 69-77.

33.	Silvera SS, Aidi HE, Rudd JH, et al. Multimodality imaging of atherosclerotic plaque activity and composition using FDG-PET/CT and MRI in carotid and femoral arteries. Atherosclerosis. 2009; 207: 139-43.

34.	Moustafa RR, Izquierdo-Garcia D, Fryer TD, et al. Carotid plaque inflammation is associated with cerebral microembolism in patients with recent transient ischemic attack or stroke: a pilot study. Circ Cardiovasc Imaging. 2010; 3: 536-41.

35.	Marnane M, Merwick A, Sheehan OC, et al. Carotid plaque inflammation on 18F-fluorodeoxyglucose positron emission tomography predicts early stroke recurrence. Ann Neurol. 2012; 71: 709-18.

36.	Kelly PJ, Camps-Renom P, Giannotti N, et al. Carotid Plaque Inflammation Imaged by (18)F-Fluorodeoxyglucose Positron Emission Tomography and Risk of Early Recurrent Stroke. Stroke. 2019; 50: 1766-73.

37.	Tahara N, Kai H, Ishibashi M, et al. Simvastatin attenuates plaque inflammation: evaluation by fluorodeoxyglucose positron emission tomography. J Am Coll Cardiol. 2006; 48: 1825-31.

38.	Mizoguchi M, Tahara N, Tahara A, et al. Pioglitazone attenuates atherosclerotic plaque inflammation in patients with impaired glucose tolerance or diabetes a prospective, randomized, comparator-controlled study using serial FDG PET/CT imaging study of carotid artery and ascending aorta. JACC Cardiovasc Imaging. 2011; 4: 1110-8.

39.	Rudd JH, Myers KS, Bansilal S, et al. Relationships among regional arterial inflammation, calcification, risk factors, and biomarkers: a prospective fluorodeoxyglucose positron-emission tomography/computed tomography imaging study. Circ Cardiovasc Imaging. 2009; 2: 107-15.

40.	Kim S, Lee S, Kim JB, et al. Concurrent Carotid Inflammation in Acute Coronary Syndrome as Assessed by (18)F-FDG PET/CT: A Possible Mechanistic Link for Ischemic Stroke. J Stroke Cerebrovasc Dis. 2015; 24: 2547-54.

41.	Joshi NV, Toor I, Shah AS, et al. Systemic Atherosclerotic Inflammation Following Acute Myocardial Infarction: Myocardial Infarction Begets Myocardial Infarction. J Am Heart Assoc. 2015; 4: e001956.

42.	Joshi FR, Manavaki R, Fryer TD, et al. Vascular Imaging With 18F-Fluorodeoxyglucose Positron Emission Tomography Is Influenced by Hypoxia. J Am Coll Cardiol. 2017; 69: 1873-4.

43.	van der Valk FM, Sluimer JC, Voo SA, et al. In Vivo Imaging of Hypoxia in Atherosclerotic Plaques in Humans. JACC Cardiovasc Imaging. 2015; 8: 1340-1.

44.	Maldonado N, Kelly-Arnold A, Vengrenyuk Y, et al. A mechanistic analysis of the role of microcalcifications in atherosclerotic plaque stability: potential implications for plaque rupture. Am J Physiol Heart Circ Physiol. 2012; 303: H619-28.

45.	Cheng GC, Loree HM, Kamm RD, Fishbein MC and Lee RT. Distribution of circumferential stress in ruptured and stable atherosclerotic lesions. A structural analysis with histopathological correlation. Circulation. 1993; 87: 1179-87.

46.	Nakahara T, Dweck MR, Narula N, Pisapia D, Narula J and Strauss HW. Coronary Artery Calcification: From Mechanism to Molecular Imaging. JACC Cardiovasc Imaging. 2017; 10: 582-93.

47.	Hawkins RA, Choi Y, Huang SC, et al. Evaluation of the skeletal kinetics of fluorine-18-fluoride ion with PET. J Nucl Med. 1992; 33: 633-42.

48.	Irkle A, Vesey AT, Lewis DY, et al. Identifying active vascular microcalcification by (18)F-sodium fluoride positron emission tomography. Nat Commun. 2015; 6: 7495.

49.	Joshi NV, Vesey AT, Williams MC, et al. 18F-fluoride positron emission tomography for identification of ruptured and high-risk coronary atherosclerotic plaques: a prospective clinical trial. Lancet. 2014; 383: 705-13.

50.	Kitagawa T, Yamamoto H, Toshimitsu S, et al. (18)F-sodium fluoride positron emission tomography for molecular imaging of coronary atherosclerosis based on computed tomography analysis. Atherosclerosis. 2017; 263: 385-92.

51.	Cocker MS, Spence JD, Hammond R, et al. [(18)F]-NaF PET/CT Identifies Active Calcification in Carotid Plaque. JACC Cardiovasc Imaging. 2017; 10: 486-8.

52.	Vesey AT, Jenkins WS, Irkle A, et al. 18F-Fluoride and 18F-Fluorodeoxyglucose Positron Emission Tomography After Transient Ischemic Attack or Minor Ischemic Stroke: Case-Control Study. Circ Cardiovasc Imaging. 2017; 10: e004976.

53.	Calcagno C, Ramachandran S, Izquierdo-Garcia D, et al. The complementary roles of dynamic contrast-enhanced MRI and 18F-fluorodeoxyglucose PET/CT for imaging of carotid atherosclerosis. Eur J Nucl Med Mol Imaging. 2013; 40: 1884-93.

54.	Wang J, Liu H, Sun J, et al. Varying correlation between 18F-fluorodeoxyglucose positron emission tomography and dynamic contrast-enhanced MRI in carotid atherosclerosis: implications for plaque inflammation. Stroke. 2014; 45: 1842-5.

55.	Saito H, Kuroda S, Hirata K, et al. Validity of dual MRI and F-FDG PET imaging in predicting vulnerable and inflamed carotid plaque. Cerebrovasc Dis. 2013; 35: 370-7.

56.	Davies JR, Rudd JH, Fryer TD, et al. Identification of culprit lesions after transient ischemic attack by combined 18F fluorodeoxyglucose positron-emission tomography and high-resolution magnetic resonance imaging. Stroke. 2005; 36: 2642-7.

57.	Catana C. Principles of Simultaneous PET/MR Imaging. Magnetic resonance imaging clinics of North America. 2017; 25: 231-43.

58.	Rischpler C, Nekolla SG, Heusch G, et al. Cardiac PET/MRI—an update. European Journal of Hybrid Imaging. 2019; 3: 2.

59.	Kolb A, Sauter AW, Eriksson L, et al. Shine-Through in PET/MR Imaging: Effects of the Magnetic Field on Positron Range and Subsequent Image Artifacts. J Nucl Med. 2015; 56: 951-4.

60.	Mannheim JG, Schmid AM, Schwenck J, et al. PET/MRI Hybrid Systems. Semin Nucl Med. 2018; 48: 332-47.

61.	Keereman V, Holen RV, Mollet P and Vandenberghe S. The effect of errors in segmented attenuation maps on PET quantification. Med Phys. 2011; 38: 6010-9.

62.	Drzezga A, Souvatzoglou M, Eiber M, et al. First clinical experience with integrated whole-body PET/MR: comparison to PET/CT in patients with oncologic diagnoses. J Nucl Med. 2012; 53: 845-55.

63.	Robson PM, Dweck MR, Trivieri MG, et al. Coronary Artery PET/MR Imaging: Feasibility, Limitations, and Solutions. JACC Cardiovasc Imaging. 2017; 10: 1103-12.

64.	Munoz C, Kolbitsch C, Reader AJ, Marsden P, Schaeffter T and Prieto C. MR-Based Cardiac and Respiratory Motion-Compensation Techniques for PET-MR Imaging. PET Clinics. 2016; 11: 179-91.

65.	Ripa RS, Knudsen A, Hag AM, et al. Feasibility of simultaneous PET/MR of the carotid artery: first clinical experience and comparison to PET/CT. Am J Nucl Med Mol Imaging. 2013; 3: 361-71.

66.	Li X, Heber D, Rausch I, et al. Quantitative assessment of atherosclerotic plaques on (18)F-FDG PET/MRI: comparison with a PET/CT hybrid system. Eur J Nucl Med Mol Imaging. 2016; 43: 1503-12.

67.	Bini J, Robson PM, Calcagno C, Eldib M and Fayad ZA. Quantitative carotid PET/MR imaging: clinical evaluation of MR-Attenuation correction versus CT-Attenuation correction in (18)F-FDG PET/MR emission data and comparison to PET/CT. Am J Nucl Med Mol Imaging. 2015; 5: 293-304.

68.	Varoquaux A, Rager O, Poncet A, et al. Detection and quantification of focal uptake in head and neck tumours: (18)F-FDG PET/MR versus PET/CT. Eur J Nucl Med Mol Imaging. 2014; 41: 462-75.

69.	Ludvigsen TP, Pedersen SF, Vegge A, et al. (18)F-FDG PET/MR-imaging in a Gottingen Minipig model of atherosclerosis: Correlations with histology and quantitative gene expression. Atherosclerosis. 2019; 285: 55-63.

70.	Hyafil F, Pelisek J, Laitinen I, et al. Imaging the Cytokine Receptor CXCR4 in Atherosclerotic Plaques with the Radiotracer 68Ga-Pentixafor for PET. Journal of Nuclear Medicine. 2017; 58: 499-506.

71.	Li X, Heber D, Leike T, et al. [68Ga]Pentixafor-PET/MRI for the detection of Chemokine receptor 4 expression in atherosclerotic plaques. Eur J Nucl Med Mol Imaging. 2018; 45: 558-66.

72.	Li X, Yu W, Wollenweber T, et al. [(68)Ga]Pentixafor PET/MR imaging of chemokine receptor 4 expression in the human carotid artery. Eur J Nucl Med Mol Imaging. 2019; 46: 1616-25.

73.	Pedersen SF, Sandholt BV, Keller SH, et al. 64Cu-DOTATATE PET/MRI for Detection of Activated Macrophages in Carotid Atherosclerotic Plaques: Studies in Patients Undergoing Endarterectomy. Arterioscler Thromb Vasc Biol. 2015; 35: 1696-703.

74.	Nie X, Laforest R, Elvington A, et al. PET/MRI of Hypoxic Atherosclerosis Using 64Cu-ATSM in a Rabbit Model. J Nucl Med. 2016; 57: 2006-11.

75.	Keliher EJ, Ye YX, Wojtkiewicz GR, et al. Polyglucose nanoparticles with renal elimination and macrophage avidity facilitate PET imaging in ischaemic heart disease. Nat Commun. 2017; 8: 14064.

76.	Emami H, Vucic E, Subramanian S, et al. The effect of BMS-582949, a P38 mitogen-activated protein kinase (P38 MAPK) inhibitor on arterial inflammation: a multicenter FDG-PET trial. Atherosclerosis. 2015; 240: 490-6.

77.	Tawakol A, Fayad ZA, Mogg R, et al. Intensification of statin therapy results in a rapid reduction in atherosclerotic inflammation: results of a multicenter fluorodeoxyglucose-positron emission tomography/computed tomography feasibility study. J Am Coll Cardiol. 2013; 62: 909-17.

78.	Calcagno C, Lairez O, Hawkins J, et al. Combined PET/DCE-MRI in a Rabbit Model of Atherosclerosis: Integrated Quantification of Plaque Inflammation, Permeability, and Burden During Treatment With a Leukotriene A4 Hydrolase Inhibitor. JACC Cardiovasc Imaging. 2018; 11: 291-301.

79.	Senders ML, Hernot S, Carlucci G, et al. Nanobody-Facilitated Multiparametric PET/MRI Phenotyping of Atherosclerosis. JACC Cardiovasc Imaging. 2019; 12: 2015-26.

80.	Beldman TJ, Senders ML, Alaarg A, et al. Hyaluronan Nanoparticles Selectively Target Plaque-Associated Macrophages and Improve Plaque Stability in Atherosclerosis. ACS Nano. 2017; 11: 5785-99.

81.	Majmudar MD, Yoo J, Keliher EJ, et al. Polymeric nanoparticle PET/MR imaging allows macrophage detection in atherosclerotic plaques. Circ Res. 2013; 112: 755-61.

82.	Fernandez-Friera L, Fuster V, Lopez-Melgar B, et al. Vascular Inflammation in Subclinical Atherosclerosis Detected by Hybrid PET/MRI. J Am Coll Cardiol. 2019; 73: 1371-82.

83.	Hyafil F, Schindler A, Sepp D, et al. High-risk plaque features can be detected in non-stenotic carotid plaques of patients with ischaemic stroke classified as cryptogenic using combined (18)F-FDG PET/MR imaging. Eur J Nucl Med Mol Imaging. 2016; 43: 270-9.

84.	Marchesseau S, Seneviratna A, Sjoholm AT, et al. Hybrid PET/CT and PET/MRI imaging of vulnerable coronary plaque and myocardial scar tissue in acute myocardial infarction. J Nucl Cardiol. 2018; 25: 2001-11.

85.	Wollenweber T, Roentgen P, Schafer A, et al. Characterizing the inflammatory tissue response to acute myocardial infarction by clinical multimodality noninvasive imaging. Circ Cardiovasc Imaging. 2014; 7: 811-8.

86.	Rischpler C, Dirschinger RJ, Nekolla SG, et al. Prospective Evaluation of 18F-Fluorodeoxyglucose Uptake in Postischemic Myocardium by Simultaneous Positron Emission Tomography/Magnetic Resonance Imaging as a Prognostic Marker of Functional Outcome. Circ Cardiovasc Imaging. 2016; 9: e004316.

87.	Rajiah P, Hojjati M, Lu Z, et al. Feasibility of carotid artery PET/MRI in psoriasis patients. Am J Nucl Med Mol Imaging. 2016; 6: 223-33.

88.	Kundel V, Trivieri MG, Karakatsanis NA, et al. Assessment of atherosclerotic plaque activity in patients with sleep apnea using hybrid positron emission tomography/magnetic resonance imaging (PET/MRI): a feasibility study. Sleep Breath. 2018; 22: 1125-35.

89.	Bachi K, Mani V, Kaufman AE, et al. Imaging plaque inflammation in asymptomatic cocaine addicted individuals with simultaneous positron emission tomography/magnetic resonance imaging. World J Radiol. 2019; 11: 62-73.

90.	Dalm VA, van Hagen PM, van Koetsveld PM, et al. Expression of somatostatin, cortistatin, and somatostatin receptors in human monocytes, macrophages, and dendritic cells. Am J Physiol Endocrinol Metab. 2003; 285: E344-53.

91.	Tarkin JM, Joshi FR, Evans NR, et al. Detection of Atherosclerotic Inflammation by 68Ga-DOTATATE PET Compared to [18F]FDG PET Imaging. J Am Coll Cardiol. 2017; 69: 1774-91.

Figure 1: High-resolution MRI and FDG-PET scans taken from the same patient after a right carotid territory stroke. a, Transaxial images taken at the level of the proximal right internal carotid (RIC) artery. There is a large atherosclerotic plaque in the RIC artery causing severe luminal stenosis (green arrow). Despite its size, only low FDG uptake is demonstrated (blue and red arrows). b, Axial images taken at the level of the proximal common carotid arteries (CCA). The yellow arrow highlights a nonstenotic plaque in the wall of the right CCA. The white arrow points to an area of high FDG uptake, the location of which is confirmed on the fused scan as the right CCA (black arrow). Reproduced with permission from Davies et al.56

Figure 2: Fused PET/CT (a-f) and PET/MRI (g-l) images of the right carotid artery in a 52-year-old patient with a head and neck tumour (blue circles: ROIs of a plaque at the carotid bifurcation). The right carotid artery shows focal pathological 18F-FDG uptake on the PET images with CT-based attenuation correction. Colocalised focal uptake of 18F-FDG is seen on the PET image with MR attenuation correction. Reproduced with permission from Li et al.66

Figure 3: Coronal comparisons of CT- and MR-based attenuation maps and their respective PET reconstructions on PET/CT and PET/MRI. Reproduced with permission from Bini et al.67