Clinical Relevance of Central blood pressure: a critical review

Michael S Kostapanos

Carmel M McEniery

Ian B Wilkinson

Division of Experimental Medicine and Immunotherapeutics

University of Cambridge

Addenbrooke’s Hospital

Cambridge CB2 2QQ, UK

Author for Correspondence:

Michael S Kostapanos, MD, PhD, FRSPH

Division of Experimental Medicine and Immunotherapeutics

Addenbrooke’s Hospital Box 98

Cambridge CB2 0QQ, UK

Tel No:		01223336806

e-mail:		mk828@cam.ac.uk

Abstract

Vital organs are exposed to the central blood pressure rather than the brachial blood pressure. To date, central blood pressure can be non-invasively assessed with the use of several devices. In this review the clinical relevance of central blood pressure assessment is critically discussed.

Considerable evidence suggests that central blood pressure is a better predictor of end-organ damage representing cardiovascular risk surrogates than brachial blood pressure. However, there is still uncertainty on its better predictive capacity of cardiovascular outcomes since the existing studies are underpowered to address this issue. Full synthesis of the available data is needed in this regard.

Among different antihypertensive drug classes beta-blockers appear to lower central blood pressure less than the brachial blood pressure. This difference may at least in part explain the reduced efficacy of beta-blockers to prevent cardiovascular outcomes compared to the other antihypertensive drug classes, which may lower central and brachial blood pressure to a similar extent. Nevertheless, this differential effect might not be relevant for the newer beta-blockers with vasodilating properties, including nebivolol, celliprolol and carvedilol.

However, whether a preferential reduction of central blood pressure results in better outcomes should be further assessed by appropriately powered clinical trials. Other emerging challenges include the assessment of the potential predictive value of central blood pressure variability and the development of new antihypertensive medications based on the central blood pressure rather than the brachial blood pressure.

Key words: central blood pressure, brachial blood pressure, cardiovascular risk, beta-blockers

Introduction

Brachial artery blood pressure measured with a traditional mercury, or oscillometric, sphygmomanometer is a powerful predictor of future cardiovascular events[1]. Data from randomised controlled trials conducted over the last 50 years clearly demonstrate that pharmacological reduction of brachial pressure, in hypertensive individuals, substantially lowers the risk of a future cardiovascular event[2, 3]. It is not surprising therefore, that measurement of blood pressure is accepted as a routine part of clinical assessments throughout the world, and is one of the most widely accepted ‘surrogate indices’ for regulatory bodies. However, there is increasing interest in the potential clinical value of central (aortic) pressure.

Over 50 years ago, physiologists noted that systolic arterial pressure varies with the site of measurement. Brachial systolic pressure is invariably higher than systolic pressure measured simultaneously in the aorta. This has been confirmed repeatedly, and is thought to be due to changes in vessel stiffness and geometry moving away from the heart. Several lines of evidence suggest that central or aortic pressure is more strongly related to future cardiovascular events [3-6] than brachial pressure. Drugs also have differential effects on aortic and brachial pressure, which may help to explain the inferiority of beta-blockers, compared with other drug classes, in hypertension trials[7].  Moreover, central pressure can now be measured with simple, easy-to-use devices, which would be suitable for routine clinical use.  This review will cover the basic haemodynamic concepts, the current evidence-base for central blood pressure, and what is needed before clinicians should start assessing central pressure in the clinic.

Haemodynamics

Contraction of the left ventricle results in the generation of an arterial pressure wave, which moves throughout the arterial tree. Pressure varies continuously, but normally peak (systolic) and trough (diastolic) pressure in the brachial artery are recorded. The shape of the pressure waveform, and peak pressure also vary along the arterial tree. This is due to two main factors – changes in vessel stiffness and wave reflection[8].

Arteries tend to become stiffer moving away from the heart, which means that the pressure wave travels more quickly and changes shape. The impedance characteristics of the brachiocephalic circulation mean that the low frequency harmonic components of the pressure waveform are preferentially enhanced[8]. The net result is a narrower wave with a taller peak. This process, called pressure amplification, means that brachial systolic pressure is invariably higher than that recorded in the aorta, whereas, mean and diastolic pressure vary by only 3mmHg or so.

Pressure waves move out from the heart and get reflected backwards from sites of impedance mis-match – caused by arterial taper and differences in vessel stiffness, which in practice usually occur at arterial bifurcations [8]. These reflected waves – or wavelets – summate to make a single apparent reflected wave, which combines or ‘adds to’ the forward travelling wave[9]. The predominant sites of reflection are the abdomen and lower body, and the main reflected wave, therefore, appears first in the aorta, before travelling down the arms. The bulk of the reflected wave usually arrives in the aorta during systole and thus enhances or augments peak systolic pressure. This is particularly the case in older individuals where the reflected wave tends to travel more quickly and be of larger magnitude. Pressure augmentation is also greater at lower heart rates (systole is longer), and in shorter people because the reflected sites are closer to the heart. In contrast, the main reflection wave arrives at the brachial artery later in the cardiac cycle and thus does not augment peak pressure. Reflection from the hand is also much less, and arrives too early to augment peak pressure[10]. This augmentation of central systolic pressure tends to offset the difference between brachial and aortic systolic pressures produced by the phenomenon of pressure amplification, particularly in older individuals who tend to have greater central pressure augmentation. The net effect of central pressure augmentation and peripheral amplification is that aortic systolic pressure is some 5-40mmHg lower than brachial values.

The exact difference between brachial and aortic pressure is variable both within and between individuals, and is strongly dependent on age, height and heart rate[11-15]. However, only ~70% of the variability in pressure amplification is explained by multivariable regression models [11, 16]. Therefore, central pressure cannot be accurately predicted from brachial pressure by a statistical model and needs to be assessed directly, using appropriate methods. We evaluated aortic and brachial pressure in a cohort of 10,000 volunteers [16]. There was a significant, and highly variable, difference between aortic and brachial systolic pressure at all ages in healthy subjects ranging from approximately 20mmHg in a typical 20-year-old male to 9 mmHg in a 70-year-old female (Figure 1). When individuals were categorized by brachial artery blood pressure we found that there was considerable overlap in aortic systolic pressure between groups. More than 70% of individuals in the ‘high-normal’ brachial systolic pressure (Joint European Cardiology and Hypertension Society guidelines [17]) had similar aortic pressures to those with stage 1 hypertension, despite no overlap in brachial pressures[16]. Approximately 30% of males, and 10% of females, with ‘normal’ brachial blood pressure had similar aortic pressures to those categorized as having stage 1 hypertension. These findings may have important clinical ramifications, if central pressure turns out to be a better predictor of outcome than brachial pressure.

Like brachial pressure, central systolic pressure is a continuous variable and therefore defining a ‘normal central pressure’ is impossible. This is made even more difficult because one cannot apply the standard definitions and thresholds based on brachial pressure because central systolic pressure is ‘normally’ lower than brachial pressure. One could, however, determine the average degree of amplification, and then ‘translate’ brachial cut-offs into corresponding aortic values. For example, a brachial treatment threshold of 140/90 mmHg may become an aortic threshold of 125/90 mmHg. There are clear limitations of this approach, such as the dependency of amplification on age and heart rate. Therefore, ultimately, central thresholds will need to be based on longitudinal observations and interventional studies.

Assessing central pressure

Early researchers used fluid-filled catheters to assess aortic pressure directly– either by aortic puncture, or introduced via the brachial or femoral arteries. Whilst this gives a robust direct measure of aortic pressure, the approach is clearly invasive and can be technically challenging. Nevertheless, it remains the gold standard. The last 20 years has seen considerable development in the field of non-invasive assessment of central pressure, and a number of devices are now available that can be used with ease in the clinical setting in large numbers of subjects. These devices can be broadly categorized as follows:

- Assessment of pressure in the carotid artery as a surrogate of aortic pressure. Carotid waveforms are usually recorded non-invasively by applanation tonometry, with a high sensitivity electromechanical probe. However, carotid waveforms of sufficient quality can be difficult to obtain in all individuals, especially in obese patients. Moreover, the technique is highly operator-dependent, making it somewhat unreliable for routine high-throughput screening of central pressure. There is also some amplification of pressure between the aorta and carotid artery of between 2-6 mmHg [8, 12]

- Applanation tonometry of peripheral arteries (typical radial or brachial) to obtain a high fidelity peripheral arterial waveform, which is then transformed into a corresponding aortic waveform by applying a generalized transfer function. More recently the second systolic peak has been used as an approximation for aortic systolic pressure [18-20]. A variety of commercial devices are now available that employ this basic methodology including the SphygmoCor system, which relies on a trained operator to record radial or brachial pressure waves with a hand-held tonometer. Automated devices such as the Omron HEM9000AI are also available, which remove the need for skilled operators by using a pressure-sensing array to record the radial waveforms in a hands-free manner. However, the main issue with this approach is the use of a transfer function. Although much criticised in the past, many transfer functions have now been prospectively validated against the invasive gold-standard of aortic catheterizations. The SphygmoCor transfer function, for example, performs well with an absolute difference between estimated and actual aortic pressure of less than 1 mmHg[21] – well below the standard required by the Association for the Advancement of Medical instrumentation (SP10 criteria) for comparison of blood pressures obtained with different methods. The second systolic peak also seems to be a reasonable approximation for aortic systolic pressure, although it may be unreliable in younger individuals with negative augmentation[22].

- Cuff-based recording systems, such as the ARCsolver [23, 24], Centron [25] and Vicorder[26] typically use a standard blood pressure cuff, inflated to either above diastolic or systolic pressure, to record volume waveforms in the brachial artery. Aortic pressure is then derived using either a transfer function, or taking the second systolic peak of the waveform. Such devices are generally easy to use, do not require trained operators, and are well suited to the primary care environment. Although there have been concerns about the accuracy of the transfer functions or the second systolic peak, they seem to provide similarly reliable estimates of aortic pressure to those based on peripheral applanation tonometry.

One of the common problems with the three methods is calibration of the peripheral pressure waveform. All the approaches simply record a pressure waveform in a dimensionless manner. To provide a measure of actual pressure the waveforms must be scaled. For waveforms recorded in the carotid artery this is usually done by recording brachial systolic and diastolic pressure with a standard sphygmomanometer and then scaling the carotid waveform to brachial diastolic and mean pressure, assuming that there is little change in these between the two sites. Mean pressure is either measured directly or estimated using the 1/3rd rule. Traditionally peripheral waveforms are scaled to brachial systolic and diastolic pressure. However, there have been concerns about amplification between the radial and brachial arteries leading to an underestimation of aortic pressure using this approach. Recent data suggest that scaling radial and brachial waves to brachial mean and diastolic pressure may be preferable[27].

Central pressure as cardiovascular risk predictor

Vital organs, including the heart, brain and kidneys are exposed to the aortic rather than the brachial pressure. Therefore, it is reasonable to assume that central pressure contributes more to the risk of cardiovascular events than brachial pressure. In recent years, this concept has been highlighted by the emergence of considerable evidence suggesting a significant association of central pressure with end-organ damage.

The association of central pressure with cardiovascular risk surrogates is summarised in Table 1. Carotid intima-media thickness (CIMT)[3, 28, 29] and left ventricular mass (LVM) [29-35] are more strongly related to central than brachial pressure. The same is true for retinal arterial narrowing, a marker of hypertensive retinopathy[36]. Likewise, among cardiovascular disease-free participants of the Framingham Heart Study Third Generation and Offspring Cohort, raised central pulse pressure was associated with increased thoracic and abdominal aortic calcification[37]. The same abnormality was significantly related to both albuminuria and cardiovascular disease in type 1 diabetic patients, independently of confounders including mean arterial pressure, antihypertensive treatment, kidney function and glycaemia[38]. However, in this cohort, central pressure was not significantly predictive of mortality and end-stage renal disease after adjustment for brachial blood pressure. However, it should be acknowledged that this study might be underpowered to identify significant associations due to a small number of events[38]. In this context, a further study in the general population should address the association of central pressure with cardiovascular risk predictors independently of brachial pressure. Interestingly, it was shown that only central, but not brachial blood pressure was associated with B-type natriuretic peptide, a marker of heart failure severity and prognosis[39].

The association between central pressure and the risk of end-organ damage was investigated in further 2 cohort studies including normotensive individuals. Interestingly, among individuals with normal/high-normal (120-139/80-90 mmHg) brachial pressure, only those with elevated aortic systolic pressure had increased risk of end-organ damage, including increased CIMT and LVM index as well as reduced eGFR, compared to those with optimal brachial pressure (<120/80 mmHg)[33, 40]. However, a serious limitation of both of these studies is the lack of adjustment for differences in brachial pressure between individuals with or without elevated central pressure[33, 40]. This limitation is particularly relevant considering the well-established continuous correlation of cardiovascular outcomes with brachial pressure values as low as 115/75 mmHg.

The predictive value of central pressure for cardiovascular outcomes has been proven in various patient cohorts as shown in Table 2. However, the ANBP2 (Australian National Blood Pressure 2)[41] and the Framingham Heart Study[42] failed to show any advantage of assessing central pressure in addition to brachial pressure. Nevertheless, it should be acknowledged that no significant systolic pressure amplification between the carotid and brachial arteries was noted in both the ANBP2 and the Framingham study. A recent analysis of the ANBP2 study investigated the predictive role of several morphological parameters based on the central aortic pressure waveform. In contrast to the previous ANBP2 findings central aortic reservoir-wave analysis not only independently predicted cardiovascular outcomes, but also significantly added to the accuracy of the Framingham Risk Score[43]. A similar incremental value of central over brachial pressure was noted in several other patient cohorts. Indeed, central, but not brachial pressure was independently predictive of all-cause (including cardiovascular) mortality in patients with end-stage renal failure[4]. Similarly the findings of two population-based studies[5],[29] showed a stronger association between cardiovascular events and central, rather than brachial pressure. Moreover, among vascular disease-free participants of the Strong Heart Study, central pressure was more closely related to the risk of cardiovascular events than brachial pressure[3]. Of note, brachial pressure ceased to be predictive after mutual adjustment. Further analyses in this cohort showed that central pulse pressure ≥50mmHg is associated with the greatest risk of future cardiovascular events [44], suggesting, for the first time, a clinically useful target for diagnosis and intervention, based on central pressure. Although these data require confirmation, they further highlight the importance of central pressure in the prediction of cardiovascular events.

It should be mentioned that the outcome studies described above were relatively underpowered, and, thus cannot unequivocally suggest the superiority of central over brachial pressure in predicting outcomes. This limitation can be partly explained by the strong correlation between central and brachial pressure (R = 0.80 – 0.96). Nevertheless, a meta-analysis confirmed that cardiovascular outcomes can be independently predicted by central pressure[45]. However, the results of this meta-analysis should be interpreted with caution as it did not include some of the larger studies and did not use individual patient data. To clarify this issue we are currently conducting a full evidence synthesis with an individual patient meta-analysis of all existing studies together with a definitive outcome study.

Effect of antihypertensive medications on central pressure

To what extent are the cardiovascular benefits of antihypertensive treatment explained by effects on central blood pressure?

It is well established that reduction of brachial blood pressure reduces the risk of cardiovascular events in hypertensive patients[46]. Considering the emerging importance of central pressure as an independent cardiovascular risk predictor it is clearly of interest to understand the extent to which the cardiovascular benefits of antihypertensive drugs are explained by their effects on central pressure and whether some drug classes have more beneficial effects than others.

Several studies using surrogate endpoints suggest that at least some of the benefits of antihypertensive therapies might be explained by their effects on central blood pressure. In the REASON (Preterax in Regression of Arterial Stiffness in a Controlled Double-blind Study) trial[47] the reduction in central blood pressure contributed more to LVM regression than the corresponding reduction in brachial blood pressure and only central blood pressure remained significantly predictive of this outcome after adjustment for potential confounders. A sub-study of the ASCOT (The Anglo-Scandinavian Cardiac Outcomes Trial)[48] also demonstrated that a reduction in central blood pressure independently predicted LVM regression. Furthermore, in Japanese hypertensive patients lowering of central systolic blood pressure significantly accounted for reduced albuminuria and LVM index. This association was independent of the changes in both home and clinic systolic blood pressure[49]. Moreover, in French hypertensive patients a reduction of CIMT by antihypertensive treatment was significantly associated with changes in the central rather than the peripheral blood pressure[50].

Do some drug classes have more beneficial effects on central blood pressure than others?

The question as to whether certain antihypertensive drug classes have more beneficial effects on central blood pressure than others has been addressed by numerous small studies, which vary in the duration of treatment and methods used for central pressure assessment[51-57]. The overall effects of the major antihypertensive drug classes on central blood pressure are depicted in Table 3.

Overall, it appears that beta-blockers reduce central blood pressure significantly less than brachial blood pressure[58]. In contrast, the other drug classes significantly decrease central blood pressure although the extent to which this is independent of their brachial blood pressure lowering effect is still debated. A recent meta-analysis showed that most of antihypertensive drug classes, including alpha-blockers, angiotensin-converting enzyme inhibitors (ACEis), angiotensin receptor blockers (ARBs), calcium channel blockers (CCBs), renin inhibitors and thiazides may reduce peripheral and central pressure to the same extent and confirmed the lack of efficacy of beta-blockers in lowering central compared with brachial blood pressure[58]. A further meta-analysis of 24 randomised clinical trials[59] suggested that beta-blockers and diuretics reduce central pressure less than brachial pressure, whereas monotherapy with ACEis, ARBs, CCBs, alpha-blockers or spironolactone reduced both parameters to a similar extent[59]. Interestingly, it was suggested that antihypertensive drug combinations which include beta-blockers, such as beta-blockers + ARBs or diuretics have a greater effect on brachial pressure than on central pressure[58]. In contrast, other combinations such as ACEis or ARBs + CCBs as well as ARBs + diuretics had similar effects on both brachial and central pressure[58].

The reduced efficacy of beta-blockers to lower central blood pressure is particularly interesting in light of the results of several clinical trials suggesting that beta-blockers are less effective in reducing cardiovascular outcomes[60, 61]. In the CAFE (Conduit Artery Function Evaluation) study, an ASCOT sub-study[62] an atenolol-based regimen was less effective in reducing central pressure compared with the amlodipine-based regimen, despite similar effects on brachial blood pressure, and, it was concluded that this finding could account for most of the difference in ASCOT outcomes.

Bisoprolol appears to be similarly ineffective in reducing central pressure as atenolol in hypertensive patients[63]. This failure of conventional beta-blockers might result from bradycardia together with increased stroke volume and an earlier reflected pressure wave. However, not all beta-blockers are the same in their pharmacologic and physiologic properties. Therefore, uncertainty exists about widespread application of the findings regarding atenolol and bisoprolol to other drugs of the class. It seems that the newer beta-blockers, including nebivolol, celliprolol and carvedilol, have greater vasodilating effects. Clinical evidence also suggests that these agents are more potent than conventional beta-blockers in reducing central systolic pressure[64, 65] [66] with recent studies suggesting that nebivolol is as efficacious as ACEis, ARBs and aliskiren in this respect[54, 55]. Likewise, among hypertensive patients, carvedilol and losartan reduce central pressure to a similar extent[67]. It can be assumed that a reduction of wave reflections associated with the vasodilating properties of the newer beta-blockers may partly explain their beneficial effects on central pressure. However, this hypothesis remains to be confirmed by future studies.

The studies described above support the hypothesis that an inadequate reduction in central pressure may be associated with reduced protection from cardiovascular outcomes. However, further large randomised and properly powered clinical trials are required to definitively prove that for equal reductions in brachial pressure, greater central pressure lowering may result in better outcomes. While conventional beta-blockers appear to be ineffective in this regard, nitric oxide donor drugs such as nitrates may be beneficial by substantially reducing wave reflections[68]. Although not a ‘classical’ antihypertensive drug, high-dose nitrates can lower brachial pressure effectively[69-72] and reduce central pressure more than brachial pressure. In this context, using nitrates together with beta-blockers may be an effective strategy in preferentially lowering central pressure. This benefit may be particularly relevant in the clinical setting of coronary artery disease.

Outstanding issues

Central pressure is more closely related to surrogate cardiovascular risk markers than brachial pressure, and independently predicts outcomes. However, whether central pressure can be a useful clinical tool for risk stratification needs to be further assessed by fully synthesising all available evidence. Furthermore, whether preferential central blood pressure lowering results in better outcomes should be addressed in appropriately powered clinical trials. Before such trials are available, studies based on cardiovascular disease surrogates such as CIMT and LVM would provide proof of principle that reduction in central rather than brachial pressure is a more effective therapeutic strategy.

Both brachial and central blood pressures are influenced by white-coat effect, while individuals with ‘white-coat’ hypertension appear to have elevated central pressures. Also, it has now been established that 24-hour ambulatory blood pressure monitoring (ABPM) has better prognostic value than office measurements[73, 74]. Interestingly, it was recently shown that 24-hour ambulatory cuff pressures predicted cardiovascular risk to a similar extent as office central pressure measurements[75], although the relevance of this finding needs to be further confirmed[76]. It could be hypothesised that 24-hour central pressure measurement has a better predictive value for cardiovascular events than brachial ABPM. In this context, systems based on the recording of ambulatory brachial waveforms to derive corresponding central pressures have been recently developed, allowing the direct comparison of brachial and central pressures over 24 hours. Preliminary data suggest that the magnitude of differences between brachial and central systolic pressures vary considerably across a 24-hour period. Furthermore, recent studies in hypertensive patients showed that variability of brachial systolic blood pressure may be a better predictor of outcomes than the average brachial systolic blood pressure [77]. It would be intriguing to examine the relationship between central systolic blood pressure variability and cardiovascular outcomes, and it would not be unreasonable to assume that the central systolic blood pressure variability is the most predictive parameter of all.

Finally, it has been widely shown that beta-blockers by exerting differential effects on brachial and central pressure may lead to poorer cardiovascular benefits. Consequently, drug development based on central, rather than on brachial pressure has been an emerging challenge in the management of hypertension. However, cuff measurements of brachial systolic and diastolic pressure remain the accepted surrogates by drug regulatory authorities. This means that new therapies will continue to be assessed on the basis of brachial measurements, which may ultimately serve as a potential barrier to novel drug development. In this context, definitive evidence of the value of treating central, rather than brachial pressure, will ultimately be required before central pressure becomes an accepted surrogate of cardiovascular risk.

References

1.	Patel SA, Winkel M, Ali MK et al. Cardiovascular mortality associated with 5 leading risk factors: national and state preventable fractions estimated from survey data. Ann Intern Med 2015; 163: 245-53.

2.	Turnbull F. Effects of different blood-pressure-lowering regimens on major cardiovascular events: results of prospectively-designed overviews of randomised trials. Lancet 2003; 362: 1527-35.

3.	Roman MJ, Devereux RB, Kizer JR et al. Central pressure more strongly relates to vascular disease and outcome than does brachial pressure: the Strong Heart Study. Hypertension 2007; 50: 197-203.

4.	Safar ME, Blacher J, Pannier B, et al. Central pulse pressure and mortality in end-stage renal disease. Hypertension 2002; 39: 735-8.

5.	Pini R, Cavallini MC, Palmieri V, et al. Central but not brachial blood pressure predicts cardiovascular events in an unselected geriatric population: the ICARe Dicomano Study. J Am Coll Cardiol 2008; 51: 2432-9.

6.	Jankowski P, Kawecka-Jaszcz K, Czarnecka D et al. Pulsatile but not steady component of blood pressure predicts cardiovascular events in coronary patients. Hypertension 2008; 51: 848-55.

7.	Wilkinson IB, McEniery CM, Cockcroft JR. Atenolol and cardiovascular risk: an issue close to the heart. Lancet 2006; 367: 627-9.

8.	Nichols WW, O'Rourke MF. McDonald's Blood Flow in Arteries: Theoretic, Experimental and Clinical Principles. 5th ed. London: Edward Arnold; 2005.

9.	Westerhof N, Sipkema P, van den Bos GC et al. Forward and backward waves in the arterial system. Cardiovasc Res 1972; 6: 648-56.

10.	Nichols WW. Clinical measurement of arterial stiffness obtained from noninvasive pressure waveforms. Am J Hypertens 2005; 18: 3S-10S.

11.	Camacho F, Avolio A, Lovell NH. Estimation of pressure pulse amplification between aorta and brachial artery using stepwise multiple regression models. Physiol Meas 2004; 25: 879-89.

12.	McEniery CM, Yasmin, Hall IR et al. Normal Vascular Aging: Differential Effects on Wave Reflection and Aortic Pulse Wave Velocity The Anglo-Cardiff Collaborative Trial (ACCT). J Am Coll Cardiol 2005; 46: 1753-60.

13.	Wilkinson IB, Mohammad NH, Tyrrell S et al. Heart rate dependency of pulse pressure amplification and arterial stiffness. Am J Hypertens 2002; 15: 24-30.

14.	Albaladejo P, Copie X, Boutouyrie P et al. Heart rate, arterial stiffness, and wave reflections in paced patients. Hypertension 2001; 38: 949-52.

15.	London GM, Guerin AP, Pannier BM et al. Body height as a determinant of carotid pulse contour in humans. J Hypertens Suppl 1992; 10: S93-5.

16.	McEniery CM, Yasmin, McDonnell B et al. Central pressure: variability and impact of cardiovascular risk factors: the Anglo-Cardiff Collaborative Trial II. Hypertension 2008; 51: 1476-82.

17.	Mansia G, De Backer G, Dominiczak A et al. 2007 ESH-ESC Guidelines for the management of arterial hypertension: the task force for the management of arterial hypertension of the European Society of Hypertension (ESH) and of the European Society of Cardiology (ESC). Blood Press 2007; 16: 135-232.

18.	Pauca AL, Kon ND, O'Rourke MF. The second peak of the radial artery pressure wave represents aortic systolic pressure in hypertensive and elderly patients. Br J Anaesth 2004; 92: 651-7.

19.	Takazawa K, Kobayashi H, Shindo N et al. Relationship between radial and central arterial pulse wave and evaluation of central aortic pressure using the radial arterial pulse wave. Hypertens Res 2007; 30: 219-28.

20.	Guilcher A, Brett S, Munir S et al. Estimating central SBP from the peripheral pulse: influence of waveform analysis and calibration error. J Hypertens 2011; 29: 1357-66.

21.	Pauca AL, O'Rourke MF, Kon ND. Prospective evaluation of a method for estimating ascending aortic pressure from the radial artery pressure waveform. Hypertension 2001; 38: 932-7.

22.	Hickson SS, Butlin M, Mir FA et al. The accuracy of central SBP determined from the second systolic peak of the peripheral pressure waveform. J Hypertens 2009; 27: 1784-8.

23.	Wassertheurer S, Kropf J, Weber T et al. A new oscillometric method for pulse wave analysis: comparison with a common tonometric method. J Hum Hypertens 2010; 24: 498-504.

24.	Weber T, Wassertheurer S, Rammer M et al. Validation of a brachial cuff-based method for estimating central systolic blood pressure. Hypertension 2011; 58: 825-32.

25.	Brett S, Guilcher A, Clapp B et al. Estimating central systolic blood pressure during oscillometric determination of blood pressure:proof of cencept and validation by comparison with intra-aortic pressure recording and arterial tonometry. Blood Press Monit. 2012; 17: 132-6.

26.	Pucci G, Cheriyan J, Hubsch A et al. Evaluation of the Vicorder, a novel cuff-based device for the noninvasive estimation of central blood pressure. J Hypertens 2013; 31: 77-85.

27.	Mahieu D, Kips J, Rietzschel ER et al. Noninvasive assessment of central and peripheral arterial pressure (waveforms): implications of calibration methods. J Hypertens 2010; 28: 300-5.

28.	Boutouyrie P, Bussy C, Lacolley P et al. Association between local pulse pressure, mean blood pressure, and large-artery remodeling. Circulation 1999; 100: 1387-93.

29.	Wang KL, Cheng HM, Chuang SY et al. Central or peripheral systolic or pulse pressure: which best relates to target organs and future mortality? J Hypertens 2009; 27: 461-7.

30.	Roman MJ, Okin PM, Kizer JR et al. Relations of central and brachial blood pressure to left ventricular hypertrophy and geometry: the Strong Heart Study. J Hypertens 2010; 28: 384-8.

31.	Covic A, Goldsmith DJ, Panaghiu L et al. Analysis of the effect of hemodialysis on peripheral and central arterial pressure waveforms. Kidney Int 2000; 57: 2634-43.

32.	Bednarek A, Jankowski P, Olszanecka A et al. 24-hour central blood pressure and intermediate cardiovascular phenotypes in untreated subjects. Am J Cardiovasc Dis 2014; 4: 177-87.

33.	Booysen HL, Norton GR, Maseko MJ et al. Aortic, but not brachial blood pressure category enhances the ability to identify target organ changes in normotensives. J Hypertens 2013; 31: 1124-30.

34.	Wohlfahrt P, Wichterle D, Seidlerova J et al. Relation of central and brachial blood pressure to left ventricular hypertrophy. The Czech Post-MONICA Study. J Hum Hypertens 2012; 26: 14-9.

35.	Booysen HL, Woodiwiss AJ, Sibiya MJ et al. Indexes of aortic pressure augmentation markedly underestimate the contribution of reflected waves toward variations in aortic pressure and left ventricular mass. Hypertension 2015; 65: 540-6.

36.	Kumagai K, Tabara Y, Yamashiro K et al. Central blood pressure relates more strongly to retinal arteriolar narrowing than brachial blood pressure: the Nagahama Study. J Hypertens 2015; 33: 323-9.

37.	Tsao CW, Pencina KM, Massaro JM et al. Cross-sectional relations of arterial stiffness, pressure pulsatility, wave reflection, and arterial calcification. Arterioscler Thromb Vasc Biol 2014; 34: 2495-500.

38.	Theilade S, Hansen TW, Rossing P. Central hemodynamics are associated with cardiovascular disease and albuminuria in type 1 diabetes. Am J Hypertens 2014; 27: 1152-9.

39.	Yamashita S, Dohi Y, Takase H et al. Central blood pressure reflects left ventricular load, while brachial blood pressure reflects arterial damage. Blood Press 2014; 23: 356-62.

40.	Totaro S, Khoury PR, Kimball TR et al. Arterial stiffness is increased in young normotensive subjects with high central blood pressure. J Am Soc Hypertens 2015; 9: 285-92.

41.	Dart AM, Gatzka CD, Kingwell BA et al. Brachial blood pressure but not carotid arterial waveforms predict cardiovascular events in elderly female hypertensives. Hypertension 2006; 47: 785-90.

42.	Mitchell GF, Hwang SJ, Vasan RS et al. Arterial stiffness and cardiovascular events: the Framingham Heart Study. Circulation 2010; 121: 505-11.

43.	Narayan O, Davies JE, Hughes AD et al. Central aortic reservoir-wave analysis improves prediction of cardiovascular events in elderly hypertensives. Hypertension 2015; 65: 629-35.

44.	Roman MJ, Devereux RB, Kizer JR et al. High central pulse pressure is independently associated with adverse cardiovascular outcome the strong heart study. J Am Coll Cardiol 2009; 54: 1730-4.

45.	Vlachopoulos C, Aznaouridis K, O'Rourke MF et al. Prediction of cardiovascular events and all-cause mortality with central haemodynamics: a systematic review and meta-analysis. Eur Heart J 2010; 31: 1865-71.

46.	Group SR, Wright JT, Jr., Williamson JD et al. A Randomized Trial of Intensive versus Standard Blood-Pressure Control. N Engl J Med 2015; 373: 2103-16.

47.	de Luca N, Asmar RG, London GM et al. Selective reduction of cardiac mass and central blood pressure on low-dose combination perindopril/indapamide in hypertensive subjects. J Hypertens 2004; 22: 1623-30.

48.	Manisty CH, Zambanini A, Parker KH et al. Differences in the magnitude of wave reflection account for differential effects of amlodipine- versus atenolol-based regimens on central blood pressure: an Anglo-Scandinavian Cardiac Outcome Trial substudy. Hypertension 2009; 54: 724-30.

49.	Shimizu M, Hoshide S, Ishikawa J et al. Correlation of Central Blood Pressure to Hypertensive Target Organ Damages During Antihypertensive Treatment: The J-TOP Study. Am J Hypertens 2015; 28: 980-6.

50.	Boutouyrie P, Bussy C, Hayoz D et al. Local pulse pressure and regression of arterial wall hypertrophy during long-term antihypertensive treatment. Circulation 2000; 101: 2601-6.

51.	Morgan T, Lauri J, Bertram Det al. Effect of different antihypertensive drug classes on central aortic pressure. Am J Hypertens 2004; 17: 118-23.

52.	Deary AJ, Schumann AL, Murfet H et al. Influence of drugs and gender on the arterial pulse wave and natriuretic peptide secretion in untreated patients with essential hypertension. Clin Sci 2002; 103: 493-9.

53.	Mackenzie IS, McEniery CM, Dhakam Z et al. Comparison of the effects of antihypertensive agents on central blood pressure and arterial stiffness in isolated systolic hypertension. Hypertension 2009; 54: 409-13.

54.	Izzo JL, Jr., Khan SU, Saleem Oet al. Ambulatory 24-hour cardiac oxygen consumption and blood pressure-heart rate variability: effects of nebivolol and valsartan alone and in combination. J Am Soc Hypertens 2015; 9: 526-35.

55.	Koumaras C, Tziomalos K, Stavrinou E et al. Effects of renin-angiotensin-aldosterone system inhibitors and beta-blockers on markers of arterial stiffness. J Am Soc Hypertens 2014; 8: 74-82.

56.	Gao Y, Hu YZ, Li RS et al. Cattle encephalon glycoside and ignotin injection improves cognitive impairment in APPswe/PS1dE9 mice used as multitarget anti-Alzheimer's drug candidates. Neuropsychiatr Dis Treat 2015; 11: 537-48.

57.	Baschiera F, Chang W, Brunel P et al. Effects of aliskiren- and ramipril-based treatment on central aortic blood pressure in elderly with systolic hypertension: a substudy of AGELESS. Vasc Health Risk Manag 2014; 10: 389-97.

58.	McGaughey TJ, Fletcher EA, Shah SA. Impact of Antihypertensive Agents on Central Systolic Blood Pressure and Augmentation Index: A Meta-Analysis. Am J Hypertens 2015; in press.

59.	Manisty CH, Hughes AD. Meta-analysis of the comparative effects of different classes of antihypertensive agents on brachial and central systolic blood pressure, and augmentation index. Br J Clin Pharmacol 2013; 75: 79-92.

60.	Lindholm LH, Ibsen H, Dahlof B et al. Cardiovascular morbidity and mortality in patients with diabetes in the Losartan Intervention For Endpoint reduction in hypertension study (LIFE): a randomised trial against atenolol. Lancet 2002; 359: 1004-10.

61.	Dahlof B, Sever PS, Poulter NR et al. Prevention of cardiovascular events with an antihypertensive regimen of amlodipine adding perindopril as required versus atenolol adding bendroflumethiazide as required, in the Anglo-Scandinavian Cardiac Outcomes Trial-Blood Pressure Lowering Arm (ASCOT-BPLA): a multicentre randomised controlled trial. Lancet 2005; 366: 895-906.

62.	Williams B, Lacy PS, Thom SM et al. Differential impact of blood pressure-lowering drugs on central aortic pressure and clinical outcomes: principal results of the Conduit Artery Function Evaluation (CAFE) study. Circulation 2006; 113: 1213-25.

63.	Aparicio LS, Alfie J, Barochiner J et al. Comparison of atenolol versus bisoprolol with noninvasive hemodynamic and pulse wave assessment. J Am Soc Hypertens 2015; 9: 390-6.

64.	Dhakam Z, Yasmin, McEniery CM et al. A comparison of atenolol and nebivolol in isolated systolic hypertension. J Hypertens 2008; 26: 351-6.

65.	Kampus P, Serg M, Kals J et al. Differential effects of nebivolol and metoprolol on central aortic pressure and left ventricular wall thickness. Hypertension 2011; 57: 1122-8.

66.	Vaz-de-Melo RO, Giollo-Junior LT, Martinelli DD et al. Nebivolol reduces central blood pressure in stage I hypertensive patients: experimental single cohort study. Sao Paulo Med J 2014; 132: 290-6.

67.	Kim EJ, Song WH, Lee JU et al. Efficacy of losartan and carvedilol on central hemodynamics in hypertensives: a prospective, randomized, open, blinded end point, multicenter study. Hypertens Res 2014; 37: 50-6.

68.	Kelly RP, Gibbs HH, O'Rourke MF et al. Nitroglycerin has more favourable effects on left ventricular afterload than apparent from measurement of pressure in a peripheral artery. Eur Heart J 1990; 11: 138-44.

69.	Stokes GS, Ryan M. Can Extended-Release Isosorbide Mononitrate be Used as Adjunctive Therapy for Systolic Hypertension? An Open Study Employing Pulse-Wave Analysis to Determine Effects of Antihypertensive Therapy. TAm J Geriatr Cardiol 1997; 6: 11-19.

70.	Stokes GS, Bune AJ, Huon N et al. Long-term effectiveness of extended-release nitrate for the treatment of systolic hypertension. Hypertension 2005; 45: 380-4.

71.	Stokes GS, Ryan M, Brnabic A et al. A controlled study of the effects of isosorbide mononitrate on arterial blood pressure and pulse wave form in systolic hypertension. J Hypertens 1999; 17: 1767-73.

72.	Duchier J, Iannascoli F, Safar M. Antihypertensive effect of sustained-release isosorbide dinitrate for isolated systolic systemic hypertension in the elderly. Am J Cardiol 1987; 60: 99-102.

73.	Staessen JA, Thijs L, Fagard R et al. Predicting cardiovascular risk using conventional vs ambulatory blood pressure in older patients with systolic hypertension. Systolic Hypertension in Europe Trial Investigators. JAMA 1999; 282: 539-46.

74.	Clement DL, De Buyzere ML, De Bacquer DA et al. Prognostic value of ambulatory blood-pressure recordings in patients with treated hypertension. N Engl J Med 2003; 348: 2407-15.

75.	Huang CM, Wang KL, Cheng HM et al. Central versus ambulatory blood pressure in the prediction of all-cause and cardiovascular mortalities. J Hypertens 2011; 29: 454-9.

76.	Schillaci G, Pucci G. Central and 24-h blood pressure: dwarfs standing upon the shoulders of giants? J Hypertens 2011; 29: 430-3.

77.	Rothwell PM, Howard SC, Dolan E et al. Prognostic significance of visit-to-visit variability, maximum systolic blood pressure, and episodic hypertension. Lancet 2010; 375: 895-905.

Figure Legends

Figure 1. Difference between brachial and aortic systolic blood pressure in healthy men (red line; n=2779) and women (blue line; n=2869). The data represent means±SE.

Figure 2. Overlap in aortic systolic blood pressure despite no overlap in brachial systolic pressure, in healthy men and women (n=5648). Over 70% of individuals with high-normal blood pressure had aortic systolic pressures in common with individuals with stage 1 hypertension [16].

| Table 1. Association between central pressure and end-organ damage representing surrogate cardiovascular risk markers |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Study | Year | N, Population | Design | Central pressure indicator | End-point | Outcome |
| Totaro et al[40] | 2015 | 430 normotensive subjects | Cross-sectional | Central BP, PP | LVM and carotid IMT | Normotensive individuals with high central BP had increased carotid IMT and left ventricular mass as compared with corresponders with normal central pressure. |
| Kumagai et al[36] | 2015 | 8054 Japanese individuals | Cross-sectional | Absolute pressure of the radial late systolic peak | Retinal arteriolar narrowing | Retinal arteriolar narrowing was more closely related to central SBP and PP than with brachial BP. |

| Tsao et al[37] | 2014 | 2920 cardiovascular disease-free participants of the Framingham Study Third Generation and Offspring cohorts | Longitudinal | Carotid PP | Thoracic and abdominal aortic calcification | Carotid PP was independently associated with thoracic and abdominal aortic calcification. |
| --- | --- | --- | --- | --- | --- | --- |
| Yamashita et al[39] | 2014 | 706 check-up attenders | Cross-sectional | Absolute pressure of the radial late systolic peak | BNP | Only central, but not brachial BP was independently associated with BNP levels. |
| Theilade et al[38] | 2014 | 636 patients with T1DM | Cross-sectional | Aortic SBP and PP | Albuminuria | Aortic SBP and PP were independently associated with history of albuminuria and CVD. |
| Bednarek et al[32] | 2014 | 50 newly diagnosed hypertensives and 50 normotensives | Cross-sectional | 24h, daytime and night time central SBP | LVMI, left ventricular diastolic function and LA volume | 24h, daytime and night time central BP was associated with LVMI and diastolic dysfunction. |
| Booysen et al[33] | 2013 | 1169 normotensive individuals of African ancestry: 319 with high-normal BP 120-139/80-89 mmHg) | Cross-sectional | Aortic SBP | LVMI | Among high-normal BP individuals only those with high aortic SBP (defined as above 95% from upper CI in participants with optimal conventional BP values) had significantly increased LVMI compared to those with optimal BP |
| Wohlfahrt et al[34] | 2012 | 657, Random population | Cross-sectional | Aortic SBP | ECG LVH | Aortic SBP more strongly related to ECG-LVH than brachial SBP. |
| Roman et al[30] | 2010 | 2585, High-risk subjects | Cross-sectional | Aortic SBP and PP | LVMI and relative wall thickness | Aortic SBP and PP related to both end-points. Aortic PP superior to brachial PP for both outcomes. Aortic SBP superior to brachial SBP for LVMI. |
| Manisty et al[48] | 2009, UK | 259, Hypertensives | Cross-sectional | Carotid SBP | LVMI | Stronger correlation between LVMI and carotid than brachial SBP. |
| Wang et al[2]9 | 2009 | 1272, Community-based | Cross-sectional | Carotid SBP and PP | LVM and carotid IMT | Carotid SBP most strongly correlated with LVM, whereas carotid PP most strongly correlated with LVM |
| Roman at el[3] | 2007 | 3520, High-risk subjects | Cross-sectional | Aortic SBP and PP | Carotid IMT, vascular mass, plaque score | Aortic SBP and PP related to all end points. Aortic SBP and PP superior to brachial SBP and PP for all end-points. |
| De Luca et al[47] | 2004 | 52, Hypertensives | Longitudinal (12 month follow-up) | Carotid SBP and PP | LVMI reduction | Change in LVMI was significantly associated with carotid but not brachial PP. |
| Covic et al[31] | 2000 | 51, Chronic kidney disease patients | Cross-sectional | Aortic SBP | LVMI | Stronger correlation between LVMI and aortic than brachial SBP. |
| Boutouyrie et al[50] | 2000 | 98, Hypertensives | Longitudinal | Carotid PP | Carotid IMT | Reduction in carotid IMT was independently associated with reduction in carotid PP. |
| Boutouyrie et al[28] | 1999 | 167, Normotensives and hypertensives | Cross-sectional | Carotid PP | Carotid IMT | Carotid but not brachial PP was independently associated with end-point after multiple adjustment. |

Abbreviations: BP = blood pressure; LVM = left ventricular mass; IMT = intima media thickness; SBP = systolic blood pressure; PP = pulse pressure; LVMI = left ventricular mass index; BNP = B-type natriuretic peptide; T1DM = type 1 diabetes; LA = left atrium; CI = confidence intervals; ECG LVH = electrocardiographic left ventricular hypertrophy

| Table 2. Association between central pressure and outcomes. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| First author | Year, country | N, Population | Duration | Parameter | End-point | Outcome |
| Theilade et al[38] | 2014 | 636 patient with T1DM | 22 months | Aortic SBP and PP | CV disease | Raised aortic either SBP or PP was independently associated with presence of CV disease in fully-adjusted models for sex, age, mean arterial pressure, heart rate, height, estimated glomerular filtration rate, glycated haemoglobin, total cholesterol, antihypertensive medication, and smoking. |
| Mitchell et al[42] | 2010 | 2232, Community | 7.8 years | Carotid PP | MACE | No predictive value after adjustment for brachial SBP. |
| Wang et al[29] | 2009 | 1272, community | 10 years | Carotid SBP and PP | All-cause and CV mortality | Only carotid SBP predicted CV mortality after adjustment. No adjustment for brachial pressure. |
| Pini et al[5] | 2008 | 173, Geriatrics | 8 years | Carotid SBP and PP | CV mortality and events | Carotid SBP and PP independently associated with cardiovascular events and carotid SBP with fatal cardiovascular events. Association remained after adjusting for brachial BP. |
| Jankowski et al[6] | 2008 | 1109, Angiography | 4.5 years | Invasive aortic PP and pulsatility | CV mortality and events | Aortic PP and aortic pulsatility related to CV mortality/events after adjustment. Stronger association for aortic pulsatility. No adjustment for brachial pressure. |
| Roman et al[3] | 2007 | 2403, Native Americans | 4.8 years | Aortic SBP and PP | CV mortality and events | Aortic SBP and PP independently associated with CV mortality and events. Aortic PP superior to brachial PP. |
| Williams et al[62] | 2006 | 2199, Hypertensives | 4 years | Aortic PP | CV events and procedures | Aortic PP independently associated with CV events and procedures after adjustment. Not mutually adjusted for brachial pressure. |
| Dart et al[41] | 2006 | 484, Hypertensive women | 4.1 years | Carotid SBP and PP | CV events and mortality | No predictive value of carotid SBP or PP. |
| Safar et al[4] | 2002 | 180, ESRD | 1 year | Carotid PP | All-cause (including CV mortality) | Carotid PP but not carotid SBP or brachial SBP/PP remained independently associated with all-cause mortality after adjustment. Not mutually adjusted for brachial pressure. |

*Pulsatility = ratio of pulse pressure to mean arterial pressure.

Abbreviations: T1DM = type 1 diabetes; SBP= systolic blood pressure; PP = pulse pressure; CV = cardiovascular; MACE = major adverse coronary events; CAD = coronary artery disease; ESRD = end-stage renal disease; PTCA = percutaneous transluminal coronary angioplasty

Table 3. Effect of first-line antihypertensive drug classes and nitrates on central systolic pressure.

| Class | Central pressure |
| --- | --- |
| ACE Inhibitors | ↓ |
| Angiotensin Receptor Blockers | ↓↔ |
| Beta-Blockers | ↑↑ |
| Calcium Channel Blockers | ↓↔ |
| Diuretics | ↔ |
| Nitrates | ↓↓ |

Figure 1

Figure 2